| Logo of OPC Foundation, only if this is a joint work. Both logos shall be side by side.. |  | Logo of other organization. Both logos shall be side by side.. | OPC UA Companion Specification |
| --- | --- | --- | --- |
| OPC nnnnn-m |  |  |  |
| OPC UA for Arrow Encoding Part 1: Arrow Encoding Draft0.1.0 2026-07-30 Edit the advanced properties to complete the title page. Boxes are used to provide context or guidelines on expected content. Any words or phrases written in red font colour shall be replaced by actual values as appropriate for the companion specification. |  |  |  |

| Specification Type: | Industry Standard Specification | Comments: |  |
| --- | --- | --- | --- |
| Doc-Number | OPC nnnnn-m |  |  |
| Title: | OPC UA for Arrow Encoding Part 1Arrow Encoding | Date: | 2026-07-30 |
| Version: | Draft0.1.0 | Software: | MS-Word |
|  |  | Source: | OPC-UA-Arrow-Encoding.docx |
| Author: | <organization> | Status: | Draft |

Template Revisions

| Version | Date | Description |
| --- | --- | --- |
| 1.01.09 | Mar 09, 2020 | M-4665: Link to NodeSet indicates that also ERRATA, Amendments or Revisions are applied. Fixed various styles. |
| 1.01.10 | Apr 29, 2020 | Minor update for the Value attribute (M-5314). |
| 1.01.11 | July 09, 2020 | M-5595: Added better wording and recommendations for NamespaceMetadata as suggested. M-5520: Fixed quotation marks. M-5781: Title "Additional Variable Attributes" misleading. M-5673: Added HasInterface Reference to figure. M-5468: Use of Namespace Index also in Method signatures. M-5789: Clarify use of NamespaceIndex for Profiles or ConformanceUnits in other specifications. |
| 1.01.12 | Nov 16, 2020 | M-5904: BrowseName convention for placeholders. M-6184: The "additional attributes" table shall not be restricted to Value and Description. M-6183: Fix heading names for columns with a browse path. M-6112: Add an example state machine. M-6185: Add new table types to conventions. |
| 1.01.13 | Feb 17, 2021 | M-6302: Updated format for NamespaceMetadata table to make it validatable. M-6317: Added guideline for uncaptioned embedded figures. |
| 1.01.14 | Nov 15, 2021 | M-6264: GeneratesEvent example added. M-7147: Added abbreviated terms used in template. M-6265: No HasSubtype References. M-7265: Added max size for ConformanceUnit description. M-6612: Added definition of capability ID (Annex A.2). M-6150: Extended tables with Conformance Units row. |
| 1.01.15 | Oct 01, 2022 | M-7528: Namespace index also for the “Subtype of” rows. M-8025: Added missing BrowsePath tables for subcomponents. M-6776: Changed the examples for Structure and Union to start with an uppercase character. M-7341: Added extended definition for structures. |
| 1.01.16 | Mar 14, 2023 | M-8638: Updated URL format for schema files (Annex A). Updated URL format for normative references to documents (Clause 2). |
| 1.01.17 | Nov 17, 2023 | M-9196: Conformance Units and Profiles should be in profile database. M-8765: Added URL syntax for individual files. M-9170: Casing of UANodeSet wrong. M-9182: Added reference to IEC specifications. |
| 1.01.18 | Dec 03, 2024 | M-9275: Missing value rank 0. M-9270: Added guidelines to make figures smaller. M-8648: Well-Known BrowseNames. M-9723: Hyperlinks to online reference. |
| 1.01.19 | Jan 21, 2025 | M-9833: Added description on issue reporting to the “Agreement of Use”. |

CONTENTS

1	Scope	10

1.1	Conformance to the OPC 20020 template	10

2	Normative references	11

3	Terms, abbreviated terms and conventions	12

3.1	Overview	12

3.2	Arrow Encoding terms	12

3.3	Abbreviated terms	12

3.4	Conventions used in this document	13

3.4.1	Conventions for Node descriptions	13

3.4.2	NodeIds and BrowseNames	16

3.4.3	Common Attributes	17

3.4.4	Structures	19

4	General information to Arrow Encoding and OPC UA	19

4.1	Introduction to Arrow Encoding	19

4.2	Introduction to OPC Unified Architecture	20

4.2.1	What is OPC UA?	20

4.2.2	Basics of OPC UA	20

4.2.3	Information modelling in OPC UA	21

5	Use cases	25

6	Arrow Encoding information model overview	26

6.1	Where Arrow fits	26

6.2	Columnar model, IPC framing and endianness	26

6.3	Schema identity and reversibility	26

6.4	OPC UA Arrow DataEncoding	26

6.4.1	OPC UA Arrow	26

6.5	PubSub message mapping	33

6.5.1	Arrow mapping parameters	33

6.5.2	Arrow message mapping	34

6.5.3	Bare RecordBatch framing (batch)	35

6.5.4	Content types	35

6.5.5	Part 14 configuration model mapping	35

6.5.6	Header layouts	37

6.5.7	Content-type registry entries	37

6.5.8	DataSet schema mapping	37

6.5.9	NetworkMessage and DataSetMessage envelopes	37

6.6	Historian and ADBC access	42

6.6.1	Scope	42

6.6.2	Access basis	42

6.6.3	ADBC-style statement model	43

6.6.4	Canonical result shape	43

6.6.5	Raw, modified, and at-time reads	44

6.6.6	Processed aggregate reads	44

6.6.7	Content types and transport	44

6.6.8	Relationship to Part 14 PubSub	44

6.6.9	Exclusions	45

7	Profiles and conformance units	46

8	Namespaces	46

8.1	Namespace metadata	46

8.2	Handling of OPC UA namespaces	46

Annex A (normative)  Namespace and machine-readable artifacts	48

A.1	Namespace and capability identifier	48

A.2	Generated per-type reference	48

A.2.1	Built-in Boolean	48

A.2.2	Built-in SByte	48

A.2.3	Built-in Byte	49

A.2.4	Built-in Int16	49

A.2.5	Built-in UInt16	49

A.2.6	Built-in Int32	50

A.2.7	Built-in UInt32	50

A.2.8	Built-in Int64	50

A.2.9	Built-in UInt64	51

A.2.10	Built-in Float	51

A.2.11	Built-in Double	51

A.2.12	Built-in String	52

A.2.13	Built-in DateTime	52

A.2.14	Built-in Guid	52

A.2.15	Built-in ByteString	53

A.2.16	Built-in XmlElement	53

A.2.17	Built-in NodeId	53

A.2.18	Built-in ExpandedNodeId	54

A.2.19	Built-in StatusCode	54

A.2.20	Built-in QualifiedName	54

A.2.21	Built-in LocalizedText	55

A.2.22	Built-in ExtensionObject	55

A.2.23	Built-in DataValue	65

A.2.24	Built-in Variant	91

A.2.25	Built-in DiagnosticInfo	142

A.2.26	Composite Array<String>	144

A.2.27	Composite Matrix<Double>	144

A.2.28	Composite plain Structure Point	145

A.2.29	Composite StructureWithOptionalFields Person	146

A.2.30	Composite dense Union Measurement	146

A.2.31	Worked structured DataType Envelope	147

Figures

Figure 1 – The scope of OPC UA within an enterprise	21

Figure 2 – A basic Object in an OPC UA Address Space	22

Figure 3 – The relationship between Type Definitions and Instances	23

Figure 4 – Examples of References between Objects	24

Figure 5 – The OPC UA Information Model notation	24

Figure 6 – Where the Arrow encoding fits	41

Figure 7 – Batch publish and subscribe	42

Figure 8 – Historian access as record batches	42

Tables

Table 1 – Examples of DataTypes	14

Table 2 – Type Definition Table	15

Table 3 – Examples of Other characteristics	15

Table 4 – <some>Type additional References	15

Table 5 – <some>Type additional subcomponents	16

Table 6 – <some>Type Attribute values for child Nodes	16

Table 7 – Common Node Attributes	17

Table 8 – Common Object Attributes	18

Table 9 – Common Variable Attributes	18

Table 10 – Common VariableType Attributes	18

Table 11 – Common Method Attributes	18

Table 12 – Structures without optional fields where none of the fields allow subtypes	19

Table 13 – Structures with optional fields	19

Table 14 – Structures where one or more of the fields allow subtypes	19

Table 15 – Built-in DataTypes	28

Table 16 – Arrow message mapping	34

Table 17 – Part 14 configuration model mapping	36

Table 18 – Part 14 configuration model mapping (2)	36

Table 19 – Part 14 configuration model mapping (3)	36

Table 20 – Part 14 configuration model mapping (4)	36

Table 21 – Part 14 configuration model mapping (5)	37

Table 22 – Carrier placement	39

Table 23 – Canonical result shape	43

Table 24 – Processed aggregate reads	44

Table 25 – NamespaceMetadata Object for this document	46

Table 26 – Namespaces used in an OpenUSD Server	46

Table 27 – Namespaces used in this document	47

Table 28 – Built-in Boolean	48

Table 29 – Built-in SByte	48

Table 30 – Built-in Byte	49

Table 31 – Built-in Int16	49

Table 32 – Built-in UInt16	49

Table 33 – Built-in Int32	50

Table 34 – Built-in UInt32	50

Table 35 – Built-in Int64	50

Table 36 – Built-in UInt64	51

Table 37 – Built-in Float	51

Table 38 – Built-in Double	51

Table 39 – Built-in String	52

Table 40 – Built-in DateTime	52

Table 41 – Built-in Guid	52

Table 42 – Built-in ByteString	53

Table 43 – Built-in XmlElement	53

Table 44 – Built-in NodeId	53

Table 45 – Built-in ExpandedNodeId	54

Table 46 – Built-in StatusCode	54

Table 47 – Built-in QualifiedName	55

Table 48 – Built-in LocalizedText	55

Table 49 – Built-in ExtensionObject	56

Table 50 – Built-in DataValue	66

Table 51 – Built-in Variant	92

Table 52 – Built-in DiagnosticInfo	143

Table 53 – Composite Array<String>	144

Table 54 – Composite Matrix<Double>	145

Table 55 – Composite plain Structure Point	145

Table 56 – Composite StructureWithOptionalFields Person	146

Table 57 – Composite dense Union Measurement	147

Table 58 – Worked structured DataType Envelope	148

OPC FOUNDATION, Apache Software Foundation

____________

This work (OPC UA Companion Specification Template, by OPC Foundation), identified by OPC Foundation, is free of known copyright restrictions.

<Remove the above Public Domain notice and add a copyright date in the following Agreement of use for the completed specification. If possible (but not legally required), provide attribution to the original author in the following way:

“This specification is a derivative work of the public domain document OPC UA Companion Specification Template, by OPC Foundation”

>

AGREEMENT OF USE

<For joint work, this is the agreement accepted by OPC Foundation and used by most if not all joint companion specifications.

Changes to this agreement will require OPC Foundation review. For non-joint work replace this section with appropriate agreement of use and copyright verbiage.>

COPYRIGHT RESTRICTIONS

- This document is provided "as is" by the OPC Foundation and the Apache Software Foundation.

- Right of use for this specification is restricted to this specification and does not grant rights of use for referred documents.

- Right of use for this specification will be granted without cost.

- This document may be distributed through computer systems, printed or copied as long as the content remains unchanged and the document is not modified.

- OPC Foundation and Apache Software Foundation do not guarantee usability for any purpose and shall not be made liable for any case using the content of this document.

- The user of the document agrees to indemnify OPC Foundation and Apache Software Foundation and their officers, directors and agents harmless from all demands, claims, actions, losses, damages (including damages from personal injuries), costs and expenses (including attorneys' fees) which are in any way related to activities associated with its use of content from this specification.

- The document shall not be used in conjunction with company advertising, shall not be sold or licensed to any party.

- The intellectual property and copyright is solely owned by the OPC Foundation and the Apache Software Foundation.

PATENTS

The attention of adopters is directed to the possibility that compliance with or adoption of OPC or Apache Software Foundation specifications may require use of an invention covered by patent rights. OPC Foundation or Apache Software Foundation shall not be responsible for identifying patents for which a license may be required by any OPC or Apache Software Foundation specification, or for conducting legal inquiries into the legal validity or scope of those patents that are brought to its attention. OPC or Apache Software Foundation specifications are prospective and advisory only. Prospective users are responsible for protecting themselves against liability for infringement of patents.

WARRANTY AND LIABILITY DISCLAIMERS

WHILE THIS PUBLICATION IS BELIEVED TO BE ACCURATE, IT IS PROVIDED "AS IS" AND MAY CONTAIN ERRORS OR MISPRINTS. THE OPC FOUDATION NOR Apache Software Foundation MAKES NO WARRANTY OF ANY KIND, EXPRESSED OR IMPLIED, WITH REGARD TO THIS PUBLICATION, INCLUDING BUT NOT LIMITED TO ANY WARRANTY OF TITLE OR OWNERSHIP, IMPLIED WARRANTY OF MERCHANTABILITY OR WARRANTY OF FITNESS FOR A PARTICULAR PURPOSE OR USE. IN NO EVENT SHALL THE OPC FOUNDATION NOR Apache Software Foundation BE LIABLE FOR ERRORS CONTAINED HEREIN OR FOR DIRECT, INDIRECT, INCIDENTAL, SPECIAL, CONSEQUENTIAL, RELIANCE OR COVER DAMAGES, INCLUDING LOSS OF PROFITS, REVENUE, DATA OR USE, INCURRED BY ANY USER OR ANY THIRD PARTY IN CONNECTION WITH THE FURNISHING, PERFORMANCE, OR USE OF THIS MATERIAL, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH DAMAGES.

The entire risk as to the quality and performance of software developed using this specification is borne by you.

RESTRICTED RIGHTS LEGEND

This Specification is provided with Restricted Rights. Use, duplication, or disclosure by the U.S. government is subject to restrictions as set forth in (a) this Agreement pursuant to DFARs 227.7202-3(a); (b) subparagraph (c)(1)(i) of the Rights in Technical Data and Computer Software clause at DFARs 252.227-7013; or (c) the Commercial Computer Software Restricted Rights clause at FAR 52.227-19 subdivision (c)(1) and (2), as applicable. Contractor / manufacturer are the OPC Foundation, 16101 N. 82nd Street, Suite 3B, Scottsdale, AZ, 85260-1830

COMPLIANCE

The combination of Apache Software Foundation and OPC Foundation shall at all times be the sole entities that may authorize developers, suppliers and sellers of hardware and software to use certification marks, trademarks, or other special designations to indicate compliance with these materials as specified within this document. Products developed using this specification may claim compliance or conformance with this specification if and only if the software satisfactorily meets the certification requirements set by Apache Software Foundation or the OPC Foundation. Products that do not meet these requirements may claim only that the product was based on this specification and must not claim compliance or conformance with this specification.

Trademarks

Most computer and software brand names have trademarks or registered trademarks. The individual trademarks have not been listed here.

GENERAL PROVISIONS

Should any provision of this Agreement be held to be void, invalid, unenforceable, or illegal by a court, the validity and enforceability of the other provisions shall not be affected thereby.

This Agreement shall be governed by and construed under the laws of Germany.

This Agreement embodies the entire understanding between the parties with respect to, and supersedes any prior understanding or agreement (oral or written) relating to, this specification.

ISSUE REPORTING

If an error or problem is found in this specification, the UaNodeSet, or any associated supplementary files, it should be reported as an issue.

The reporting process can be found here: https://opcfoundation.org/resources/issue-tracking/

The Link to the issue tracking project for this document is here:

https://mantis.opcfoundation.org/set_project.php?project_id=<nnn>&make_default=no

<nnn> is the project_id in Mantis which is created for any document when requested by the working group. Example: https://mantis.opcfoundation.org/set_project.php?project_id=142&make_default=no is the Link for OPC 40001-* (Machinery).

If you have no Mantis Project or do not know the project_id, please send a request to TechnicalDirector@opcfoundation.org.

Release 0.1.0 highlights

<Revision Highlights specify the interesting changes to the previous revision. Such a "Revision Highlights" clause will not exist in the first revision.>

The table below follows the design and process used for the OPC UA specification. All "interesting" changes need to be reported in the problem tracking tool used for the specification. The OPC Foundation uses Mantis and provides it for companion specs as well. If a different problem tracking tool is used, "Mantis" needs to be replaced.

<The two rows in the following table are just examples. Note that the "Mantis IDs" are real hyperlinks – when clicked the reader opens the Mantis page.>

Scope shall specify the type of change. The three options are Errata (corrected something that was wrong), Clarification (make something clearer that was not wrong), and Feature (added new functionality).

The following table includes the Mantis issues resolved with this revision.

| Mantis ID | Scope | Summary | Resolution |
| --- | --- | --- | --- |
| 3165 | Errata | Wrong variable data types in Program example. | Fixed datatypes and replaced Table A.14 by description of the variables. |
| 3521 | Clarification | Modelling rules for states and transitions. | Removed the modelling rules from state and transition objects as they are never created (multiple tables). |

OPC UA FOR APACHE ARROW ENCODING

Part 1: Columnar DataEncoding, PubSub batches and historian access

# Scope

This specification defines how OPC UA values are represented as Apache Arrow columnar data — as a stand-alone DataEncoding for OPC UA values (a peer of the Binary, XML and JSON DataEncodings of OPC 10000-6), as a PubSub batch message mapping (a peer of the JSON message mapping of OPC 10000-14), and as a historian / ADBC access result mapping for OPC 10000-11 Historical Access.

The DataEncoding part (6.4) maps every OPC UA value to one Apache Arrow DataType and serializes it as Arrow IPC; the mapping is reversible: for each OPC UA type descriptor T and value x, decode(T, encode(T, x)) reconstructs an OPC UA value canonically equal to x. The message-mapping part (6.5) defines Arrow IPC / bare-RecordBatch NetworkMessages and DataSetMessages, key and delta frames, sparse-DataSet nullable-column handling, the SchemaId handshake, configuration parameters and content types. The access part (6.6) maps HistoryRead results to Arrow RecordBatch streams for ADBC-style clients.

Arrow is columnar: a single Part 6 scalar value is a length-1 Arrow Array or StructArray, and a PubSub DataSet field or a historian Value uses the same Arrow DataType as its column type — there is one mapping across all three parts.

Normative exclusion. OPC UA Arrow does not map OPC UA Actions, action invoke requests or action invoke responses; Actions shall use the OPC UA Avro mapping. Arrow is defined for columnar historian access and Part 14 batch publish/subscribe payloads.

## Conformance to the OPC 20020 template

This document follows OPC 20020 - UA Companion Specification Template version 1.01.19. The template admits no deviation. The departures below are stated here because the subject matter of this document cannot satisfy the clause concerned; every other requirement of the template is met.

This document defines a DataEncoding: a mapping of the OPC UA type model onto Apache Arrow, a PubSub batch mapping and a historian access surface. It defines no OPC UA information model of its own: it has no NodeSet, no ObjectTypes, no VariableTypes, no DataTypes, no ReferenceTypes and no Instances. The NodeClass clauses of OPC 20020 are therefore omitted rather than left empty, and Annex A states the generated per-type reference this document does define in place of a NodeSet.

NOTE   PROVISIONAL WORKING DRAFT — not normative, not endorsed by the OPC Foundation. The document number and the Mantis project identifier in this document are placeholders; the OPC Foundation assigns the real values.

OPC Foundation

OPC is the interoperability standard for the secure and reliable exchange of data and information in the industrial automation space and in other industries. It is platform independent and ensures the seamless flow of information among devices from multiple vendors. The OPC Foundation is responsible for the development and maintenance of this standard.

OPC UA is a platform independent service-oriented architecture that integrates all the functionality of the individual OPC Classic specifications into one extensible framework. This multi-layered approach accomplishes the original design specification goals of:

- Platform independence: from an embedded microcontroller to cloud-based infrastructure

- Secure: encryption, authentication, authorisation, and auditing

- Extensible: ability to add new features including transports without affecting existing applications

- Comprehensive information modelling capabilities: for defining any model from simple to complex

Apache Software Foundation

# Normative references

The following referenced documents are indispensable for the application of this document. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments and errata) applies.

NOTE   The OPC UA core specifications are regularly published as IEC 62541.

OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts

http://www.opcfoundation.org/documents/10000-1/

OPC 10000-2, OPC Unified Architecture - Part 2: Security Model

http://www.opcfoundation.org/documents/10000-2/

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model

http://www.opcfoundation.org/documents/10000-3/

OPC 10000-4, OPC Unified Architecture - Part 4: Services

http://www.opcfoundation.org/documents/10000-4/

OPC 10000-5, OPC Unified Architecture - Part 5: Information Model

http://www.opcfoundation.org/documents/10000-5/

OPC 10000-6, OPC Unified Architecture - Part 6: Mappings, which this document extends with a new DataEncoding.

http://www.opcfoundation.org/documents/10000-6/

OPC 10000-7, OPC Unified Architecture - Part 7: Profiles

http://www.opcfoundation.org/documents/10000-7/

OPC 10000-11, OPC Unified Architecture - Part 11: Historical Access

http://www.opcfoundation.org/documents/10000-11/

OPC 10000-12, OPC Unified Architecture - Part 12: Discovery and Global Services

http://www.opcfoundation.org/documents/10000-12/

OPC 10000-14, OPC Unified Architecture - Part 14: PubSub, whose NetworkMessage and DataSetMessage this document maps.

http://www.opcfoundation.org/documents/10000-14/

Apache Arrow specification, The Arrow columnar format and its IPC framing, which this document maps onto.

https://arrow.apache.org/docs/format/Columnar.html

Apache Arrow ADBC, Arrow Database Connectivity, the statement and result model the historian access surface follows.

https://arrow.apache.org/adbc/

OPC UA for Schema Registry, The in-server registry that resolves a SchemaId to the schema document that produced it.

# Terms, abbreviated terms and conventions

## Overview

## Arrow Encoding terms

It is assumed that basic concepts of OPC UA information modelling and of Arrow Encoding are understood in this document. This document uses these concepts to describe the Arrow Encoding Information Model. For the purposes of this document, the terms and definitions given in OPC 10000-1, OPC 10000-3, OPC 10000-4, OPC 10000-5 and OPC 10000-7, as well as the following, apply.

OPC UA terms and terms defined in this document are italicized in the document.

## Abbreviated terms

Arrow value array

The length-1 Arrow Array carrying one OPC UA value.

DataSet column

An Arrow RecordBatch column whose DataType is the Part 6 mapping for the DataSet field DataType.

Null slot

An Arrow validity-bitmap null. Null slots are the canonical null mechanism.

Matrix

An OPC UA multi-dimensional array represented as dimensions plus row-major values.

Default Arrow

The DataTypeEncoding Object for the Arrow encoding of an OPC UA DataType; the analogue of Default Binary, Default XML and Default JSON.

SchemaId

The first 8 bytes of the SHA-256 fingerprint of the serialized Arrow Schema IPC message bytes; it identifies the exact Arrow schema needed to decode a payload and is independent of PubSub ConfigurationVersion.

Bare RecordBatch

The batch ArrowIpcFormat: a single Arrow RecordBatch message with no preceding IPC Schema message, whose schema is resolved out of band by SchemaId.

ADBC

Arrow Database Connectivity — a client API surface (Connection → Statement → ExecuteQuery → ArrowArrayStream).

## Conventions used in this document

Following are basic conventions that shall be followed for all formal definitions used.

### Conventions for Node descriptions

#### Node definitions

Node definitions are specified using tables (see Table 2).

Attributes are defined by providing the Attribute name and a value, or a description of the value.

References are defined by providing the ReferenceType name, the BrowseName of the TargetNode and its NodeClass.

If the TargetNode is a component of the Node being defined in the table the Attributes of the composed Node are defined in the same row of the table.

The DataType is only specified for Variables; “[<number>]” indicates a single-dimensional array, for multi-dimensional arrays the expression is repeated for each dimension (e.g. [2][3] for a two-dimensional array). For all arrays the ArrayDimensions is set as identified by <number> values. If no <number> is set, the corresponding dimension is set to 0, indicating an unknown size. If no number is provided at all the ArrayDimensions can be omitted. If no brackets are provided, it identifies a scalar DataType and the ValueRank is set to the corresponding value (see OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model). In addition, ArrayDimensions is set to null or is omitted. If it can be Any or ScalarOrOneDimension, the value is put into “{<value>}”, so either “{Any}” or “{ScalarOrOneDimension}” and the ValueRank is set to the corresponding value (see OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model) and the ArrayDimensions is set to null or is omitted. Examples are given in Table 1.

Table 1 – Examples of DataTypes

| Notation | DataType | ValueRank | ArrayDimensions | Description |
| --- | --- | --- | --- | --- |
| 0:Int32 | 0:Int32 | -1 | omitted or null | A scalar Int32. |
| 0:Int32{OneOrMoreDimensions} | 0:Int32 | 0 | omitted or null | The Int32 value is an array with one or more dimensions. |
| 0:Int32[] | 0:Int32 | 1 | omitted or {0} | Single-dimensional array of Int32 with an unknown size. |
| 0:Int32[][] | 0:Int32 | 2 | omitted or {0,0} | Two-dimensional array of Int32 with unknown sizes for both dimensions. |
| 0:Int32[3][] | 0:Int32 | 2 | {3,0} | Two-dimensional array of Int32 with a size of 3 for the first dimension and an unknown size for the second dimension. |
| 0:Int32[5][3] | 0:Int32 | 2 | {5,3} | Two-dimensional array of Int32 with a size of 5 for the first dimension and a size of 3 for the second dimension. |
| 0:Int32{Any} | 0:Int32 | -2 | omitted or null | An Int32 where it is unknown if it is scalar or array with any number of dimensions. |
| 0:Int32{ScalarOrOneDimension} | 0:Int32 | -3 | omitted or null | An Int32 where it is either a single-dimensional array or a scalar. |

The TypeDefinition is specified for Objects and Variables.

The TypeDefinition column specifies a symbolic name for a NodeId, i.e., the specified Node points with a HasTypeDefinition Reference to the corresponding Node.

The ModellingRule of the referenced component is provided by specifying the symbolic name of the rule in the ModellingRule column. In the AddressSpace, the Node shall use a HasModellingRule Reference to point to the corresponding ModellingRule Object.

If the NodeId of a DataType is provided, the symbolic name of the Node representing the DataType shall be used.

Note that if a symbolic name of a different namespace is used, it is prefixed by the NamespaceIndex (see 3.4.2.2).

Nodes of all other NodeClasses cannot be defined in the same table; therefore, only the used ReferenceType, their NodeClass and their BrowseName are specified. A reference to another part of this document points to their definition. Table 2 illustrates the table. If no components are provided, the DataType, TypeDefinition and Other columns can be omitted and only a Comment column is introduced to point to the Node definition.

Each Type Node or well-known Instance Node defined shall have one or more ConformanceUnits defined in 7 that require the Node to be in the AddressSpace.

The relations between Nodes and ConformanceUnits are defined at the end of the tables defining Nodes, one row per ConformanceUnit. The ConformanceUnits are reflected in the Category element for the Node definition in the UANodeSet (see OPC 10000-6, OPC Unified Architecture - Part 6: Mappings, which this document extends with a new DataEncoding.).

The list of ConformanceUnits in the UANodeSet allows Servers to optimize resource consumption by using a list of supported ConformanceUnits to select a subset of the Nodes in an Information Model.

When a Node is selected in this way, all dependencies implied by the References are also selected.

Dependencies exist if the Node is the source of HasTypeDefinition, HasInterface, HasAddIn or any HierarchicalReference. Dependencies also exist if the Node is the target of a HasSubtype Reference. For Variables and VariableTypes, the value of the DataType Attribute is a dependency. For DataType Nodes, any DataTypes referenced in the DataTypeDefinition Attribute are also dependencies.

For additional details see OPC 10000-5, OPC Unified Architecture - Part 5: Information Model.

Table 2 – Type Definition Table

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Attribute name | Attribute value. If it is an optional Attribute that is not set “--” is used. |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| ReferenceType name | NodeClass of the target Node. | BrowseName of the target Node. | DataType of the referenced Node, only applicable for Variables. | TypeDefinition of the referenced Node, only applicable for Variables and Objects. | Additional characteristics of the TargetNode such as the ModellingRule or AccessLevel. |
| NOTE Notes referencing footnotes of the table content. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| Name of ConformanceUnit, one row per ConformanceUnit |  |  |  |  |  |

Components of Nodes can be complex that is containing components by themselves. The TypeDefinition, NodeClass and DataType can be derived from the type definitions, and the symbolic name can be created as defined in 3.4.3.1. Therefore, those containing components are not explicitly specified; they are implicitly specified by the type definitions.

The Other column defines additional characteristics of the Node. Examples of characteristics that can appear in this column are show in Table 3.

Table 3 – Examples of Other characteristics

| Name | Short Name | Description |
| --- | --- | --- |
| 0:Mandatory | M | The Node has the Mandatory ModellingRule. |
| 0:Optional | O | The Node has the Optional ModellingRule. |
| 0:MandatoryPlaceholder | MP | The Node has the MandatoryPlaceholder ModellingRule. |
| 0:OptionalPlaceholder | OP | The Node has the OptionalPlaceholder ModellingRule. |
| ReadOnly | RO | The Node AccessLevel has the CurrentRead bit set but not the CurrentWrite bit. |
| ReadWrite | RW | The Node AccessLevel has the CurrentRead and CurrentWrite bits set. |
| WriteOnly | WO | The Node AccessLevel has the CurrentWrite bit set but not the CurrentRead bit. |

If multiple characteristics are defined, they are separated by commas. The name or the short name can be used.

#### Additional References

To provide information about additional References, the format as shown in Table 4 is used.

Table 4 – <some>Type additional References

| SourceBrowsePath | Reference Type | Is Forward | TargetBrowsePath |
| --- | --- | --- | --- |
| SourceBrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table. | ReferenceType name | True = forward Reference. | TargetBrowsePath points to another Node, which can be a well-known instance or a TypeDefinition. You can use BrowsePaths here as well, which is either relative to the TypeDefinition or absolute. If absolute, the first entry needs to refer to a type or well-known instance, uniquely identified within a namespace by the BrowseName. |

References can be to any other Node.

#### Additional sub-components

To provide information about sub-components, the format as shown in Table 5 is used.

Table 5 – <some>Type additional subcomponents

| BrowsePath | References | NodeClass | BrowseName | DataType | TypeDefinition | Others |
| --- | --- | --- | --- | --- | --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | NOTE Same as for Table 2 |  |  |  |  |  |

#### Additional Attribute values

The type definition table provides columns to specify the values for required Node Attributes for InstanceDeclarations. To provide information about additional Attributes, the format as shown in Table 6 is used.

Table 6 – <some>Type Attribute values for child Nodes

| BrowsePath | <Attribute name> Attribute |
| --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | The values of attributes are converted to text by adapting the reversible JSON encoding rules defined in OPC 10000-6. If the JSON encoding of a value is a JSON string or a JSON number then that value is entered in the value field. Double quotes are not included. If the DataType includes a NamespaceIndex (QualifiedNames, NodeIds or ExpandedNodeIds) then the notation used for BrowseNames is used. If the value is an Enumeration the name of the enumeration value is entered. If the value is a Structure then a sequence of name and value pairs is entered. Each pair is followed by a newline. The name is followed by a colon. The names are the names of the fields in the DataTypeDefinition. If the value is an array of non-structures then a sequence of values is entered where each value is followed by a newline. If the value is an array of Structures or a Structure with fields that are arrays or with nested Structures then the complete JSON array or JSON object is entered. |

There can be multiple columns to define more than one Attribute.

### NodeIds and BrowseNames

#### NodeIds

This document describes no Nodes and therefore allocates no NodeIds. Annex A defines the machine-readable artifacts this document publishes instead.Annex A

The symbolic name of each Node defined in this document is its BrowseName, or, when it is part of another Node, the BrowseName of the other Node, a “.”, and the BrowseName of itself. In this case “part of” means that the whole has a HasProperty or HasComponent Reference to its part. Since all Nodes not being part of another Node have a unique name in this document, the symbolic name is unique.

The NamespaceUri for all NodeIds defined in this document is defined in Annex A. The NamespaceIndex for this NamespaceUri is vendor-specific and depends on the position of the NamespaceUri in the server namespace table.

Note that this document not only defines concrete Nodes, but also requires that some Nodes shall be generated, for example one for each Session running on the Server. The NodeIds of those Nodes are Server-specific, including the namespace. But the NamespaceIndex of those Nodes cannot be the NamespaceIndex used for the Nodes defined in this document, because they are not defined by this document but generated by the Server.

#### BrowseNames

The text part of the BrowseNames for all Nodes defined in this document is specified in the tables defining the Nodes. The NamespaceUri for all BrowseNames defined in this document is defined in 8.2.

For InstanceDeclarations of NodeClass Object and Variable that are placeholders (OptionalPlaceholder and MandatoryPlaceholder ModellingRule), the BrowseName and the DisplayName are enclosed in angle brackets (<>) as recommended in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

If a BrowseName is not defined by this document, a namespace index prefix is added to the BrowseName (e.g., prefix '0' leading to ‘0:EngineeringUnits’ or prefix '2' leading to ‘2:DeviceRevision’). This is typically necessary if a Property of another specification is overwritten or used in the OPC UA types defined in this document. Table 27 – Namespaces used in this document provides a list of namespaces and their indexes as used in this document.

### Common Attributes

#### General

The Attributes of Nodes, their DataTypes and descriptions are defined in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model. Attributes not marked as optional are mandatory and shall be provided by a Server. The following tables define if the Attribute value is defined by this document or if it is server-specific.

For all Nodes specified in this document, the Attributes named in Table 7 shall be set as specified in the table.

Table 7 – Common Node Attributes

| Attribute | Value |
| --- | --- |
| DisplayName | The DisplayName is a LocalizedText. Each Server shall provide the DisplayName identical to the BrowseName of the Node for the LocaleId “en” unless specified differently in the specification. Whether the Server provides translated names for other LocaleIds is server-specific. |
| Description | Optionally a server-specific description is provided. |
| NodeClass | Shall reflect the NodeClass of the Node. |
| NodeId | The NodeId is described by BrowseNames as defined in 3.4.2.1. |
| WriteMask | Optionally the WriteMask Attribute can be provided. If the WriteMask Attribute is provided, it shall set all non-server-specific Attributes to not writable. For example, the Description Attribute can be set to writable since a Server can provide a server-specific description for the Node. The NodeId shall not be writable, because it is defined for each Node in this document. |
| UserWriteMask | Optionally the UserWriteMask Attribute can be provided. The same rules as for the WriteMask Attribute apply. |
| RolePermissions | Optionally server-specific role permissions can be provided. |
| UserRolePermissions | Optionally the role permissions of the current Session can be provided. The value is server-specific and depends on the RolePermissions Attribute (if provided) and the current Session. |
| AccessRestrictions | Optionally server-specific access restrictions can be provided. |

#### Objects

For all Objects specified in this document, the Attributes named in Table 8 shall be set as specified in the Table 8. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 8 – Common Object Attributes

| Attribute | Value |
| --- | --- |
| EventNotifier | Whether the Node can be used to subscribe to Events or not is server-specific. |

#### Variables

For all Variables specified in this document, the Attributes named in Table 9 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 9 – Common Variable Attributes

| Attribute | Value |
| --- | --- |
| MinimumSamplingInterval | Optionally, a server-specific minimum sampling interval is provided. |
| AccessLevel | The access level for Variables used for type definitions is server-specific, for all other Variables defined in this document, the access level shall allow reading; other settings are server-specific. |
| UserAccessLevel | The value for the UserAccessLevel Attribute is server-specific. It is assumed that all Variables can be accessed by at least one user. |
| Value | For Variables used as InstanceDeclarations, the value is server-specific; otherwise, it shall represent the value described in the text. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the Variable. |
| Historizing | The value for the Historizing Attribute is server-specific. |
| AccessLevelEx | If the AccessLevelEx Attribute is provided, it shall have the bits 8, 9, and 10 set to 0, meaning that read and write operations on an individual Variable are atomic, and arrays can be partly written. |

#### VariableTypes

For all VariableTypes specified in this document, the Attributes named in Table 10 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 10 – Common VariableType Attributes

| Attributes | Value |
| --- | --- |
| Value | Optionally a server-specific default value can be provided. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the VariableType. |

#### Methods

For all Methods specified in this document, the Attributes named in Table 11 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 11 – Common Method Attributes

| Attributes | Value |
| --- | --- |
| Executable | All Methods defined in this document shall be executable (Executable Attribute set to “True”), unless it is defined differently in the Method definition. |
| UserExecutable | The value of the UserExecutable Attribute is server-specific. It is assumed that all Methods can be executed by at least one user. |

### Structures

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model differentiates between different kinds of Structures. The following conventions explain, how these Structures shall be defined.

The first kind are Structures without optional fields where none of the fields allows subtype (except fields with abstract DataTypes). Its definition is in Table 12.

Table 12 – Structures without optional fields where none of the fields allow subtypes

| Name | Type | Description |
| --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |
| SP1 | 0:Byte[] | Setpoint 1 |
| SP2 | 0:Byte[] | Setpoint 2 |

The second kind are Structures with optional fields where none of the fields allows subtypes (except fields with abstract DataTypes). Its definition is in Table 13.

Structures with fields that are optional have an “Optional” column. Fields that are optional have True set, otherwise False.

Table 13 – Structures with optional fields

| Name | Type | Description | Optional |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Optional Field_1 | 0:String | Some Text | True |

The third kind are Structures without optional fields where one or more of the fields allow subtypes. Its definition is in Table 14.

Structures with fields that allow subtypes have an “Allow Subtypes” column. Fields that allow subtypes have True set, otherwise False. Fields with abstract DataTypes can always be subtyped.

Table 14 – Structures where one or more of the fields allow subtypes

| Name | Type | Description | Allow Subtypes |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Allow Subtypes | 0:ByteString | Some Bytestring | True |

Fields with abstract DataTypes shall have True in the “Allow Subtypes” column.

It is not allowed to add both columns to combine optional fields and fields that allow subtypes in one structure.

# General information to Arrow Encoding and OPC UA

## Introduction to Arrow Encoding

Apache Arrow is a columnar in-memory format: the values of one field are stored together rather than each record being stored whole. Analytical work reads a few fields of many records, and a columnar layout lets it touch only those fields, in a form a processor can scan without decoding value by value. The same layout is what Arrow puts on the wire, so a reader consumes it without parsing.

OPC UA moves data one record at a time, which suits control and does not suit analysis. A historian answering "the last month of these forty signals" returns a great many small structures, each carrying its own field identities, and every consumer then reshapes them into columns before it can do anything useful.

This document defines an Arrow DataEncoding for OPC UA, a PubSub mapping that publishes batches of DataSet messages as record batches, and an access surface that returns the result of a historian read as a stream of record batches rather than as individual values.

## Introduction to OPC Unified Architecture

This is an OPC UA introduction that can be used as is, shortened or enhanced as appropriate.

### What is OPC UA?

OPC UA is an open and royalty free set of standards designed as a universal communication protocol. While there are numerous communication solutions available, OPC UA has key advantages:

- A state of art security model (see OPC 10000-2, OPC Unified Architecture - Part 2: Security Model).

- A fault tolerant communication protocol.

- An information modelling framework that allows application developers to represent their data in a way that makes sense to them.

OPC UA has a broad scope which delivers for economies of scale for application developers. This means that a larger number of high-quality applications at a reasonable cost are available. When combined with semantic models such as Arrow Encoding, OPC UA makes it easier for end users to access data via generic commercial applications.

The OPC UA model is scalable from small devices to ERP systems. OPC UA Servers process information locally and then provide that data in a consistent format to any application requesting data - ERP, MES, PMS, Maintenance Systems, HMI, Smartphone, or a standard Browser, for examples. For a more complete overview see OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts.

### Basics of OPC UA

As an open standard, OPC UA is based on standard internet technologies, like TCP/IP, HTTP, Web Sockets.

As an extensible standard, OPC UA provides a set of Services (see OPC 10000-4, OPC Unified Architecture - Part 4: Services) and a basic information model framework. This framework provides an easy manner for creating and exposing vendor defined information in a standard way. More importantly all OPC UA Clients are expected to be able to discover and use vendor-defined information. This means OPC UA users can benefit from the economies of scale that come with generic visualisation and historian applications. This specification is an example of an OPC UA Information Model designed to meet the needs of developers and users.

OPC UA Clients can be any consumer of data from another device on the network to browser based thin clients and ERP systems. The full scope of OPC UA applications is shown in Figure 1.

Figure 1 – The scope of OPC UA within an enterprise

OPC UA provides a robust and reliable communication infrastructure having mechanisms for handling lost messages, failover, heartbeat, etc. With its binary encoded data, it offers a high-performing data exchange solution. Security is built into OPC UA as security requirements become more and more important especially since environments are connected to the office network or the internet and attackers are starting to focus on automation systems.

### Information modelling in OPC UA

#### Concepts

OPC UA provides a framework that can be used to represent complex information as Objects in an AddressSpace which can be accessed with standard services. These Objects consist of Nodes connected by References. Different classes of Nodes convey different semantics. For example, a Variable Node represents a value that can be read or written. The Variable Node has an associated DataType that can define the actual value, such as a string, float, structure etc. It can also describe the Variable value as a variant. A Method Node represents a function that can be called. Every Node has a number of Attributes including a unique identifier called a NodeId and non-localized name called as BrowseName. An Object representing a ‘Reservation’ is shown in Figure 2.

Figure 2 – A basic Object in an OPC UA Address Space

Object and Variable Nodes represent instances and they always reference a TypeDefinition (ObjectType or VariableType) Node which describes their semantics and structure. Figure 3 illustrates the relationship between an instance and its TypeDefinition.

The type Nodes are templates that define all of the children that can be present in an instance of the type. In the example in Figure 3 the PersonType ObjectType defines two children: First Name and Last Name. All instances of PersonType are expected to have the same children with the same BrowseNames. Within a type the BrowseNames uniquely identify the children. This means Client applications can be designed to search for children based on the BrowseNames from the type instead of NodeIds. This eliminates the need for manual reconfiguration of systems if a Client uses types that multiple Servers implement.

OPC UA also supports the concept of sub-typing. This allows a modeller to take an existing type and extend it. There are rules regarding sub-typing defined in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model, but in general they allow the extension of a given type or the restriction of a DataType. For example, the modeller can decide that the existing ObjectType in some cases needs an additional Variable. The modeller can create a subtype of the ObjectType and add the Variable. A Client that is expecting the parent type can treat the new type as if it was of the parent type. Regarding DataTypes, subtypes can only restrict. If a Variable is defined to have a numeric value, a subtype could restrict it to a float.

Figure 3 – The relationship between Type Definitions and Instances

References allow Nodes to be connected in ways that describe their relationships. All References have a ReferenceType that specifies the semantics of the relationship. References can be hierarchical or non-hierarchical. Hierarchical references are used to create the structure of Objects and Variables. Non-hierarchical are used to create arbitrary associations. Applications can define their own ReferenceType by creating subtypes of an existing ReferenceType. Subtypes inherit the semantics of the parent but can add additional restrictions. Figure 4 depicts several References, connecting different Objects.

Figure 4 – Examples of References between Objects

The figures above use a notation that was developed for the OPC UA specification. The notation is summarized in Figure 5. UML representations can also be used; however, the OPC UA notation is less ambiguous because there is a direct mapping from the elements in the figures to Nodes in the AddressSpace of an OPC UA Server.

Figure 5 – The OPC UA Information Model notation

A complete description of the different types of Nodes and References can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model and the base structure is described in OPC 10000-5, OPC Unified Architecture - Part 5: Information Model.

The OPC UA specification defines a very wide range of functionality in its basic information model. It is not required that all Clients or Servers support all functionality in the OPC UA specifications. OPC UA includes the concept of Profiles, which segment the functionality into testable certifiable units. This allows the definition of functional subsets (that are expected to be implemented) within a companion specification. The Profiles do not restrict functionality, but generate requirements for a minimum set of functionalities (see OPC 10000-7, OPC Unified Architecture - Part 7: Profiles).

#### Namespaces

OPC UA allows information from many different sources to be combined into a single coherent AddressSpace. Namespaces are used to make this possible by eliminating naming and id conflicts between information from different sources. Each namespace in OPC UA has a globally unique string called a NamespaceUri which identifies a naming authority and a locally unique integer called a NamespaceIndex, which is an index into the Server's table of NamespaceUris. The NamespaceIndex is unique only within the context of a Session between an OPC UA Client and an OPC UA Server- the NamespaceIndex can change between Sessions and still identify the same item even though the NamespaceUri's location in the table has changed. The Services defined for OPC UA use the NamespaceIndex to specify the Namespace for qualified values.

There are two types of structured values in OPC UA that are qualified with NamespaceIndexes: NodeIds and QualifiedNames. NodeIds are locally unique (and sometimes globally unique) identifiers for Nodes. The same globally unique NodeId can be used as the identifier in a node in many Servers – the node's instance data can vary but its semantic meaning is the same regardless of the Server it appears in. This means Clients can have built-in knowledge of of what the data means in these Nodes. OPC UA Information Models generally define globally unique NodeIds for the TypeDefinitions defined by the Information Model.

QualifiedNames are non-localized names qualified with a Namespace. They are used for the BrowseNames of Nodes and allow the same names to be used by different information models without conflict. TypeDefinitions are not allowed to have children with duplicate BrowseNames; however, instances do not have that restriction.

#### Companion Specifications

An OPC UA companion specification for an industry specific vertical market describes an Information Model by defining ObjectTypes, VariableTypes, DataTypes and ReferenceTypes that represent the concepts used in the vertical market, and potentially also well-defined Objects as entry points into the AddressSpace.

# Use cases

Arrow is for the work OPC UA record-at-a-time delivery serves badly: reading many values of a few signals, and handing them to something that analyses rather than controls.

Historian and analytics. A query for a month of a few dozen signals returns as a stream of record batches, in the layout an analytical engine already uses, so the consumer neither parses each value nor reshapes rows into columns before it can begin.

High-rate PubSub. A publisher that would otherwise emit a message per sample emits a batch covering an interval, which amortises the header and the framing over many samples and keeps the columnar layout intact end to end.

Interchange with the wider data ecosystem. The encoded form is consumed directly by tools that already speak Arrow, without an intermediate conversion that would have to be written, maintained and trusted.

Arrow is not a replacement for the OPC UA binary encoding in the request-response path, where a single value is wanted at once and a columnar layout has nothing to amortise over.

# Arrow Encoding information model overview

## Where Arrow fits

OPC UA separates a value's DataType (its structure, from the DataTypeDefinition) from its DataEncoding (its serialization). OPC 10000-6 defines the Binary, XML and JSON DataEncodings, each exposed as a DataTypeEncoding Object linked from the DataType with HasEncoding. This specification adds Default Arrow as a further DataTypeEncoding for columnar interchange. There is one canonical form per OPC UA DataType (6.4): encoders shall not choose alternative Arrow layouts for the same DataType. This draft describes the encoding Object but does not assign NodeIds.

## Columnar model, IPC framing and endianness

Arrow is a columnar format: values of one type are stored in a typed Array with a validity bitmap (nulls), and — for variable-length types — an offsets buffer plus a data buffer. Multi-byte values in Arrow buffers are little-endian per the Arrow columnar format. A batch of samples is an Arrow RecordBatch (one column per field); a self-contained IPC stream prefixes a Schema message before its RecordBatches, an IPC file adds a random-access footer, and a bare RecordBatch (batch) omits the schema and resolves it out of band by SchemaId (6.5). These are framing options over the identical canonical column layout, not encoding variants.

## Schema identity and reversibility

Because Arrow data is only interpretable with its schema, this mapping identifies each schema by a SchemaId — the first 8 bytes of SHA-256 over the serialized Arrow Schema bytes (6.4) — so producers and consumers agree on the exact schema without carrying it in every bare-RecordBatch message. The mapping is reversible: null-vs-empty distinctions (validity bitmap vs zero-length), unsigned integer bit patterns, signed zero and the exact OPC UA runtime type of a Variant all round-trip. A receiver that must decode a bare RecordBatch before receiving the schema resolves the SchemaId from a cache, an announcement, or a schema registry such as the one in ../schema-registry/OPC-UA-Schema-Registry.md.

## OPC UA Arrow DataEncoding

### OPC UA Arrow

OPC UA Arrow maps each OPC UA DataType to one Apache Arrow DataType. A value encoded by this mapping is a length-1 Arrow Array with that DataType. When used by OPC UA PubSub, the same DataType is used as the column type for the corresponding DataSet field.

#### General rules

Null OPC UA values shall be encoded as Arrow null slots using the native validity bitmap. Empty strings, empty ByteStrings and empty lists shall be encoded as present non-null slots with zero length content. Optional Structure fields shall use struct<present:bool, value:T> so an absent optional field (present=false) is distinct from a present field whose value is null (present=true, value=null).

Arrow IPC stream content shall use media type application/vnd.apache.arrow.stream. Arrow IPC file content shall use media type application/vnd.apache.arrow.file.

OPC UA DataTypes that support DataTypeEncoding Objects may describe a Default Arrow DataTypeEncoding Node. This draft describes that Node but does not allocate final NodeIds.

#### Built-in DataTypes

For generated per-type schemas and examples, see Annex A.

Table 15 – Built-in DataTypes

| OPC UA Built-in DataType | Arrow DataType | Canonical notes |
| --- | --- | --- |
| Boolean | bool | Valid values true and false. |
| SByte | int8 | Exact-width signed integer. |
| Byte | uint8 | Exact-width unsigned integer. |
| Int16 | int16 | Exact-width signed integer. |
| UInt16 | uint16 | Exact-width unsigned integer. |
| Int32 | int32 | Exact-width signed integer. |
| UInt32 | uint32 | Exact-width unsigned integer. |
| Int64 | int64 | Exact-width signed integer. |
| UInt64 | uint64 | Full unsigned 64-bit range is preserved. |
| Float | float32 | IEEE-754 single precision; signed zero is significant; NaN payload canonicalization by Arrow implementations is not significant. |
| Double | float64 | IEEE-754 double precision; signed zero is significant; NaN payload canonicalization by Arrow implementations is not significant. |
| String | utf8 | Null String is an Arrow null slot; empty String is a present zero-length string. |
| DateTime | int64 | Raw OPC UA 100 ns ticks since 1601-01-01 UTC. timestamp(ns) is informative only and is not canonical due to epoch, precision and range differences. |
| Guid | fixed_size_binary(16) | Raw 16 octets. |
| ByteString | binary | Null ByteString is an Arrow null slot; empty ByteString is present zero-length binary. |
| XmlElement | utf8 | XML fragment text; null XML value is an Arrow null slot. |
| NodeId | utf8 (dictionary-encodable) | The OPC UA textual NodeId form ns=<index>;<t>=<id> with i=/s=/g=/b= per OPC 10000-6 (the ns=0; prefix is omitted). Unlike the structured row encodings, Arrow uses one string column, so a NodeId is a single utf8 value; encoders should dictionary-encode the column when NodeIds repeat. A null NodeId is an Arrow null slot. |
| ExpandedNodeId | utf8 (dictionary-encodable) | The OPC UA textual ExpandedNodeId form: an optional svr=<n>; prefix when ServerIndex is non-zero, then nsu=<uri>; when a NamespaceUri is present or else ns=<index>;, then <t>=<id>. |
| StatusCode | uint32 | Full StatusCode bit pattern. |
| QualifiedName | struct<namespace:uint16, name:utf8> | name is nullable. |
| LocalizedText | struct<locale:utf8, text:utf8> | Members are nullable independently. |
| ExtensionObject | struct<type_id:NodeId, body:dense_union<null, known structs, binary>> | type_id carries the concrete DataType or Encoding NodeId. body selects the null branch for a null ExtensionObject. Unknown bodies may be carried as binary. |
| DataValue | struct<value:Variant, status:uint32, source_timestamp:int64, source_picoseconds:uint16, server_timestamp:int64, server_picoseconds:uint16> | All child fields are nullable; DateTime children use raw ticks. |
| Variant | dense_union<null, scalar built-ins, list built-ins, matrix, ExtensionObject> | Carries exact runtime type identity and dimensions. A null Variant is a null slot. |
| DiagnosticInfo | struct<symbolic_id:int32, namespace_uri:int32, locale:int32, localized_text:int32, additional_info:utf8, inner_status_code:uint32, inner_diagnostic_info:list<DiagnosticInfoFrame>> | All scalar child fields are nullable. inner_diagnostic_info is an ordered list of non-recursive DiagnosticInfo frames, outermost inner first, which preserves the recursive OPC UA chain without embedding JSON or opaque binary. |

NodeId and ExpandedNodeId use the OPC UA textual form in a single utf8 column rather than the structured multi-field representation used by the Avro row encoding. The textual form is fully reversible: the s= string identifier is the last component and runs to the end of the value so it needs no escaping, g= uses the canonical 36-character GUID form, b= uses base64 for opaque identifiers, and a NamespaceIndex round-trips through ns=, a NamespaceUri through nsu=, and a non-zero ServerIndex through svr=.

#### Enumerations and OptionSets

Enumerations shall be represented as int32; symbolic labels in generated schema metadata are informative and the integer value is normative for decoding. OptionSets shall be represented by the exact-width unsigned integer required by the OptionSet bit size (uint32 for 32-bit OptionSets unless the DataTypeDefinition states otherwise).

#### Structures, optional fields and Unions

An OPC UA Structure shall be represented as an Arrow struct with one child field per DataTypeDefinition field in definition order. A StructureWithOptionalFields uses the struct<present:bool, value:T> optional wrapper for optional members; mandatory fields are nullable only when the field DataType itself is nullable.

An OPC UA Union shall be represented as an Arrow dense union with a null branch followed by one branch per OPC UA union field. Each non-null branch is struct<value:T> so selecting a nullable branch with value=null is distinct from selecting the union null branch. Type codes shall be stable for the DataTypeDefinition field order.

#### Arrays and Matrices

A one-dimensional OPC UA array shall be represented as list<Elem>, where Elem is the Arrow mapping of the element DataType. A null array is a null list slot. An empty array is a present list slot with length zero. Null elements are represented by the element validity bitmap when the element type permits nulls.

A multi-dimensional OPC UA Matrix shall be represented as struct<dimensions:list<int32>, values:list<Elem>>. dimensions contains the OPC UA dimension lengths. values contains the elements in row-major order. An OPC UA matrix has at least two dimensions, and the product of dimensions shall equal the length of values; a decoder shall reject, with Bad_DecodingError, a matrix whose dimensions has fewer than two entries or whose dimension product does not equal the length of values. Arrow fixed_shape_tensor and variable_shape_tensor extension types may be referenced informatively, but this struct is the only canonical Matrix carrier.

#### Variant

Variant shall be represented as a recursive dense union whose child arrays cover the Variant body forms the field may carry: scalar built-ins except Variant, DataValue and DiagnosticInfo; one-dimensional list forms of those built-ins; the canonical Matrix struct; and ExtensionObject. A self-describing encoding may include all body forms, whereas a schema-governed encoding may narrow the union to the aggregated set for the field and grow it across MinorVersions under the append-only rule of the Schema Registry (see OPC UA — Schema Registry §5.6), so an existing branch keeps its dense-union type code in every later minor of the same major. The union type code, list-vs-scalar form and Matrix dimensions are sufficient to reconstruct the exact OPC UA Variant type and dimensionality.

#### ExtensionObject and abstract/subtyped fields

ExtensionObject and fields declared with abstract or subtyped values shall carry concrete type identity inline. The canonical carrier is struct<type_id:NodeId, body:dense_union<null, known structs, binary>>. The type_id is the DataType NodeId or DataTypeEncoding NodeId needed to resolve the body schema. The known-struct union branches are the aggregated concrete-type set for the field per the Schema Registry (see OPC UA — Schema Registry §5.6): generated from the subtype hierarchy where bounded, or grown append-only across MinorVersions as new concrete types are encoded, with an existing branch keeping its dense-union type code, and the opaque fallback children — binary for a Binary body and utf8 for an XML or textual body — appended append-only when a value first requires them so they may occupy any type code. If the receiver does not know the body type, or the type is not yet aggregated, the body may be retained as opaque binary without claiming decoded structured content. Because a bare RecordBatch carries no schema and its node/buffer layout matches its writer-minor schema, a decoder that did not receive the writer schema in an IPC stream shall resolve the exact writer-minor schema by SchemaId (6.4.1).

#### Default Arrow DataTypeEncoding Node

For every structured DataType with a Default Binary, Default XML or Default JSON DataTypeEncoding, a companion Default Arrow DataTypeEncoding Object may be described. Its browse name is Default Arrow, its encoding format is Arrow IPC using this clause, and its schema is the canonical Arrow DataType generated from the DataTypeDefinition.

#### Schema-generation algorithm

Given an OPC UA DataType, an encoder or decoder shall derive the canonical Arrow DataType by applying the mapping in this clause recursively to the DataTypeDefinition. Built-in DataTypes map as specified in 5.6.2. Enumerations map to int32; OptionSets map to the unsigned integer width required by their DataTypeDefinition. A one-dimensional array maps to list<Elem>. A Matrix maps to struct<dimensions:list<int32>, values:list<Elem>>. A Structure maps to an Arrow struct whose child fields appear in DataTypeDefinition order. A StructureWithOptionalFields shall wrap each optional field as struct<present:bool not null, value:T> and shall not use a null child slot to mean absent. A Union shall map to a dense union with a null branch followed by one branch per union field in definition order; each non-null branch is struct<value:T>. Fields declared abstract or allowing subtyped values, and ExtensionObject, shall carry the concrete runtime type identity with the value using the canonical type_id plus dense-union body carrier. Variant and abstract values use the runtime type to select the scalar, array, matrix or ExtensionObject branch. Numeric NodeIds shall use a uint32 numeric identifier field.

The canonical Arrow Schema for a standalone Part 6 value is a single field named value with metadata opcua-arrow=1. For PubSub, the same generation function is applied to each DataSet field to form the RecordBatch schema. The canonical form of a schema is the serialized Arrow Schema IPC message bytes, for example schema.serialize().to_pybytes(). The SchemaId is the lowercase hexadecimal SHA-256 fingerprint truncated to the first 8 bytes (16 hex chars) of the canonical schema bytes, unless a profile specifies a longer length.

An encoder is not handed a foreign schema to encode against. Encoding a value produces its Arrow Schema deterministically from the inputs above: the OPC UA DataTypeDefinition of the declared DataType and, for Variant values and for fields declared abstract or allowing subtypes, the concrete runtime type of the value. When a schema is grown rather than created from scratch, the previous schema of the lineage is also an input: the generator appends the newly encountered Variant body form or ExtensionObject concrete type to that prior schema as an additional dense-union child, leaving every existing child and type code unchanged (6.4.1.12). When no previous schema is supplied, generation starts a fresh lineage — a reset that begins a new MajorVersion. A decoder that re-derives a schema uses the identical inputs, so both sides agree on every field, child and type code.

Arrow types are structural: the mapping inlines a fresh dense union at each Variant and ExtensionObject occurrence, so every field carries its own union and the fields evolve independently — appending a body form or concrete struct type to one field's union never changes another field's type. This is the per-field model; unlike the nominal Avro mapping (Avro Part 6 §6.6), Arrow has no shared named Variant/ExtensionObject type and therefore no shared-record option. Two structurally identical fields still produce identical inline types, so a schema-driven bound remains deterministic across publishers.

#### Decoder algorithm

A schema-driven decoder shall treat an Arrow IPC stream as self-contained because the stream embeds its Schema message before any RecordBatch. The decoder reads that Schema message, validates that each field uses the canonical mapping, then decodes each Arrow Array using this Part 6 mapping. If a decoder must validate a message before receiving the stream, or must enforce a governed schema, it shall look up the SchemaId in a local cache or registry and compare the received serialized Arrow Schema with the cached canonical form.

When the payload is a bare RecordBatch — the Part 14 batch ArrowIpcFormat, a single Arrow RecordBatch message with no preceding Schema message — the decoder cannot read the schema from the payload. A RecordBatch carries no schema, and its node and buffer layout is shaped by its writer-minor schema (6.4.1.7, 6.4.1.12), so the decoder shall obtain the exact writer-minor schema out of band.

It reads the SchemaId that accompanies the message, either in transport metadata (opcua-arrow-schema-id) or in the DataSetMessage/NetworkMessage envelope, and resolves the serialized Arrow Schema for that SchemaId from its schema cache, a schema registry or a prior announcement, following the Part 14 cache-miss resolution order. It then validates that each field uses the canonical mapping and decodes each Arrow Array against that schema using this Part 6 mapping. A bare RecordBatch whose SchemaId is unknown and cannot be resolved is a schema error and shall not be decoded.

An AddressSpace-driven decoder may instead read the DataTypeDefinition for the expected DataType from the AddressSpace and re-run the schema-generation algorithm in 5.6.9. Encoders and decoders shall use the same generation function, so the AddressSpace-derived Arrow Schema serializes to the same canonical form and therefore the same SchemaId. A mismatch between the received SchemaId and the re-derived SchemaId is a schema error.

In the primary use case the decoder — a subscriber or downstream Arrow consumer — likely does not have the OPC UA type model or DataTypeDefinitions at consumption time. The type model may live elsewhere but is unavailable where the batch is decoded, so that decoder cannot re-derive the schema. It instead obtains the schema by SchemaId, from the embedded Schema message of an IPC stream, a cache, an announcement or a schema registry. Only a decoder that does hold the relevant DataTypeDefinitions uses the AddressSpace-driven path above; the SchemaId is then sufficient to verify that both sides are using the same schema.

#### Conformance

An implementation conforms to OPC UA Arrow when it implements the single mapping in this clause for all 25 built-in DataTypes, Structures, Unions, Enumerations, OptionSets, Arrays, Matrices, Variant, ExtensionObject, DataValue and DiagnosticInfo, and demonstrates decode(encode(x)) == x for conforming OPC UA values.

#### Implementing schema evolution (growing unions)

The Variant dense union (6.4.1.6) and the ExtensionObject known-struct dense union (6.4.1.7) are the two Arrow unions that may grow after a schema is first announced; every other union and struct is closed. An implementer that governs an evolving schema shall grow these unions append-only, as defined by OPC UA — Schema Registry §5.6. Because Arrow types are structural, each field's union is its own inline dense union (§5.6.9), so growth is per-field: appending to one field's union does not change another field's type.

- Narrow the initial union. Prefer to build the initial (MAJOR.0) dense union data-driven, from the concrete type of the first value the field actually encodes — one child for that concrete Variant body form, or the concrete struct child for the first ExtensionObject/abstract body (or the binary child for an opaque first body) — with the concrete type standing in place of the abstract Variant/ExtensionObject and the union grown at that position (steps 2–3) as later values carry types not yet present. The encoder MAY instead seed the union schema-driven from the declared bound — one child per allowed Variant body form (a distinct child for each (BuiltInType, scalar|array|matrix) combination the field may carry), or one child per concrete struct type known for an ExtensionObject/abstract-subtyped field, in canonical order — where a schema is needed before the first message or where cross-publisher determinism is required (see OPC UA — Schema Registry §5.6).

- Grow append-only. When a value selects a body form or concrete struct type not yet present, append a new child array and assign it a dense-union type code never used in this lineage; leave every existing child and its type code unchanged. The type code travels in the union's 8-bit type-ids buffer, so a stable type code means an older RecordBatch resolves the same child under the grown schema. Type codes are int8 (0–127); assign them in a documented, monotonic order. Do not remove, reorder or retype an existing child; any such change is a MajorVersion reset.

- Append the opaque fallback like any other child. An ExtensionObject body that cannot be represented as a known-struct child is carried in an opaque fallback child — binary for a Binary body, or utf8 for an XML or textual body. A fallback child is appended when a value first requires it (step 2), so it may take any dense-union type code and is not reserved at a fixed low code. Because every child is append-only, a fallback's type code is fixed once assigned, so an opaque body written under an earlier minor still resolves to it under a grown schema.

- Recompute the SchemaId, publish and version. Each grown union yields a new serialized Arrow Schema. Recompute the SHA-256[:8] SchemaId per 6.4.1.9. The publisher shall advance the DataSet ConfigurationVersion MinorVersion, and shall publish the new schema to subscribers — registering it in the Schema Registry and announcing it per the Part 14 Arrow handshake (§6.9.2.3, §6.9.2.5) — before sending a batch that uses the appended child.

- Decode with the writer-minor schema. Unlike the row encodings, an Arrow RecordBatch's node and buffer layout is shaped by its writer schema: a self-describing IPC stream embeds that schema, but a bare RecordBatch does not. A decoder shall therefore resolve the exact writer-minor schema by SchemaId to decode a bare RecordBatch, or apply a defined upgrade that treats union children absent from the older RecordBatch as empty. A consumer that reads only IPC streams decodes each stream from its embedded schema; a consumer that reads bare RecordBatches shall cache each minor's schema by SchemaId (Schema Registry §7, §8).

See OPC UA — Schema Registry §5.6 for the full model, including the data-driven-first (or schema-driven) initial basis and the lineage/SchemaId relationship.

## PubSub message mapping

This clause maps the OPC UA PubSub NetworkMessage / DataSetMessage model (OPC 10000-14) to Apache Arrow, reusing the §5 column mapping for every DataSet field.

### Arrow mapping parameters

The WriterGroup MessageSettings for the Arrow mapping shall include: ArrowIpcFormat (batch, stream or file, default batch; see Table 6.2-1), MaxRowsPerRecordBatch, IncludeSchemaMetadata, DeltaFrameMode (nullable-columns or selected-columns), and Compression (none or an Arrow IPC-supported codec). DeltaFrameMode = nullable-columns (the default) keeps the full column set and marks absent keys as null cells, so sparse and full frames share one schema and SchemaId (6.5.2); selected-columns drops columns and changes the SchemaId and is used only when an explicit reduced-column batch is intended. The DataSetWriter MessageSettings shall identify the DataSet schema version and whether DataSet fields are represented as RawData, Variant or DataValue according to DataSetFieldContentMask.

### Arrow message mapping

The payload of an Arrow NetworkMessage shall be a bare Arrow RecordBatch (batch), an Arrow IPC stream (application/vnd.apache.arrow.stream) or an Arrow IPC file (application/vnd.apache.arrow.file) as selected by ArrowIpcFormat. All three formats carry the identical canonical Part 6 Arrow column layout — one column per DataSet field using the Part 6 Arrow mapping for that field DataType — and differ only in how the schema is conveyed, so they are framing options and not encoding variants. Schema metadata carries NetworkMessage header fields such as PublisherId, WriterGroupId, DataSetWriterId, NetworkMessageNumber, SequenceNumber, ConfigurationVersion, MessageType, Timestamp, PicoSeconds, PromotedFields and security-related flags when present.

Table 6.2-1 — ArrowIpcFormat framing options

Table 16 – Arrow message mapping

| ArrowIpcFormat | NetworkMessage payload | Schema on the wire | Self-contained | Use when |
| --- | --- | --- | --- | --- |
| batch (default) | A single bare Arrow RecordBatch message | No — announced once and referenced by SchemaId | No — needs a prior schema announcement | Default. Schema-governed channels, aligning with the Avro mapping which also exchanges the schema out of band; lowest per-message overhead. |
| stream | An Arrow IPC stream: one Schema message followed by one or more RecordBatch messages | Yes — the Schema message precedes the RecordBatches | Yes | Channels without a schema-announcement mechanism, or when each message must be independently decodable. |
| file | An Arrow IPC file: the stream contents plus a footer with a random-access block index | Yes — embedded, plus the footer index | Yes | Bounded, seekable payloads for storage or random-access retrieval. |

Each RecordBatch row is one DataSetMessage sample for the DataSet. Columns are DataSet fields. If DataSetFieldContentMask selects RawData, the column type is the field DataType mapping. If it selects Variant, the column type is the Part 6 Variant mapping. If it selects DataValue, the column type is the Part 6 DataValue mapping. The selected representation shall be the same for every row in the batch. Every DataSet field column shall be nullable (Arrow validity bitmap; for a Variant or ExtensionObject column the dense-union null child, null=0).

Key frames shall contain all fields in DataSetMetaData field order. A DataSet may be sparse — a row need not carry a value for every key. A sparse DataSet shall be represented with nullable columns: the RecordBatch keeps the identical full column set — and therefore the same schema and SchemaId — and a key with no value in a given row is written as a null cell (null:null: a cleared validity bit, or the dense-union null child). A subscriber shall treat a null cell as missing — no value for that key in that row. This is the nullable-columns mode (6.5.1) and shall be used whenever a stable schema across sparse subsets is required.

Delta frames shall identify changed fields using a field_index:list<uint16> selection column, a schema-level changed-field list, or a selected-columns RecordBatch whose metadata lists the original field indexes. A selected-columns batch omits unchanged columns and therefore changes the column set and the SchemaId, so it is the explicit schema-changing option, distinct from the stable-schema nullable-columns sparse representation above. In a selected-columns batch, omitted unchanged fields shall not be decoded as null values; they are absent by delta-frame selection.

### Bare RecordBatch framing (batch)

When ArrowIpcFormat is batch, a data NetworkMessage payload is a single bare Arrow RecordBatch message with no embedded Schema message. This removes the per-message Arrow Schema message — a fixed cost that is independent of row count, for example approximately 1.2 kB for a ten-field DataSet — from every data message. The schema is conveyed once out of band and resolved by SchemaId, exactly as the Arrow IPC stream format sends its Schema message once before any RecordBatch and as Arrow Flight carries the schema in the flight descriptor rather than in each FlightData batch. batch is a framing choice, not an encoding variant: the column and value layout is the identical canonical Part 6 Arrow mapping used by stream and file, so the requirement that encoders not introduce alternate Arrow layouts or encoding variants for the same DataType is preserved.

A publisher using batch framing shall announce the schema for a SchemaId before, or together with, the first bare RecordBatch that references it, using either a one-time Arrow IPC stream whose Schema message carries that SchemaId or an ArrowSchemaAnnouncement (6.5.9.2.3). Because a bare RecordBatch carries no schema, and therefore no in-payload SchemaId, the SchemaId shall accompany each bare RecordBatch out of band — in transport metadata (opcua-arrow-schema-id, 6.5.9.2.2) or in the DataSetMessage/NetworkMessage envelope. A subscriber shall resolve the schema for the referenced SchemaId from its cache — populated by a prior Schema message or announcement — following the 6.5.9.2.6 cache-miss resolution order, then decode the RecordBatch against that schema. A bare RecordBatch that references an unknown SchemaId is a schema error and shall not be decoded.

The relative benefit of batch framing is largest for small or single-sample messages and diminishes as rows per RecordBatch increase, because the fixed schema cost is amortised across the batch. Even without the schema, a bare RecordBatch retains the Arrow RecordBatch message header — per-column length, null-count and buffer descriptors — so batch framing reduces, but does not remove, Arrow's per-message overhead and does not make Arrow competitive with a compact row encoding for single samples. batch is the default framing because it aligns with the schema-exchange model the Avro mapping already requires; stream is used for channels without a schema-announcement mechanism or when each message must be independently decodable.

### Content types

The Arrow IPC stream content type shall be application/vnd.apache.arrow.stream. The Arrow IPC file content type shall be application/vnd.apache.arrow.file. Transports that expose MIME content types shall use these values for Arrow PubSub messages.

### Part 14 configuration model mapping

This clause defines how the Arrow message mapping is represented in the OPC 10000-14 PubSub configuration model, and the Information Model extension that carries it. It fixes the names used so that two implementations configure the mapping identically. NodeIds are assigned by the OPC Foundation; this document defines the BrowseNames, the type hierarchy and the field sets.

OPC 10000-14 selects a message mapping through the MessageSettings of each configuration object, an ExtensionObject whose concrete DataType identifies the mapping. The Arrow mapping adds an Arrow* set parallel to the Uadp* and Json* sets.

Table 17 – Part 14 configuration model mapping

| Configuration object | Field | Base DataType (OPC 10000-14) | Arrow DataType |
| --- | --- | --- | --- |
| WriterGroupDataType | MessageSettings | WriterGroupMessageDataType | ArrowWriterGroupMessageDataType |
| DataSetWriterDataType | MessageSettings | DataSetWriterMessageDataType | ArrowDataSetWriterMessageDataType |
| DataSetReaderDataType | MessageSettings | DataSetReaderMessageDataType | ArrowDataSetReaderMessageDataType |

A WriterGroup uses the Arrow message mapping if and only if its MessageSettings is an ArrowWriterGroupMessageDataType. TransportSettings are unchanged; the mapping is identified on the wire by the content types of 6.5.4.

ArrowWriterGroupMessageDataType — subtype of WriterGroupMessageDataType. Carries the mapping parameters of 6.5.1.

Table 18 – Part 14 configuration model mapping (2)

| Field | DataType | Description |
| --- | --- | --- |
| ArrowIpcFormat | ArrowIpcFormatEnum | batch (default), stream or file (Table 6.2-1). |
| MaxRowsPerRecordBatch | UInt32 | Batching target for rows per RecordBatch. |
| IncludeSchemaMetadata | Boolean | Whether NetworkMessage header fields are carried as schema metadata (6.5.6). |
| DeltaFrameMode | ArrowDeltaFrameModeEnum | nullable-columns (default) or selected-columns (6.5.2). |
| Compression | ArrowCompressionEnum | none or an Arrow IPC-supported codec. |
| ArrowSchemaUri | String | Optional URI of the schema registry or catalog serving this group's schemas. |

ArrowDataSetWriterMessageDataType — subtype of DataSetWriterMessageDataType

Table 19 – Part 14 configuration model mapping (3)

| Field | DataType | Description |
| --- | --- | --- |
| ArrowSchemaId | String | SchemaId of the DataSet schema currently published by this writer (6.3), in hexadecimal. |
| DataSetFieldContentMask | DataSetFieldContentMask | Selects RawData, Variant or DataValue column representation (6.5.2). |

ArrowDataSetReaderMessageDataType — subtype of DataSetReaderMessageDataType

Table 20 – Part 14 configuration model mapping (4)

| Field | DataType | Description |
| --- | --- | --- |
| ArrowIpcFormat | ArrowIpcFormatEnum | Framing the reader expects. |
| ArrowSchemaUri | String | Optional URI from which the reader resolves schemas by SchemaId (6.5.9.2.6). |

Three enumeration DataTypes support the above: ArrowIpcFormatEnum (Batch = 0, Stream = 1, File = 2), ArrowDeltaFrameModeEnum (NullableColumns = 0, SelectedColumns = 1) and ArrowCompressionEnum (None = 0, Lz4Frame = 1, Zstd = 2).

The Information Model representation mirrors the JSON message mapping ObjectTypes, each with the Properties of the corresponding DataType above.

Table 21 – Part 14 configuration model mapping (5)

| ObjectType | Subtype of (OPC 10000-14) |
| --- | --- |
| ArrowWriterGroupMessageType | WriterGroupMessageType |
| ArrowDataSetWriterMessageType | DataSetWriterMessageType |
| ArrowDataSetReaderMessageType | DataSetReaderMessageType |

These additions ship as an Information Model extension rather than as changes to the Part 14 NodeSet, so that they can be adopted independently.

- Namespace URI: http://opcfoundation.org/UA/Arrow/

- NodeSet: Opc.Ua.Arrow.NodeSet2.xml, with the matching Opc.Ua.Arrow.NodeIds.csv

- Contents: the three enumeration DataTypes, the three MessageSettings DataTypes and the three ObjectTypes above

The NodeSet is generated from this clause by the repository tooling and is not authored by hand. NodeIds are assigned by the OPC Foundation when the namespace is registered; until then the NodeSet is a draft and its numeric identifiers are provisional. These additions concern only the configuration model; no DataTypeEncoding Objects or HasEncoding references are added for Default Arrow.

### Header layouts

Arrow NetworkMessage header fields shall be represented as schema metadata key-value pairs when they apply to the whole stream or batch, and as columns when they vary per row. DataSetMessage header fields that vary per sample, such as status, timestamp, picoSeconds or sequence number, shall be represented as leading metadata columns before DataSet field columns.

### Content-type registry entries

This mapping lists application/vnd.apache.arrow.stream for Arrow IPC streaming PubSub payloads and application/vnd.apache.arrow.file for bounded Arrow IPC file payloads.

### DataSet schema mapping

A PublishedDataSet maps to one Arrow schema. For each FieldMetaData entry, the field name becomes the Arrow column name and the field DataType becomes the Arrow column DataType using OPC UA Part 6 Arrow. Every DataSet field column is nullable, so a sparse DataSet — a row that does not carry a value for every key — uses the same schema: the absent key is a null cell interpreted as missing (6.5.2), and the SchemaId does not change with the subset of keys carried. Field properties from DataSetMetaData are copied into Arrow field metadata so a disconnected subscriber can retain engineering units, semantic references, model namespace, SourceBrowseName and SourceTypeDefinition.

### NetworkMessage and DataSetMessage envelopes

The canonical envelope is an IPC stream with schema metadata for NetworkMessage-level values and RecordBatch rows for DataSetMessages. A bridge may wrap multiple DataSet schemas in a transport-level envelope, but each Arrow IPC stream schema shall describe exactly one DataSet schema to preserve column homogeneity.

#### Schema resolution

Arrow is schema-based: the Arrow schema of the IPC stream is required to decode the batch. The reference schema is published to, and resolved from, a central catalog as defined by OPC UA — Schema Registry (../schema-registry/OPC-UA-Schema-Registry.md). While an Arrow IPC stream embeds its own schema in the stream header (so a message is self-contained once received), a subscriber that must decode before receiving the stream — or that validates against a governed schema — resolves it from the DataSet namespace, <DataSetName>:arrow, and the ConfigurationVersion, per 8 of that specification. The transport content-type (application/vnd.apache.arrow.stream or application/vnd.apache.arrow.file) selects the format.

#### SchemaId handshake

##### SchemaId and canonical schema bytes

The Arrow mapping defines a lightweight SchemaId handshake that is independent of PubSub ConfigurationVersion. A SchemaId is derived only from the serialized Arrow Schema canonical form defined by Part 6. The SchemaId shall be the first 8 bytes of the SHA-256 fingerprint of the serialized Arrow Schema IPC message bytes, for example SHA-256(schema.serialize().to_pybytes())[:8]. The lowercase hexadecimal form used in descriptors and diagnostics is 16 characters; the on-wire field is the raw 8-byte value unless a profile specifies a longer length. Any carried schemaId metadata is a reference to the canonical schema and shall not be inserted into the canonical schema bytes before calculating the SchemaId.

The Arrow Schema describes one DataSet — the columns of that DataSet's RecordBatch(es) — so the SchemaId identifies a single DataSet's schema. An IPC stream, file or bare batch carries one DataSet's schema. A deployment that multiplexes several DataSets uses a separate stream or SchemaId per DataSet. A producer accordingly computes and tracks the SchemaId, and advances the DataSet ConfigurationVersion, per DataSet, not per transport frame.

Because an Arrow NetworkMessage is one homogeneous RecordBatch whose Arrow Schema is that DataSet's schema, the per-DataSet SchemaId is inherent to the columnar model: there is no envelope that could aggregate several DataSets' fields into one schema. Arrow therefore does not adopt the fixed NetworkMessage envelope with opaque per-DataSet payload entries that the Avro mapping defines (Avro Part 14 §8.1) — that construct exists to keep a row envelope's schema stable while it carries several DataSets, a problem the columnar model does not have. An implementer shall not introduce such an envelope into the Arrow mapping; a frame that would carry several DataSets is expressed as several streams or batches, each with its own SchemaId.

A NetworkMessage, DataSetMessage or transport envelope shall reference the schema by SchemaId, carried either in Arrow IPC custom metadata or in the DataSetMessage/transport header. The SchemaId may coexist with ConfigurationVersion, but it does not depend on it. A ConfigurationVersion change that does not change the Arrow Schema keeps the same SchemaId, and an Arrow Schema change produces a new SchemaId even if a publisher's configuration versioning policy is separate.

##### Carrier placement

The SchemaId shall be placed as follows.

Table 22 – Carrier placement

| Scope | Carrier | When used |
| --- | --- | --- |
| Arrow IPC stream | The embedded IPC Schema message is the self-contained announcement. The same 8-byte SchemaId shall also be present in Arrow IPC custom metadata key schemaId and in stream schema metadata when IncludeSchemaMetadata is enabled. | Used for normal Arrow PubSub streams and files where the IPC payload embeds its schema before any RecordBatch. |
| Transport metadata | The transport content type shall be application/vnd.apache.arrow.stream or application/vnd.apache.arrow.file. Kafka and AMQP deployments that carry schema identifiers outside the IPC payload shall use header opcua-arrow-schema-id containing the raw 8-byte SchemaId or its lowercase hexadecimal representation when the transport header model is text-only. | Used by transports, schema registries or routers that need to route, pre-validate or select a schema before opening the IPC payload, especially when the payload is a bare RecordBatch or a registry publication. |
| DataSetMessage/NetworkMessage envelope | A SchemaId reference in the envelope that wraps the IPC payload. | Used when an OPC UA PubSub envelope or bridge wraps an Arrow IPC stream, file or RecordBatch and needs to identify the schema without relying on transport headers. |

##### Schema announcements

Within an Arrow IPC stream, the IPC Schema message is the schema announcement. It shall be sent once at the start of each IPC stream before any RecordBatch. A receiver that obtains the IPC Schema message has the serialized Arrow Schema bytes needed to verify the SchemaId and decode subsequent RecordBatches in that stream.

For non-IPC transports that publish a bare RecordBatch, for registry publication flows, or for out-of-band repair, the announcement shall use the descriptor ArrowSchemaAnnouncement. The generated reference descriptors are published as ../extras/arrow-encoding/schemas/struct-ArrowSchemaAnnouncement.json and, for the request, ../extras/arrow-encoding/schemas/struct-ArrowSchemaRequest.json:

ArrowSchemaAnnouncement {

SchemaId: bytes(8),

Schema: serialized Arrow Schema IPC message bytes or an equivalent schema-JSON descriptor,

SchemaEpoch: optional int64

}

SchemaId is the raw 8-byte value containing the first 8 bytes of SHA-256 over Schema when Schema is the serialized Arrow Schema IPC message bytes. If a schema-JSON descriptor is used as a human-readable registry artifact, the announcement shall also identify the serialized Arrow Schema bytes or a deterministic conversion that recomputes the same SchemaId. SchemaEpoch may be monotonically increased for operator correlation, but receivers shall not use it as the decoding key and it is not part of SchemaId calculation.

Reception of an IPC Schema message or an ArrowSchemaAnnouncement shall insert {SchemaId, Arrow Schema} into cache: SchemaId -> schema after verifying that the recomputed SchemaId equals the announced SchemaId. A publisher may also publish the same pair to xRegistry with label opcua.schemaid.

The reference descriptor is published as core-specs\extras\arrow-encoding\schemas\struct-ArrowSchemaAnnouncement.json. The reference example stream is core-specs\extras\arrow-encoding\examples\arrow_schema_announcement.arrow, with readable metadata in core-specs\extras\arrow-encoding\examples\schema_exchange_index.json.

##### SchemaRequest

A late-joining decoder or a decoder that detects a cache miss may send an ArrowSchemaRequest when the transport supports request/response or side-channel control messages:

ArrowSchemaRequest {

RequesterId: optional string,

SchemaIds: array<bytes(8)>

}

RequesterId is diagnostic and may identify a receiver, session or bridge. SchemaIds shall contain one or more raw 8-byte SchemaIds requested by the decoder. A publisher that receives a request for an active SchemaId shall answer by opening or replaying an IPC stream whose Schema message announces the schema, or by sending an ArrowSchemaAnnouncement carrying the same {SchemaId, Arrow Schema} pair. If policy permits, publishers should periodically re-announce active schemas on lossy transports or when late joiners are expected.

The reference descriptor is published as core-specs\extras\arrow-encoding\schemas\struct-ArrowSchemaRequest.json. The reference example stream is core-specs\extras\arrow-encoding\examples\arrow_schema_request.arrow.

##### Encoder change tracking

An encoder shall maintain announced: set[SchemaId] per destination. Before sending a batch, it recomputes the Arrow Schema from the DataSet fields using the Part 6 algorithm and computes the 8-byte SchemaId. If the SchemaId has not been announced to that destination, the encoder publishes it first and then adds it to announced.

Publishing a changed schema is one rule with two channels. On a new SchemaId the publisher shall register the schema in the Schema Registry and announce it to subscribers — the announcement by opening a new IPC stream or otherwise sending the IPC Schema message or ArrowSchemaAnnouncement, and the registration through the Schema Registry write lifecycle (see OPC UA — Schema Registry §5.2). A deployment without a reachable registry announces only, and records that the registry publish is unavailable. The publisher shall also advance the DataSet ConfigurationVersion (6.4.1.12 step 4, 6.5.9.2.7); decoders remain SchemaId-authoritative.

A changed DataSet schema yields a new SchemaId and therefore requires a new announcement and a new homogeneous IPC stream. One Arrow IPC stream shall not mix RecordBatches that require different Arrow Schemas. Encoders shall not introduce alternate Arrow layouts or encoding variants for the same OPC UA DataType; the canonical Part 6 mapping, including the dense-union Variant form, is the only interchange form.

##### Decoder cache-miss resolution

A decoder shall maintain cache: SchemaId -> schema. Once cached, each received stream's Schema message or governed schema shall match the cached SchemaId before RecordBatches are decoded. If a message references an unknown SchemaId, the decoder shall resolve it in the following order until one step succeeds:

- Await the Arrow IPC Schema message in the current stream or an ArrowSchemaAnnouncement on the configured announcement channel, then verify the recomputed 8-byte SchemaId and insert the schema into the cache.

- Send ArrowSchemaRequest listing the unknown SchemaId when the transport supports request/response or a control side channel, then process the returned IPC Schema message or ArrowSchemaAnnouncement.

- Resolve the schema from an external (federated) xRegistry that the local registry references, as defined by OPC UA — Schema Registry (../schema-registry/OPC-UA-Schema-Registry.md) §8.

- Read the in-server AddressSpace Schema Registry by a SchemaId-NodeId. The companion NodeSet authored in core-specs\schema-registry\ uses namespace http://opcfoundation.org/UA/SchemaRegistry/ and exposes each schema at an Opaque NodeId whose Identifier is the raw 8-byte SchemaId. A decoder may perform a single Read on that NodeId without browsing or recomputing candidate NodeIds. Servers may additionally expose GetSchema(SchemaId) for clients that prefer a Method call over direct NodeId construction.

- Re-derive the Arrow Schema from the AddressSpace DataTypeDefinition using the Part 6 Arrow schema-generation algorithm, compute the 8-byte SchemaId over the serialized Arrow Schema, and verify that it equals the referenced SchemaId.

If all configured resolution paths fail, the decoder shall treat the payload as undecodable rather than guessing a schema. The cache key is SchemaId only and is independent of ConfigurationVersion, PublisherId, WriterGroupId and DataSetWriterId.

##### Relationship to ConfigurationVersion

SchemaId derives only from the Arrow Schema. It does not depend on PubSub ConfigurationVersion, writer group version numbers, sequence numbers, transport session state or SchemaEpoch. A ConfigurationVersion change that does not alter the Arrow Schema keeps the same SchemaId. A schema change produces a new SchemaId even if a deployment accidentally fails to advance ConfigurationVersion. Decoders shall use SchemaId to select the Arrow schema, and may use ConfigurationVersion for existing PubSub metadata checks.

Although SchemaId is not computed from ConfigurationVersion, the {MajorVersion, MinorVersion} lineage carries a compatibility relationship between successive schemas per OPC UA — Schema Registry §5.6. A MinorVersion increment is an append-only-compatible superset of the same major. A MajorVersion increment is a reset with no such guarantee.

An Arrow IPC stream embeds its writer schema and remains self-describing. A bare RecordBatch carries no schema, and its node and buffer layout matches its writer-minor schema, so a subscriber shall resolve the exact writer-minor schema by SchemaId to decode it, or apply a defined upgrade that treats union children absent from the older RecordBatch as empty.

A publisher shall advance MinorVersion when it aggregates a new Variant body form or ExtensionObject concrete type into the schema, and shall publish the resulting schema — registry registration plus announcement — per 6.5.9.2.3–6.9.2.6. The per-encoding procedure for narrowing and append-only growing these unions is in the Arrow Part 6 DataEncoding §5.6.12.

##### Schema-exchange sequences

Normal stream startup announces the schema with the IPC Schema message before any RecordBatch:

Figure 6 – Where the Arrow encoding fits

A late joiner or cache-miss receiver requests the missing schema and decodes only after the announcement is verified:

Figure 7 – Batch publish and subscribe

A schema change creates a new SchemaId and a new homogeneous IPC stream or announcement:

Figure 8 – Historian access as record batches

## Historian and ADBC access

This clause maps OPC UA Historical Access (OPC 10000-11) results to Arrow RecordBatch streams for ADBC-style clients, reusing the §5 column mapping for the result Value column.

### Scope

This mapping exposes OPC UA Historical Access results as Arrow IPC streams for clients that use an ADBC-like access pattern:

Connection -> Statement -> ExecuteQuery -> ArrowArrayStream

ADBC (Arrow Database Connectivity) is a client API surface. Arrow Flight SQL is the natural Arrow wire transport for remote ADBC clients. This specification defines the OPC-UA-to-Arrow result mapping returned by such a surface; it is not a new database wire protocol and does not replace OPC UA services.

### Access basis

The normative access basis is OPC 10000-11 Historical Access, especially HistoryRead.

The following HistoryRead details map to Arrow result sets:

- ReadRawModifiedDetails produces one row per raw or modified historical sample.

- ReadProcessedDetails produces one row per aggregate interval result.

- ReadAtTimeDetails produces one row per requested timestamp result.

The same 6.4 Arrow DataType mapping used for PubSub DataSet fields is used for the result Value column. Multi-byte values in the Arrow buffers of every result RecordBatch are little-endian, as required by the Arrow columnar format and the 6.4 DataType mapping (6.2).

### ADBC-style statement model

An implementation exposing this mapping shall provide an ADBC-style logical surface:

- A Connection represents the OPC UA session, historian endpoint, or gateway context.

- A Statement is parameterized with HistoryRead inputs.

- ExecuteQuery returns an ArrowArrayStream, i.e. a stream of Arrow RecordBatches with one stable schema.

Statement parameters include:

- nodeIds: one or more Variables to read.

- startTime, endTime: OPC UA DateTime values, represented as signed 64-bit 100 ns ticks since 1601-01-01 UTC.

- historyReadDetails: raw/modified, processed, or at-time mode.

- maxValuesPerNode or service-level maximum values.

- For processed reads: aggregateType, processingInterval, and optional aggregate configuration.

- For at-time reads: the requested timestamps and interpolation policy.

- maxRowsPerRecordBatch: the client or service batching target.

Continuation points returned by HistoryRead map to Arrow stream batching. Each service page or continuation page shall be emitted as one or more RecordBatches; the Arrow stream order is the HistoryRead result order. A continuation point is not encoded as a data row. If a transport needs explicit continuation metadata, it shall carry it outside the rows as stream, batch, or transport metadata.

### Canonical result shape

The canonical result shape is long form. Every row identifies the source node and one historical sample:

Table 23 – Canonical result shape

| Column | Arrow type | Requirement |
| --- | --- | --- |
| NodeId | Part 6 Arrow mapping for NodeId | Non-null source Variable NodeId. |
| SourceTimestamp | int64 | OPC UA DateTime ticks for the sample source timestamp. |
| ServerTimestamp | int64 | Nullable OPC UA DateTime ticks for the server timestamp. |
| Value | Part 6 Arrow mapping for the node DataType | Nullable according to the value DataType and sample. |
| StatusCode | uint32 | Non-null OPC UA StatusCode. If absent in a DataValue, encode Good (0). |

Long form is canonical because it is stable for ADBC consumers, composes naturally with SQL predicates, and avoids schema changes when the node set changes. A column-per-node shape is useful for specialized time-series pivots, but it changes the schema with every node selection and is not canonical.

The canonical long-form stream has one Value Arrow DataType. Therefore, a multi-node statement shall include nodes with the same OPC UA DataType. If a client requests mixed DataTypes, the access layer shall split the request into one ArrowArrayStream per Value DataType, or explicitly request a non-canonical Variant-valued result where Value uses the Part 6 Variant mapping.

### Raw, modified, and at-time reads

For ReadRawModifiedDetails and ReadAtTimeDetails, each returned DataValue becomes one row in the canonical result shape. SourceTimestamp, ServerTimestamp, Value, and StatusCode are copied from the DataValue using the Part 6 Arrow mapping for the node DataType.

For modified reads, implementations may add metadata columns such as modification time, update type, or user name when requested by the statement. Such columns are extensions and shall not alter the canonical meaning of the five base columns.

### Processed aggregate reads

For ReadProcessedDetails, the base columns are followed by aggregate interval columns:

Table 24 – Processed aggregate reads

| Column | Arrow type | Requirement |
| --- | --- | --- |
| AggregateId | Part 6 Arrow mapping for NodeId | Non-null AggregateFunction NodeId. |
| ProcessingInterval | int64 | Interval duration in 100 ns ticks. |
| IntervalStart | int64 | Inclusive interval start in OPC UA DateTime ticks. |
| IntervalEnd | int64 | Exclusive interval end in OPC UA DateTime ticks. |

The aggregate result value is encoded in Value using the aggregate result DataType. Aggregate status and quality are encoded in StatusCode; additional aggregate diagnostics such as percent good or percent bad may be added as extension columns.

### Content types and transport

The Arrow IPC stream content type is:

application/vnd.apache.arrow.stream

The Arrow IPC file content type for bounded exports is:

application/vnd.apache.arrow.file

For remote ADBC clients, Arrow Flight SQL is the natural transport for ExecuteQuery and ArrowArrayStream. Other transports may carry the same Arrow IPC stream when they preserve the schema and RecordBatch boundaries.

### Relationship to Part 14 PubSub

This historian/ADBC mapping complements OPC UA Part 14 Arrow batch publish/subscribe. Part 14 batch PubSub uses the same Part 6 Arrow value mapping for DataSet fields; historian access uses it for HistoryRead result values. PubSub is optimized for publishing batches of live or buffered DataSetMessages, while this mapping is optimized for query-style historical access.

### Exclusions

This Arrow mapping does not map OPC UA Actions, invoke requests, or invoke responses. Actions shall use the OPC UA Avro mapping for action invocation and response payloads.

# Profiles and conformance units

An Arrow PubSub publisher conforms when it emits RecordBatches whose columns use the Part 6 Arrow mapping, whose rows reconstruct the intended DataSetMessages, and whose key-frame and delta-frame rules preserve null-vs-absent semantics. A subscriber conforms when it reconstructs DataSet field values with the same Part 6 reversibility guarantees and uses DataSetMetaData plus Arrow schema metadata to interpret the batch.

# Namespaces

## Namespace metadata

The namespace metadata provide standardized information about the elements of this namespace, which an aggregating Server relies on. All Nodes defined by this document are static: they are identical in every Server, including the Value Attribute.

The information is provided as an Object of type NamespaceMetadataType, a component of the Namespaces Object of the Server Object. The NamespaceMetadataType ObjectType and its Properties are defined in OPC 10000-5. The same version information is carried by the ModelTableEntry of the UANodeSet XML file.

Table 25 – NamespaceMetadata Object for this document

| Property | DataType | Value |
| --- | --- | --- |
| NamespaceUri | String | http://opcfoundation.org/UA/ |
| NamespaceVersion | String | 0.1.0 |
| NamespacePublicationDate | DateTime | 2026-07-30 |
| IsNamespaceSubset | Boolean | False |
| StaticNodeIdTypes | IdType[] | 0 (Numeric) |
| StaticNumericNodeIdRange | NumericRange[] | -- |
| StaticStringNodeIdPattern | String | -- |

The IsNamespaceSubset Property is False because the UANodeSet XML file contains the complete namespace. A Server exposing only a subset sets it to True.

## Handling of OPC UA namespaces

Namespaces are used by OPC UA to create unique identifiers across different naming authorities. The NodeId and BrowseName Attributes are identifiers. A Node in the AddressSpace is unambiguously identified by its NodeId; a BrowseName is not unique and is used to build a browse path or to name a standard Property.

Table 26 – Namespaces used in an OpenUSD Server

| NamespaceURI | Description |
| --- | --- |
| http://opcfoundation.org/UA/ | Namespace for NodeIds and BrowseNames defined in the OPC UA specification (OPC 10000-3, OPC 10000-5). |
| Local Server URI | Namespace for Nodes defined in the local Server. This namespace shall have index 1. |
| http://opcfoundation.org/UA/xRegistry/ | Namespace of the RequiredModel that carries the abstract registry base types this document extends. |
| http://opcfoundation.org/UA/ | Namespace for NodeIds and BrowseNames defined in this document. |
| Vendor specific types | A Server may provide vendor-specific types derived from the types defined in this document, in one or more additional namespaces. |

The following table lists the namespaces and their indexes used for BrowseNames in this document. The default namespace of this document is not listed, because every BrowseName without a prefix uses it.

Table 27 – Namespaces used in this document

| NamespaceURI | Namespace Index | Example |
| --- | --- | --- |
| http://opcfoundation.org/UA/ | 0 | 0:EngineeringUnits |
| http://opcfoundation.org/UA/xRegistry/ | 1 | 1:ResourceType |

(normative)

Namespace and machine-readable artifacts

Namespace and capability identifier

The DataEncoding defined by this document is identified by the following URI:

http://opcfoundation.org/UA/

The capability identifier of this document, used in the conformance units of Arrow Encoding, is ARROW.

This document publishes no UANodeSet XML file, because it defines no OPC UA information model. The machine-readable artifacts it does define are the JSON-LD context and the JSON Schema described below; they are normative and a conforming implementation is validated against them.

Generated per-type reference

<!-- BEGIN GENERATED: type-reference -->

This annex is generated by ../extras/arrow-encoding/tools/gen_type_reference.py. Do not edit between the markers.

Built-in Boolean

Published schema source: schemas\base.json builtins. SchemaId: eb9e462ff1431ec8.

Table 28 – Built-in Boolean

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: bool

-- schema metadata --

opcua-arrow: '1'

Example value:

True

Built-in SByte

Published schema source: schemas\base.json builtins. SchemaId: 574fba8aebe6986c.

Table 29 – Built-in SByte

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | int8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: int8

-- schema metadata --

opcua-arrow: '1'

Example value:

-128

Built-in Byte

Published schema source: schemas\base.json builtins. SchemaId: f3f67e3b5b8a4c33.

Table 30 – Built-in Byte

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | uint8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: uint8

-- schema metadata --

opcua-arrow: '1'

Example value:

255

Built-in Int16

Published schema source: schemas\base.json builtins. SchemaId: 9b9ed1fb78bb0504.

Table 31 – Built-in Int16

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | int16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: int16

-- schema metadata --

opcua-arrow: '1'

Example value:

-32768

Built-in UInt16

Published schema source: schemas\base.json builtins. SchemaId: 5e48d7a9fb0e260a.

Table 32 – Built-in UInt16

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | uint16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: uint16

-- schema metadata --

opcua-arrow: '1'

Example value:

65535

Built-in Int32

Published schema source: schemas\base.json builtins. SchemaId: a94e58013dcc0ace.

Table 33 – Built-in Int32

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: int32

-- schema metadata --

opcua-arrow: '1'

Example value:

2147483647

Built-in UInt32

Published schema source: schemas\base.json builtins. SchemaId: 3a7d0fa718aba078.

Table 34 – Built-in UInt32

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: uint32

-- schema metadata --

opcua-arrow: '1'

Example value:

4294967295

Built-in Int64

Published schema source: schemas\base.json builtins. SchemaId: 0ca4cf7abab461b5.

Table 35 – Built-in Int64

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: int64

-- schema metadata --

opcua-arrow: '1'

Example value:

9223372036854775807

Built-in UInt64

Published schema source: schemas\base.json builtins. SchemaId: adde7d8c9e746c67.

Table 36 – Built-in UInt64

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | uint64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: uint64

-- schema metadata --

opcua-arrow: '1'

Example value:

18446744073709551615

Built-in Float

Published schema source: schemas\base.json builtins. SchemaId: 4760b7d7322090d7.

Table 37 – Built-in Float

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: float

-- schema metadata --

opcua-arrow: '1'

Example value:

1.5

Built-in Double

Published schema source: schemas\base.json builtins. SchemaId: 2ea3b1f1a51b7231.

Table 38 – Built-in Double

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | double | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: double

-- schema metadata --

opcua-arrow: '1'

Example value:

-0.0

Built-in String

Published schema source: schemas\base.json builtins. SchemaId: dd43171d093a54aa.

Table 39 – Built-in String

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: string

-- schema metadata --

opcua-arrow: '1'

Example value:

'grüße-中文-😀'

Built-in DateTime

Published schema source: schemas\base.json builtins. SchemaId: 0ca4cf7abab461b5.

Table 40 – Built-in DateTime

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: int64

-- schema metadata --

opcua-arrow: '1'

Example value:

DateTime(ticks=133000000000000000)

Built-in Guid

Published schema source: schemas\base.json builtins. SchemaId: 81e222e0fec2ba07.

Table 41 – Built-in Guid

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | fixed_size_binary[16] | nullable; Arrow validity bitmap when needed | Fixed-width bytes. |

Arrow schema:

value: fixed_size_binary[16]

-- schema metadata --

opcua-arrow: '1'

Example value:

Guid(bytes=b'\x01\x02\x03\x04\x05\x06\x07\x08\t\n\x0b\x0c\r\x0e\x0f\x10')

Built-in ByteString

Published schema source: schemas\base.json builtins. SchemaId: 0b3084b7b66d58c5.

Table 42 – Built-in ByteString

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | binary | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: binary

-- schema metadata --

opcua-arrow: '1'

Example value:

b'\x00\x01\x02\x03\x04\x05\x06\x07'

Built-in XmlElement

Published schema source: schemas\base.json builtins. SchemaId: dd43171d093a54aa.

Table 43 – Built-in XmlElement

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: string

-- schema metadata --

opcua-arrow: '1'

Example value:

XmlElement(value="<a x='1'>t</a>")

Built-in NodeId

Published schema source: schemas\base.json builtins. SchemaId: dd43171d093a54aa.

Table 44 – Built-in NodeId

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: string

-- schema metadata --

opcua-arrow: '1'

Example value:

NodeId(namespace=3,

id_type=<IdType.GUID: 2>,

identifier=Guid(bytes=b'\x07\x08\t\n\x0b\x0c\r\x0e\x0f\x10\x11\x12'

b'\x13\x14\x15\x16'))

Built-in ExpandedNodeId

Published schema source: schemas\base.json builtins. SchemaId: dd43171d093a54aa.

Table 45 – Built-in ExpandedNodeId

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: string

-- schema metadata --

opcua-arrow: '1'

Example value:

ExpandedNodeId(node_id=NodeId(namespace=1,

id_type=<IdType.STRING: 1>,

identifier='X'),

namespace_uri='http://example.org/UA/',

server_index=5)

Built-in StatusCode

Published schema source: schemas\base.json builtins. SchemaId: 3a7d0fa718aba078.

Table 46 – Built-in StatusCode

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: uint32

-- schema metadata --

opcua-arrow: '1'

Example value:

StatusCode(value=2158755840)

Built-in QualifiedName

Published schema source: schemas\base.json builtins. SchemaId: 4aefacb2875f7e9c.

Table 47 – Built-in QualifiedName

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | struct<namespace: uint16 not null, name: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.namespace | uint16 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: struct<namespace: uint16 not null, name: string>

child 0, namespace: uint16 not null

child 1, name: string

-- schema metadata --

opcua-arrow: '1'

Example value:

QualifiedName(namespace=1, name='Temp')

Built-in LocalizedText

Published schema source: schemas\base.json builtins. SchemaId: def6b87ad887cc5b.

Table 48 – Built-in LocalizedText

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | struct<locale: string, text: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.locale | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.text | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: struct<locale: string, text: string>

child 0, locale: string

child 1, text: string

-- schema metadata --

opcua-arrow: '1'

Example value:

LocalizedText(locale='en', text='Hello')

Built-in ExtensionObject

Published schema source: schemas\base.json builtins. SchemaId: b34aa4ddac0c1f2e.

Table 49 – Built-in ExtensionObject

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.type_id | string | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body | dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> | not nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.body.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Point | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Point.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Point.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Person | struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Person.Name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Person.Age | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Person.Email | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.body.Person.Email.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Person.Email.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Person.Nickname | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.body.Person.Nickname.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Person.Nickname.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Measurement | dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.body.Measurement.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Measurement.AsInt | struct<value: int32> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Measurement.AsInt.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Measurement.AsText | struct<value: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Measurement.AsText.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Measurement.AsPoint | struct<value: struct<X: double not null, Y: double not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Measurement.AsPoint.value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Measurement.AsPoint.value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Measurement.AsPoint.value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope | struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Id | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Location | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Location.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Location.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Tags | list<item: string> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.body.Envelope.Tags[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload | struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.type_id | string | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body | dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> | not nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.body.Envelope.Payload.body.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Point | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Point.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Point.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Person | struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Person.Name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Person.Age | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Person.Email | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.body.Envelope.Payload.body.Person.Email.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Person.Email.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Person.Nickname | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.body.Envelope.Payload.body.Person.Nickname.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Person.Nickname.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Measurement | dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.body.Envelope.Payload.body.Measurement.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Measurement.AsInt | struct<value: int32> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Measurement.AsInt.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Measurement.AsText | struct<value: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Measurement.AsText.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Measurement.AsPoint | struct<value: struct<X: double not null, Y: double not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Measurement.AsPoint.value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Measurement.AsPoint.value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Measurement.AsPoint.value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.Envelope | struct<> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars | struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars.Id | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars.Flag | struct<present: bool not null, value: bool> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars.Flag.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars.Flag.value | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars.Count | struct<present: bool not null, value: int32> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars.Count.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars.Count.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars.Ratio | struct<present: bool not null, value: double> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars.Ratio.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.OptionalScalars.Ratio.value | double | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.FloatHolder | struct<A: float not null, B: struct<present: bool not null, value: float> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.FloatHolder.A | float | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.FloatHolder.B | struct<present: bool not null, value: float> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.FloatHolder.B.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.FloatHolder.B.value | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.Envelope.Payload.body.binary | binary | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.OptionalScalars | struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.OptionalScalars.Id | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.OptionalScalars.Flag | struct<present: bool not null, value: bool> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.OptionalScalars.Flag.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.OptionalScalars.Flag.value | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.body.… | null | nullable; Arrow validity bitmap when needed | Nested field list abbreviated for compactness. |

Arrow schema:

value: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 1735 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 1686 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string (... 878 chars omitted)

child 0, Id: string

child 1, Location: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Tags: list<item: string>

child 0, item: string

child 3, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 765 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 716 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<>

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

-- schema metadata --

opcua-arrow: '1'

Example value:

ExtensionObject(type_id=NodeId(namespace=0,

id_type=<IdType.NUMERIC: 0>,

identifier=3001),

body=StructValue(fields={'X': 1.0, 'Y': 1.0}, type_name='Point'))

Built-in DataValue

Published schema source: schemas\base.json builtins. SchemaId: ebe13da8c989cfb8.

Table 50 – Built-in DataValue

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | struct<value: dense_union<null: null=0, scalar_Boolean: bool=1, array_Boolean: list<item: bool>=2, matrix_Boolean: struct<dimensions: list<item: int32> not null, values: list<item: bool> not null>=3, scalar_SByte: int8=4, array_SByte: list<item: int8>=5, matrix_SByte: struct<dimensions: list<item: int32> not null, values: list<item: int8> not null>=6, scalar_Byte: uint8=7, array_Byte: list<item: uint8>=8, matrix_Byte: struct<dimensions: list<item: int32> not null, values: list<item: uint8> not null>=9, scalar_Int16: int16=10, array_Int16: list<item: int16>=11, matrix_Int16: struct<dimensions: list<item: int32> not null, values: list<item: int16> not null>=12, scalar_UInt16: uint16=13, array_UInt16: list<item: uint16>=14, matrix_UInt16: struct<dimensions: list<item: int32> not null, values: list<item: uint16> not null>=15, scalar_Int32: int32=16, array_Int32: list<item: int32>=17, matrix_Int32: struct<dimensions: list<item: int32> not null, values: list<item: int32> not null>=18, scalar_UInt32: uint32=19, array_UInt32: list<item: uint32>=20, matrix_UInt32: struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null>=21, scalar_Int64: int64=22, array_Int64: list<item: int64>=23, matrix_Int64: struct<dimensions: list<item: int32> not null, values: list<item: int64> not null>=24, scalar_UInt64: uint64=25, array_UInt64: list<item: uint64>=26, matrix_UInt64: struct<dimensions: list<item: int32> not null, values: list<item: uint64> not null>=27, scalar_Float: float=28, array_Float: list<item: float>=29, matrix_Float: struct<dimensions: list<item: int32> not null, values: list<item: float> not null>=30, scalar_Double: double=31, array_Double: list<item: double>=32, matrix_Double: struct<dimensions: list<item: int32> not null, values: list<item: double> not null>=33, scalar_String: string=34, array_String: list<item: string>=35, matrix_String: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=36, scalar_DateTime: int64=37, array_DateTime: list<item: int64>=38, matrix_DateTime: struct<dimensions: list<item: int32> not null, values: list<item: int64> not null>=39, scalar_Guid: fixed_size_binary[16]=40, array_Guid: list<item: fixed_size_binary[16]>=41, matrix_Guid: struct<dimensions: list<item: int32> not null, values: list<item: fixed_size_binary[16]> not null>=42, scalar_ByteString: binary=43, array_ByteString: list<item: binary>=44, matrix_ByteString: struct<dimensions: list<item: int32> not null, values: list<item: binary> not null>=45, scalar_XmlElement: string=46, array_XmlElement: list<item: string>=47, matrix_XmlElement: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=48, scalar_NodeId: string=49, array_NodeId: list<item: string>=50, matrix_NodeId: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=51, scalar_ExpandedNodeId: string=52, array_ExpandedNodeId: list<item: string>=53, matrix_ExpandedNodeId: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=54, scalar_StatusCode: uint32=55, array_StatusCode: list<item: uint32>=56, matrix_StatusCode: struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null>=57, scalar_QualifiedName: struct<namespace: uint16 not null, name: string>=58, array_QualifiedName: list<item: struct<namespace: uint16 not null, name: string>>=59, matrix_QualifiedName: struct<dimensions: list<item: int32> not null, values: list<item: struct<namespace: uint16 not null, name: string>> not null>=60, scalar_LocalizedText: struct<locale: string, text: string>=61, array_LocalizedText: list<item: struct<locale: string, text: string>>=62, matrix_LocalizedText: struct<dimensions: list<item: int32> not null, values: list<item: struct<locale: string, text: string>> not null>=63, scalar_ExtensionObject: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>=64, array_ExtensionObject: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=65, matrix_ExtensionObject: struct<dimensions: list<item: int32> not null, values: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> not null>=66>, status: uint32, source_timestamp: int64, source_picoseconds: uint16, server_timestamp: int64, server_picoseconds: uint16> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value | dense_union<null: null=0, scalar_Boolean: bool=1, array_Boolean: list<item: bool>=2, matrix_Boolean: struct<dimensions: list<item: int32> not null, values: list<item: bool> not null>=3, scalar_SByte: int8=4, array_SByte: list<item: int8>=5, matrix_SByte: struct<dimensions: list<item: int32> not null, values: list<item: int8> not null>=6, scalar_Byte: uint8=7, array_Byte: list<item: uint8>=8, matrix_Byte: struct<dimensions: list<item: int32> not null, values: list<item: uint8> not null>=9, scalar_Int16: int16=10, array_Int16: list<item: int16>=11, matrix_Int16: struct<dimensions: list<item: int32> not null, values: list<item: int16> not null>=12, scalar_UInt16: uint16=13, array_UInt16: list<item: uint16>=14, matrix_UInt16: struct<dimensions: list<item: int32> not null, values: list<item: uint16> not null>=15, scalar_Int32: int32=16, array_Int32: list<item: int32>=17, matrix_Int32: struct<dimensions: list<item: int32> not null, values: list<item: int32> not null>=18, scalar_UInt32: uint32=19, array_UInt32: list<item: uint32>=20, matrix_UInt32: struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null>=21, scalar_Int64: int64=22, array_Int64: list<item: int64>=23, matrix_Int64: struct<dimensions: list<item: int32> not null, values: list<item: int64> not null>=24, scalar_UInt64: uint64=25, array_UInt64: list<item: uint64>=26, matrix_UInt64: struct<dimensions: list<item: int32> not null, values: list<item: uint64> not null>=27, scalar_Float: float=28, array_Float: list<item: float>=29, matrix_Float: struct<dimensions: list<item: int32> not null, values: list<item: float> not null>=30, scalar_Double: double=31, array_Double: list<item: double>=32, matrix_Double: struct<dimensions: list<item: int32> not null, values: list<item: double> not null>=33, scalar_String: string=34, array_String: list<item: string>=35, matrix_String: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=36, scalar_DateTime: int64=37, array_DateTime: list<item: int64>=38, matrix_DateTime: struct<dimensions: list<item: int32> not null, values: list<item: int64> not null>=39, scalar_Guid: fixed_size_binary[16]=40, array_Guid: list<item: fixed_size_binary[16]>=41, matrix_Guid: struct<dimensions: list<item: int32> not null, values: list<item: fixed_size_binary[16]> not null>=42, scalar_ByteString: binary=43, array_ByteString: list<item: binary>=44, matrix_ByteString: struct<dimensions: list<item: int32> not null, values: list<item: binary> not null>=45, scalar_XmlElement: string=46, array_XmlElement: list<item: string>=47, matrix_XmlElement: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=48, scalar_NodeId: string=49, array_NodeId: list<item: string>=50, matrix_NodeId: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=51, scalar_ExpandedNodeId: string=52, array_ExpandedNodeId: list<item: string>=53, matrix_ExpandedNodeId: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=54, scalar_StatusCode: uint32=55, array_StatusCode: list<item: uint32>=56, matrix_StatusCode: struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null>=57, scalar_QualifiedName: struct<namespace: uint16 not null, name: string>=58, array_QualifiedName: list<item: struct<namespace: uint16 not null, name: string>>=59, matrix_QualifiedName: struct<dimensions: list<item: int32> not null, values: list<item: struct<namespace: uint16 not null, name: string>> not null>=60, scalar_LocalizedText: struct<locale: string, text: string>=61, array_LocalizedText: list<item: struct<locale: string, text: string>>=62, matrix_LocalizedText: struct<dimensions: list<item: int32> not null, values: list<item: struct<locale: string, text: string>> not null>=63, scalar_ExtensionObject: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>=64, array_ExtensionObject: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=65, matrix_ExtensionObject: struct<dimensions: list<item: int32> not null, values: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> not null>=66> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.value.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.scalar_Boolean | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.array_Boolean | list<item: bool> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.array_Boolean[] | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Boolean | struct<dimensions: list<item: int32> not null, values: list<item: bool> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Boolean.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Boolean.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Boolean.values | list<item: bool> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Boolean.values[] | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.scalar_SByte | int8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.array_SByte | list<item: int8> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.array_SByte[] | int8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_SByte | struct<dimensions: list<item: int32> not null, values: list<item: int8> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_SByte.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_SByte.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_SByte.values | list<item: int8> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_SByte.values[] | int8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.scalar_Byte | uint8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.array_Byte | list<item: uint8> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.array_Byte[] | uint8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Byte | struct<dimensions: list<item: int32> not null, values: list<item: uint8> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Byte.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Byte.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Byte.values | list<item: uint8> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Byte.values[] | uint8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.scalar_Int16 | int16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.array_Int16 | list<item: int16> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.array_Int16[] | int16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Int16 | struct<dimensions: list<item: int32> not null, values: list<item: int16> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Int16.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Int16.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Int16.values | list<item: int16> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Int16.values[] | int16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.scalar_UInt16 | uint16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.array_UInt16 | list<item: uint16> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.array_UInt16[] | uint16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_UInt16 | struct<dimensions: list<item: int32> not null, values: list<item: uint16> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_UInt16.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_UInt16.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_UInt16.values | list<item: uint16> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_UInt16.values[] | uint16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.scalar_Int32 | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.array_Int32 | list<item: int32> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.array_Int32[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Int32 | struct<dimensions: list<item: int32> not null, values: list<item: int32> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Int32.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Int32.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Int32.values | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Int32.values[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.scalar_UInt32 | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.array_UInt32 | list<item: uint32> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.array_UInt32[] | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_UInt32 | struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_UInt32.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_UInt32.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_UInt32.values | list<item: uint32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_UInt32.values[] | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.scalar_Int64 | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.array_Int64 | list<item: int64> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.array_Int64[] | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Int64 | struct<dimensions: list<item: int32> not null, values: list<item: int64> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Int64.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Int64.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Int64.values | list<item: int64> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Int64.values[] | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.scalar_UInt64 | uint64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.array_UInt64 | list<item: uint64> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.array_UInt64[] | uint64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_UInt64 | struct<dimensions: list<item: int32> not null, values: list<item: uint64> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_UInt64.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_UInt64.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_UInt64.values | list<item: uint64> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_UInt64.values[] | uint64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.scalar_Float | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.array_Float | list<item: float> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.array_Float[] | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Float | struct<dimensions: list<item: int32> not null, values: list<item: float> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.matrix_Float.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.value.matrix_Float.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.value.… | null | nullable; Arrow validity bitmap when needed | Nested field list abbreviated for compactness. |
| value.status | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.source_timestamp | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.source_picoseconds | uint16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.server_timestamp | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.server_picoseconds | uint16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: struct<value: dense_union<null: null=0, scalar_Boolean: bool=1, array_Boolean: list<item: bool>=2, m (... 9534 chars omitted)

child 0, value: dense_union<null: null=0, scalar_Boolean: bool=1, array_Boolean: list<item: bool>=2, matrix_Boolean: (... 9397 chars omitted)

child 0, null: null

child 1, scalar_Boolean: bool

child 2, array_Boolean: list<item: bool>

child 0, item: bool

child 3, matrix_Boolean: struct<dimensions: list<item: int32> not null, values: list<item: bool> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: bool> not null

child 0, item: bool

child 4, scalar_SByte: int8

child 5, array_SByte: list<item: int8>

child 0, item: int8

child 6, matrix_SByte: struct<dimensions: list<item: int32> not null, values: list<item: int8> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: int8> not null

child 0, item: int8

child 7, scalar_Byte: uint8

child 8, array_Byte: list<item: uint8>

child 0, item: uint8

child 9, matrix_Byte: struct<dimensions: list<item: int32> not null, values: list<item: uint8> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: uint8> not null

child 0, item: uint8

child 10, scalar_Int16: int16

child 11, array_Int16: list<item: int16>

child 0, item: int16

child 12, matrix_Int16: struct<dimensions: list<item: int32> not null, values: list<item: int16> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: int16> not null

child 0, item: int16

child 13, scalar_UInt16: uint16

child 14, array_UInt16: list<item: uint16>

child 0, item: uint16

child 15, matrix_UInt16: struct<dimensions: list<item: int32> not null, values: list<item: uint16> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: uint16> not null

child 0, item: uint16

child 16, scalar_Int32: int32

child 17, array_Int32: list<item: int32>

child 0, item: int32

child 18, matrix_Int32: struct<dimensions: list<item: int32> not null, values: list<item: int32> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: int32> not null

child 0, item: int32

child 19, scalar_UInt32: uint32

child 20, array_UInt32: list<item: uint32>

child 0, item: uint32

child 21, matrix_UInt32: struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: uint32> not null

child 0, item: uint32

child 22, scalar_Int64: int64

child 23, array_Int64: list<item: int64>

child 0, item: int64

child 24, matrix_Int64: struct<dimensions: list<item: int32> not null, values: list<item: int64> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: int64> not null

child 0, item: int64

child 25, scalar_UInt64: uint64

child 26, array_UInt64: list<item: uint64>

child 0, item: uint64

child 27, matrix_UInt64: struct<dimensions: list<item: int32> not null, values: list<item: uint64> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: uint64> not null

child 0, item: uint64

child 28, scalar_Float: float

child 29, array_Float: list<item: float>

child 0, item: float

child 30, matrix_Float: struct<dimensions: list<item: int32> not null, values: list<item: float> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: float> not null

child 0, item: float

child 31, scalar_Double: double

child 32, array_Double: list<item: double>

child 0, item: double

child 33, matrix_Double: struct<dimensions: list<item: int32> not null, values: list<item: double> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: double> not null

child 0, item: double

child 34, scalar_String: string

child 35, array_String: list<item: string>

child 0, item: string

child 36, matrix_String: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: string> not null

child 0, item: string

child 37, scalar_DateTime: int64

child 38, array_DateTime: list<item: int64>

child 0, item: int64

child 39, matrix_DateTime: struct<dimensions: list<item: int32> not null, values: list<item: int64> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: int64> not null

child 0, item: int64

child 40, scalar_Guid: fixed_size_binary[16]

child 41, array_Guid: list<item: fixed_size_binary[16]>

child 0, item: fixed_size_binary[16]

child 42, matrix_Guid: struct<dimensions: list<item: int32> not null, values: list<item: fixed_size_binary[16]> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: fixed_size_binary[16]> not null

child 0, item: fixed_size_binary[16]

child 43, scalar_ByteString: binary

child 44, array_ByteString: list<item: binary>

child 0, item: binary

child 45, matrix_ByteString: struct<dimensions: list<item: int32> not null, values: list<item: binary> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: binary> not null

child 0, item: binary

child 46, scalar_XmlElement: string

child 47, array_XmlElement: list<item: string>

child 0, item: string

child 48, matrix_XmlElement: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: string> not null

child 0, item: string

child 49, scalar_NodeId: string

child 50, array_NodeId: list<item: string>

child 0, item: string

child 51, matrix_NodeId: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: string> not null

child 0, item: string

child 52, scalar_ExpandedNodeId: string

child 53, array_ExpandedNodeId: list<item: string>

child 0, item: string

child 54, matrix_ExpandedNodeId: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: string> not null

child 0, item: string

child 55, scalar_StatusCode: uint32

child 56, array_StatusCode: list<item: uint32>

child 0, item: uint32

child 57, matrix_StatusCode: struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: uint32> not null

child 0, item: uint32

child 58, scalar_QualifiedName: struct<namespace: uint16 not null, name: string>

child 0, namespace: uint16 not null

child 1, name: string

child 59, array_QualifiedName: list<item: struct<namespace: uint16 not null, name: string>>

child 0, item: struct<namespace: uint16 not null, name: string>

child 0, namespace: uint16 not null

child 1, name: string

child 60, matrix_QualifiedName: struct<dimensions: list<item: int32> not null, values: list<item: struct<namespace: uint16 not null, (... 25 chars omitted)

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: struct<namespace: uint16 not null, name: string>> not null

child 0, item: struct<namespace: uint16 not null, name: string>

child 0, namespace: uint16 not null

child 1, name: string

child 61, scalar_LocalizedText: struct<locale: string, text: string>

child 0, locale: string

child 1, text: string

child 62, array_LocalizedText: list<item: struct<locale: string, text: string>>

child 0, item: struct<locale: string, text: string>

child 0, locale: string

child 1, text: string

child 63, matrix_LocalizedText: struct<dimensions: list<item: int32> not null, values: list<item: struct<locale: string, text: strin (... 13 chars omitted)

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: struct<locale: string, text: string>> not null

child 0, item: struct<locale: string, text: string>

child 0, locale: string

child 1, text: string

child 64, scalar_ExtensionObject: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 1735 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 1686 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string (... 878 chars omitted)

child 0, Id: string

child 1, Location: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Tags: list<item: string>

child 0, item: string

child 3, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 765 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 716 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<>

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 65, array_ExtensionObject: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double  (... 1747 chars omitted)

child 0, item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 1735 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 1686 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string (... 878 chars omitted)

child 0, Id: string

child 1, Location: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Tags: list<item: string>

child 0, item: string

child 3, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 765 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 716 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<>

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 66, matrix_ExtensionObject: struct<dimensions: list<item: int32> not null, values: list<item: struct<type_id: string not null, b (... 1812 chars omitted)

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double  (... 1747 chars omitted) not null

child 0, item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 1735 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 1686 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string (... 878 chars omitted)

child 0, Id: string

child 1, Location: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Tags: list<item: string>

child 0, item: string

child 3, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 765 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 716 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<>

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 1, status: uint32

child 2, source_timestamp: int64

child 3, source_picoseconds: uint16

child 4, server_timestamp: int64

child 5, server_picoseconds: uint16

-- schema metadata --

opcua-arrow: '1'

Example value:

DataValue(value=Variant(vtype=Builtin(id=<BuiltInType.Int32: 6>),

value=42,

dimensions=None),

status=StatusCode(value=0),

source_timestamp=DateTime(ticks=1000),

source_picoseconds=500,

server_timestamp=DateTime(ticks=2000),

server_picoseconds=250)

Built-in Variant

Published schema source: schemas\base.json builtins. SchemaId: 21a6dba186a946e9.

Table 51 – Built-in Variant

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | dense_union<null: null=0, scalar_Boolean: bool=1, array_Boolean: list<item: bool>=2, matrix_Boolean: struct<dimensions: list<item: int32> not null, values: list<item: bool> not null>=3, scalar_SByte: int8=4, array_SByte: list<item: int8>=5, matrix_SByte: struct<dimensions: list<item: int32> not null, values: list<item: int8> not null>=6, scalar_Byte: uint8=7, array_Byte: list<item: uint8>=8, matrix_Byte: struct<dimensions: list<item: int32> not null, values: list<item: uint8> not null>=9, scalar_Int16: int16=10, array_Int16: list<item: int16>=11, matrix_Int16: struct<dimensions: list<item: int32> not null, values: list<item: int16> not null>=12, scalar_UInt16: uint16=13, array_UInt16: list<item: uint16>=14, matrix_UInt16: struct<dimensions: list<item: int32> not null, values: list<item: uint16> not null>=15, scalar_Int32: int32=16, array_Int32: list<item: int32>=17, matrix_Int32: struct<dimensions: list<item: int32> not null, values: list<item: int32> not null>=18, scalar_UInt32: uint32=19, array_UInt32: list<item: uint32>=20, matrix_UInt32: struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null>=21, scalar_Int64: int64=22, array_Int64: list<item: int64>=23, matrix_Int64: struct<dimensions: list<item: int32> not null, values: list<item: int64> not null>=24, scalar_UInt64: uint64=25, array_UInt64: list<item: uint64>=26, matrix_UInt64: struct<dimensions: list<item: int32> not null, values: list<item: uint64> not null>=27, scalar_Float: float=28, array_Float: list<item: float>=29, matrix_Float: struct<dimensions: list<item: int32> not null, values: list<item: float> not null>=30, scalar_Double: double=31, array_Double: list<item: double>=32, matrix_Double: struct<dimensions: list<item: int32> not null, values: list<item: double> not null>=33, scalar_String: string=34, array_String: list<item: string>=35, matrix_String: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=36, scalar_DateTime: int64=37, array_DateTime: list<item: int64>=38, matrix_DateTime: struct<dimensions: list<item: int32> not null, values: list<item: int64> not null>=39, scalar_Guid: fixed_size_binary[16]=40, array_Guid: list<item: fixed_size_binary[16]>=41, matrix_Guid: struct<dimensions: list<item: int32> not null, values: list<item: fixed_size_binary[16]> not null>=42, scalar_ByteString: binary=43, array_ByteString: list<item: binary>=44, matrix_ByteString: struct<dimensions: list<item: int32> not null, values: list<item: binary> not null>=45, scalar_XmlElement: string=46, array_XmlElement: list<item: string>=47, matrix_XmlElement: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=48, scalar_NodeId: string=49, array_NodeId: list<item: string>=50, matrix_NodeId: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=51, scalar_ExpandedNodeId: string=52, array_ExpandedNodeId: list<item: string>=53, matrix_ExpandedNodeId: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>=54, scalar_StatusCode: uint32=55, array_StatusCode: list<item: uint32>=56, matrix_StatusCode: struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null>=57, scalar_QualifiedName: struct<namespace: uint16 not null, name: string>=58, array_QualifiedName: list<item: struct<namespace: uint16 not null, name: string>>=59, matrix_QualifiedName: struct<dimensions: list<item: int32> not null, values: list<item: struct<namespace: uint16 not null, name: string>> not null>=60, scalar_LocalizedText: struct<locale: string, text: string>=61, array_LocalizedText: list<item: struct<locale: string, text: string>>=62, matrix_LocalizedText: struct<dimensions: list<item: int32> not null, values: list<item: struct<locale: string, text: string>> not null>=63, scalar_ExtensionObject: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>=64, array_ExtensionObject: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=65, matrix_ExtensionObject: struct<dimensions: list<item: int32> not null, values: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> not null>=66> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_Boolean | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_Boolean | list<item: bool> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_Boolean[] | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Boolean | struct<dimensions: list<item: int32> not null, values: list<item: bool> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Boolean.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Boolean.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Boolean.values | list<item: bool> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Boolean.values[] | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_SByte | int8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_SByte | list<item: int8> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_SByte[] | int8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_SByte | struct<dimensions: list<item: int32> not null, values: list<item: int8> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_SByte.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_SByte.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_SByte.values | list<item: int8> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_SByte.values[] | int8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_Byte | uint8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_Byte | list<item: uint8> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_Byte[] | uint8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Byte | struct<dimensions: list<item: int32> not null, values: list<item: uint8> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Byte.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Byte.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Byte.values | list<item: uint8> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Byte.values[] | uint8 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_Int16 | int16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_Int16 | list<item: int16> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_Int16[] | int16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Int16 | struct<dimensions: list<item: int32> not null, values: list<item: int16> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Int16.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Int16.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Int16.values | list<item: int16> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Int16.values[] | int16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_UInt16 | uint16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_UInt16 | list<item: uint16> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_UInt16[] | uint16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_UInt16 | struct<dimensions: list<item: int32> not null, values: list<item: uint16> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_UInt16.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_UInt16.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_UInt16.values | list<item: uint16> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_UInt16.values[] | uint16 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_Int32 | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_Int32 | list<item: int32> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_Int32[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Int32 | struct<dimensions: list<item: int32> not null, values: list<item: int32> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Int32.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Int32.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Int32.values | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Int32.values[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_UInt32 | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_UInt32 | list<item: uint32> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_UInt32[] | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_UInt32 | struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_UInt32.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_UInt32.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_UInt32.values | list<item: uint32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_UInt32.values[] | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_Int64 | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_Int64 | list<item: int64> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_Int64[] | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Int64 | struct<dimensions: list<item: int32> not null, values: list<item: int64> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Int64.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Int64.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Int64.values | list<item: int64> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Int64.values[] | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_UInt64 | uint64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_UInt64 | list<item: uint64> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_UInt64[] | uint64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_UInt64 | struct<dimensions: list<item: int32> not null, values: list<item: uint64> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_UInt64.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_UInt64.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_UInt64.values | list<item: uint64> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_UInt64.values[] | uint64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_Float | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_Float | list<item: float> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_Float[] | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Float | struct<dimensions: list<item: int32> not null, values: list<item: float> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Float.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Float.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Float.values | list<item: float> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Float.values[] | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_Double | double | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_Double | list<item: double> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_Double[] | double | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Double | struct<dimensions: list<item: int32> not null, values: list<item: double> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Double.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Double.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Double.values | list<item: double> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Double.values[] | double | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_String | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_String | list<item: string> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_String[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_String | struct<dimensions: list<item: int32> not null, values: list<item: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_String.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_String.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_String.values | list<item: string> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_String.values[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_DateTime | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_DateTime | list<item: int64> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_DateTime[] | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_DateTime | struct<dimensions: list<item: int32> not null, values: list<item: int64> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_DateTime.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_DateTime.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_DateTime.values | list<item: int64> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_DateTime.values[] | int64 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_Guid | fixed_size_binary[16] | nullable; Arrow validity bitmap when needed | Fixed-width bytes. |
| value.array_Guid | list<item: fixed_size_binary[16]> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_Guid[] | fixed_size_binary[16] | nullable; Arrow validity bitmap when needed | Fixed-width bytes. |
| value.matrix_Guid | struct<dimensions: list<item: int32> not null, values: list<item: fixed_size_binary[16]> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Guid.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Guid.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_Guid.values | list<item: fixed_size_binary[16]> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_Guid.values[] | fixed_size_binary[16] | nullable; Arrow validity bitmap when needed | Fixed-width bytes. |
| value.scalar_ByteString | binary | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ByteString | list<item: binary> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_ByteString[] | binary | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ByteString | struct<dimensions: list<item: int32> not null, values: list<item: binary> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ByteString.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_ByteString.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ByteString.values | list<item: binary> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_ByteString.values[] | binary | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_XmlElement | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_XmlElement | list<item: string> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_XmlElement[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_XmlElement | struct<dimensions: list<item: int32> not null, values: list<item: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_XmlElement.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_XmlElement.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_XmlElement.values | list<item: string> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_XmlElement.values[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_NodeId | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_NodeId | list<item: string> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_NodeId[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_NodeId | struct<dimensions: list<item: int32> not null, values: list<item: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_NodeId.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_NodeId.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_NodeId.values | list<item: string> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_NodeId.values[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExpandedNodeId | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExpandedNodeId | list<item: string> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_ExpandedNodeId[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExpandedNodeId | struct<dimensions: list<item: int32> not null, values: list<item: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExpandedNodeId.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_ExpandedNodeId.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExpandedNodeId.values | list<item: string> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_ExpandedNodeId.values[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_StatusCode | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_StatusCode | list<item: uint32> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_StatusCode[] | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_StatusCode | struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_StatusCode.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_StatusCode.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_StatusCode.values | list<item: uint32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_StatusCode.values[] | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_QualifiedName | struct<namespace: uint16 not null, name: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_QualifiedName.namespace | uint16 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_QualifiedName.name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_QualifiedName | list<item: struct<namespace: uint16 not null, name: string>> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_QualifiedName[] | struct<namespace: uint16 not null, name: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_QualifiedName[].namespace | uint16 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_QualifiedName[].name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_QualifiedName | struct<dimensions: list<item: int32> not null, values: list<item: struct<namespace: uint16 not null, name: string>> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_QualifiedName.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_QualifiedName.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_QualifiedName.values | list<item: struct<namespace: uint16 not null, name: string>> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_QualifiedName.values[] | struct<namespace: uint16 not null, name: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_QualifiedName.values[].namespace | uint16 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_QualifiedName.values[].name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_LocalizedText | struct<locale: string, text: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_LocalizedText.locale | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_LocalizedText.text | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_LocalizedText | list<item: struct<locale: string, text: string>> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_LocalizedText[] | struct<locale: string, text: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_LocalizedText[].locale | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_LocalizedText[].text | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_LocalizedText | struct<dimensions: list<item: int32> not null, values: list<item: struct<locale: string, text: string>> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_LocalizedText.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_LocalizedText.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_LocalizedText.values | list<item: struct<locale: string, text: string>> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_LocalizedText.values[] | struct<locale: string, text: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_LocalizedText.values[].locale | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_LocalizedText.values[].text | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject | struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.type_id | string | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body | dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> | not nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.scalar_ExtensionObject.body.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Point | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Point.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Point.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Person | struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Person.Name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Person.Age | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Person.Email | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.scalar_ExtensionObject.body.Person.Email.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Person.Email.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Person.Nickname | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.scalar_ExtensionObject.body.Person.Nickname.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Person.Nickname.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Measurement | dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.scalar_ExtensionObject.body.Measurement.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Measurement.AsInt | struct<value: int32> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Measurement.AsInt.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Measurement.AsText | struct<value: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Measurement.AsText.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Measurement.AsPoint | struct<value: struct<X: double not null, Y: double not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Measurement.AsPoint.value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Measurement.AsPoint.value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Measurement.AsPoint.value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope | struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Id | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Location | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Location.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Location.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Tags | list<item: string> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.scalar_ExtensionObject.body.Envelope.Tags[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload | struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.type_id | string | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body | dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> | not nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Point | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Point.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Point.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Person | struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Person.Name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Person.Age | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Person.Email | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Person.Email.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Person.Email.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Person.Nickname | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Person.Nickname.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Person.Nickname.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Measurement | dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Measurement.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Measurement.AsInt | struct<value: int32> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Measurement.AsInt.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Measurement.AsText | struct<value: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Measurement.AsText.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Measurement.AsPoint | struct<value: struct<X: double not null, Y: double not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Measurement.AsPoint.value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Measurement.AsPoint.value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Measurement.AsPoint.value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.Envelope | struct<> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars | struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars.Id | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars.Flag | struct<present: bool not null, value: bool> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars.Flag.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars.Flag.value | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars.Count | struct<present: bool not null, value: int32> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars.Count.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars.Count.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars.Ratio | struct<present: bool not null, value: double> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars.Ratio.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.OptionalScalars.Ratio.value | double | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.FloatHolder | struct<A: float not null, B: struct<present: bool not null, value: float> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.FloatHolder.A | float | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.FloatHolder.B | struct<present: bool not null, value: float> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.FloatHolder.B.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.FloatHolder.B.value | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.Envelope.Payload.body.binary | binary | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.OptionalScalars | struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.OptionalScalars.Id | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.body.OptionalScalars.Flag | struct<present: bool not null, value: bool> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.scalar_ExtensionObject.… | null | nullable; Arrow validity bitmap when needed | Nested field list abbreviated for compactness. |
| value.array_ExtensionObject | list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_ExtensionObject[] | struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].type_id | string | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body | dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> | not nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.array_ExtensionObject[].body.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Point | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Point.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Point.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Person | struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Person.Name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Person.Age | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Person.Email | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.array_ExtensionObject[].body.Person.Email.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Person.Email.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Person.Nickname | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.array_ExtensionObject[].body.Person.Nickname.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Person.Nickname.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Measurement | dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.array_ExtensionObject[].body.Measurement.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Measurement.AsInt | struct<value: int32> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Measurement.AsInt.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Measurement.AsText | struct<value: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Measurement.AsText.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Measurement.AsPoint | struct<value: struct<X: double not null, Y: double not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Measurement.AsPoint.value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Measurement.AsPoint.value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Measurement.AsPoint.value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope | struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Id | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Location | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Location.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Location.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Tags | list<item: string> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.array_ExtensionObject[].body.Envelope.Tags[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload | struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.type_id | string | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body | dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> | not nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Point | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Point.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Point.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Person | struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Person.Name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Person.Age | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Person.Email | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Person.Email.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Person.Email.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Person.Nickname | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Person.Nickname.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Person.Nickname.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Measurement | dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Measurement.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Measurement.AsInt | struct<value: int32> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Measurement.AsInt.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Measurement.AsText | struct<value: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Measurement.AsText.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Measurement.AsPoint | struct<value: struct<X: double not null, Y: double not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Measurement.AsPoint.value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Measurement.AsPoint.value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Measurement.AsPoint.value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.Envelope | struct<> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars | struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars.Id | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars.Flag | struct<present: bool not null, value: bool> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars.Flag.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars.Flag.value | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars.Count | struct<present: bool not null, value: int32> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars.Count.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars.Count.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars.Ratio | struct<present: bool not null, value: double> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars.Ratio.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.OptionalScalars.Ratio.value | double | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.FloatHolder | struct<A: float not null, B: struct<present: bool not null, value: float> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.FloatHolder.A | float | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.FloatHolder.B | struct<present: bool not null, value: float> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.FloatHolder.B.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.FloatHolder.B.value | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.Envelope.Payload.body.binary | binary | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.OptionalScalars | struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject[].body.OptionalScalars.Id | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.array_ExtensionObject.… | null | nullable; Arrow validity bitmap when needed | Nested field list abbreviated for compactness. |
| value.matrix_ExtensionObject | struct<dimensions: list<item: int32> not null, values: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_ExtensionObject.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values | list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_ExtensionObject.values[] | struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].type_id | string | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body | dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> | not nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.matrix_ExtensionObject.values[].body.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Point | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Point.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Point.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Person | struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Person.Name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Person.Age | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Person.Email | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.matrix_ExtensionObject.values[].body.Person.Email.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Person.Email.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Person.Nickname | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.matrix_ExtensionObject.values[].body.Person.Nickname.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Person.Nickname.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Measurement | dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.matrix_ExtensionObject.values[].body.Measurement.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Measurement.AsInt | struct<value: int32> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Measurement.AsInt.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Measurement.AsText | struct<value: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Measurement.AsText.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Measurement.AsPoint | struct<value: struct<X: double not null, Y: double not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Measurement.AsPoint.value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Measurement.AsPoint.value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Measurement.AsPoint.value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope | struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Id | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Location | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Location.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Location.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Tags | list<item: string> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.matrix_ExtensionObject.values[].body.Envelope.Tags[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload | struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.type_id | string | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body | dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> | not nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Point | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Point.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Point.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Person | struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Person.Name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Person.Age | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Person.Email | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Person.Email.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Person.Email.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Person.Nickname | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Person.Nickname.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Person.Nickname.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Measurement | dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Measurement.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Measurement.AsInt | struct<value: int32> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Measurement.AsInt.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Measurement.AsText | struct<value: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Measurement.AsText.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Measurement.AsPoint | struct<value: struct<X: double not null, Y: double not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Measurement.AsPoint.value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Measurement.AsPoint.value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Measurement.AsPoint.value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.Envelope | struct<> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars | struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars.Id | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars.Flag | struct<present: bool not null, value: bool> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars.Flag.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars.Flag.value | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars.Count | struct<present: bool not null, value: int32> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars.Count.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars.Count.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars.Ratio | struct<present: bool not null, value: double> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars.Ratio.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.OptionalScalars.Ratio.value | double | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.FloatHolder | struct<A: float not null, B: struct<present: bool not null, value: float> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.FloatHolder.A | float | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.FloatHolder.B | struct<present: bool not null, value: float> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.FloatHolder.B.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.values[].body.Envelope.Payload.body.FloatHolder.B.value | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.matrix_ExtensionObject.… | null | nullable; Arrow validity bitmap when needed | Nested field list abbreviated for compactness. |

Arrow schema:

value: dense_union<null: null=0, scalar_Boolean: bool=1, array_Boolean: list<item: bool>=2, matrix_Boolean: (... 9397 chars omitted)

child 0, null: null

child 1, scalar_Boolean: bool

child 2, array_Boolean: list<item: bool>

child 0, item: bool

child 3, matrix_Boolean: struct<dimensions: list<item: int32> not null, values: list<item: bool> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: bool> not null

child 0, item: bool

child 4, scalar_SByte: int8

child 5, array_SByte: list<item: int8>

child 0, item: int8

child 6, matrix_SByte: struct<dimensions: list<item: int32> not null, values: list<item: int8> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: int8> not null

child 0, item: int8

child 7, scalar_Byte: uint8

child 8, array_Byte: list<item: uint8>

child 0, item: uint8

child 9, matrix_Byte: struct<dimensions: list<item: int32> not null, values: list<item: uint8> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: uint8> not null

child 0, item: uint8

child 10, scalar_Int16: int16

child 11, array_Int16: list<item: int16>

child 0, item: int16

child 12, matrix_Int16: struct<dimensions: list<item: int32> not null, values: list<item: int16> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: int16> not null

child 0, item: int16

child 13, scalar_UInt16: uint16

child 14, array_UInt16: list<item: uint16>

child 0, item: uint16

child 15, matrix_UInt16: struct<dimensions: list<item: int32> not null, values: list<item: uint16> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: uint16> not null

child 0, item: uint16

child 16, scalar_Int32: int32

child 17, array_Int32: list<item: int32>

child 0, item: int32

child 18, matrix_Int32: struct<dimensions: list<item: int32> not null, values: list<item: int32> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: int32> not null

child 0, item: int32

child 19, scalar_UInt32: uint32

child 20, array_UInt32: list<item: uint32>

child 0, item: uint32

child 21, matrix_UInt32: struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: uint32> not null

child 0, item: uint32

child 22, scalar_Int64: int64

child 23, array_Int64: list<item: int64>

child 0, item: int64

child 24, matrix_Int64: struct<dimensions: list<item: int32> not null, values: list<item: int64> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: int64> not null

child 0, item: int64

child 25, scalar_UInt64: uint64

child 26, array_UInt64: list<item: uint64>

child 0, item: uint64

child 27, matrix_UInt64: struct<dimensions: list<item: int32> not null, values: list<item: uint64> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: uint64> not null

child 0, item: uint64

child 28, scalar_Float: float

child 29, array_Float: list<item: float>

child 0, item: float

child 30, matrix_Float: struct<dimensions: list<item: int32> not null, values: list<item: float> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: float> not null

child 0, item: float

child 31, scalar_Double: double

child 32, array_Double: list<item: double>

child 0, item: double

child 33, matrix_Double: struct<dimensions: list<item: int32> not null, values: list<item: double> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: double> not null

child 0, item: double

child 34, scalar_String: string

child 35, array_String: list<item: string>

child 0, item: string

child 36, matrix_String: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: string> not null

child 0, item: string

child 37, scalar_DateTime: int64

child 38, array_DateTime: list<item: int64>

child 0, item: int64

child 39, matrix_DateTime: struct<dimensions: list<item: int32> not null, values: list<item: int64> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: int64> not null

child 0, item: int64

child 40, scalar_Guid: fixed_size_binary[16]

child 41, array_Guid: list<item: fixed_size_binary[16]>

child 0, item: fixed_size_binary[16]

child 42, matrix_Guid: struct<dimensions: list<item: int32> not null, values: list<item: fixed_size_binary[16]> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: fixed_size_binary[16]> not null

child 0, item: fixed_size_binary[16]

child 43, scalar_ByteString: binary

child 44, array_ByteString: list<item: binary>

child 0, item: binary

child 45, matrix_ByteString: struct<dimensions: list<item: int32> not null, values: list<item: binary> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: binary> not null

child 0, item: binary

child 46, scalar_XmlElement: string

child 47, array_XmlElement: list<item: string>

child 0, item: string

child 48, matrix_XmlElement: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: string> not null

child 0, item: string

child 49, scalar_NodeId: string

child 50, array_NodeId: list<item: string>

child 0, item: string

child 51, matrix_NodeId: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: string> not null

child 0, item: string

child 52, scalar_ExpandedNodeId: string

child 53, array_ExpandedNodeId: list<item: string>

child 0, item: string

child 54, matrix_ExpandedNodeId: struct<dimensions: list<item: int32> not null, values: list<item: string> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: string> not null

child 0, item: string

child 55, scalar_StatusCode: uint32

child 56, array_StatusCode: list<item: uint32>

child 0, item: uint32

child 57, matrix_StatusCode: struct<dimensions: list<item: int32> not null, values: list<item: uint32> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: uint32> not null

child 0, item: uint32

child 58, scalar_QualifiedName: struct<namespace: uint16 not null, name: string>

child 0, namespace: uint16 not null

child 1, name: string

child 59, array_QualifiedName: list<item: struct<namespace: uint16 not null, name: string>>

child 0, item: struct<namespace: uint16 not null, name: string>

child 0, namespace: uint16 not null

child 1, name: string

child 60, matrix_QualifiedName: struct<dimensions: list<item: int32> not null, values: list<item: struct<namespace: uint16 not null, (... 25 chars omitted)

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: struct<namespace: uint16 not null, name: string>> not null

child 0, item: struct<namespace: uint16 not null, name: string>

child 0, namespace: uint16 not null

child 1, name: string

child 61, scalar_LocalizedText: struct<locale: string, text: string>

child 0, locale: string

child 1, text: string

child 62, array_LocalizedText: list<item: struct<locale: string, text: string>>

child 0, item: struct<locale: string, text: string>

child 0, locale: string

child 1, text: string

child 63, matrix_LocalizedText: struct<dimensions: list<item: int32> not null, values: list<item: struct<locale: string, text: strin (... 13 chars omitted)

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: struct<locale: string, text: string>> not null

child 0, item: struct<locale: string, text: string>

child 0, locale: string

child 1, text: string

child 64, scalar_ExtensionObject: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 1735 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 1686 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string (... 878 chars omitted)

child 0, Id: string

child 1, Location: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Tags: list<item: string>

child 0, item: string

child 3, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 765 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 716 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<>

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 65, array_ExtensionObject: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double  (... 1747 chars omitted)

child 0, item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 1735 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 1686 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string (... 878 chars omitted)

child 0, Id: string

child 1, Location: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Tags: list<item: string>

child 0, item: string

child 3, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 765 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 716 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<>

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 66, matrix_ExtensionObject: struct<dimensions: list<item: int32> not null, values: list<item: struct<type_id: string not null, b (... 1812 chars omitted)

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double  (... 1747 chars omitted) not null

child 0, item: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 1735 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 1686 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string (... 878 chars omitted)

child 0, Id: string

child 1, Location: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Tags: list<item: string>

child 0, item: string

child 3, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 765 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 716 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<>

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

-- schema metadata --

opcua-arrow: '1'

Example value:

Variant(vtype=Builtin(id=<BuiltInType.Int32: 6>), value=99, dimensions=None)

Built-in DiagnosticInfo

Published schema source: schemas\base.json builtins. SchemaId: f771456f4d1d0ab7.

Table 52 – Built-in DiagnosticInfo

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | struct<symbolic_id: int32, namespace_uri: int32, locale: int32, localized_text: int32, additional_info: string, inner_status_code: uint32, inner_diagnostic_info: list<item: struct<symbolic_id: int32, namespace_uri: int32, locale: int32, localized_text: int32, additional_info: string, inner_status_code: uint32> not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.symbolic_id | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.namespace_uri | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.locale | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.localized_text | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.additional_info | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.inner_status_code | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.inner_diagnostic_info | list<item: struct<symbolic_id: int32, namespace_uri: int32, locale: int32, localized_text: int32, additional_info: string, inner_status_code: uint32> not null> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.inner_diagnostic_info[] | struct<symbolic_id: int32, namespace_uri: int32, locale: int32, localized_text: int32, additional_info: string, inner_status_code: uint32> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.inner_diagnostic_info[].symbolic_id | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.inner_diagnostic_info[].namespace_uri | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.inner_diagnostic_info[].locale | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.inner_diagnostic_info[].localized_text | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.inner_diagnostic_info[].additional_info | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.inner_diagnostic_info[].inner_status_code | uint32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: struct<symbolic_id: int32, namespace_uri: int32, locale: int32, localized_text: int32, additional_in (... 222 chars omitted)

child 0, symbolic_id: int32

child 1, namespace_uri: int32

child 2, locale: int32

child 3, localized_text: int32

child 4, additional_info: string

child 5, inner_status_code: uint32

child 6, inner_diagnostic_info: list<item: struct<symbolic_id: int32, namespace_uri: int32, locale: int32, localized_text: int32, ad (... 59 chars omitted)

child 0, item: struct<symbolic_id: int32, namespace_uri: int32, locale: int32, localized_text: int32, additional_in (... 38 chars omitted) not null

child 0, symbolic_id: int32

child 1, namespace_uri: int32

child 2, locale: int32

child 3, localized_text: int32

child 4, additional_info: string

child 5, inner_status_code: uint32

-- schema metadata --

opcua-arrow: '1'

Example value:

DiagnosticInfo(symbolic_id=1,

namespace_uri=2,

locale=None,

localized_text=None,

additional_info='outer',

inner_status_code=StatusCode(value=2158755840),

inner_diagnostic_info=DiagnosticInfo(symbolic_id=None,

namespace_uri=None,

locale=5,

localized_text=None,

additional_info='inner',

inner_status_code=None,

inner_diagnostic_info=None))

Composite Array<String>

Published schema source: schemas\base.json corpusTypes. SchemaId: 29fbb0deb2fca279.

Table 53 – Composite Array<String>

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | list<item: string> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: list<item: string>

child 0, item: string

-- schema metadata --

opcua-arrow: '1'

Example value:

['a', None, '']

Composite Matrix<Double>

Published schema source: schemas\base.json matrix/corpusTypes. SchemaId: 80fc271958993aff.

Table 54 – Composite Matrix<Double>

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | struct<dimensions: list<item: int32> not null, values: list<item: double> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.dimensions | list<item: int32> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.dimensions[] | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.values | list<item: double> | not nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.values[] | double | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: struct<dimensions: list<item: int32> not null, values: list<item: double> not null>

child 0, dimensions: list<item: int32> not null

child 0, item: int32

child 1, values: list<item: double> not null

child 0, item: double

-- schema metadata --

opcua-arrow: '1'

Example value:

Matrix(dimensions=(2, 2), values=[1.0, nan, -inf, -0.0])

Composite plain Structure Point

Published schema source: ../extras/arrow-encoding/schemas/struct-Point.json. SchemaId: beb88baa5c498682.

Table 55 – Composite plain Structure Point

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

-- schema metadata --

opcua-arrow: '1'

Example value:

StructValue(fields={'X': 1.25, 'Y': -3.5}, type_name='Point')

Composite StructureWithOptionalFields Person

Published schema source: ../extras/arrow-encoding/schemas/struct-Person.json. SchemaId: 38e92bc671144ea6.

Table 56 – Composite StructureWithOptionalFields Person

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Age | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Email | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.Email.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Email.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Nickname | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.Nickname.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Nickname.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

-- schema metadata --

opcua-arrow: '1'

Example value:

StructValue(fields={'Name': 'Zed', 'Age': 9, 'Email': None}, type_name='Person')

Composite dense Union Measurement

Published schema source: ../extras/arrow-encoding/schemas/struct-Measurement.json. SchemaId: 916f95c2e1d7e908.

Table 57 – Composite dense Union Measurement

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.AsInt | struct<value: int32> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.AsInt.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.AsText | struct<value: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.AsText.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.AsPoint | struct<value: struct<X: double not null, Y: double not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.AsPoint.value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.AsPoint.value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.AsPoint.value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

-- schema metadata --

opcua-arrow: '1'

Example value:

UnionValue(field_name='AsText', value=None)

Worked structured DataType Envelope

Published schema source: ../extras/arrow-encoding/schemas/struct-Envelope.json. SchemaId: 2a2a532233026d37.

Table 58 – Worked structured DataType Envelope

| Field | Arrow DataType | Nullable/validity | Notes |
| --- | --- | --- | --- |
| value | struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string>, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Id | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Location | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Location.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Location.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Tags | list<item: string> | nullable; Arrow validity bitmap when needed | List offsets identify the element range; null list differs from empty list. |
| value.Tags[] | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload | struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.type_id | string | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body | dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null>=2, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3>=3, Envelope: struct<>=4, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null>=5, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>=6, binary: binary=7> | not nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.Payload.body.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Point | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Point.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Point.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Person | struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not null, Nickname: struct<present: bool not null, value: string> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Person.Name | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Person.Age | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Person.Email | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.Payload.body.Person.Email.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Person.Email.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Person.Nickname | struct<present: bool not null, value: string> | not nullable; Arrow validity bitmap when needed | present distinguishes absent optional fields from present null values. |
| value.Payload.body.Person.Nickname.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Person.Nickname.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Measurement | dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: struct<value: struct<X: double not null, Y: double not null>>=3> | nullable; Arrow validity bitmap when needed | Dense-union type id plus value offset selects the active branch. |
| value.Payload.body.Measurement.null | null | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Measurement.AsInt | struct<value: int32> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Measurement.AsInt.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Measurement.AsText | struct<value: string> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Measurement.AsText.value | string | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Measurement.AsPoint | struct<value: struct<X: double not null, Y: double not null>> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Measurement.AsPoint.value | struct<X: double not null, Y: double not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Measurement.AsPoint.value.X | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Measurement.AsPoint.value.Y | double | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.Envelope | struct<> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars | struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct<present: bool not null, value: int32> not null, Ratio: struct<present: bool not null, value: double> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars.Id | int32 | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars.Flag | struct<present: bool not null, value: bool> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars.Flag.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars.Flag.value | bool | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars.Count | struct<present: bool not null, value: int32> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars.Count.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars.Count.value | int32 | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars.Ratio | struct<present: bool not null, value: double> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars.Ratio.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.OptionalScalars.Ratio.value | double | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.FloatHolder | struct<A: float not null, B: struct<present: bool not null, value: float> not null> | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.FloatHolder.A | float | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.FloatHolder.B | struct<present: bool not null, value: float> | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.FloatHolder.B.present | bool | not nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.FloatHolder.B.value | float | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |
| value.Payload.body.binary | binary | nullable; Arrow validity bitmap when needed | Canonical Part 6 Arrow mapping. |

Arrow schema:

value: struct<Id: string, Location: struct<X: double not null, Y: double not null>, Tags: list<item: string (... 878 chars omitted)

child 0, Id: string

child 1, Location: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Tags: list<item: string>

child 0, item: string

child 3, Payload: struct<type_id: string not null, body: dense_union<null: null=0, Point: struct<X: double not null, Y (... 765 chars omitted)

child 0, type_id: string not null

child 1, body: dense_union<null: null=0, Point: struct<X: double not null, Y: double not null>=1, Person: struct<Na (... 716 chars omitted) not null

child 0, null: null

child 1, Point: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 2, Person: struct<Name: string, Age: int32 not null, Email: struct<present: bool not null, value: string> not n (... 70 chars omitted)

child 0, Name: string

child 1, Age: int32 not null

child 2, Email: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Nickname: struct<present: bool not null, value: string> not null

child 0, present: bool not null

child 1, value: string

child 3, Measurement: dense_union<null: null=0, AsInt: struct<value: int32>=1, AsText: struct<value: string>=2, AsPoint: s (... 63 chars omitted)

child 0, null: null

child 1, AsInt: struct<value: int32>

child 0, value: int32

child 2, AsText: struct<value: string>

child 0, value: string

child 3, AsPoint: struct<value: struct<X: double not null, Y: double not null>>

child 0, value: struct<X: double not null, Y: double not null>

child 0, X: double not null

child 1, Y: double not null

child 4, Envelope: struct<>

child 5, OptionalScalars: struct<Id: int32 not null, Flag: struct<present: bool not null, value: bool> not null, Count: struct (... 111 chars omitted)

child 0, Id: int32 not null

child 1, Flag: struct<present: bool not null, value: bool> not null

child 0, present: bool not null

child 1, value: bool

child 2, Count: struct<present: bool not null, value: int32> not null

child 0, present: bool not null

child 1, value: int32

child 3, Ratio: struct<present: bool not null, value: double> not null

child 0, present: bool not null

child 1, value: double

child 6, FloatHolder: struct<A: float not null, B: struct<present: bool not null, value: float> not null>

child 0, A: float not null

child 1, B: struct<present: bool not null, value: float> not null

child 0, present: bool not null

child 1, value: float

child 7, binary: binary

-- schema metadata --

opcua-arrow: '1'

Example value:

StructValue(fields={'Id': 'E1',

'Location': StructValue(fields={'X': 0.0, 'Y': 0.0},

type_name='Point'),

'Payload': ExtensionObject(type_id=NodeId(namespace=0,

id_type=<IdType.NUMERIC: 0>,

identifier=3001),

body=StructValue(fields={'X': 2.0,

'Y': 3.0},

type_name='Point')),

'Tags': ['x', None, 'z']},

type_name='Envelope')

<!-- END GENERATED: type-reference -->

_____________

—————————