| Logo of OPC Foundation, only if this is a joint work. Both logos shall be side by side.. |  | Logo of other organization. Both logos shall be side by side.. | OPC UA Companion Specification |
| --- | --- | --- | --- |
| OPC nnnnn-m |  |  |  |
| OPC UA for OpenUSD Part 1: OpenUSD Binding Draft0.6.0 2026-07-31 Edit the advanced properties to complete the title page. Boxes are used to provide context or guidelines on expected content. Any words or phrases written in red font colour shall be replaced by actual values as appropriate for the companion specification. |  |  |  |

| Specification Type: | Industry Standard Specification | Comments: |  |
| --- | --- | --- | --- |
| Doc-Number | OPC nnnnn-m |  |  |
| Title: | OPC UA for OpenUSD Part 1OpenUSD Binding | Date: | 2026-07-31 |
| Version: | Draft0.6.0 | Software: | MS-Word |
|  |  | Source: | OPC-UA-OpenUSD-Binding-Part1.docx |
| Author: | <organization> | Status: | Draft |

Template Revisions

| Version | Date | Description |
| --- | --- | --- |
| 1.01.09 | Mar 09, 2020 | M-4665: Link to NodeSet indicates that also ERRATA, Amendments or Revisions are applied. Fixed various styles. |
| 1.01.10 | Apr 29, 2020 | Minor update for the Value attribute (M-5314). |
| 1.01.11 | July 09, 2020 | M-5595: Added better wording and recommendations for NamespaceMetadata as suggested. M-5520: Fixed quotation marks. M-5781: Title "Additional Variable Attributes" misleading. M-5673: Added HasInterface Reference to figure. M-5468: Use of Namespace Index also in Method signatures. M-5789: Clarify use of NamespaceIndex for Profiles or ConformanceUnits in other specifications. |
| 1.01.12 | Nov 16, 2020 | M-5904: BrowseName convention for placeholders. M-6184: The "additional attributes" table shall not be restricted to Value and Description. M-6183: Fix heading names for columns with a browse path. M-6112: Add an example state machine. M-6185: Add new table types to conventions. |
| 1.01.13 | Feb 17, 2021 | M-6302: Updated format for NamespaceMetadata table to make it validatable. M-6317: Added guideline for uncaptioned embedded figures. |
| 1.01.14 | Nov 15, 2021 | M-6264: GeneratesEvent example added. M-7147: Added abbreviated terms used in template. M-6265: No HasSubtype References. M-7265: Added max size for ConformanceUnit description. M-6612: Added definition of capability ID (Annex A.2). M-6150: Extended tables with Conformance Units row. |
| 1.01.15 | Oct 01, 2022 | M-7528: Namespace index also for the “Subtype of” rows. M-8025: Added missing BrowsePath tables for subcomponents. M-6776: Changed the examples for Structure and Union to start with an uppercase character. M-7341: Added extended definition for structures. |
| 1.01.16 | Mar 14, 2023 | M-8638: Updated URL format for schema files (Annex A). Updated URL format for normative references to documents (Clause 2). |
| 1.01.17 | Nov 17, 2023 | M-9196: Conformance Units and Profiles should be in profile database. M-8765: Added URL syntax for individual files. M-9170: Casing of UANodeSet wrong. M-9182: Added reference to IEC specifications. |
| 1.01.18 | Dec 03, 2024 | M-9275: Missing value rank 0. M-9270: Added guidelines to make figures smaller. M-8648: Well-Known BrowseNames. M-9723: Hyperlinks to online reference. |
| 1.01.19 | Jan 21, 2025 | M-9833: Added description on issue reporting to the “Agreement of Use”. |

CONTENTS

1	Scope	10

1.1	Motivation	11

1.2	What it simplifies and what it enables	11

1.3	Capabilities and conformance	12

2	Normative references	13

3	Terms, abbreviated terms and conventions	14

3.1	Overview	14

3.2	OpenUSD terms	14

3.3	Abbreviated terms	15

3.4	Conventions used in this document	15

3.4.1	Conventions for Node descriptions	15

3.4.2	NodeIds and BrowseNames	18

3.4.3	Common Attributes	19

3.4.4	Structures	21

4	General information to OpenUSD and OPC UA	22

4.1	Introduction to OpenUSD	22

4.2	Introduction to OPC Unified Architecture	22

4.2.1	What is OPC UA?	22

4.2.2	Basics of OPC UA	23

4.2.3	Information modelling in OPC UA	24

5	Use cases	27

6	OpenUSD information model overview	28

6.1	Layered contract	28

6.2	Discovery	28

6.3	Identity and the stage-open contract	28

6.4	Architecture	29

6.5	Organisation of the model	29

7	OPC UA ObjectTypes	29

7.1	OpenUsdRootType	29

7.2	OpenUsdStageType	29

7.3	OpenUsdRepresentationType	30

7.4	OpenUsdLiveBindingType	30

7.4.1	Source and target resolution	31

7.4.2	Conversion	32

7.4.3	Quality, timestamp and persistence	33

7.5	OpenUsdValueChangeBindingType	34

7.6	OpenUsdAlarmBindingType	34

7.7	OpenUsdHistoryBindingType	34

7.8	OpenUsdCommandBindingType	35

7.9	IOpenUsdRepresentedType	36

7.10	OpenUsdComponentBindingType	36

7.10.1	Dynamic composition	37

7.10.2	Cross-server composition	38

7.11	OpenUsdArtifactRegistryType	38

7.11.1	Structure	39

7.11.2	The stage view and the delivery contract	40

7.11.3	Resolver identity	41

7.12	OpenUsdAssetGroupType	43

7.13	OpenUsdSchemaPluginGroupType	43

7.14	OpenUsdAssetType	44

8	OPC UA DataTypes	44

8.1	OpenUsdRenderTargetKindEnum	44

8.2	OpenUsdBadQualityActionEnum	45

8.3	OpenUsdBindingStateEnum	45

8.4	OpenUsdSignalRoleEnum	46

8.5	OpenUsdAlarmAspectEnum	46

8.6	OpenUsdDigestAlgorithmEnum	47

8.7	OpenUsdCardinalityEnum	47

8.8	OpenUsdCompositionArcEnum	48

8.9	OpenUsdAssetKindEnum	48

9	Profiles and conformance units	49

10	Namespaces	50

10.1	Namespace metadata	50

10.2	Handling of OPC UA namespaces	51

11	Security	51

Annex A (normative)   OpenUSD namespace and mappings	53

A.1	NodeSet and supplementary files for OpenUSD Information Model	53

A.2	Capability identifier	54

A.3	Node reference	54

Annex B (informative)  Using the model	62

Annex C (informative)  Interoperability with OpenUSD and Omniverse	63

C.1	Omniverse realization	63

C.2	Alignment with an asset-definition-centric strategy	63

Annex D (informative)  End-to-end collaboration flow	65

D.1	Actors and what each contributes	65

D.2	The flow	66

D.3	Where the contract lives at each hand-off	66

D.4	Concrete pass: the pump example	66

D.5	Concrete pass: the robotics example	66

Annex E (informative)  Bridging to the asset administration shell	68

Annex F (informative)  Geospatial rendering	69

F.1	Why this is an annex and not core USD	69

F.2	Relative pose to USD xformOp fidelity reference	69

F.3	Global position to USD georeference	69

F.4	A binding for the Georeference render target	70

Annex G (informative)  OpenUSD bindings for pumps	71

G.1	Scope	71

G.2	How the bindings are applied	71

G.3	OpenUSD bindings for PumpType	71

G.4	Reference implementation (validated end-to-end)	72

G.5	Composition / aggregation (validated)	73

G.6	Asset content delivery	73

G.7	Where the bindings live	74

Annex H (informative)  OpenUSD bindings for robotics	75

H.1	Scope	75

H.2	How the bindings are applied	75

H.3	OpenUSD bindings for MotionDeviceSystem / MotionDevice / Axis	76

H.4	Composition / aggregation	76

H.5	Asset content delivery	77

H.6	Reference implementation	77

H.7	Where the bindings live	77

Figures

Figure 1 – The scope of OPC UA within an enterprise	23

Figure 2 – A basic Object in an OPC UA Address Space	24

Figure 3 – The relationship between Type Definitions and Instances	25

Figure 4 – Examples of References between Objects	26

Figure 5 – The OPC UA Information Model notation	26

Figure 6 – OpenUSD binding architecture	29

Figure 7 – Connector interaction with a conforming Server	62

Figure 8 – End-to-end collaboration flow	66

Tables

Table 1 – Examples of DataTypes	16

Table 2 – Type Definition Table	17

Table 3 – Examples of Other characteristics	17

Table 4 – <some>Type additional References	18

Table 5 – <some>Type additional subcomponents	18

Table 6 – <some>Type Attribute values for child Nodes	18

Table 7 – Common Node Attributes	20

Table 8 – Common Object Attributes	20

Table 9 – Common Variable Attributes	20

Table 10 – Common VariableType Attributes	21

Table 11 – Common Method Attributes	21

Table 12 – Structures without optional fields where none of the fields allow subtypes	21

Table 13 – Structures with optional fields	21

Table 14 – Structures where one or more of the fields allow subtypes	22

Table 15 – OpenUsdRootType definition	29

Table 16 – OpenUsdStageType definition	30

Table 17 – OpenUsdRepresentationType definition	30

Table 18 – OpenUsdLiveBindingType definition	31

Table 19 – OpenUsdValueChangeBindingType definition	34

Table 20 – OpenUsdAlarmBindingType definition	34

Table 21 – OpenUsdHistoryBindingType definition	35

Table 22 – OpenUsdCommandBindingType definition	36

Table 23 – IOpenUsdRepresentedType definition	36

Table 24 – OpenUsdComponentBindingType definition	37

Table 25 – OpenUsdArtifactRegistryType definition	38

Table 26 – Structure	40

Table 27 – Resolver identity	42

Table 28 – Resolver identity (2)	42

Table 29 – OpenUsdAssetGroupType definition	43

Table 30 – OpenUsdSchemaPluginGroupType definition	44

Table 31 – OpenUsdAssetType definition	44

Table 32 – OpenUsdRenderTargetKindEnum Items	45

Table 33 – OpenUsdRenderTargetKindEnum definition	45

Table 34 – OpenUsdBadQualityActionEnum Items	45

Table 35 – OpenUsdBadQualityActionEnum definition	45

Table 36 – OpenUsdBindingStateEnum Items	46

Table 37 – OpenUsdBindingStateEnum definition	46

Table 38 – OpenUsdSignalRoleEnum Items	46

Table 39 – OpenUsdSignalRoleEnum definition	46

Table 40 – OpenUsdAlarmAspectEnum Items	46

Table 41 – OpenUsdAlarmAspectEnum definition	47

Table 42 – OpenUsdDigestAlgorithmEnum Items	47

Table 43 – OpenUsdDigestAlgorithmEnum definition	47

Table 44 – OpenUsdCardinalityEnum Items	47

Table 45 – OpenUsdCardinalityEnum definition	47

Table 46 – OpenUsdCompositionArcEnum Items	48

Table 47 – OpenUsdCompositionArcEnum definition	48

Table 48 – OpenUsdAssetKindEnum Items	48

Table 49 – OpenUsdAssetKindEnum definition	48

Table 50 – NamespaceMetadata Object for this document	50

Table 51 – Namespaces used in an OpenUSD Server	51

Table 52 – Namespaces used in this document	51

Table 53 – Nodes defined by this document	55

Table 54 – Interoperability with OpenUSD and Omniverse	63

Table 55 – Actors and what each contributes	65

Table 56 – Bridging to the asset administration shell	68

Table 57 – Relative pose to USD xformOp fidelity reference	69

Table 58 – Global position to USD georeference	70

Table 59 – Global position to USD georeference (2)	70

Table 60 – OpenUSD bindings for PumpType	71

Table 61 – Reference implementation (validated end-to-end)	72

Table 62 – OpenUSD bindings for MotionDeviceSystem / MotionDevice / Axis	76

OPC FOUNDATION, Alliance for OpenUSD

____________

This work (OPC UA Companion Specification Template, by OPC Foundation), identified by OPC Foundation, is free of known copyright restrictions.

<Remove the above Public Domain notice and add a copyright date in the following Agreement of use for the completed specification. If possible (but not legally required), provide attribution to the original author in the following way:

“This specification is a derivative work of the public domain document OPC UA Companion Specification Template, by OPC Foundation”

>

AGREEMENT OF USE

<For joint work, this is the agreement accepted by OPC Foundation and used by most if not all joint companion specifications.

Changes to this agreement will require OPC Foundation review. For non-joint work replace this section with appropriate agreement of use and copyright verbiage.>

COPYRIGHT RESTRICTIONS

- This document is provided "as is" by the OPC Foundation and the Alliance for OpenUSD.

- Right of use for this specification is restricted to this specification and does not grant rights of use for referred documents.

- Right of use for this specification will be granted without cost.

- This document may be distributed through computer systems, printed or copied as long as the content remains unchanged and the document is not modified.

- OPC Foundation and Alliance for OpenUSD do not guarantee usability for any purpose and shall not be made liable for any case using the content of this document.

- The user of the document agrees to indemnify OPC Foundation and Alliance for OpenUSD and their officers, directors and agents harmless from all demands, claims, actions, losses, damages (including damages from personal injuries), costs and expenses (including attorneys' fees) which are in any way related to activities associated with its use of content from this specification.

- The document shall not be used in conjunction with company advertising, shall not be sold or licensed to any party.

- The intellectual property and copyright is solely owned by the OPC Foundation and the Alliance for OpenUSD.

PATENTS

The attention of adopters is directed to the possibility that compliance with or adoption of OPC or Alliance for OpenUSD specifications may require use of an invention covered by patent rights. OPC Foundation or Alliance for OpenUSD shall not be responsible for identifying patents for which a license may be required by any OPC or Alliance for OpenUSD specification, or for conducting legal inquiries into the legal validity or scope of those patents that are brought to its attention. OPC or Alliance for OpenUSD specifications are prospective and advisory only. Prospective users are responsible for protecting themselves against liability for infringement of patents.

WARRANTY AND LIABILITY DISCLAIMERS

WHILE THIS PUBLICATION IS BELIEVED TO BE ACCURATE, IT IS PROVIDED "AS IS" AND MAY CONTAIN ERRORS OR MISPRINTS. THE OPC FOUDATION NOR Alliance for OpenUSD MAKES NO WARRANTY OF ANY KIND, EXPRESSED OR IMPLIED, WITH REGARD TO THIS PUBLICATION, INCLUDING BUT NOT LIMITED TO ANY WARRANTY OF TITLE OR OWNERSHIP, IMPLIED WARRANTY OF MERCHANTABILITY OR WARRANTY OF FITNESS FOR A PARTICULAR PURPOSE OR USE. IN NO EVENT SHALL THE OPC FOUNDATION NOR Alliance for OpenUSD BE LIABLE FOR ERRORS CONTAINED HEREIN OR FOR DIRECT, INDIRECT, INCIDENTAL, SPECIAL, CONSEQUENTIAL, RELIANCE OR COVER DAMAGES, INCLUDING LOSS OF PROFITS, REVENUE, DATA OR USE, INCURRED BY ANY USER OR ANY THIRD PARTY IN CONNECTION WITH THE FURNISHING, PERFORMANCE, OR USE OF THIS MATERIAL, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH DAMAGES.

The entire risk as to the quality and performance of software developed using this specification is borne by you.

RESTRICTED RIGHTS LEGEND

This Specification is provided with Restricted Rights. Use, duplication, or disclosure by the U.S. government is subject to restrictions as set forth in (a) this Agreement pursuant to DFARs 227.7202-3(a); (b) subparagraph (c)(1)(i) of the Rights in Technical Data and Computer Software clause at DFARs 252.227-7013; or (c) the Commercial Computer Software Restricted Rights clause at FAR 52.227-19 subdivision (c)(1) and (2), as applicable. Contractor / manufacturer are the OPC Foundation, 16101 N. 82nd Street, Suite 3B, Scottsdale, AZ, 85260-1830

COMPLIANCE

The combination of Alliance for OpenUSD and OPC Foundation shall at all times be the sole entities that may authorize developers, suppliers and sellers of hardware and software to use certification marks, trademarks, or other special designations to indicate compliance with these materials as specified within this document. Products developed using this specification may claim compliance or conformance with this specification if and only if the software satisfactorily meets the certification requirements set by Alliance for OpenUSD or the OPC Foundation. Products that do not meet these requirements may claim only that the product was based on this specification and must not claim compliance or conformance with this specification.

Trademarks

Most computer and software brand names have trademarks or registered trademarks. The individual trademarks have not been listed here.

GENERAL PROVISIONS

Should any provision of this Agreement be held to be void, invalid, unenforceable, or illegal by a court, the validity and enforceability of the other provisions shall not be affected thereby.

This Agreement shall be governed by and construed under the laws of Germany.

This Agreement embodies the entire understanding between the parties with respect to, and supersedes any prior understanding or agreement (oral or written) relating to, this specification.

ISSUE REPORTING

If an error or problem is found in this specification, the UaNodeSet, or any associated supplementary files, it should be reported as an issue.

The reporting process can be found here: https://opcfoundation.org/resources/issue-tracking/

The Link to the issue tracking project for this document is here:

https://mantis.opcfoundation.org/set_project.php?project_id=<nnn>&make_default=no

<nnn> is the project_id in Mantis which is created for any document when requested by the working group. Example: https://mantis.opcfoundation.org/set_project.php?project_id=142&make_default=no is the Link for OPC 40001-* (Machinery).

If you have no Mantis Project or do not know the project_id, please send a request to TechnicalDirector@opcfoundation.org.

Release 0.6.0 highlights

<Revision Highlights specify the interesting changes to the previous revision. Such a "Revision Highlights" clause will not exist in the first revision.>

The table below follows the design and process used for the OPC UA specification. All "interesting" changes need to be reported in the problem tracking tool used for the specification. The OPC Foundation uses Mantis and provides it for companion specs as well. If a different problem tracking tool is used, "Mantis" needs to be replaced.

<The two rows in the following table are just examples. Note that the "Mantis IDs" are real hyperlinks – when clicked the reader opens the Mantis page.>

Scope shall specify the type of change. The three options are Errata (corrected something that was wrong), Clarification (make something clearer that was not wrong), and Feature (added new functionality).

The following table includes the Mantis issues resolved with this revision.

| Mantis ID | Scope | Summary | Resolution |
| --- | --- | --- | --- |
| 3165 | Errata | Wrong variable data types in Program example. | Fixed datatypes and replaced Table A.14 by description of the variables. |
| 3521 | Clarification | Modelling rules for states and transitions. | Removed the modelling rules from state and transition objects as they are never created (multiple tables). |

OPC UA FOR OPENUSD

Part 1: Binding

# Scope

This specification defines a small, generic representation and binding layer between an OPC UA address space and an OpenUSD model. It is deliberately domain-agnostic: it binds the Objects and Variables of any companion specification (Pumps, Robotics, Machinery, …) to a USD scene, and it does not require modifying the USD asset.

The model has five portable capability groups and one informative profile:

- Representation (identity). A mandatory, well-known discovery facility (Server/OpenUSD) plus an OpenUsdRepresentation AddIn that ties an OPC UA Object to a canonical composed USD prim path on a named stage, with optional content-integrity metadata (digest/signature) so a referenced asset can be verified. Representation carries identity only; it does not carry values.

- Live property binding (telemetry). A read-only mapping from a source OPC UA Variable Value — resolved by NodeId, RelativePath, or semantic id — to a target USD attribute, with conversion and with quality/timestamp/persistence hints. This binds existing domain Variables; it does not duplicate process data. Event/alarm state and historical playback are expressed as additional intent profiles on the same binding type.

- Command binding (control). An opt-in, authorized, single-writer mapping from a USD-side intent to an OPC UA setpoint write or Method call, so an agent or operator can act on the plant through the same declared, discoverable model. The opt-in is a matter of connector configuration and server RolePermissions (not the Enabled flag): a Server declares a command binding only deliberately and a conformant connector actuates it only when explicitly enabled and authorized, so the default posture of the model remains read-only.

- Composition (aggregation). A declarative mapping of an asset's components onto the USD prim hierarchy — 1:1 or 1..n, inline child prims or referenced/instanced sub-assets, static or dynamic (reconciled from model-change events), and even components hosted on another server — so the visual twin mirrors the asset's is-composed-of structure.

- Asset content delivery. An optional address-space facility by which a server serves the artist-authored USD root layer and its dependency closure through OPC UA Part 5 FileType, with per-layer digests, so a generic connector can download, verify, cache, compose, and render without external asset-repository setup. The facility is an xRegistry artifact registry (§7.11): the served artifacts form a registry of groups, versions and labels rather than a per-stage folder of files, and an artifact's registry identifier is derived from its USD asset identifier by a closed-form encoding, which makes the server directly addressable as a USD ArResolver backend.

- Omniverse realization (informative). How a connector realizes the model in NVIDIA Omniverse (Nucleus .live layers, USDRT, OmniGraph, frame coalescing). This is a separate, vendor-governed profile and is not part of the portable normative model.

Out of scope (reserved for later work): Part 14 Actions, PubSub realization, a USD-side applied API schema mirror, persistent-UUID identity, and normative geometry/material/skeleton/physics profiles. Command, event/alarm, history, composition, and asset delivery are normative but optional capabilities a Server may choose not to implement.

## Motivation

Industrial "digital twin" visualization repeatedly re-implements the same brittle glue: a bespoke script maps specific OPC UA NodeIds to specific USD prim attributes and pushes values into a stage. That mapping lives in a connector nobody else can see; it is invisible to other tools, breaks silently when the address space changes, cannot be discovered, and cannot be reviewed, versioned, or governed. Every new pairing of a server with a viewer starts the integration from scratch.

The result is an N×M integration problem: N servers (pumps, robots, machines, lines) each hand-crafted against M visualization tools (Omniverse, usdview, web viewers, HMIs) require up to N×M one-off bridges, none reusable. This specification collapses that to N + M: each server declares its mapping once, in its own address space, and each tool implements one generic connector. The mapping becomes a first-class, browsable, versioned, authoritative part of the OPC UA model instead of hidden connector code, so a generic connector can discover and apply it for any conforming server without prior knowledge of the domain.

## What it simplifies and what it enables

Simplifies.

- One declaration, not N×M bridges. The value/identity mapping is authored once in the server and consumed by any conforming connector; adding a viewer no longer means writing another bridge.

- No code and no asset edits to change a binding. Bindings are data in the address space, not connector source or USD-asset edits. Adding, retargeting, or disabling a binding is a model change a server author (or tool) can make and a client can immediately discover.

- Deterministic onboarding. Discovery starts at a single well-known entry point (Server/OpenUSD/Representations), so bringing a new asset online is "browse and go" rather than "find out which NodeIds the artist hard-coded".

- Identity separated from values. A server can publish which prim represents which Object (Part 1) before any live values are wired, and add value bindings (Part 2) later, without breaking consumers.

- Reuses existing models unchanged. Bindings reference the Variables that domain companion specs (Pumps, Robotics, Machinery, …) already expose; they do not duplicate or re-model process data.

Enables.

- Interchangeable connectors and renderers. Competing tools — NVIDIA Omniverse, open-source usdview, web viewers — operate over the same declared contract, so servers and viewers evolve independently.

- Vendor-neutral, auditable digital twins. Because the mapping is authoritative, versioned, and part of the model, it can be reviewed, diffed, validated, and governed like any other engineering artifact.

- Toolable pipelines. The mapping is machine-readable, so it can be generated from engineering data, checked in CI, and migrated across versions (override/tombstone matching via BindingDefinitionId).

- Incremental adoption and clean evolution. Servers implement the representation core alone first, add value bindings when ready, and refine bindings over time without invalidating previously deployed connectors.

- An ecosystem division of labour. Asset authors, machine OEMs, integrators, connector vendors, and visualization operators collaborate through the model as a shared contract rather than through private, point-to-point agreements (see Annex D).

## Capabilities and conformance

Only the representation core — the Server/OpenUSD discovery facility, OpenUsdStageType, and the OpenUsdRepresentation AddIn — is mandatory. Every other capability in 1 is normative but optional and is gated by its own conformance unit (9), so a Server implements exactly what it needs and a Client discovers what a Server offers rather than assuming it.

The capabilities are independent of one another. A Server may publish identity alone, add live value bindings later, and never implement command, alarm, history, composition or asset delivery. Each conformance unit is separately testable, and the profiles of 9 group them into the combinations a real deployment tends to need.

Live bindings are typed by intent. OpenUsdLiveBindingType is abstract; a binding's intent is carried by its concrete subtype — OpenUsdValueChangeBindingType for read-only telemetry, OpenUsdAlarmBindingType, OpenUsdHistoryBindingType and OpenUsdCommandBindingType (7.4). A connector therefore determines intent from HasTypeDefinition rather than from a discriminating enumeration value, and a Server that does not implement an intent simply never instantiates its subtype.

One dependency beyond base OPC UA. Asset content delivery (§7.11) builds on OPC UA — xRegistry, which is a RequiredModel of this specification. This is the only place the model is not self-contained on base OPC UA, and the trade is deliberate: a plain folder of files cannot express versions, change detection, labels or federation, and duplicates artifacts across stages that share them. Because the xRegistry ResourceType is itself a Part 5 FileType, the dependency costs a consumer nothing structurally — an artifact node is the file, read with its own Open/Read/Close. A Server that does not serve artifacts is unaffected by it.

Companion — Part 2 (Scene Materialization). This document (Part 1) binds OPC UA Objects to prims on an external USD stage. A companion draft, OPC UA — OpenUSD Scene Materialization (Part 2) (../openusd-scene/OPC-UA-OpenUSD-Scene-Materialization.md, namespace http://opcfoundation.org/UA/OpenUSD/Scene/), instead materializes the composed USD scene graph natively as an OPC UA address space (Stage/Prim/Attribute/Relationship/typed+API schemas), and is round-trippable to/from .usd. Part 2 is self-contained: it neither changes nor requires this model, and it does not take the xRegistry dependency — it reaches the artifact registry only indirectly, through this specification, when a Server implements both. The two interoperate — a Part 1 binding may target a Part 2 attribute Variable, and a materialized stage may be listed under Server/OpenUSD/Stages.

NOTE   PROVISIONAL WORKING DRAFT — not normative, not endorsed by the OPC Foundation or the Alliance for OpenUSD. The document number, the Mantis project identifier and every NodeId in this document are placeholders; the OPC Foundation assigns the real values.

OPC Foundation

OPC is the interoperability standard for the secure and reliable exchange of data and information in the industrial automation space and in other industries. It is platform independent and ensures the seamless flow of information among devices from multiple vendors. The OPC Foundation is responsible for the development and maintenance of this standard.

OPC UA is a platform independent service-oriented architecture that integrates all the functionality of the individual OPC Classic specifications into one extensible framework. This multi-layered approach accomplishes the original design specification goals of:

- Platform independence: from an embedded microcontroller to cloud-based infrastructure

- Secure: encryption, authentication, authorisation, and auditing

- Extensible: ability to add new features including transports without affecting existing applications

- Comprehensive information modelling capabilities: for defining any model from simple to complex

Alliance for OpenUSD

# Normative references

The following referenced documents are indispensable for the application of this document. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments and errata) applies.

NOTE   The OPC UA core specifications are regularly published as IEC 62541.

OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts

http://www.opcfoundation.org/documents/10000-1/

OPC 10000-2, OPC Unified Architecture - Part 2: Security Model

http://www.opcfoundation.org/documents/10000-2/

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model

http://www.opcfoundation.org/documents/10000-3/

OPC 10000-4, OPC Unified Architecture - Part 4: Services

http://www.opcfoundation.org/documents/10000-4/

OPC 10000-5, OPC Unified Architecture - Part 5: Information Model

http://www.opcfoundation.org/documents/10000-5/

OPC 10000-6, OPC Unified Architecture - Part 6: Mappings

http://www.opcfoundation.org/documents/10000-6/

OPC 10000-7, OPC Unified Architecture - Part 7: Profiles

http://www.opcfoundation.org/documents/10000-7/

OPC 10000-8, OPC Unified Architecture - Part 8: Data Access

http://www.opcfoundation.org/documents/10000-8/

OPC 10000-9, OPC Unified Architecture - Part 9: Alarms and Conditions

http://www.opcfoundation.org/documents/10000-9/

OPC 10000-11, OPC Unified Architecture - Part 11: Historical Access

http://www.opcfoundation.org/documents/10000-11/

OPC 10000-12, OPC Unified Architecture - Part 12: Discovery and Global Services

http://www.opcfoundation.org/documents/10000-12/

OPC 10000-18, OPC Unified Architecture - Part 18: Role-Based Security

http://www.opcfoundation.org/documents/10000-18/

OPC 10000-19, OPC Unified Architecture - Part 19: Dictionary References

http://www.opcfoundation.org/documents/10000-19/

OPC 10000-20, OPC Unified Architecture - Part 20: File Transfer

http://www.opcfoundation.org/documents/10000-20/

OPC 10000-210, OPC Unified Architecture - Part 210: Relative Spatial Location

http://www.opcfoundation.org/documents/10000-210/

OPC 10000-211, OPC Unified Architecture - Part 211: Global Positioning

http://www.opcfoundation.org/documents/10000-211/

OPC 11030, OPC UA Modelling Best Practices

http://www.opcfoundation.org/documents/11030/

OPC UA - xRegistry, OPC Unified Architecture - xRegistry: the abstract registry base model. A RequiredModel of this document.

xRegistry Core specification, v1.0-rc3, The registry / group / resource / version / attribute model, xid, epoch and labels that the OPC UA base model realizes.

https://github.com/xregistry/spec/blob/v1.0-rc3/core/spec.md

AOUSD OpenUSD Core Specification 1.0.1, Alliance for OpenUSD - normative for USD paths, composition, layers and identity.

https://aousd.org/

# Terms, abbreviated terms and conventions

## Overview

## OpenUSD terms

It is assumed that basic concepts of OPC UA information modelling and of OpenUSD are understood in this document. This document uses these concepts to describe the OpenUSD Information Model. For the purposes of this document, the terms and definitions given in OPC 10000-1, OPC 10000-3, OPC 10000-4, OPC 10000-5 and OPC 10000-7, as well as the following, apply.

OPC UA terms and terms defined in this document are italicized in the document.

## Abbreviated terms

Prim

A primitive: the primary container object in an OpenUSD namespace hierarchy.

Stage

The fully composed, live view of a set of OpenUSD layers.

Root layer identifier

The opaque authored identifier of a stage's root layer (not necessarily a URI).

SdfPath / prim path

The canonical path identifying a prim on a stage, e.g. /Plant/Pumps/P101.

Representation

A binding of an OPC UA Object to a prim path on a stage.

Live binding

A read-only mapping of a source Variable value to a target USD attribute.

BindingDefinitionId

The stable declaration identifier of a live binding, used for override/tombstone matching.

Connector

The runtime component that Browses the model, subscribes to sources, and writes USD targets.

Render target

The USD attribute a live value drives (transform, color, visibility, …).

## Conventions used in this document

Following are basic conventions that shall be followed for all formal definitions used.

### Conventions for Node descriptions

#### Node definitions

Node definitions are specified using tables (see Table 2).

Attributes are defined by providing the Attribute name and a value, or a description of the value.

References are defined by providing the ReferenceType name, the BrowseName of the TargetNode and its NodeClass.

If the TargetNode is a component of the Node being defined in the table the Attributes of the composed Node are defined in the same row of the table.

The DataType is only specified for Variables; “[<number>]” indicates a single-dimensional array, for multi-dimensional arrays the expression is repeated for each dimension (e.g. [2][3] for a two-dimensional array). For all arrays the ArrayDimensions is set as identified by <number> values. If no <number> is set, the corresponding dimension is set to 0, indicating an unknown size. If no number is provided at all the ArrayDimensions can be omitted. If no brackets are provided, it identifies a scalar DataType and the ValueRank is set to the corresponding value (see OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model). In addition, ArrayDimensions is set to null or is omitted. If it can be Any or ScalarOrOneDimension, the value is put into “{<value>}”, so either “{Any}” or “{ScalarOrOneDimension}” and the ValueRank is set to the corresponding value (see OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model) and the ArrayDimensions is set to null or is omitted. Examples are given in Table 1.

Table 1 – Examples of DataTypes

| Notation | DataType | ValueRank | ArrayDimensions | Description |
| --- | --- | --- | --- | --- |
| 0:Int32 | 0:Int32 | -1 | omitted or null | A scalar Int32. |
| 0:Int32{OneOrMoreDimensions} | 0:Int32 | 0 | omitted or null | The Int32 value is an array with one or more dimensions. |
| 0:Int32[] | 0:Int32 | 1 | omitted or {0} | Single-dimensional array of Int32 with an unknown size. |
| 0:Int32[][] | 0:Int32 | 2 | omitted or {0,0} | Two-dimensional array of Int32 with unknown sizes for both dimensions. |
| 0:Int32[3][] | 0:Int32 | 2 | {3,0} | Two-dimensional array of Int32 with a size of 3 for the first dimension and an unknown size for the second dimension. |
| 0:Int32[5][3] | 0:Int32 | 2 | {5,3} | Two-dimensional array of Int32 with a size of 5 for the first dimension and a size of 3 for the second dimension. |
| 0:Int32{Any} | 0:Int32 | -2 | omitted or null | An Int32 where it is unknown if it is scalar or array with any number of dimensions. |
| 0:Int32{ScalarOrOneDimension} | 0:Int32 | -3 | omitted or null | An Int32 where it is either a single-dimensional array or a scalar. |

The TypeDefinition is specified for Objects and Variables.

The TypeDefinition column specifies a symbolic name for a NodeId, i.e., the specified Node points with a HasTypeDefinition Reference to the corresponding Node.

The ModellingRule of the referenced component is provided by specifying the symbolic name of the rule in the ModellingRule column. In the AddressSpace, the Node shall use a HasModellingRule Reference to point to the corresponding ModellingRule Object.

If the NodeId of a DataType is provided, the symbolic name of the Node representing the DataType shall be used.

Note that if a symbolic name of a different namespace is used, it is prefixed by the NamespaceIndex (see 3.4.2.2).

Nodes of all other NodeClasses cannot be defined in the same table; therefore, only the used ReferenceType, their NodeClass and their BrowseName are specified. A reference to another part of this document points to their definition. Table 2 illustrates the table. If no components are provided, the DataType, TypeDefinition and Other columns can be omitted and only a Comment column is introduced to point to the Node definition.

Each Type Node or well-known Instance Node defined shall have one or more ConformanceUnits defined in 9 that require the Node to be in the AddressSpace.

The relations between Nodes and ConformanceUnits are defined at the end of the tables defining Nodes, one row per ConformanceUnit. The ConformanceUnits are reflected in the Category element for the Node definition in the UANodeSet (see OPC 10000-6, OPC Unified Architecture - Part 6: Mappings).

The list of ConformanceUnits in the UANodeSet allows Servers to optimize resource consumption by using a list of supported ConformanceUnits to select a subset of the Nodes in an Information Model.

When a Node is selected in this way, all dependencies implied by the References are also selected.

Dependencies exist if the Node is the source of HasTypeDefinition, HasInterface, HasAddIn or any HierarchicalReference. Dependencies also exist if the Node is the target of a HasSubtype Reference. For Variables and VariableTypes, the value of the DataType Attribute is a dependency. For DataType Nodes, any DataTypes referenced in the DataTypeDefinition Attribute are also dependencies.

For additional details see OPC 10000-5, OPC Unified Architecture - Part 5: Information Model.

Table 2 – Type Definition Table

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Attribute name | Attribute value. If it is an optional Attribute that is not set “--” is used. |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| ReferenceType name | NodeClass of the target Node. | BrowseName of the target Node. | DataType of the referenced Node, only applicable for Variables. | TypeDefinition of the referenced Node, only applicable for Variables and Objects. | Additional characteristics of the TargetNode such as the ModellingRule or AccessLevel. |
| NOTE Notes referencing footnotes of the table content. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| Name of ConformanceUnit, one row per ConformanceUnit |  |  |  |  |  |

Components of Nodes can be complex that is containing components by themselves. The TypeDefinition, NodeClass and DataType can be derived from the type definitions, and the symbolic name can be created as defined in 3.4.3.1. Therefore, those containing components are not explicitly specified; they are implicitly specified by the type definitions.

The Other column defines additional characteristics of the Node. Examples of characteristics that can appear in this column are show in Table 3.

Table 3 – Examples of Other characteristics

| Name | Short Name | Description |
| --- | --- | --- |
| 0:Mandatory | M | The Node has the Mandatory ModellingRule. |
| 0:Optional | O | The Node has the Optional ModellingRule. |
| 0:MandatoryPlaceholder | MP | The Node has the MandatoryPlaceholder ModellingRule. |
| 0:OptionalPlaceholder | OP | The Node has the OptionalPlaceholder ModellingRule. |
| ReadOnly | RO | The Node AccessLevel has the CurrentRead bit set but not the CurrentWrite bit. |
| ReadWrite | RW | The Node AccessLevel has the CurrentRead and CurrentWrite bits set. |
| WriteOnly | WO | The Node AccessLevel has the CurrentWrite bit set but not the CurrentRead bit. |

If multiple characteristics are defined, they are separated by commas. The name or the short name can be used.

#### Additional References

To provide information about additional References, the format as shown in Table 4 is used.

Table 4 – <some>Type additional References

| SourceBrowsePath | Reference Type | Is Forward | TargetBrowsePath |
| --- | --- | --- | --- |
| SourceBrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table. | ReferenceType name | True = forward Reference. | TargetBrowsePath points to another Node, which can be a well-known instance or a TypeDefinition. You can use BrowsePaths here as well, which is either relative to the TypeDefinition or absolute. If absolute, the first entry needs to refer to a type or well-known instance, uniquely identified within a namespace by the BrowseName. |

References can be to any other Node.

#### Additional sub-components

To provide information about sub-components, the format as shown in Table 5 is used.

Table 5 – <some>Type additional subcomponents

| BrowsePath | References | NodeClass | BrowseName | DataType | TypeDefinition | Others |
| --- | --- | --- | --- | --- | --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | NOTE Same as for Table 2 |  |  |  |  |  |

#### Additional Attribute values

The type definition table provides columns to specify the values for required Node Attributes for InstanceDeclarations. To provide information about additional Attributes, the format as shown in Table 6 is used.

Table 6 – <some>Type Attribute values for child Nodes

| BrowsePath | <Attribute name> Attribute |
| --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | The values of attributes are converted to text by adapting the reversible JSON encoding rules defined in OPC 10000-6. If the JSON encoding of a value is a JSON string or a JSON number then that value is entered in the value field. Double quotes are not included. If the DataType includes a NamespaceIndex (QualifiedNames, NodeIds or ExpandedNodeIds) then the notation used for BrowseNames is used. If the value is an Enumeration the name of the enumeration value is entered. If the value is a Structure then a sequence of name and value pairs is entered. Each pair is followed by a newline. The name is followed by a colon. The names are the names of the fields in the DataTypeDefinition. If the value is an array of non-structures then a sequence of values is entered where each value is followed by a newline. If the value is an array of Structures or a Structure with fields that are arrays or with nested Structures then the complete JSON array or JSON object is entered. |

There can be multiple columns to define more than one Attribute.

### NodeIds and BrowseNames

#### NodeIds

The NodeIds of all Nodes described in this standard are only symbolic names. Annex A defines the actual NodeIds.

The symbolic name of each Node defined in this document is its BrowseName, or, when it is part of another Node, the BrowseName of the other Node, a “.”, and the BrowseName of itself. In this case “part of” means that the whole has a HasProperty or HasComponent Reference to its part. Since all Nodes not being part of another Node have a unique name in this document, the symbolic name is unique.

The NamespaceUri for all NodeIds defined in this document is defined in Annex A. The NamespaceIndex for this NamespaceUri is vendor-specific and depends on the position of the NamespaceUri in the server namespace table.

Note that this document not only defines concrete Nodes, but also requires that some Nodes shall be generated, for example one for each Session running on the Server. The NodeIds of those Nodes are Server-specific, including the namespace. But the NamespaceIndex of those Nodes cannot be the NamespaceIndex used for the Nodes defined in this document, because they are not defined by this document but generated by the Server.

#### BrowseNames

The text part of the BrowseNames for all Nodes defined in this document is specified in the tables defining the Nodes. The NamespaceUri for all BrowseNames defined in this document is defined in 10.2.

For InstanceDeclarations of NodeClass Object and Variable that are placeholders (OptionalPlaceholder and MandatoryPlaceholder ModellingRule), the BrowseName and the DisplayName are enclosed in angle brackets (<>) as recommended in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

If a BrowseName is not defined by this document, a namespace index prefix is added to the BrowseName (e.g., prefix '0' leading to ‘0:EngineeringUnits’ or prefix '2' leading to ‘2:DeviceRevision’). This is typically necessary if a Property of another specification is overwritten or used in the OPC UA types defined in this document. Table 52 – Namespaces used in this document provides a list of namespaces and their indexes as used in this document.

### Common Attributes

#### General

The Attributes of Nodes, their DataTypes and descriptions are defined in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model. Attributes not marked as optional are mandatory and shall be provided by a Server. The following tables define if the Attribute value is defined by this document or if it is server-specific.

For all Nodes specified in this document, the Attributes named in Table 7 shall be set as specified in the table.

Table 7 – Common Node Attributes

| Attribute | Value |
| --- | --- |
| DisplayName | The DisplayName is a LocalizedText. Each Server shall provide the DisplayName identical to the BrowseName of the Node for the LocaleId “en” unless specified differently in the specification. Whether the Server provides translated names for other LocaleIds is server-specific. |
| Description | Optionally a server-specific description is provided. |
| NodeClass | Shall reflect the NodeClass of the Node. |
| NodeId | The NodeId is described by BrowseNames as defined in 3.4.2.1. |
| WriteMask | Optionally the WriteMask Attribute can be provided. If the WriteMask Attribute is provided, it shall set all non-server-specific Attributes to not writable. For example, the Description Attribute can be set to writable since a Server can provide a server-specific description for the Node. The NodeId shall not be writable, because it is defined for each Node in this document. |
| UserWriteMask | Optionally the UserWriteMask Attribute can be provided. The same rules as for the WriteMask Attribute apply. |
| RolePermissions | Optionally server-specific role permissions can be provided. |
| UserRolePermissions | Optionally the role permissions of the current Session can be provided. The value is server-specific and depends on the RolePermissions Attribute (if provided) and the current Session. |
| AccessRestrictions | Optionally server-specific access restrictions can be provided. |

#### Objects

For all Objects specified in this document, the Attributes named in Table 8 shall be set as specified in the Table 8. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 8 – Common Object Attributes

| Attribute | Value |
| --- | --- |
| EventNotifier | Whether the Node can be used to subscribe to Events or not is server-specific. |

#### Variables

For all Variables specified in this document, the Attributes named in Table 9 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 9 – Common Variable Attributes

| Attribute | Value |
| --- | --- |
| MinimumSamplingInterval | Optionally, a server-specific minimum sampling interval is provided. |
| AccessLevel | The access level for Variables used for type definitions is server-specific, for all other Variables defined in this document, the access level shall allow reading; other settings are server-specific. |
| UserAccessLevel | The value for the UserAccessLevel Attribute is server-specific. It is assumed that all Variables can be accessed by at least one user. |
| Value | For Variables used as InstanceDeclarations, the value is server-specific; otherwise, it shall represent the value described in the text. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the Variable. |
| Historizing | The value for the Historizing Attribute is server-specific. |
| AccessLevelEx | If the AccessLevelEx Attribute is provided, it shall have the bits 8, 9, and 10 set to 0, meaning that read and write operations on an individual Variable are atomic, and arrays can be partly written. |

#### VariableTypes

For all VariableTypes specified in this document, the Attributes named in Table 10 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 10 – Common VariableType Attributes

| Attributes | Value |
| --- | --- |
| Value | Optionally a server-specific default value can be provided. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the VariableType. |

#### Methods

For all Methods specified in this document, the Attributes named in Table 11 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 11 – Common Method Attributes

| Attributes | Value |
| --- | --- |
| Executable | All Methods defined in this document shall be executable (Executable Attribute set to “True”), unless it is defined differently in the Method definition. |
| UserExecutable | The value of the UserExecutable Attribute is server-specific. It is assumed that all Methods can be executed by at least one user. |

### Structures

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model differentiates between different kinds of Structures. The following conventions explain, how these Structures shall be defined.

The first kind are Structures without optional fields where none of the fields allows subtype (except fields with abstract DataTypes). Its definition is in Table 12.

Table 12 – Structures without optional fields where none of the fields allow subtypes

| Name | Type | Description |
| --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |
| SP1 | 0:Byte[] | Setpoint 1 |
| SP2 | 0:Byte[] | Setpoint 2 |

The second kind are Structures with optional fields where none of the fields allows subtypes (except fields with abstract DataTypes). Its definition is in Table 13.

Structures with fields that are optional have an “Optional” column. Fields that are optional have True set, otherwise False.

Table 13 – Structures with optional fields

| Name | Type | Description | Optional |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Optional Field_1 | 0:String | Some Text | True |

The third kind are Structures without optional fields where one or more of the fields allow subtypes. Its definition is in Table 14.

Structures with fields that allow subtypes have an “Allow Subtypes” column. Fields that allow subtypes have True set, otherwise False. Fields with abstract DataTypes can always be subtyped.

Table 14 – Structures where one or more of the fields allow subtypes

| Name | Type | Description | Allow Subtypes |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Allow Subtypes | 0:ByteString | Some Bytestring | True |

Fields with abstract DataTypes shall have True in the “Allow Subtypes” column.

It is not allowed to add both columns to combine optional fields and fields that allow subtypes in one structure.

# General information to OpenUSD and OPC UA

## Introduction to OpenUSD

OpenUSD (Universal Scene Description) is an open, extensible framework for describing, composing, simulating and collaborating on three-dimensional scenes. Its scene graph is assembled from layers that compose into a single stage, so several authors and tools contribute to one scene without rewriting it. A stage is a hierarchy of prims, each carrying typed attributes and relationships, addressed by a canonical prim path.

OpenUSD is governed by the Alliance for OpenUSD (AOUSD), which publishes the OpenUSD Core Specification. The Core Specification covers paths, composition, layers and identity; the domain schemas that describe geometry, materials, lighting, skeletons and physics are versioned separately with the OpenUSD software releases.

Industrial visualization pairs OpenUSD with live process data. This document defines how an OPC UA Server declares that pairing as part of its own address space, so that any conforming connector can apply it without prior knowledge of the domain model.

## Introduction to OPC Unified Architecture

This is an OPC UA introduction that can be used as is, shortened or enhanced as appropriate.

### What is OPC UA?

OPC UA is an open and royalty free set of standards designed as a universal communication protocol. While there are numerous communication solutions available, OPC UA has key advantages:

- A state of art security model (see OPC 10000-2, OPC Unified Architecture - Part 2: Security Model).

- A fault tolerant communication protocol.

- An information modelling framework that allows application developers to represent their data in a way that makes sense to them.

OPC UA has a broad scope which delivers for economies of scale for application developers. This means that a larger number of high-quality applications at a reasonable cost are available. When combined with semantic models such as OpenUSD, OPC UA makes it easier for end users to access data via generic commercial applications.

The OPC UA model is scalable from small devices to ERP systems. OPC UA Servers process information locally and then provide that data in a consistent format to any application requesting data - ERP, MES, PMS, Maintenance Systems, HMI, Smartphone, or a standard Browser, for examples. For a more complete overview see OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts.

### Basics of OPC UA

As an open standard, OPC UA is based on standard internet technologies, like TCP/IP, HTTP, Web Sockets.

As an extensible standard, OPC UA provides a set of Services (see OPC 10000-4, OPC Unified Architecture - Part 4: Services) and a basic information model framework. This framework provides an easy manner for creating and exposing vendor defined information in a standard way. More importantly all OPC UA Clients are expected to be able to discover and use vendor-defined information. This means OPC UA users can benefit from the economies of scale that come with generic visualisation and historian applications. This specification is an example of an OPC UA Information Model designed to meet the needs of developers and users.

OPC UA Clients can be any consumer of data from another device on the network to browser based thin clients and ERP systems. The full scope of OPC UA applications is shown in Figure 1.

Figure 1 – The scope of OPC UA within an enterprise

OPC UA provides a robust and reliable communication infrastructure having mechanisms for handling lost messages, failover, heartbeat, etc. With its binary encoded data, it offers a high-performing data exchange solution. Security is built into OPC UA as security requirements become more and more important especially since environments are connected to the office network or the internet and attackers are starting to focus on automation systems.

### Information modelling in OPC UA

#### Concepts

OPC UA provides a framework that can be used to represent complex information as Objects in an AddressSpace which can be accessed with standard services. These Objects consist of Nodes connected by References. Different classes of Nodes convey different semantics. For example, a Variable Node represents a value that can be read or written. The Variable Node has an associated DataType that can define the actual value, such as a string, float, structure etc. It can also describe the Variable value as a variant. A Method Node represents a function that can be called. Every Node has a number of Attributes including a unique identifier called a NodeId and non-localized name called as BrowseName. An Object representing a ‘Reservation’ is shown in Figure 2.

Figure 2 – A basic Object in an OPC UA Address Space

Object and Variable Nodes represent instances and they always reference a TypeDefinition (ObjectType or VariableType) Node which describes their semantics and structure. Figure 3 illustrates the relationship between an instance and its TypeDefinition.

The type Nodes are templates that define all of the children that can be present in an instance of the type. In the example in Figure 3 the PersonType ObjectType defines two children: First Name and Last Name. All instances of PersonType are expected to have the same children with the same BrowseNames. Within a type the BrowseNames uniquely identify the children. This means Client applications can be designed to search for children based on the BrowseNames from the type instead of NodeIds. This eliminates the need for manual reconfiguration of systems if a Client uses types that multiple Servers implement.

OPC UA also supports the concept of sub-typing. This allows a modeller to take an existing type and extend it. There are rules regarding sub-typing defined in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model, but in general they allow the extension of a given type or the restriction of a DataType. For example, the modeller can decide that the existing ObjectType in some cases needs an additional Variable. The modeller can create a subtype of the ObjectType and add the Variable. A Client that is expecting the parent type can treat the new type as if it was of the parent type. Regarding DataTypes, subtypes can only restrict. If a Variable is defined to have a numeric value, a subtype could restrict it to a float.

Figure 3 – The relationship between Type Definitions and Instances

References allow Nodes to be connected in ways that describe their relationships. All References have a ReferenceType that specifies the semantics of the relationship. References can be hierarchical or non-hierarchical. Hierarchical references are used to create the structure of Objects and Variables. Non-hierarchical are used to create arbitrary associations. Applications can define their own ReferenceType by creating subtypes of an existing ReferenceType. Subtypes inherit the semantics of the parent but can add additional restrictions. Figure 4 depicts several References, connecting different Objects.

Figure 4 – Examples of References between Objects

The figures above use a notation that was developed for the OPC UA specification. The notation is summarized in Figure 5. UML representations can also be used; however, the OPC UA notation is less ambiguous because there is a direct mapping from the elements in the figures to Nodes in the AddressSpace of an OPC UA Server.

Figure 5 – The OPC UA Information Model notation

A complete description of the different types of Nodes and References can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model and the base structure is described in OPC 10000-5, OPC Unified Architecture - Part 5: Information Model.

The OPC UA specification defines a very wide range of functionality in its basic information model. It is not required that all Clients or Servers support all functionality in the OPC UA specifications. OPC UA includes the concept of Profiles, which segment the functionality into testable certifiable units. This allows the definition of functional subsets (that are expected to be implemented) within a companion specification. The Profiles do not restrict functionality, but generate requirements for a minimum set of functionalities (see OPC 10000-7, OPC Unified Architecture - Part 7: Profiles).

#### Namespaces

OPC UA allows information from many different sources to be combined into a single coherent AddressSpace. Namespaces are used to make this possible by eliminating naming and id conflicts between information from different sources. Each namespace in OPC UA has a globally unique string called a NamespaceUri which identifies a naming authority and a locally unique integer called a NamespaceIndex, which is an index into the Server's table of NamespaceUris. The NamespaceIndex is unique only within the context of a Session between an OPC UA Client and an OPC UA Server- the NamespaceIndex can change between Sessions and still identify the same item even though the NamespaceUri's location in the table has changed. The Services defined for OPC UA use the NamespaceIndex to specify the Namespace for qualified values.

There are two types of structured values in OPC UA that are qualified with NamespaceIndexes: NodeIds and QualifiedNames. NodeIds are locally unique (and sometimes globally unique) identifiers for Nodes. The same globally unique NodeId can be used as the identifier in a node in many Servers – the node's instance data can vary but its semantic meaning is the same regardless of the Server it appears in. This means Clients can have built-in knowledge of of what the data means in these Nodes. OPC UA Information Models generally define globally unique NodeIds for the TypeDefinitions defined by the Information Model.

QualifiedNames are non-localized names qualified with a Namespace. They are used for the BrowseNames of Nodes and allow the same names to be used by different information models without conflict. TypeDefinitions are not allowed to have children with duplicate BrowseNames; however, instances do not have that restriction.

#### Companion Specifications

An OPC UA companion specification for an industry specific vertical market describes an Information Model by defining ObjectTypes, VariableTypes, DataTypes and ReferenceTypes that represent the concepts used in the vertical market, and potentially also well-defined Objects as entry points into the AddressSpace.

# Use cases

- Render a live factory line: pump speed drives a rotating impeller, a bearing temperature drives an emissive glow, a running state drives visibility.

- Render a live robot cell: OPC 40010 Axis ActualPosition values drive nested OpenUSD joint rotate ops for independently articulated robots, while safety and tool-mount state compose live.

- Position assets in a scene: an RSL 3D frame drives a prim transform.

- Bridge to Omniverse: a connector Browses Server/OpenUSD, subscribes to the bound Variables, and writes the mapped USD attributes into a Nucleus .live layer for RTX rendering.

# OpenUSD information model overview

## Layered contract

Representation (identity) and live binding (values) are separated so that identity can be stable while value mapping and transport evolve. A Server may implement the representation core alone (declare which prim represents each Object) and add value bindings later. OPC UA is the single mapping authority; the USD asset is not modified by this specification.

## Discovery

A conforming Server shall expose exactly one well-known Object OpenUSD of type OpenUsdRootType as a component of the Server Object (i=2253), with BrowseName 1:OpenUSD. It shall contain two Folders:

- Stages — Organizes/contains the OpenUsdStageType instances the Server knows about.

- Representations — Organizes every OpenUsdRepresentation AddIn present in the Server, so a connector can enumerate all representations from a single, deterministic entry point.

A connector therefore starts at Server/OpenUSD/Representations, follows Organizes to each representation AddIn, reads the target stage and prim path, and (for Part 2) reads the representation's child bindings.

## Identity and the stage-open contract

The identity of a represented prim is the pair:

OpenUsdStageType instance  +  OpenUsdRepresentationType.PrimPath

PrimPath shall be a canonical, absolute, composed-stage prim path (valid SdfPath, absolute, a prim path — not a property path — with no variant selection and no prototype path, and stable under serialize(parse(value)) == value). Because it is an absolute instance path, PrimPath is instance-level: a reusable ObjectType cannot supply a meaningful absolute path for its instances.

A stage's identity is more than its root layer. OpenUsdStageType therefore carries RootLayerIdentifier (mandatory, opaque), and, where they affect the composed result, SessionLayerIdentifier and ResolverContext. A connector opening the stage shall use the root layer, the session layer (if present), and the resolver context together; ResolvedRootLayerUri is informative only.

The root layer may be obtained either by external resolution of RootLayerIdentifier under the connector's resolver policy, or, when the stage advertises Assets (7.11), by streaming the served OpenUsdAssetType whose AssetKind = RootLayer through its Part 5 FileType and verifying it against its Digest before composition. In both cases RootLayerIdentifier remains the authored identity used by USD resolution; the delivery mechanism does not change the stage identity.

## Architecture

Figure 6 – OpenUSD binding architecture

## Organisation of the model

All types are in the namespace http://opcfoundation.org/UA/OpenUSD/ (index 2; index 1 is the RequiredModel http://opcfoundation.org/UA/xRegistry/). Numeric NodeIds are provisional: ObjectTypes 1001–1099, Interfaces 1010+, DataTypes/Enumerations 3001+ (with EnumStrings at datatype-id + 900), and all remaining instance declarations sequentially from 6001. The NodeSet has two RequiredModels — the base UA namespace and xRegistry (§7.11); a Server that adopts only the representation + telemetry core needs neither RSL nor DI. The full generated node table is Annex A.

# OPC UA ObjectTypes

## OpenUsdRootType

The well-known instance Server/OpenUSD is of this type (6.2).

Table 15 – OpenUsdRootType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdRootType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasComponent | Object | Stages |  | 0:FolderType | M |
| 0:HasComponent | Object | Representations |  | 0:FolderType | M |
| 0:HasComponent | Object | Artifacts |  | OpenUsdArtifactRegistryType | O |
| Conformance Units |  |  |  |  |  |
| OU-Discovery |  |  |  |  |  |

## OpenUsdStageType

The Stage Object's own NodeId is its same-server identity; a Representation references it by NodeId. RootLayerDigest is computed over the resolved root-layer content (the layer bytes the resolver returns for RootLayerIdentifier), not over the identifier string. When it is present a connector shall obtain the resolved layer, verify it against the digest (using RootLayerDigestAlgorithm) before composing the stage, and shall refuse to open a layer whose digest does not match; this is the model's content-integrity anchor for the vision's signed Twin BOM (§C.2).

Table 16 – OpenUsdStageType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdStageType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | RootLayerIdentifier | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | SessionLayerIdentifier | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ResolverContext | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ResolvedRootLayerUri | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | RootLayerDigest | 0:ByteString | 0:PropertyType | O |
| 0:HasProperty | Variable | RootLayerDigestAlgorithm | OpenUsdDigestAlgorithmEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | Signature | 0:ByteString | 0:PropertyType | O |
| 0:HasProperty | Variable | ProvenanceUri | 0:String | 0:PropertyType | O |
| 0:HasComponent | Object | Assets |  | 0:FolderType | O |
| Conformance Units |  |  |  |  |  |
| OU-Stage |  |  |  |  |  |
| OU-Integrity |  |  |  |  |  |

## OpenUsdRepresentationType

A domain Object gains a representation by composing this AddIn with HasAddIn (Part 3 AddIn convention). The AddIn is Organizes-listed from Server/OpenUSD/Representations. The represented Object is the AddIn's HasAddIn-inverse parent; a connector computes the effective binding key as (represented Object, BindingDefinitionId).

Table 17 – OpenUsdRepresentationType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdRepresentationType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | DefaultInstanceBrowseName | 0:QualifiedName | 0:PropertyType |  |
| 0:HasProperty | Variable | Stage | 0:NodeId | 0:PropertyType | M |
| 0:HasProperty | Variable | PrimPath | 0:String | 0:PropertyType | M |
| 0:HasComponent | Object | <Binding> |  | OpenUsdLiveBindingType | OP |
| 0:HasComponent | Object | <Component> |  | OpenUsdComponentBindingType | OP |
| Conformance Units |  |  |  |  |  |
| OU-Representation |  |  |  |  |  |
| OU-RepresentationRegistry |  |  |  |  |  |

## OpenUsdLiveBindingType

OpenUsdLiveBindingType is the abstract base for a read-only live binding that maps a source Variable Value to one target USD attribute. The binding intent is expressed by the concrete subtype (7.5–7.8) rather than by an enum discriminator, so each intent's members live only on its subtype. Declaration identity (BindingDefinitionId) is distinct from runtime identity ((represented Object, BindingDefinitionId)); a type-level declaration is therefore not wrongly shared across instances. The base carries the members common to every intent:

Exactly one of SourceNodeId / SourceBrowsePath / SourceSemanticId shall resolve to a single source Variable. SourceBrowsePath and SourceSemanticId are preferred over SourceNodeId because they are instance-portable and can be declared at type level; SourceSemanticId additionally makes a binding portable across vendors and servers that share the same semantic dictionary (ECLASS / IEC CDD), which is the anchor the wider asset-definition strategy relies on (§C.2).

Because the intent is the type, a connector determines a binding's intent from its HasTypeDefinition (the concrete subtype), and a <Binding> placeholder (7.3) whose declared TypeDefinition is the abstract base is materialized only by instances of a concrete subtype.

Table 18 – OpenUsdLiveBindingType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdLiveBindingType |  |  |  |  |
| IsAbstract | True |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | BindingDefinitionId | 0:Guid | 0:PropertyType | M |
| 0:HasProperty | Variable | Enabled | 0:Boolean | 0:PropertyType | M |
| 0:HasProperty | Variable | SourceNodeId | 0:NodeId | 0:PropertyType | O |
| 0:HasProperty | Variable | SourceBrowsePath | 0:RelativePath | 0:PropertyType | O |
| 0:HasProperty | Variable | AttributeId | 0:UInt32 | 0:PropertyType | O |
| 0:HasProperty | Variable | TargetStage | 0:NodeId | 0:PropertyType | M |
| 0:HasProperty | Variable | TargetPrimPath | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | TargetPropertyName | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | TargetUsdTypeName | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | RenderTargetKind | OpenUsdRenderTargetKindEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | ValueSemanticUri | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | Scale | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Offset | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | SourceEngineeringUnits | 0:EUInformation | 0:PropertyType | O |
| 0:HasProperty | Variable | TargetEngineeringUnits | 0:EUInformation | 0:PropertyType | O |
| 0:HasProperty | Variable | BadQualityAction | OpenUsdBadQualityActionEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | SamplingIntervalHint | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | State | OpenUsdBindingStateEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | LastError | 0:LocalizedText | 0:PropertyType | O |
| 0:HasProperty | Variable | SignalRole | OpenUsdSignalRoleEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | SourceSemanticId | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | TargetNodeId | 0:NodeId | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OU-Binding |  |  |  |  |  |

### Source and target resolution

Source. In precedence order: if SourceNodeId is present use it; else if SourceSemanticId is present resolve it against the represented Object's subtree by matching the source Variable's semantic annotation (HasDictionaryEntry target IRDI or equivalent); else resolve SourceBrowsePath from the represented Object. Zero matches → the binding is unresolved (no update). More than one match → Bad_TooManyMatches. The connector validates NodeClass = Variable and the Value attribute.

Target. If TargetNodeId is present, the target is that Variable directly — the connector validates NodeClass = Variable and, when the Variable is a materialized Part 2 UsdAttributeType, that its UsdTypeName is compatible with TargetUsdTypeName; TargetPrimPath/TargetPropertyName remain authored as the portable descriptors and shall be consistent with the resolved node. Otherwise: resolve TargetStage (validate it is an OpenUsdStageType, or a Part 2 UsdStageType for a materialized scene; verify RootLayerDigest if present per §7.2). Resolve TargetPrimPath: absolute, or relative to the representation PrimPath — a relative path shall be joined to the representation PrimPath, never authored at the layer root. Append TargetPropertyName to obtain the target attribute. Validate the prim, the attribute, and TargetUsdTypeName. For an xformOp, the op shall be present in the prim's xformOpOrder. The connector shall not fall back by name, nearest prim, first match, or a compatible type, and shall not create a property unless an explicit authoring profile permits it.

For a materialized (Part 2) stage the prim path and property name resolve against the materialized address space by BrowseName path — <stage>/<prim>/…/<attribute> — which is the path-based equivalent of TargetNodeId. A Server materializing a scene should author both, so that a connector that resolves by NodeId and one that resolves by path reach the same Variable.

### Conversion

Conversion is applied in this fixed order: (1) engineering-unit conversion (when Source/TargetEngineeringUnits differ), (2) Scale then Offset (out = in × Scale + Offset), (3) the transform or geospatial profile below (only when the target is a transform op or a georeference), (4) clamp to the range representable by TargetUsdTypeName, (5) cast to the USD attribute's value type. Scalar bindings apply steps (1), (2), (4), (5) only.

Scalar conversion. A scalar source Value is converted with Scale/Offset and, where the source and target carry different UNECE units, Source/TargetEngineeringUnits. The result is authored as the target attribute's value (or, for float/half targets, the nearest representable value).

Transform profile (driving a USD xformOp). Spatial values follow the RSL (CartesianFrameAngleOrientationType = 3DFrame) semantics: a 3DCartesianCoordinates position (X, Y, Z) with a LengthUnit, and a 3DOrientation (A, B, C) with an AngleUnit, where A, B, C are the roll (about X), pitch (about Y) and yaw (about Z) angles under the ISO 9787 intrinsic Tait‑Bryan z‑y′‑x″ convention (equivalently the extrinsic x‑y‑z convention), giving the rotation matrix R = Rz(C)·Ry(B)·Rx(A). Both OPC UA/RSL and USD use a right‑handed coordinate system. The following rules are mandatory:

- Units — rotation. USD rotation ops are in degrees; convert an AngleUnit of radians with × 180/π (and any other AngleUnit via its UNECE factor). USD upAxis and metersPerUnit are not applied to angles.

- Rotation mapping. Author the orientation as xformOp:rotateXYZ = (A°, B°, C°): USD's rotateXYZ is defined so the first-named axis is most local, i.e. it is equivalent to the ordered ops rotateZ, rotateY, rotateX and yields R = Rz(rz)·Ry(ry)·Rx(rx), which for (rx, ry, rz) = (A, B, C) reproduces the RSL matrix above exactly. If decomposed single-axis ops are used instead, they shall be ["…", "xformOp:rotateZ", "xformOp:rotateY", "xformOp:rotateX"] (Z outermost, X innermost) to preserve that order. A rotateXYZ op shall not be substituted by a different Euler order (rotateZYX, …) without re-deriving the angles.

- Units — translation. Position components are metres scaled by the RSL LengthUnit; author xformOp:translate = (X, Y, Z) as a double3 in stage units. The stage metersPerUnit is not applied to a raw xformOp:translate (intervening xformOp:scale ops and referenced-asset unit corrections already affect the metric); a length conversion is applied only per this profile against a controlled xform stack whose xformOpOrder the connector authored.

- Op order. The named op shall already be present in the prim's xformOpOrder (7.4.1); the connector shall not create it or reorder the stack. For a local pose the conventional stack is ["xformOp:translate", "xformOp:rotateXYZ"] (translate outermost, rotate innermost) so the prim is rotated about its own origin and then positioned.

- Matrix form. When the target is xformOp:transform (matrix4d), the connector builds the 4×4 matrix in USD convention: row‑major, row‑vector pre‑multiplication (v′ = v · M), the upper‑left 3×3 being R (rows are the transformed basis vectors) and the translation in the fourth row; the matrix is right‑handed with no shear.

- Quaternion. When the target is xformOp:orient (quatf/quatd), the quaternion shall be reordered from the OPC UA/RSL imaginary‑first (x, y, z, w) order to USD's real‑first (w, x, y, z) order, and normalised.

- Up‑axis. A Z‑up source composed onto a Y‑up stage (upAxis = "Y", or vice‑versa) shall be reconciled by an explicit correction frame declared in the profile (for Z‑up→Y‑up, a −90° rotation about X applied outermost); the connector shall not silently reinterpret axes.

Geospatial profile (RenderTargetKind = Georeference). The source is an OPC UA/GPOS GlobalPositionType value (or its Latitude/Longitude/Elevation component Variables) with an EPSG CoordinateReferenceSystem; the target is a USD georeference origin (stage‑level) or a per‑prim globe anchor — the portable Part 2 UsdGeoreferenceApiType/UsdGlobeAnchorApiType, or the vendor schemas mapped in Annex F (Cesium CesiumGeoreferencePrim/CesiumGlobeAnchorAPI, NVIDIA WGS84ReferencePositionAPI/WGS84LocalPositionAPI). The following rules are mandatory:

- Coordinate reference system. Latitude/Longitude are authored as decimal degrees and Elevation/height as metres. If CoordinateReferenceSystem is not WGS84/GPS (EPSG 4326) the connector shall reproject to the target schema's CRS (WGS84 for Cesium/NVIDIA) before authoring; an unmapped or unsupported CRS shall leave the target unresolved (no update) rather than author an unprojected value.

- Origin and tangent plane. A georeference declares a single geodetic origin (lat₀, lon₀, h₀) and a local East‑North‑Up (ENU) tangent plane at that origin. Stage‑local metric coordinates relate to global coordinates through the ECEF→ENU transform anchored at the origin (with axis assignment per stage upAxis: for Z‑up, +X = East, +Y = North, +Z = Up). Where GPOS supplies GroundControlPointDataType (local‑Cartesian ↔ global‑geographic pairs), the connector shall use them to establish/refine that origin and tangent‑plane registration (one point fixes the origin; several refine it, e.g. by least‑squares).

- Per‑asset placement. A moving asset's GlobalPosition is authored either directly onto the target globe‑anchor attributes (Latitude/Longitude/Height) — letting the georeference schema resolve the local transform — or, when driving a raw pose, converted to an ENU offset from the origin and authored as xformOp:translate (metres, per the transform profile). The connector shall not author a raw xformOp when the target is a georeference/anchor attribute.

- Elevation datum. Elevation is interpreted per the GPOS ElevationReference (e.g. ellipsoidal height vs. mean‑sea‑level/geoid vs. floor‑relative) and authored in metres irrespective of stage metersPerUnit; a connector that cannot honour the stated datum shall treat the height as unresolved rather than mis‑place the asset.

Because core OpenUSD defines no geodetic schema, the concrete georeference target is a portable Part 2 schema or a vendor/extension schema; the attribute‑level mapping to NVIDIA Omniverse and Cesium for Omniverse is given in Annex F.

### Quality, timestamp and persistence

Quality. An omitted (binary) source StatusCode means Good; a Bad/Uncertain StatusCode triggers BadQualityAction (default Skip). ClearOpinion removes the authored USD opinion (revealing a weaker layer) — it does not author a fabricated "bad" value.

Timestamp. OPC UA source/server timestamps are wall-clock; USD time codes are stage-timeline ordinates. They relate only through an explicit epoch and timeCodesPerSecond when a recording profile is used; an OpenUsdValueChangeBindingType authors the latest value as the attribute default, while an OpenUsdHistoryBindingType authors time-sampled values (7.6). Absent timestamps mean unavailable, not "now".

Persistence and update. SamplingIntervalHint and any deadband are hints; PublishingInterval, queue size, and the actual MonitoredItem parameters are per-client Subscription requests and are not part of the binding descriptor. Overflow and sequence gaps are observable loss (partly recoverable via Republish) and are not license to invent continuity.

## OpenUsdValueChangeBindingType

The read-only default: a source Variable Value drives a USD attribute. Adds no members beyond the base; it binds the source Value (AttributeId 13).

Table 19 – OpenUsdValueChangeBindingType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdValueChangeBindingType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the OpenUsdLiveBindingType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OU-Binding |  |  |  |  |  |
| OU-Conversion-Scalar |  |  |  |  |  |

## OpenUsdAlarmBindingType

The source resolves to an OPC UA Alarms & Conditions instance (Part 9) or a plain Variable exposing the aspect value. Adds:

AlarmAspect selects the condition aspect that drives the target USD attribute — ActiveState/AckedState/EnabledState (boolean → e.g. visibility or an emissive on/off) or Severity (numeric → e.g. a color ramp). Where a full A&C condition is not available, the aspect may instead be sourced from a plain Variable that exposes the aspect value (a Boolean active-state or numeric severity); the binding semantics are identical and the connector treats it as any monitored source. Quality and BadQualityAction apply as for telemetry; a returned-to-normal condition clears or resets the target per BadQualityAction.

Table 20 – OpenUsdAlarmBindingType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdAlarmBindingType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the OpenUsdLiveBindingType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | AlarmAspect | OpenUsdAlarmAspectEnum | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OU-Alarm |  |  |  |  |  |

## OpenUsdHistoryBindingType

Reads history (Part 11 HistoryRead) for the source and authors it on the target. Adds:

With TimeSampled = true the connector reads history for the source and authors the values as USD time samples on the target attribute, giving the stage a scrubbable timeline for playback and replay. The source shall be historizing (its AccessLevel/UserAccessLevel grants HistoryRead and the server retains history); if it is not, the connector authors no samples and the binding is inert — a documented degrade, not an error. The epoch and timeCodesPerSecond mapping is declared by a recording profile; absent that, samples are authored on a connector-defined uniform timeline and are informative.

Table 21 – OpenUsdHistoryBindingType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdHistoryBindingType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the OpenUsdLiveBindingType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | TimeSampled | 0:Boolean | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OU-History |  |  |  |  |  |

## OpenUsdCommandBindingType

The opt-in, authorized control direction (USD → UA). Adds:

A binding of type OpenUsdCommandBindingType maps a USD-side intent back to an OPC UA action, so an agent or operator acting in the visual twin can command the plant through the same declared, discoverable model. Command bindings are the control counterpart of the read-only telemetry binding. They are opt-in: the default posture of the model stays read-only because a Server declares a command binding only deliberately, and a conformant connector actuates one only when explicitly configured to and only when the target's authorization permits it. A command binding is otherwise a fully-declared binding — Enabled = true like any other, and Enabled = false retains its normal meaning as an inherited-binding tombstone (it does not encode the opt-in; see below).

- Trigger. CommandTriggerPropertyName names the USD attribute whose authored change is interpreted as the intent; the connector observes that attribute (e.g. an operator/agent writes a setpoint on the prim) and converts it back through the inverse of 7.4.2 (Offset/Scale, units).

- Action. If CommandMethodId is present, the connector Calls that Method on CommandTargetNodeId with the converted argument(s); otherwise it Writes the converted value to the Variable CommandTargetNodeId.

- Role. The bound signal shall carry SignalRole = Controllable; a connector shall not issue a command for an Observable signal.

- Authorization & safety (normative). The opt-in is enforced at two layers, not through Enabled (whose false value is the inherited-binding tombstone and would merely suppress the binding): (1) a connector shall not actuate any command binding unless it has been explicitly enabled to do so by its operator/configuration; and (2) the connector shall hold the write/Call authorization the target requires (RolePermissions), which a Server withholds by default. The connector shall enforce a single-writer discipline per target, shall be fail-closed (on any resolution/authorization/quality doubt it performs no action), and shall not retry a command implicitly. The model carries no credentials.

- Boundary. This model does not define the control logic, interlocks, or the operating envelope that governs whether a command is allowed; that is the responsibility of the server's control layer and of a declarative operating-envelope policy (e.g. SOP-as-Code) outside this specification. The command binding only declares how a USD-side intent reaches an authorized OPC UA action.

Table 22 – OpenUsdCommandBindingType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdCommandBindingType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the OpenUsdLiveBindingType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | CommandTargetNodeId | 0:NodeId | 0:PropertyType | M |
| 0:HasProperty | Variable | CommandMethodId | 0:NodeId | 0:PropertyType | O |
| 0:HasProperty | Variable | CommandTriggerPropertyName | 0:String | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OU-Command |  |  |  |  |  |

## IOpenUsdRepresentedType

An optional interface a domain ObjectType may apply (HasInterface) to advertise participation, with an <OpenUsdRepresentation> placeholder. It is informative for browsing; discovery does not depend on it (the mandatory registry in 6.2 is authoritative).

Table 23 – IOpenUsdRepresentedType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:IOpenUsdRepresentedType |  |  |  |  |
| IsAbstract | True |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseInterfaceType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasComponent | Object | <OpenUsdRepresentation> |  | OpenUsdRepresentationType | OP |
| Conformance Units |  |  |  |  |  |
| OU-Representation |  |  |  |  |  |

## OpenUsdComponentBindingType

An asset is usually composed of components (a pump has an impeller and a bearing; a line aggregates pumps). A representation declares this with OpenUsdComponentBindingType instances carried as <Component> children of the representation (mirroring <Binding>), so a connector assembles the matching USD prim structure. Each component binding maps an OPC UA component relationship to a USD composition arc.

Resolution.

- One — resolve ComponentBrowsePath (constrained by ComponentReferenceType / ComponentTypeDefinition) to exactly one component Object; zero → unresolved; more than one → Bad_TooManyMatches. When ComponentRepresentation is present it names the component's representation directly, giving unambiguous 1:1 targeting without a browse.

- Many — enumerate every component Object reached by ComponentReferenceType from the container that matches ComponentTypeDefinition; each yields one instance prim under the TargetPrimPath scope, named per TargetPrimNameSource.

A connector reaches the represented Object of a representation by following the aggregating reference (HasComponent/HasAddIn), not any hierarchical reference — otherwise the Organizes link from the discovery registry (6.2) would be mistaken for the parent. A connector shall also process every representation in the registry, since composition spans the aggregating representation and each component's own representation.

USD arc. Child authors an inline nested prim under the parent prim. Reference / Payload author a prim that references / payloads ComponentAssetReference (the component's own asset; Payload defers loading). Instance is a Reference authored instanceable = true, for efficient identical 1..n aggregation. A component's own live bindings (from its ComponentRepresentation) then drive attributes within the composed sub-tree.

Nesting. Composition is recursive: a component's representation may itself carry <Component> bindings; a connector assembles the whole tree depth-first. The effective identity of each node remains (represented Object, BindingDefinitionId).

Table 24 – OpenUsdComponentBindingType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdComponentBindingType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | BindingDefinitionId | 0:Guid | 0:PropertyType | M |
| 0:HasProperty | Variable | Enabled | 0:Boolean | 0:PropertyType | M |
| 0:HasProperty | Variable | Cardinality | OpenUsdCardinalityEnum | 0:PropertyType | M |
| 0:HasProperty | Variable | CompositionArc | OpenUsdCompositionArcEnum | 0:PropertyType | M |
| 0:HasProperty | Variable | ComponentReferenceType | 0:NodeId | 0:PropertyType | O |
| 0:HasProperty | Variable | ComponentBrowsePath | 0:RelativePath | 0:PropertyType | O |
| 0:HasProperty | Variable | ComponentTypeDefinition | 0:NodeId | 0:PropertyType | O |
| 0:HasProperty | Variable | TargetPrimPath | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | TargetPrimNameSource | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ComponentAssetReference | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ComponentRepresentation | 0:NodeId | 0:PropertyType | O |
| 0:HasProperty | Variable | Dynamic | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | ChangeEventSource | 0:NodeId | 0:PropertyType | O |
| 0:HasProperty | Variable | ComponentServerUri | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ComponentEndpointUrl | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | State | OpenUsdBindingStateEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | LastError | 0:LocalizedText | 0:PropertyType | O |
| 0:HasProperty | Variable | ComponentAssetNode | 0:NodeId | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OU-Composition |  |  |  |  |  |
| OU-DynamicComposition |  |  |  |  |  |
| OU-CrossServerComposition |  |  |  |  |  |

### Dynamic composition

When Dynamic = true, the component set may change while the server runs. A conforming server that supports dynamic composition shall emit standard model-change events — GeneralModelChangeEventType (Part 3) for node/reference additions and deletions, and SemanticChangeEventType where a change alters meaning (e.g. a component's semantic id) — from ChangeEventSource (or the Server Object). Both derive from BaseModelChangeEventType, so a connector can subscribe to both with a single OfType(BaseModelChangeEventType) event filter.

A connector supporting dynamic composition shall subscribe to those events for ChangeEventSource; on a relevant change it shall re-resolve the affected component binding (7.10) and reconcile the USD prims it authored:

- a newly present component → author its instance prim (and recurse into its representation);

- a removed component → author active = false on its instance prim (or remove the connector's own opinion).

The connector shall not delete or deactivate prims it did not author, and shall not mutate the base asset — reconciliation happens only in the connector's live override layer. Recomposition is fail-safe: on any doubt (event gap, ambiguous resolution) the connector re-runs full discovery rather than applying a partial delta.

### Cross-server composition

A component may live on a different OPC UA server — e.g. an OEM sub-asset with its own server and USD asset. When ComponentServerUri (and optionally ComponentEndpointUrl) is present, the component binding is resolved by federation: the connector opens a session to the remote server, discovers the remote OpenUsdRepresentation for the component (via that server's Server/OpenUSD/Representations, matched by ComponentTypeDefinition / semantic id), and composes the component's sub-asset prim (typically a Reference / Payload to the OEM asset) under the parent prim. The remote representation's own bindings are driven from the remote session.

Security (11) applies per session: the connector shall establish an authenticated, integrity-protected channel to each server and honor each server's trust and authorization independently. Cross-server dynamic composition uses the remote server's model-change events on its own ChangeEventSource.

## OpenUsdArtifactRegistryType

A server may optionally serve the artist-authored USD content needed to open a stage directly through the OPC UA address space. The facility is an xRegistry artifact registry: the optional OpenUsdRootType.Artifacts component, an OpenUsdArtifactRegistryType (an xRegistry RegistryType, itself a FolderType). A server that does not expose Artifacts remains conformant; connectors then resolve RootLayerIdentifier and ComponentAssetReference externally.

Why a registry rather than a folder: a per-stage folder of files cannot express versions, change detection, labels or federation, and it duplicates an artifact that several stages share. A registry gives all four, and — because its identifiers are USD asset identifiers (7.11.3) — makes the server usable as a USD resolver backend rather than only as a download endpoint.

The same registry is defined independently of OPC UA, as an xRegistry domain specification, in OpenUSD Artifact Registry Service (with its model in xRegistry-OpenUsd.model.json). That document is the wire-format peer of this clause: it uses the same collection names (usdassetgroups, usdschemaplugingroups, usdassets), the same domain attributes, and the identifier rules of 7.11.3, so a client may move between an OPC UA server and a plain HTTP xRegistry server — or federate across both — without re-resolving anything. Implementing this clause does not require implementing that one; they are two projections of one model.

Table 25 – OpenUsdArtifactRegistryType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdArtifactRegistryType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 1:RegistryType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:Organizes | Object | <AssetContainer> |  | OpenUsdAssetGroupType | OP |
| 0:Organizes | Object | <SchemaPlugin> |  | OpenUsdSchemaPluginGroupType | OP |
| Conformance Units |  |  |  |  |  |
| OU-ArtifactRegistry |  |  |  |  |  |
| OU-ArtifactFederation |  |  |  |  |  |

### Structure

Server/OpenUSD/Artifacts                 OpenUsdArtifactRegistryType : RegistryType

├─ <assetContainer>                    OpenUsdAssetGroupType : GroupType

│     ├─ <artifact>                    OpenUsdAssetType : ResourceType : FileType

│     └─ …

└─ <plugin>                            OpenUsdSchemaPluginGroupType : GroupType

├─ plugInfo.json                 OpenUsdAssetType (AssetKind = SchemaPlugin)

└─ generatedSchema.usda          OpenUsdAssetType (AssetKind = GeneratedSchema)

A group is one asset container — a named, versioned USD asset in the AOUSD sense: its root layer together with the sublayers, references, payloads, textures, MaterialX documents and volumes it needs. OpenUsdAssetGroupType.AssetContainerId is the group key: its value is identical to the inherited GroupId and to the group's BrowseName (for example pumps). It is not an asset-identifier prefix — member AssetIdentifiers are already normalized relative to the container (7.11.3).

Following xRegistry §6.1, the domain types constrain the inherited placeholders: OpenUsdArtifactRegistryType narrows <Group> to <AssetContainer> (OpenUsdAssetGroupType) and <SchemaPlugin> (OpenUsdSchemaPluginGroupType), and both group types narrow <Resource> to OpenUsdAssetType. A registry therefore holds only these two kinds of group, and a client can tell them apart by TypeDefinition rather than by convention.

Creating groups. The registry inherits CreateGroup(GroupId) and GetOrCreateGroup(GroupId), which carry no type discriminator, so this specification fixes the mapping: GroupId shall be the AssetContainerId of an OpenUsdAssetGroupType group, or the PluginName of an OpenUsdSchemaPluginGroupType group, and the two namespaces shall not collide within one registry. A server shall reject a CreateGroup whose GroupId is already in use by a group of the other type. Where a server needs to create a group of a specific type unambiguously it should expose the base Methods on the two group folders rather than overloading GroupId.

Bootstrap. A server that auto-populates the registry from its own configuration (xRegistry §6.5) derives the group key from the served asset container — for a stage, the container holding its root layer — and derives artifact metadata from the served bytes: AssetIdentifier from the authored identifier, AssetKind from the artifact's role in the closure (exactly one RootLayer, the rest by the arc that reaches them), ContentType from the file type, Digest/DigestAlgorithm by hashing the exact bytes it will stream, and DependsOn from the references the artifact authors. A server shall not invent an AssetIdentifier that no layer authors.

OpenUsdAssetType subtypes the xRegistry ResourceType, which is itself an OPC UA Part 5 FileType. The artifact node therefore is the file: its bytes are read with the node's own Open / Read / Close, and Size, GetPosition and SetPosition are available for progress, range retry and resume. All served streams are read-only. Beyond the members inherited from ResourceType (Xid, Epoch, ResourceId, VersionId, Format, ContentType, Labels, ExternalReference, ResourceUrl, the FileType Methods) it adds:

Table 26 – Structure

| Member | DataType / Type | Rule | Meaning |
| --- | --- | --- | --- |
| AssetIdentifier | String | M | The authored USD asset identifier, normalized relative to its asset container — the string used in USD @...@ references, and the relative path a connector caches the artifact at. The xRegistry ResourceId is the symbolic identifier constructed from it, a one-way construction that is never inverted (§7.11.3). |
| AssetKind | OpenUsdAssetKindEnum | M | RootLayer, SubLayer, Reference, Payload, Texture, Package, MaterialX, Volume, SchemaPlugin, GeneratedSchema, or Manifest. |
| MediaType | String | O | The USD media type of the artifact, e.g. model/vnd.usda, model/vnd.usdz+zip, image/png. This restates the inherited ContentType; when both are present they shall be identical, and ContentType is authoritative if a server violates that. |
| Digest | ByteString | O | Digest of the exact bytes streamed by this node's FileType interface; required for the OU-AssetDelivery conformance unit. |
| DigestAlgorithm | OpenUsdDigestAlgorithmEnum | O | Algorithm for Digest; required with Digest and defaulting by convention to Sha256. |
| DependsOn | String[] | O | Ordered asset identifiers this artifact directly references, as authored — not Xids, so a resolver matches them against @...@ references directly. Makes the dependency closure explicit and queryable rather than only procedural. |

### The stage view and the delivery contract

OpenUsdStageType.Assets is a view: a Folder that Organizes the registry artifacts making up that stage's closure. Organizes does not imply ownership, so an artifact shared by several stages exists once in the registry and is organized by each stage that needs it. A server that exposes Artifacts shall not duplicate artifact nodes under Assets.

The view is equally indifferent to where the bytes live. An artifact the registry federates rather than hosts — one carrying ResourceUrl and/or ExternalReference instead of content (7.11.3) — is organized under Assets exactly like one the server stores, so a stage's closure may span registries without the stage view changing shape. A connector resolves each organized artifact by the same rule regardless, following the federation links when they are present.

Because the view does not own its targets, deletion is asymmetric and is fixed here: the inherited GroupType.Delete deletes the group together with the resources it contains, so a server shall remove the corresponding Organizes references from every stage's Assets view in the same operation — a stage shall not be left with dangling references into a deleted group. Conversely, removing an artifact from a stage's Assets view shall not delete the artifact from the registry. A server should refuse to delete a group whose artifacts are still organized by a stage it is currently serving.

A server claiming OU-AssetDelivery shall expose the full dependency closure needed to compose the served stage without external asset resolution: exactly one AssetKind = RootLayer artifact whose AssetIdentifier matches the stage root identifier, plus every sublayer, referenced layer, payload, package, texture, MaterialX document and volume reachable from that root and from component assets. Where DependsOn is present it shall be consistent with that closure. For each component binding whose ComponentAssetReference is served, ComponentAssetNode should point to the corresponding artifact.

A connector supporting this capability:

- Browses Server/OpenUSD/Artifacts, or follows the stage's Assets view, and reads each artifact's AssetIdentifier, AssetKind, ContentType (or the equivalent MediaType), Digest, DigestAlgorithm and DependsOn.

- Validates that there is exactly one RootLayer and that the closure is complete; a missing entry is a delivery failure for the self-contained mode.

- Streams each artifact through Open/Read/Close on the artifact node, computes the declared digest over the received bytes, and refuses to use an artifact whose digest does not match.

- Writes each verified artifact into a connector-controlled local cache at the sanitized relative path derived from AssetIdentifier, preserving the authored relative layout so USD @...@ paths resolve locally.

- Opens the cached root layer, composes its live override/session layer above it, and renders as usual.

A connector should use Epoch to detect that a cached artifact may be stale. Epoch is a change hint, not proof that bytes changed: the base model increments it on any mutation of the entity, including a label edit (xRegistry §6.5). Digest is therefore the authority — an artifact whose Epoch differs from the cached value shall be re-fetched and re-verified before reuse, and an artifact whose Digest differs shall be treated as changed regardless of Epoch.

All served artifact streams are read-only: a connector shall not require write access to compose a stage, and although ResourceType inherits Write and Delete from the base model, a server serving artifacts for delivery should withhold those from a delivery-only Role. A server shall close abandoned FileType handles according to normal session cleanup and server resource policy; this matters more with a registry than it did with a per-stage folder, because one Artifacts subtree can be opened concurrently on behalf of every stage that references it.

The facility remains additive. If Artifacts is absent, incomplete, unauthorized, or fails digest verification, a connector may fall back to its configured external resolver only when operator policy permits; it shall not silently mix unverified delivered bytes into the stage.

### Resolver identity

xRegistry defines Xid as the stable path of an entity within its registry, independent of the hosting endpoint (/<groups>/<groupId>/<resources>/<resourceId>), and constrains each entity's identifier to a restricted character set — RFC 3986 unreserved plus : and @, at most 128 characters, unique case-insensitively within its parent. A USD asset identifier is the stable, location-independent name an authored layer uses in an @...@ reference, which a USD ArResolver maps to a resolved path. The two express the same idea but are not the same grammar: @./live.usda@ is not a valid Xid, an Xid is not what a layer authors, and an identifier such as textures/albedo.png cannot appear in an identifier segment at all.

This specification therefore does not equate them; it derives one from the other by the symbolic identifier construction of OPC UA — xRegistry §6.9, and keeps the authored identifier as the authority:

NOTE   An artifact's AssetIdentifier shall be its authored USD asset identifier, normalized relative to its asset container (a leading ./ removed). Its xRegistry ResourceId shall be the symbolic identifier constructed from that AssetIdentifier. Its Xid is consequently /<groups>/<AssetContainerId>/<resources>/<ResourceId>. AssetIdentifier is Mandatory and is the authority: a client shall not attempt to recover it by inverting the construction.

The forward direction is closed-form, so a resolver needs no lookup table; the reverse direction is a Read, because the construction is deliberately lossy:

Table 27 – Resolver identity

| Direction | Operation |
| --- | --- |
| authored @X@ in a layer of container C → registry location | normalize X against C, apply the xRegistry §6.9 construction, append to /<groups>/C/<resources>/ |
| Xid → authored identifier | Read the artifact's AssetIdentifier Property |

For example, in container fabrikam.plant-01:

Table 28 – Resolver identity (2)

| Authored | AssetIdentifier | ResourceId | Name |
| --- | --- | --- | --- |
| @./pump.usda@ | pump.usda | pump.usda | pump.usda |
| @textures/albedo.png@ | textures/albedo.png | textures.albedo.png | textures/albedo.png |
| @pkg.usdz[tex/a.png]@ | pkg.usdz[tex/a.png] | pkg.usdz-tex.a.png | pkg.usdz[tex/a.png] |

Name is Mandatory on every group and artifact and shall be the AssetIdentifier verbatim for an artifact and the asset container identifier verbatim for a group, so an operator browsing Artifacts with a generic OPC UA client sees the string a layer actually authors. A server shall set each node's DisplayName from its Name.

Which entity level the identifier binds to. The base model keys resources by (ResourceId, VersionId) and may materialize versions as sibling files. An asset identifier must stay stable across revisions of the same layer — that is what makes an authored @...@ reference durable — so:

NOTE   AssetIdentifier binds to the resource, not the version. All versions of one artifact share one AssetIdentifier and one ResourceId; they differ only in VersionId. A resolver that does not select a version shall receive the resource's default version, and an Xid that addresses a specific version shall not be used as an asset identifier.

A ResourceId is therefore never derived from the artifact's bytes: an identifier computed from a document would change on every revision and split one logical artifact into a new resource each time. The content hash of a version is its Digest, which is version-level metadata.

A client selects a non-default version explicitly through the xRegistry API (VersionId); the authored layer never names one, because a layer that pinned a version would defeat the registry's ability to serve a corrected artifact.

Presence requirements. Xid, Epoch and Digest are Optional on the base ResourceType, which would make this clause and the staleness rule of §7.11.2 untestable. A server claiming OU-ArtifactRegistry shall therefore expose Xid, Epoch, Digest and DigestAlgorithm on every artifact it hosts. (An artifact it merely federates carries the federation links instead of bytes, and consequently no Digest.)

The consequence is that a server exposing Artifacts is an addressable resolver backend: a USD-side resolver plugin holding a container context resolves an authored @...@ reference to an artifact node by computation alone, and reads its bytes with Open/Read/Close. Three corollaries:

- Cache placement. A connector caches each artifact at the relative path given by AssetIdentifier (7.11.2 step 4), so authored relative references such as @./live.usda@ resolve locally. Xid governs the registry layout, AssetIdentifier the asset layout; conflating them would break relative resolution.

- DependsOn carries asset identifiers, not Xids, for the same reason: it records what the layer authored, so a resolver can match it directly against an @...@ reference.

- Federation is the resolver fallback chain. An artifact this registry knows about but does not host carries the xRegistry federation links ResourceUrl and/or ExternalReference (an ExpandedNodeId) instead of bytes. A resolver follows them exactly as it would consult the next resolver in its chain, so a plant-level registry can delegate to a vendor's without copying content.

- Package-relative paths. A package-relative identifier such as pkg.usdz[textures/albedo.png] is an AssetIdentifier like any other and encodes into a single ResourceId within the containing package's group. A server may serve the whole Package artifact, its members individually, or both. To keep the closure rule of 7.11.2 decidable:

- The package is canonical. Serving the Package artifact alone satisfies the closure for everything it contains; a connector shall not treat a package member that is absent as a missing entry, because it can extract it.

- Individually served members are an optimization, letting a connector fetch one texture without the whole package. When a server serves both, a member's Digest is over the extracted member bytes, not the package, and the member's bytes shall not count a second time towards any Size the server reports for the package.

- A member served without its package is a normal artifact and is subject to the ordinary closure rule.

## OpenUsdAssetGroupType

An xRegistry GroupType collecting the artifacts of ONE asset container - a named, versioned USD asset in the AOUSD sense (its root layer plus the sublayers, references, payloads, textures, MaterialX documents and volumes it needs). The group key is the asset container identifier; member artifacts are addressed by their AssetIdentifier relative to it.

Table 29 – OpenUsdAssetGroupType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdAssetGroupType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 1:GroupType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | AssetContainerId | 0:String | 0:PropertyType | M |
| 0:Organizes | Object | <Asset> |  | OpenUsdAssetType | OP |
| Conformance Units |  |  |  |  |  |
| OU-ArtifactRegistry |  |  |  |  |  |

## OpenUsdSchemaPluginGroupType

Part 2 §6.7 lets a vendor introduce new typed prims by subtyping UsdTypedType in OPC UA. A USD-side client has no way to interpret those prims unless it also has the corresponding USD schema. OpenUSD solves this with codeless schemas, which require exactly two files — a plugInfo.json manifest and a generatedSchema.usda — discovered through PlugRegistry and registered by UsdSchemaRegistry without any compiled code.

A server that materializes vendor prim types should therefore serve the matching codeless schema as an OpenUsdSchemaPluginGroupType group whose PluginName is the plugin name from the manifest (Plugins[].Name), containing one SchemaPlugin artifact (the plugInfo.json) and one GeneratedSchema artifact (the generatedSchema.usda). A server claiming OU-SchemaPluginDelivery shall serve exactly that pair for every vendor prim type it materializes, so the capability is testable rather than advisory.

This closes the loop between the two type systems: a client fetches the plugin from the same registry it fetches layers from, registers it, and can then read a Part 2 materialized scene — or a Part 1 bound external stage — with the vendor's prim types fully understood rather than degraded to the Part 2 unknown-type fallback.

Table 30 – OpenUsdSchemaPluginGroupType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdSchemaPluginGroupType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 1:GroupType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | PluginName | 0:String | 0:PropertyType | M |
| 0:Organizes | Object | <Asset> |  | OpenUsdAssetType | OP |
| Conformance Units |  |  |  |  |  |
| OU-SchemaPluginDelivery |  |  |  |  |  |

## OpenUsdAssetType

One served USD artifact: authored content the server delivers through the address space so a connector can fetch it and compose the stage locally, with no external resolver. OpenUsdAssetType subtypes the xRegistry ResourceType, which is itself a Part 5 FileType, so the artifact's bytes are streamed directly through the node's own Open/Read/Close while the node also carries the xRegistry entity attributes. AssetIdentifier is the authored USD resolver identifier, normalized relative to its asset container, and is the artifact's source identity; the inherited xRegistry ResourceId is the symbolic identifier constructed from it, a one-way construction that is never inverted, so the registry is addressable as an ArResolver backend without conflating the two identifier grammars.

Table 31 – OpenUsdAssetType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdAssetType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 1:ResourceType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | AssetIdentifier | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | AssetKind | OpenUsdAssetKindEnum | 0:PropertyType | M |
| 0:HasProperty | Variable | MediaType | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | Digest | 0:ByteString | 0:PropertyType | O |
| 0:HasProperty | Variable | DigestAlgorithm | OpenUsdDigestAlgorithmEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | DependsOn | 0:String[] | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OU-AssetDelivery |  |  |  |  |  |
| OU-ArtifactRegistry |  |  |  |  |  |
| OU-ArtifactFederation |  |  |  |  |  |

# OPC UA DataTypes

## OpenUsdRenderTargetKindEnum

Classifies the USD render target a live value drives (advisory routing hint).

Table 32 – OpenUsdRenderTargetKindEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Translation | 0 |  |
| Rotation | 1 |  |
| Scale | 2 |  |
| Transform | 3 |  |
| Visibility | 4 |  |
| DisplayColor | 5 |  |
| EmissiveColor | 6 |  |
| Opacity | 7 |  |
| Custom | 8 |  |
| Georeference | 9 | A geodetic anchor coordinate (latitude/longitude/height) on a USD georeference or globe-anchor schema; see the geospatial rule (Bindings spec §5.8) and Annex D. |

Table 33 – OpenUsdRenderTargetKindEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdRenderTargetKindEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[10] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OU-Binding |  |  |  |  |  |
| OU-Conversion-Transform |  |  |  |  |  |
| OU-Conversion-Geo |  |  |  |  |  |

## OpenUsdBadQualityActionEnum

What the connector does with a non-Good source value.

Table 34 – OpenUsdBadQualityActionEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Skip | 0 | Do not update the target. |
| HoldLast | 1 | Keep the last Good value. |
| ClearOpinion | 2 | Remove the authored opinion (reveal a weaker layer). |
| Fallback | 3 | Author a configured fallback value. |

Table 35 – OpenUsdBadQualityActionEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdBadQualityActionEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[4] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OU-Quality |  |  |  |  |  |

## OpenUsdBindingStateEnum

Runtime lifecycle state of a live binding, exposed for diagnostics.

Table 36 – OpenUsdBindingStateEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Disabled | 0 |  |
| Unresolved | 1 |  |
| Ready | 2 |  |
| Active | 3 |  |
| Degraded | 4 |  |
| Error | 5 |  |

Table 37 – OpenUsdBindingStateEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdBindingStateEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[6] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OU-Diagnostics |  |  |  |  |  |

## OpenUsdSignalRoleEnum

Role of the bound signal, mirroring the asset-definition observable/controllable tagging. Only Controllable signals are eligible for a command binding.

Table 38 – OpenUsdSignalRoleEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Observable | 0 | Read-only; drives USD but cannot be commanded. |
| Controllable | 1 | May be commanded via an opt-in, authorized command binding. |

Table 39 – OpenUsdSignalRoleEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdSignalRoleEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[2] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OU-SemanticSource |  |  |  |  |  |
| OU-Command |  |  |  |  |  |

## OpenUsdAlarmAspectEnum

For OpenUsdAlarmBindingType bindings: which A&C condition aspect drives the target attribute.

Table 40 – OpenUsdAlarmAspectEnum Items

| Name | Value | Description |
| --- | --- | --- |
| ActiveState | 0 | Condition ActiveState (boolean). |
| Severity | 1 | Condition Severity (numeric). |
| AckedState | 2 | Condition AckedState (boolean). |
| EnabledState | 3 | Condition EnabledState (boolean). |

Table 41 – OpenUsdAlarmAspectEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdAlarmAspectEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[4] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OU-Alarm |  |  |  |  |  |

## OpenUsdDigestAlgorithmEnum

Digest algorithm for OpenUsdStageType.RootLayerDigest (Twin BOM content integrity).

Table 42 – OpenUsdDigestAlgorithmEnum Items

| Name | Value | Description |
| --- | --- | --- |
| None | 0 |  |
| Sha256 | 1 | SHA-256. |
| Sha384 | 2 | SHA-384. |
| Sha512 | 3 | SHA-512. |

Table 43 – OpenUsdDigestAlgorithmEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdDigestAlgorithmEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[4] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OU-Integrity |  |  |  |  |  |

## OpenUsdCardinalityEnum

Cardinality of a component binding: 1:1 or 1..n.

Table 44 – OpenUsdCardinalityEnum Items

| Name | Value | Description |
| --- | --- | --- |
| One | 0 | Exactly one component (1:1). |
| Many | 1 | Zero or more components of a type (1..n). |

Table 45 – OpenUsdCardinalityEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdCardinalityEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[2] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OU-Composition |  |  |  |  |  |

## OpenUsdCompositionArcEnum

USD composition arc used to place a component prim under its parent.

Table 46 – OpenUsdCompositionArcEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Child | 0 | Inline nested prim under the parent prim. |
| Reference | 1 | Prim that references the component's external asset. |
| Payload | 2 | Prim that payloads (deferred-load) the component's external asset. |
| Instance | 3 | Instanceable reference (instanceable=true), for efficient 1..n. |

Table 47 – OpenUsdCompositionArcEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdCompositionArcEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[4] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OU-Composition |  |  |  |  |  |

## OpenUsdAssetKindEnum

Role of a served USD artifact within a stage's served layer closure.

Table 48 – OpenUsdAssetKindEnum Items

| Name | Value | Description |
| --- | --- | --- |
| RootLayer | 0 | The stage's root/base layer (exactly one served RootLayer per stage). |
| SubLayer | 1 | A sublayer contributing to the root layer's composition. |
| Reference | 2 | An asset introduced by a reference arc (e.g. a component's asset). |
| Payload | 3 | An asset introduced by a payload arc (deferred-loaded). |
| Texture | 4 | A texture / image asset referenced by a material. |
| Package | 5 | A packaged asset bundle (e.g. USDZ) carrying the whole closure. |
| MaterialX | 6 | A MaterialX document (.mtlx) defining a material/shader network. |
| Volume | 7 | A volume or geometry cache asset (OpenVDB, Alembic). |
| SchemaPlugin | 8 | A USD plugin manifest (plugInfo.json) declaring a schema plugin. |
| GeneratedSchema | 9 | A generatedSchema.usda carrying codeless schema definitions. |
| Manifest | 10 | An asset manifest or metadata sidecar describing the container. |

Table 49 – OpenUsdAssetKindEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:OpenUsdAssetKindEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[11] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OU-AssetDelivery |  |  |  |  |  |
| OU-SchemaPluginDelivery |  |  |  |  |  |

# Profiles and conformance units

Conformance Units (each a normative, testable requirement):

- OU-Namespace — declares the OpenUSD namespace and RequiredModel.

- OU-Discovery — exposes the mandatory Server/OpenUSD root with Stages and Representations.

- OU-Stage — OpenUsdStageType with a valid RootLayerIdentifier.

- OU-Representation — a valid OpenUsdRepresentation AddIn (Stage NodeId resolves; canonical absolute PrimPath).

- OU-RepresentationRegistry — every representation is Organized from Representations.

- OU-Binding — a concrete OpenUsdLiveBindingType subtype (the baseline OpenUsdValueChangeBindingType) with a resolvable source and target and a stable BindingDefinitionId.

- OU-Conversion-Scalar — scalar unit/scale/offset conversion.

- OU-Conversion-Transform — RSL transform profile (angles, units, up-axis).

- OU-Conversion-Geo — geospatial/georeference target conversion: a binding whose RenderTargetKind = Georeference maps an OPC UA/GPOS GlobalPosition (latitude/longitude/elevation, EPSG CRS) to a USD georeference-origin or globe-anchor coordinate per 7.4.2 and Annex F.

- OU-Quality — Good-default handling and BadQualityAction.

- OU-Diagnostics — State / LastError populated at runtime.

- OU-SemanticSource — a binding whose source resolves via SourceSemanticId (ECLASS / IEC CDD).

- OU-Alarm — an OpenUsdAlarmBindingType binding driving a target from an A&C condition aspect.

- OU-History — an OpenUsdHistoryBindingType binding authoring USD time samples from HistoryRead.

- OU-Command — an opt-in, authorized, single-writer OpenUsdCommandBindingType binding (Controllable role; fail-closed).

- OU-Integrity — OpenUsdStageType with a verified RootLayerDigest.

- OU-Composition — an OpenUsdComponentBindingType composing a component Object into the parent prim (One and Many, with a valid CompositionArc).

- OU-DynamicComposition — a Dynamic component binding reconciled on GeneralModelChangeEventType / SemanticChangeEventType.

- OU-CrossServerComposition — a component binding resolved by federation to ComponentServerUri / ComponentEndpointUrl.

- OU-AssetDelivery — a server serves the stage's complete USD asset closure as OpenUsdAssetType nodes with read-only Part 5 FileType streams and per-layer digests; a connector fetches, verifies, caches by AssetIdentifier, and composes a self-contained local stage.

- OU-ArtifactRegistry — the served artifacts are exposed as the xRegistry artifact registry of §7.11: an OpenUsdArtifactRegistryType at Server/OpenUSD/Artifacts, artifacts grouped per asset container, each artifact's ResourceId the symbolic identifier of its AssetIdentifier and each artifact's and group's Name the corresponding identifier verbatim (7.11.3), and a stage's Assets folder Organizing (not duplicating) them. Implies OU-AssetDelivery.

- OU-ArtifactFederation — the registry resolves artifacts it does not host through the xRegistry federation links (ResourceUrl / ExternalReference), so a connector follows the chain to another registry (§7.11.3). Requires OU-ArtifactRegistry.

- OU-SchemaPluginDelivery — the registry serves codeless USD schemas as OpenUsdSchemaPluginGroupType groups (a plugInfo.json plus a generatedSchema.usda), so a USD client can register a vendor schema and interpret vendor prim types rather than degrading them (7.13). Requires OU-ArtifactRegistry.

Profiles:

- OpenUSD Representation Server — OU-Namespace, OU-Discovery, OU-Stage, OU-Representation, OU-RepresentationRegistry.

- OpenUSD Live Rendering Server — the Representation profile + OU-Binding, OU-Conversion-Scalar, OU-Quality (OU-Conversion-Transform, OU-Conversion-Geo, OU-SemanticSource, OU-Integrity, and OU-Diagnostics optional).

- OpenUSD Interactive Server — the Live Rendering profile + OU-Command (and typically OU-Alarm); adds the authorized, opt-in control path for agent/operator interaction. OU-History is optional.

- OpenUSD Composite Server — the Live Rendering profile + OU-Composition (OU-DynamicComposition, OU-CrossServerComposition, OU-AssetDelivery, OU-ArtifactRegistry, OU-ArtifactFederation and OU-SchemaPluginDelivery optional); exposes the asset's component structure as composed USD prims.

- OpenUSD Artifact Server — OU-Namespace, OU-Discovery, OU-Stage + OU-AssetDelivery and OU-ArtifactRegistry (OU-ArtifactFederation and OU-SchemaPluginDelivery optional). A server whose purpose is to deliver USD content: it hosts the artifact registry and is addressable as a USD resolver backend (7.11.3), with or without live bindings.

Each CU requires a conformance test (Browse the node, Read the properties, and — for bindings — resolve source/target and observe a converted value or, for OU-Command, an authorized write/Call; for OU-AssetDelivery, stream at least the root and one dependent asset, verify their digests, and open the cached composed stage; for OU-ArtifactRegistry, additionally confirm that each artifact's ResourceId percent-decodes to its AssetIdentifier, that DependsOn entries resolve to artifacts by asset identifier, and that a stage's Assets folder Organizes rather than duplicates the registry artifacts). See the Pumps addendum for a worked, testable instance.

# Namespaces

## Namespace metadata

The namespace metadata provide standardized information about the elements of this namespace, which an aggregating Server relies on. All Nodes defined by this document are static: they are identical in every Server, including the Value Attribute.

The information is provided as an Object of type NamespaceMetadataType, a component of the Namespaces Object of the Server Object. The NamespaceMetadataType ObjectType and its Properties are defined in OPC 10000-5. The same version information is carried by the ModelTableEntry of the UANodeSet XML file.

Table 50 – NamespaceMetadata Object for this document

| Property | DataType | Value |
| --- | --- | --- |
| NamespaceUri | String | http://opcfoundation.org/UA/OpenUSD/ |
| NamespaceVersion | String | 0.6.0 |
| NamespacePublicationDate | DateTime | 2026-07-31 |
| IsNamespaceSubset | Boolean | False |
| StaticNodeIdTypes | IdType[] | 0 (Numeric) |
| StaticNumericNodeIdRange | NumericRange[] | 1001:6075 |
| StaticStringNodeIdPattern | String | -- |

The IsNamespaceSubset Property is False because the UANodeSet XML file contains the complete namespace. A Server exposing only a subset sets it to True.

## Handling of OPC UA namespaces

Namespaces are used by OPC UA to create unique identifiers across different naming authorities. The NodeId and BrowseName Attributes are identifiers. A Node in the AddressSpace is unambiguously identified by its NodeId; a BrowseName is not unique and is used to build a browse path or to name a standard Property.

Table 51 – Namespaces used in an OpenUSD Server

| NamespaceURI | Description |
| --- | --- |
| http://opcfoundation.org/UA/ | Namespace for NodeIds and BrowseNames defined in the OPC UA specification (OPC 10000-3, OPC 10000-5). |
| Local Server URI | Namespace for Nodes defined in the local Server. This namespace shall have index 1. |
| http://opcfoundation.org/UA/xRegistry/ | Namespace of the RequiredModel that carries the abstract registry base types this document extends. |
| http://opcfoundation.org/UA/OpenUSD/ | Namespace for NodeIds and BrowseNames defined in this document. |
| Vendor specific types | A Server may provide vendor-specific types derived from the types defined in this document, in one or more additional namespaces. |

The following table lists the namespaces and their indexes used for BrowseNames in this document. The default namespace of this document is not listed, because every BrowseName without a prefix uses it.

Table 52 – Namespaces used in this document

| NamespaceURI | Namespace Index | Example |
| --- | --- | --- |
| http://opcfoundation.org/UA/ | 0 | 0:EngineeringUnits |
| http://opcfoundation.org/UA/xRegistry/ | 1 | 1:ResourceType |

# Security

- Endpoint. A connector shall use an authenticated, integrity-protected endpoint; the represented model itself carries no secrets. Server certificate trust is required.

- Authorization. Read access to the representation/binding nodes and to the source Variables is governed by normal OPC UA RolePermissions/AccessRestrictions. Telemetry, alarm, and history bindings are read-only over process data and require no write authority. Command bindings (7.8) require explicit write/Call authorization on the target Variable/Method, are disabled by default, and are subject to a single-writer discipline; a connector shall obtain and check the required Role before issuing any command.

- Resolver safety & content integrity. RootLayerIdentifier/ResolvedRootLayerUri are server-provided and could point a connector at an arbitrary asset location (an SSRF-class risk). A connector shall apply a scheme/root allowlist and a trusted resolver-context policy, and shall impose resource limits on stage open/asset resolution. When RootLayerDigest is present, the connector shall verify the resolved layer against it before composing the stage and shall refuse a mismatch; when Signature/ProvenanceUri are present, provenance should be verified against a trusted policy (the Twin BOM anchor, §C.2).

- Served asset safety. Asset delivery reads require the same authenticated and authorized OPC UA Session as the representation model; a server shall enforce RolePermissions/AccessRestrictions on Assets and the asset FileType nodes, bound total served size, and bound concurrent file handles per session. A connector shall treat every served AssetIdentifier as untrusted input: reject absolute paths, drive-qualified paths, parent traversal, empty segments, and platform-reserved names before writing to a local cache, and write only under a connector-controlled cache root.

- Writer ownership. When authoring into a shared USD/Nucleus layer, a single-writer discipline is required; no secrets (keys, tokens, Nucleus/broker credentials) are stored in the NodeSet or in USD metadata.

(normative) 

OpenUSD namespace and mappings

NodeSet and supplementary files for OpenUSD Information Model

An Information Model is formally defined in an XML file called a NodeSet This file conforms to the standard syntax defined in the Annex “Information Model XML Schema” OPC 10000-6, OPC Unified Architecture - Part 6: Mappings. It can be read and processed by a computer program.

An Information Model is identified by a URI – the so-called NamespaceUri.

A NamespaceUri follows one of these conventions:

http://opcfoundation.org/UA/OpenUSD/

tag:opcfoundation.org,yyyy-MM:UA:OpenUSD

Where OpenUSD is described in 9 and yyyy-MM is the date when the NamespaceUri was first published. NamespaceUris are not network accessible URLs and the text should not suggest they are. The tag URI syntax allows authors to choose a URI that cannot be used as URL by mistake. Note that the date in the tag syntax is not the same as the PublicationDate for the NodeSet. It is set once when the URI is created and never changed.

The Online Reference provides a summary page for every NamespaceUri of released Information Models which has the form:

https://reference.opcfoundation.org/nodesets?u=http://opcfoundation.org/UA/OpenUSD/

The OpenUSD Information Model is identified by the following URI:

http://opcfoundation.org/UA/OpenUSD/

Documentation for the NamespaceUri can be found here.

“here” is a hyperlink to the summary page of the Online Reference.

In the hyperlink, the http://opcfoundation.org/UA/OpenUSD/ has to be replaced with the concrete URI for this specification.

The NodeSet associated with this version of specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/OpenUSD/&v=0.6.0&i=1

The NodeSet associated with the latest version of the specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/OpenUSD/&i=1

http://opcfoundation.org/UA/OpenUSD/ is the NamespaceUri for the Information Model.

The 0.6.0 is the string in the NamespaceVersion from the Namespace Metadata (see 10.1). This value is also the value of the Version attribute in the NodeSet.

Supplementary files for the OpenUSD Information Model can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/OpenUSD/&v=0.6.0&i=2

The files associated with the latest version of the specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/OpenUSD/&i=2

Supplementary files should be provided when appropriate (i.e., IRDI NodeSets or examples)

File Names

NodeIds: 	Opc.Ua.OpenUSD.NodeIds.csv

NodeSet: 	Opc.Ua.OpenUSD.NodeSet2.xml;

Any other files should have a prefix that provides context when the file is downloaded in a browser.

When DataTypes are defined in the NodeSet:

Opc.ua.OpenUSD.Types.xsd –

The XML schema for the DataTypes defined by the specification;

Opc.ua.OpenUSD.Types.bsd –

The OPC Binary schema for the DataTypes defined by the specification;

In case there is the need to reference individual files the following syntax should be added to the template:

https://reference.opcfoundation.org/files/<file>?u=<namespaceUri>&v=<version>
https://reference.opcfoundation.org/files/<file>?u=<namespaceUri>

for example:

https://reference.opcfoundation.org/files/StatusCode.csv?u=http://opcfoundation.org/UA/&v=1.05.02
https://reference.opcfoundation.org/files/StatusCode.csv?u=http://opcfoundation.org/UA/
https://reference.opcfoundation.org/files/Opc.Ua.Types.xsd?u=http://opcfoundation.org/UA/&v=1.05.02
https://reference.opcfoundation.org/files/Opc.Ua.Types.xsd?u=http://opcfoundation.org/UA/

Capability identifier

ServerCapabilityIdentifiers are defined in OPC 10000-12, OPC Unified Architecture - Part 12: Discovery and Global Services. They can be used for features, like certain information models, which are likely to be useful during the discovery process. The identifiers shall be short because of length restrictions for fields used in the mDNS specification.

The identifier shall be up to 6 characters. It is recommended to use the OpenUSD introduced in the guideline, at the beginning of clause 9 if that meets the requirement of up to 6 characters.

Note, that such identifiers are not required. If not needed, this Annex section shall be deleted.

The capability identifier for this document shall be:

OpenUSD

Node reference

The following table lists every Node this document defines, with the provisional NodeId assigned by the generator. It is generated from the UANodeSet and is informative for navigation; the UANodeSet is authoritative.

Table 53 – Nodes defined by this document

| NodeId | BrowseName | NodeClass | Description |
| --- | --- | --- | --- |
| ns=2;i=3002 | OpenUsdRenderTargetKindEnum | DataType | Classifies the USD render target a live value drives (advisory routing hint). |
| ns=2;i=3902 | EnumStrings | Variable |  |
| ns=2;i=3003 | OpenUsdBadQualityActionEnum | DataType | What the connector does with a non-Good source value. |
| ns=2;i=3903 | EnumStrings | Variable |  |
| ns=2;i=3004 | OpenUsdBindingStateEnum | DataType | Runtime lifecycle state of a live binding, exposed for diagnostics. |
| ns=2;i=3904 | EnumStrings | Variable |  |
| ns=2;i=1004 | OpenUsdLiveBindingType | ObjectType | Abstract base for one read-only live binding: a source OPC UA Variable value drives one target USD attribute. The binding intent is expressed by the concrete subtype (ValueChange/Alarm/History/Command), not by an enum. The declaration is portable; the runtime connector resolves and applies it. The effective runtime identity is (represented object, BindingDefinitionId). |
| ns=2;i=6001 | BindingDefinitionId | Variable | Stable declaration identifier used for override/tombstone matching across type and instance levels. NOT a runtime instance key. |
| ns=2;i=6002 | Enabled | Variable | False acts as a tombstone that suppresses an inherited binding. |
| ns=2;i=6003 | SourceNodeId | Variable | Absolute NodeId of the source Variable (instance-level). Optional; prefer SourceBrowsePath for type-level declarations. |
| ns=2;i=6004 | SourceBrowsePath | Variable | RelativePath to the source Variable, resolved from the represented object. Preferred, instance-portable form. |
| ns=2;i=6005 | AttributeId | Variable | Source attribute id; default 13 (Value). Telemetry binds Value only. |
| ns=2;i=6006 | TargetStage | Variable | NodeId of the stage holding the target prim: an OpenUsdStageType instance, or a materialized Part 2 UsdStageType instance when the target is an in-server materialized scene. |
| ns=2;i=6007 | TargetPrimPath | Variable | Prim path of the target: absolute, or relative to the representation PrimPath. |
| ns=2;i=6008 | TargetPropertyName | Variable | USD attribute name on the target prim, e.g. 'xformOp:rotateZ' or 'primvars:displayColor'. |
| ns=2;i=6009 | TargetUsdTypeName | Variable | Expected USD Sdf value type name, e.g. 'double', 'float', 'bool', 'color3f'. |
| ns=2;i=6010 | RenderTargetKind | Variable | Advisory routing hint for the render target category. |
| ns=2;i=6011 | ValueSemanticUri | Variable | Value semantics: scalar/angle/length/point/vector/quaternion/matrix. The transform profile uses RSL CartesianFrameAngleOrientationType semantics. |
| ns=2;i=6012 | Scale | Variable | Linear conversion scale: target = Scale * converted + Offset. |
| ns=2;i=6013 | Offset | Variable | Linear conversion offset. |
| ns=2;i=6014 | SourceEngineeringUnits | Variable | Asserted source engineering units (UNECE). |
| ns=2;i=6015 | TargetEngineeringUnits | Variable | Requested target engineering units. |
| ns=2;i=6016 | BadQualityAction | Variable | How the connector treats a non-Good source value. Default Skip. |
| ns=2;i=6017 | SamplingIntervalHint | Variable | Requested sampling interval hint in milliseconds. A HINT only; the actual MonitoredItem parameters are negotiated per client Subscription. |
| ns=2;i=6018 | State | Variable | Runtime lifecycle state (diagnostic). |
| ns=2;i=6019 | LastError | Variable | Last operation error text (diagnostic). |
| ns=2;i=1002 | OpenUsdStageType | ObjectType | Describes one OpenUSD stage available to the server. Identity is the root layer identifier plus, where used, the session layer and resolver context; the stage Object NodeId is its same-server identity. |
| ns=2;i=6020 | RootLayerIdentifier | Variable | Opaque authored root-layer / resolver identifier (NOT necessarily a URI). |
| ns=2;i=6021 | SessionLayerIdentifier | Variable | Opaque session-layer identifier, if any. Contributes to stage identity. |
| ns=2;i=6022 | ResolverContext | Variable | Opaque resolver-context descriptor (e.g. a named context profile). |
| ns=2;i=6023 | ResolvedRootLayerUri | Variable | Informative current resolution as a URI, when representable. Not authoritative. |
| ns=2;i=1003 | OpenUsdRepresentationType | ObjectType | AddIn that binds a domain Object to a canonical composed USD prim path on a specific stage. Mounted with HasAddIn; carries live bindings as children. |
| ns=2;i=6024 | DefaultInstanceBrowseName | Variable | Default BrowseName for instances of this AddIn (Part 3 AddIn convention). |
| ns=2;i=6025 | Stage | Variable | NodeId of the OpenUsdStageType instance this representation targets. |
| ns=2;i=6026 | PrimPath | Variable | Canonical, absolute, composed-stage prim path (SdfPath) for this instance. Instance-level: a reusable type cannot supply an absolute instance path. |
| ns=2;i=6027 | <Binding> | Object | A live binding whose source resolves relative to the represented object. |
| ns=2;i=1001 | OpenUsdRootType | ObjectType | Root of the server-wide OpenUSD facility. Contains the stage registry and the representation registry for deterministic discovery. |
| ns=2;i=6028 | Stages | Object | Registry of OpenUsdStageType instances available to the server. |
| ns=2;i=6029 | Representations | Object | Registry that Organizes every OpenUsdRepresentation AddIn in the server, so a connector can enumerate all representations from one place. |
| ns=2;i=1010 | IOpenUsdRepresentedType | ObjectType | Optional interface advertising that a domain ObjectType participates in OpenUSD representation. Applied with HasInterface; informative for browsing. |
| ns=2;i=6030 | <OpenUsdRepresentation> | Object | Placeholder for the representation AddIn on an implementing instance. |
| ns=2;i=3005 | OpenUsdSignalRoleEnum | DataType | Role of the bound signal, mirroring the asset-definition observable/controllable tagging. Only Controllable signals are eligible for a command binding. |
| ns=2;i=3905 | EnumStrings | Variable |  |
| ns=2;i=3006 | OpenUsdAlarmAspectEnum | DataType | For OpenUsdAlarmBindingType bindings: which A&C condition aspect drives the target attribute. |
| ns=2;i=3906 | EnumStrings | Variable |  |
| ns=2;i=3007 | OpenUsdDigestAlgorithmEnum | DataType | Digest algorithm for OpenUsdStageType.RootLayerDigest (Twin BOM content integrity). |
| ns=2;i=3907 | EnumStrings | Variable |  |
| ns=2;i=6031 | SignalRole | Variable | Observable (read-only, default) or Controllable (eligible for a command binding). |
| ns=2;i=6032 | SourceSemanticId | Variable | Semantic identifier (e.g. ECLASS / IEC CDD IRDI) of the source signal; resolved against the source's semantic annotations for cross-vendor portability. |
| ns=2;i=1007 | OpenUsdValueChangeBindingType | ObjectType | A source UA Variable Value change drives a USD attribute (the default binding). Adds no members beyond the abstract base; binds the source Value (AttributeId 13). |
| ns=2;i=1008 | OpenUsdAlarmBindingType | ObjectType | Read-only OPC UA A&C condition aspect (Part 9) drives a USD attribute. |
| ns=2;i=6033 | AlarmAspect | Variable | Which A&C condition aspect drives the target (ActiveState/Severity/AckedState/EnabledState). |
| ns=2;i=1009 | OpenUsdHistoryBindingType | ObjectType | Read-only history (Part 11 HistoryRead) authored as USD time samples. |
| ns=2;i=6034 | TimeSampled | Variable | Author values as USD time samples (playback) rather than the latest default. |
| ns=2;i=1011 | OpenUsdCommandBindingType | ObjectType | Opt-in, authorized USD-side intent drives an OPC UA write / Method call (USD -> UA). |
| ns=2;i=6035 | CommandTargetNodeId | Variable | The Variable to write, or the Object on which to Call CommandMethodId. |
| ns=2;i=6036 | CommandMethodId | Variable | Optional Method to invoke instead of a Variable write. |
| ns=2;i=6037 | CommandTriggerPropertyName | Variable | The USD attribute whose change is interpreted as the command intent/value. |
| ns=2;i=6038 | RootLayerDigest | Variable | Cryptographic digest of the resolved root layer, for content-integrity verification (Twin BOM). Verify before composing the stage. |
| ns=2;i=6039 | RootLayerDigestAlgorithm | Variable | Digest algorithm for RootLayerDigest (default SHA-256). |
| ns=2;i=6040 | Signature | Variable | Optional detached signature over the digest / stage identity, for provenance. |
| ns=2;i=6041 | ProvenanceUri | Variable | Optional URI locating provenance / a signed Twin BOM manifest for the stage. |
| ns=2;i=3008 | OpenUsdCardinalityEnum | DataType | Cardinality of a component binding: 1:1 or 1..n. |
| ns=2;i=3908 | EnumStrings | Variable |  |
| ns=2;i=3009 | OpenUsdCompositionArcEnum | DataType | USD composition arc used to place a component prim under its parent. |
| ns=2;i=3909 | EnumStrings | Variable |  |
| ns=2;i=1005 | OpenUsdComponentBindingType | ObjectType | One composition/aggregation binding: maps an OPC UA component relationship of the represented Object onto a USD composition arc, so a connector assembles the component prim(s). Carried as a <Component> child of a representation. |
| ns=2;i=6042 | BindingDefinitionId | Variable | Stable declaration id for override/tombstone matching. |
| ns=2;i=6043 | Enabled | Variable | False acts as a tombstone that suppresses an inherited component binding. |
| ns=2;i=6044 | Cardinality | Variable | One (1:1) or Many (1..n). |
| ns=2;i=6045 | CompositionArc | Variable | How the component maps into the parent prim: Child, Reference, Payload, Instance. |
| ns=2;i=6046 | ComponentReferenceType | Variable | Aggregating ReferenceType from the represented Object to its component(s); default HasComponent. |
| ns=2;i=6047 | ComponentBrowsePath | Variable | RelativePath to the component Object (One) or to the container from which components are enumerated (Many). |
| ns=2;i=6048 | ComponentTypeDefinition | Variable | Expected component ObjectType; selects children for Many and locates each component's own representation. |
| ns=2;i=6049 | TargetPrimPath | Variable | Child prim (One) or parent scope prim (Many), relative to the parent representation PrimPath (or absolute). |
| ns=2;i=6050 | TargetPrimNameSource | Variable | For Many: how to name each instance prim (BrowseName default, a source-property RelativePath, or a {...} template). |
| ns=2;i=6051 | ComponentAssetReference | Variable | For Reference/Payload/Instance: the external USD asset + default prim, e.g. @pump.usda@</Pump>. |
| ns=2;i=6052 | ComponentRepresentation | Variable | NodeId of the component's own OpenUsdRepresentation AddIn (its sub-bindings compose under the component prim). |
| ns=2;i=6053 | Dynamic | Variable | The component set may change at runtime (reconciled from model-change events). |
| ns=2;i=6054 | ChangeEventSource | Variable | Node whose GeneralModelChange/SemanticChange events signal recomposition; default the Server Object (i=2253). |
| ns=2;i=6055 | ComponentServerUri | Variable | For a component on another server: the remote Server's application/namespace URI. |
| ns=2;i=6056 | ComponentEndpointUrl | Variable | For a component on another server: the remote endpoint URL (else discovered). |
| ns=2;i=6057 | State | Variable | Runtime lifecycle state (diagnostic). |
| ns=2;i=6058 | LastError | Variable | Last operation error text (diagnostic). |
| ns=2;i=6059 | <Component> | Object | A component/aggregation binding composing this Object's components into the USD prim tree. |
| ns=2;i=3010 | OpenUsdAssetKindEnum | DataType | Role of a served USD artifact within a stage's served layer closure. |
| ns=2;i=3910 | EnumStrings | Variable |  |
| ns=2;i=1006 | OpenUsdAssetType | ObjectType | One served USD artifact: authored content the server delivers through the address space so a connector can fetch it and compose the stage locally, with no external resolver. OpenUsdAssetType subtypes the xRegistry ResourceType, which is itself a Part 5 FileType, so the artifact's bytes are streamed directly through the node's own Open/Read/Close while the node also carries the xRegistry entity attributes. AssetIdentifier is the authored USD resolver identifier, normalized relative to its asset container, and is the artifact's source identity; the inherited xRegistry ResourceId is the symbolic identifier constructed from it, a one-way construction that is never inverted, so the registry is addressable as an ArResolver backend without conflating the two identifier grammars. |
| ns=2;i=6060 | AssetIdentifier | Variable | Resolver identifier / relative path of this asset, matching the stage RootLayerIdentifier or a ComponentAssetReference asset path; used for @...@ resolution and cache placement. It is the artifact's source identity: the inherited ResourceId is the symbolic identifier constructed from it, and the inherited Name is this string verbatim. |
| ns=2;i=6061 | AssetKind | Variable | Role of this asset within the stage's served layer closure. |
| ns=2;i=6062 | MediaType | Variable | IANA media type of the content, e.g. 'model/vnd.usda', 'model/vnd.usdz+zip', 'image/png'. |
| ns=2;i=6063 | Digest | Variable | Cryptographic digest of this asset's resolved content, for per-layer integrity verification. A connector verifies it before composing the asset. |
| ns=2;i=6064 | DigestAlgorithm | Variable | Digest algorithm for Digest (default SHA-256). |
| ns=2;i=6065 | Assets | Object | Optional VIEW onto this stage's served layer closure: a Folder that Organizes the OpenUsdAssetType artifacts of the server's Artifacts registry which this stage needs (exactly one RootLayer). It does NOT own the artifacts - an artifact shared by several stages exists once in the registry, and an artifact the registry federates rather than hosts (ResourceUrl / ExternalReference) is organized here the same way, so a stage's closure may span registries. Present only when the server delivers its geometry; a connector that finds it fetches and composes the stage locally, else it resolves RootLayerIdentifier externally. |
| ns=2;i=6066 | ComponentAssetNode | Variable | NodeId of the OpenUsdAssetType (under the stage's Assets folder) serving this component's asset, when the server delivers it. Complements ComponentAssetReference. |
| ns=2;i=6067 | TargetNodeId | Variable | Optional direct NodeId of the target when it is an in-server materialized Variable (a Part 2 UsdAttributeType). When present it takes precedence over the TargetPrimPath/TargetPropertyName pair, which remain the portable descriptors. |
| ns=2;i=1012 | OpenUsdArtifactRegistryType | ObjectType | The server's OpenUSD artifact registry - an xRegistry RegistryType (a FolderType) holding every USD artifact the server serves: layers, packages, textures, MaterialX documents, volumes, schema plugins and manifests. Exposed as the Artifacts component of OpenUsdRootType, it is the single backbone all stages resolve against, replacing per-stage duplication. Each artifact's ResourceId is the symbolic identifier of its USD asset identifier, so the registry is directly addressable as an ArResolver backend and xRegistry federation (ResourceUrl / ExternalReference) is the resolver fallback chain. |
| ns=2;i=1013 | OpenUsdAssetGroupType | ObjectType | An xRegistry GroupType collecting the artifacts of ONE asset container - a named, versioned USD asset in the AOUSD sense (its root layer plus the sublayers, references, payloads, textures, MaterialX documents and volumes it needs). The group key is the asset container identifier; member artifacts are addressed by their AssetIdentifier relative to it. |
| ns=2;i=6068 | AssetContainerId | Variable | Identifier of the asset container this group represents. This is the group key: its value is identical to the inherited GroupId and to the group's BrowseName, e.g. 'pumps'. It is NOT an asset-identifier prefix - member AssetIdentifiers are already normalized relative to the container. Together with an artifact's AssetIdentifier it locates the artifact within the registry (see spec 5.15.3). |
| ns=2;i=1014 | OpenUsdSchemaPluginGroupType | ObjectType | An xRegistry GroupType collecting the files of ONE USD schema plugin: its plugInfo.json manifest and its generatedSchema.usda. A codeless USD schema needs exactly those two files, so serving them lets a USD client register a vendor schema through PlugRegistry and then interpret the vendor prim types a Part 2 server materializes (Part 2 8.1/8.3), closing the loop between the OPC UA and USD type systems. |
| ns=2;i=6069 | PluginName | Variable | The USD plugin name as it appears in plugInfo.json (Plugins[].Name). |
| ns=2;i=6070 | DependsOn | Variable | Ordered asset identifiers this artifact directly references (sublayers, references, payloads, textures, MaterialX documents), as authored - not Xids, so a resolver matches them against @...@ references directly. Makes the 5.15 dependency closure explicit and queryable instead of only procedural, so a connector can verify completeness before composing. |
| ns=2;i=6071 | Artifacts | Object | Optional OpenUsdArtifactRegistryType holding every USD artifact the server serves. Present when the server delivers content; a stage's Assets folder then Organizes the artifacts of its closure from here rather than owning them. |
| ns=2;i=6072 | <AssetContainer> | Object | Constrains the inherited <Group> placeholder: an asset container group held by this registry, keyed by AssetContainerId. |
| ns=2;i=6073 | <SchemaPlugin> | Object | Constrains the inherited <Group> placeholder: a USD schema plugin group held by this registry, keyed by PluginName. |
| ns=2;i=6074 | <Asset> | Object | Constrains the inherited <Resource> placeholder: an artifact of this asset container, addressed by the symbolic identifier of its AssetIdentifier. |
| ns=2;i=6075 | <Asset> | Object | Constrains the inherited <Resource> placeholder: a file of this schema plugin - its plugInfo.json manifest or its generatedSchema.usda. |

(informative)

Using the model

A minimal connector:

- Connect and create a Session; Browse Server/OpenUSD/Representations.

- For each representation: read Stage → OpenUsdStageType (root/session/resolver context) and PrimPath; open (or attach to) the stage.

- Browse the representation's <Binding> children; for each enabled binding, resolve source and target (7.4.1) and build the conversion (7.4.2).

- Browse the representation's <Component> children; for each enabled component binding, resolve the component Object(s) and author the composed prim(s) per CompositionArc (7.10) — enumerating for Many, recursing into each component's ComponentRepresentation, and federating to ComponentServerUri when the component is remote (7.10.2).

- Create a Subscription and MonitoredItems for the resolved sources.

- On each DataChange, apply quality/conversion and write the target USD attribute (frame-coalesced; see Part 3).

- If any component binding is Dynamic, subscribe to GeneralModelChangeEventType + SemanticChangeEventType on the relevant ChangeEventSource and reconcile the composed prims on change (7.10.1).

Figure 7 – Connector interaction with a conforming Server

(informative)

Interoperability with OpenUSD and Omniverse

Table 54 – Interoperability with OpenUSD and Omniverse

| OPC UA (this model) | OpenUSD |
| --- | --- |
| OpenUsdStageType | a composed UsdStage (root + session layers, resolver context) |
| OpenUsdRepresentation.PrimPath | an SdfPath prim on that stage |
| OpenUsdLiveBindingType.TargetPropertyName | a UsdAttribute on the target prim |
| RenderTargetKind = Rotation | xformOp:rotateZ / xformOp:orient on a UsdGeomXformable |
| RenderTargetKind = DisplayColor | primvars:displayColor on a UsdGeomGprim |
| RenderTargetKind = EmissiveColor | inputs:emissiveColor on a bound UsdPreviewSurface |
| RenderTargetKind = Visibility | visibility on a UsdGeomImageable |
| transform profile (RSL 3D frame) | xformOp:transform (matrix4d) or decomposed translate + orient |
| OpenUsdComponentBindingType (composition) | prim hierarchy: a Child nested prim, a references/payload to a sub-asset, or an instanceable reference (1..n) |

Omniverse realization

In NVIDIA Omniverse a connector opens the stage on Nucleus, creates or joins a .live layer, and writes target attributes there (flushing with omni.client.live_process() on the main thread), or applies high-rate updates through a runtime scene cache (USDRT) and coalesces to the latest value once per render frame rather than persisting every sample. USD-side command intents (7.8) map to an OmniGraph/Action Graph node that issues the authorized OPC UA write/Method call. These behaviors are a vendor profile and are not part of the portable model; the base model must not normatively require Kit, USDRT, Nucleus, .live, MDL, or PhysX.

Alignment with an asset-definition-centric strategy

This model is the visual-projection binding of a broader "asset definition at the center" strategy, in which a single governed, standards-based asset definition drives multiple projections — meaning (ontology), appearance (this model → OpenUSD/Omniverse), place (geospatial, OPC UA Parts 210/211), and behavior (a declarative operating envelope). The design choices here serve that role:

- Declared, discoverable binding. The signal → USD-prim binding lives in the OPC UA address space (browsable, versioned, discoverable), so visualization is a projection of the asset definition rather than a bespoke per-scene integration. This is exactly the "declared signal → USD-prim binding contract" the strategy needs on the spine.

- Semantic-id portability. SourceSemanticId (ECLASS / IEC CDD) lets the same binding apply to assets from different vendors that share companion-spec types and semantic ids — the cross-vendor portability the strategy depends on — and is the natural bridge to an AAS submodel expression (Annex E).

- Signal role + command. SignalRole mirrors the strategy's observable vs controllable signal tagging, and OpenUsdCommandBindingType provides the authorized, opt-in control path an agent needs to act on the plant (gated externally by the operating envelope).

- Twin BOM integrity. RootLayerDigest/Signature/ProvenanceUri let the referenced USD asset be digest-pinned and verified, so the visual reference can be packaged into a signed Twin BOM alongside the definition, semantic ids, and provenance.

- Twin BOM payload delivery. Optional OpenUsdStageType.Assets lets the machine ship the signed Twin BOM payload itself — root layer, component assets, packages, and textures — through OPC UA, enabling zero-setup remote rendering of the twin without a preconfigured external asset repository.

- Composition = the asset structure / BOM. OpenUsdComponentBindingType projects the asset's is-composed-of structure (1:1 and 1..n, static or dynamic, even across vendor servers) onto the USD prim hierarchy, so the visual twin mirrors the same component breakdown the spine and the Twin BOM declare — assembled from referenced/instanced OEM sub-assets rather than re-modelled per scene.

- OpenUSD-native, not runtime-captive. The normative model is AOUSD-native; Omniverse is an informative realization (§C.1), so the asset definition is not captive to one runtime.

The intended standards path is a family of thin, composable binding contracts (this OpenUSD binding being one) advanced through the OPC Foundation and bridged to the AAS/IDTA on shared semantic ids, rather than a single monolithic profile.

(informative)

End-to-end collaboration flow

This annex walks a complete "live digital twin" scenario to show who does what and how the specification is the single contract that lets independent actors collaborate without private, point-to-point agreements. It is informative; nothing here adds normative requirements. The flow is generic; concrete pump and robotics passes are given at the end.

Actors and what each contributes

Table 55 – Actors and what each contributes

| Actor | Provides | Leverages / consumes | Works at layer |
| --- | --- | --- | --- |
| Domain companion-spec author (e.g., an OPC Foundation working group) | The domain information model (e.g., PumpType, RSL spatial types) that a server exposes. | Core OPC UA. | OPC UA type model |
| OpenUSD schema author (AOUSD + DCC/renderer vendors) | The USD schemas that give prims meaning (UsdGeom transforms, UsdShade materials, UsdLux, …). | OpenUSD core. | USD schema |
| This specification (the binding layer) | The generic representation + live-binding model and its discovery facility. | The two model layers above. | OPC UA ⇄ USD contract |
| Asset / machine OEM | An OPC UA server that exposes the domain model and this binding model (a representation per Object + its live bindings); often ships the machine's USD asset too. | Domain spec + this spec. | Server + USD asset |
| 3D / USD asset author (artist, CAD-to-USD) | The machine/plant geometry and materials as USD layers, with the prim paths and attributes the bindings target. | USD schemas. | USD layers |
| System integrator / plant operator | The composed plant stage (references OEM assets, positions instances) and the deployment that points bindings at real servers. | OEM servers + OEM/asset layers. | USD composition + config |
| Connector / tool vendor | A generic connector that discovers Server/OpenUSD, subscribes, converts, and writes USD — with no domain-specific code. | This spec only. | Runtime bridge |
| Visualization / Omniverse operator | The running renderer (Omniverse RTX, usdview, web) over the live stage. | The composed stage + connector output. | Presentation |

The key property: each actor depends only on the published contract of the layer beneath it, never on another actor's internal choices. A connector vendor never learns "pump"; a machine OEM never learns which renderer will be used; an artist never learns which NodeIds carry the data.

The flow

Figure 8 – End-to-end collaboration flow

Where the contract lives at each hand-off

- OEM → integrator: the server's Server/OpenUSD graph is the interface. The integrator does not read OEM connector code; they browse the representation and bindings.

- Artist → OEM/integrator: the USD prim paths and attribute names are the interface. As long as PrimPath, TargetPrimPath, and TargetPropertyName match the authored asset, either side can change independently.

- Connector vendor → everyone: the connector consumes only this spec's model. The same binary serves a pump server, a robot server, and a line server.

- Integrator → visualization: the composed stage plus the connector's live overrides are the interface; the operator swaps renderers freely.

Concrete pass: the pump example

- The Pumps working group publishes PumpType (OPC 40223). The binding spec (this document) publishes the representation/binding model.

- A pump OEM ships a server whose Pump #1 carries an OpenUsdRepresentation (PrimPath = /Plant/Pumps/P101) and three bindings: MassFlow → xformOp:rotateZ, BearingTemperature → primvars:displayColor, DifferentialPressure → emissive.

- A USD artist authors Plant.usda: /Plant/Pumps/P101 with a rotatable impeller, a Body with a display color, and an emissive material.

- A system integrator references that asset into the plant stage and points the deployment at the OEM server.

- A connector vendor's generic connector browses Server/OpenUSD/Representations, subscribes to the three Variables, converts, and writes a .live override layer.

- The visualization operator opens the composed stage in Omniverse (or usdview) and sees the pump spin, warm toward red, and glow — driven live, with no pump-specific code anywhere in the connector or renderer.

Concrete pass: the robotics example

- The Robotics working group publishes the OPC 40010 MotionDeviceSystem, MotionDevice, and Axis model. The binding spec (this document) publishes the representation/binding model.

- A robot-cell OEM ships a server whose RobotCell carries an OpenUsdRepresentation (PrimPath = /Cell), component bindings for MotionDevices and Axes, and Axis bindings from ActualPosition to nested joint rotate ops.

- A USD artist authors Cell.usda: /Cell with the environment and positioned empty /Cell/Robots/R1 and /Cell/Robots/R2 mount-point Xforms, plus a reusable robot.usda asset containing the nested Base/J1/.../J6/Flange kinematic chain.

- A system integrator composes the cell stage and deploys the generic connector against RoboticsDeviceIntegrationServer.

- A connector vendor's generic connector browses Server/OpenUSD/Representations, composes /Cell/Robots/R1 and /Cell/Robots/R2 as references in live.usda, subscribes to the twelve Axis Variables plus safety state, and writes live override opinions.

- The visualization operator opens the composed stage in Omniverse (or usdview) and sees two independently articulated robots, safety beacon and warning visibility, and a dynamically mounted R1 gripper — driven live, with no robotics-specific code in the connector or renderer.

(informative)

Bridging to the asset administration shell

The wider asset-definition strategy is deliberately plural: the same enrichment should be expressible against either an OPC UA companion specification or an Asset Administration Shell (AAS, IEC 63278) submodel, reconciled through shared semantic ids (ECLASS / IEC CDD) rather than a single vendor schema. OPC 30270 already bridges OPC UA and AAS. This annex sketches how the OpenUSD binding maps to an AAS submodel template so a curator can carry it in an AASX package or a signed Twin BOM.

Table 56 – Bridging to the asset administration shell

| This model (OPC UA) | AAS submodel template OpenUsdBinding |
| --- | --- |
| OpenUsdRepresentationType (per represented Object) | a SubmodelElementCollection "Representation" with PrimPath, Stage reference |
| OpenUsdStageType (RootLayerIdentifier, digest, signature) | a "Stage" collection with RootLayerIdentifier, RootLayerDigest, Signature, ProvenanceUri properties (the USD asset stays external, digest-pinned) |
| OpenUsdLiveBindingType subtype (each binding) | a "Binding" SubmodelElementCollection with Target*, RenderTargetKind, conversion, the binding subtype (intent), SignalRole |
| SourceSemanticId | the binding element's semanticId (the shared ECLASS / IEC CDD anchor — the reconciliation point) |
| SourceNodeId / SourceBrowsePath | a ReferenceElement to the OPC UA source (or, in an AAS-only deployment, to the corresponding submodel property) |
| OpenUsdCommandBindingType target/method | a "Command" element referencing the controllable operation, gated by AAS access rules |
| OpenUsdComponentBindingType (composition) | a "Component" SubmodelElementCollection (or an Entity with a RelationshipElement) referencing the component's submodel and carrying Cardinality, CompositionArc, and the component semanticId — mirroring the AAS "bill of material" / part-of structure |

Because the source is anchored on a semantic id, a binding authored against an OPC UA server and one authored against an AAS submodel describe the same signal → prim mapping and can be reconciled automatically. Co-publishing the submodel template with the IDTA, anchored on ECLASS / IEC CDD, keeps the two standards' expressions of this enrichment convergent rather than competing. This annex is a direction, not a normative binding; the normative artifact remains the OPC UA NodeSet.

(informative)

Geospatial rendering

This annex shows how a connector drives the 3D placement — relative pose and absolute geolocation — of the prims it binds, using the OPC UA spatial companion specifications as the source of truth and the USD georeferencing schemas that exist today as the target. It complements the normative transform and geospatial rules of 7.4.2; the corresponding conformance unit is OU-Conversion-Geo (9).

Why this is an annex and not core USD

OpenUSD's Core Specification defines no geodetic/geographic schema — there is no native latitude/longitude/CRS concept in USD. Georeferencing a stage is therefore done with vendor/extension schemas: NVIDIA's omni.usd.schema.geospatial and Cesium for Omniverse's CesiumGeoreferencePrim / CesiumGlobeAnchorAPI. The Alliance for OpenUSD (AOUSD) has an in-progress geolocation proposal (AECO Interest Group → Geometry Working Group, tracked in the OpenUSD-proposals repository) to add a native geospatial coordinate schema to USD, but as of this draft none is ratified. This mapping therefore targets the extension schemas that exist today and is expected to track a native AOUSD schema once it lands; the OPC UA side (RSL Part 210 relative pose, GPOS Part 211 global position) is already standardised and stable.

Relative pose to USD xformOp fidelity reference

RSL conveys a 6-DoF pose as CartesianFrameAngleOrientationType = a 3DFrame (a 3DCartesianCoordinates X/Y/Z plus a 3DOrientation roll/pitch/yaw). This table pins every conversion detail 7.4.2 references:

Table 57 – Relative pose to USD xformOp fidelity reference

| RSL / OPC UA | USD target | Rule |
| --- | --- | --- |
| 3DCartesianCoordinates X/Y/Z (+ LengthUnit) | xformOp:translate (double3) | metric; honour stage metersPerUnit per the controlled xform stack (7.4.2) |
| 3DOrientation A/B/C = roll/pitch/yaw (radians, ISO 9787, intrinsic z-y′-x″) | xformOp:rotateXYZ (float3, degrees) | roll→rx, pitch→ry, yaw→rz; × 180/π; USD rotateXYZ = intrinsic XYZ = extrinsic ZYX, matching RSL |
| quaternion form (if used) | xformOp:orient (quatf/quatd) | reorder USD (w,x,y,z) ← OPC UA (x,y,z,w) |
| frame chain (SpatialLocationType.Base) | prim parent-child nesting | each frame = one UsdGeomXformable prim |
| WorldFrame (Base = null) | stage world / root prim | set upAxis = "Z", metersPerUnit = 1.0 for an OPC UA (Z-up, metric) source |

USD is right-handed, row-major, with row-vector pre-multiplication and translation in the fourth matrix row; a Z-up source in a Y-up stage is reconciled by an explicit frame (e.g. a -90° X rotation) per 7.4.2.

Global position to USD georeference

GPOS conveys an absolute position as GlobalPositionType (latitude, longitude, elevation, EPSG CoordinateReferenceSystem) and anchors a local frame to the globe with GroundControlPointDataType (a local-Cartesian ↔ global-geographic tie point). This maps onto the two georeference targets in use today.

Cesium for Omniverse

Table 58 – Global position to USD georeference

| OPC UA / GPOS | Cesium USD | Note |
| --- | --- | --- |
| stage anchor origin (a reference GlobalPosition / Zone) | CesiumGeoreferencePrim — cesium:anchor:latitude, cesium:anchor:longitude, cesium:anchor:height | stage-level WGS84 origin; ecefToUsdTransform (matrix4d) is derived, read-only |
| per-asset GlobalPosition (moving robot / AGV) | CesiumGlobeAnchorAPI on the prim — cesium:anchor:latitude/longitude/height | drives the prim's xformOp stack from geodetic coordinates |
| GroundControlPointDataType (local XYZ ↔ global lat/lon) | the ENU tangent-plane transform captured by ecefToUsdTransform | one control point fixes the origin; several refine the local-frame registration |

NVIDIA Omniverse (omni.usd.schema.geospatial)

Table 59 – Global position to USD georeference (2)

| OPC UA / GPOS | NVIDIA USD | Note |
| --- | --- | --- |
| stage anchor origin | WGS84ReferencePositionAPI — omni:geospatial:wgs84:reference:referencePosition (lat, lon, alt), :tangentPlane = ENU | altitude in metres regardless of metersPerUnit |
| per-asset GlobalPosition | WGS84LocalPositionAPI on the prim | resolves against the reference position up the hierarchy |
| ElevationReference | tangent-plane / altitude datum choice | ENU vs NED; sea-level vs floor-relative |

The EPSG CoordinateReferenceSystem enum (0 = local, 4326 = WGS84/GPS, 326xx = UTM) selects the projection; both target schemas assume WGS84, so a non-WGS84 CRS is reprojected by the connector before authoring.

A binding for the Georeference render target

A representation binds a moving asset's live geographic position to its globe anchor:

# Stage georeference origin (from a GPOS reference GlobalPosition / Zone)

def "Georeference" ( prepend apiSchemas = ["CesiumGeoreferencePrim"] ) {

double cesium:anchor:latitude  = 47.6062     # GlobalPosition.Latitude

double cesium:anchor:longitude = -122.3321   # GlobalPosition.Longitude

double cesium:anchor:height    = 56.0        # GlobalPosition.Elevation (m)

}

# A moving AGV, its live position driven by a Georeference binding

def Xform "AGV_07" ( prepend apiSchemas = ["CesiumGlobeAnchorAPI"] ) {

double cesium:anchor:latitude  = 47.6061     # <- source: GPOS GlobalPosition.Latitude

double cesium:anchor:longitude = -122.3319   # <- source: GPOS GlobalPosition.Longitude

double cesium:anchor:height    = 56.0        # <- source: GPOS GlobalPosition.Elevation

}

The corresponding binding: SourceSemanticId/SourceNodeId → a GPOS GlobalPosition (or its Latitude/Longitude/Elevation components); TargetPrimPath = /AGV_07; TargetPropertyName = cesium:anchor:latitude (…longitude/height); RenderTargetKind = Georeference. The connector applies the 7.4.2 geospatial rule (degrees, metres, CRS/tangent-plane) rather than the raw xformOp transform profile. Where the deployment uses NVIDIA's schema instead of Cesium, only the target property names change (omni:geospatial:wgs84:*); the OPC UA source and the binding are identical — the model's N + M property holds for geolocation exactly as it does for telemetry.

(informative)

OpenUSD bindings for pumps

Scope

This addendum binds one PumpType instance to a USD prim and defines three read-only telemetry bindings (Part 2, OpenUsdValueChangeBindingType): impeller rotation from mass flow, body colour from bearing temperature, and status-light glow from differential pressure. It also shows the 0.2 capability bindings on the same pump — an alarm binding (OpenUsdAlarmBindingType) driving status-light visibility and an opt-in command binding (OpenUsdCommandBindingType) writing a speed setpoint — plus a stage content-integrity digest. It is illustrative; a concrete server supplies the exact source BrowsePaths and stage identifiers.

How the bindings are applied

A PumpType instance (for example Pump101) gains an OpenUSD representation by composing an OpenUsdRepresentation AddIn (HasAddIn) that targets a stage and a prim path, and by carrying the live bindings as children of that AddIn:

Pump101 : PumpType

└─ HasAddIn OpenUsdRepresentation : OpenUsdRepresentationType

Stage    = NodeId(Server/OpenUSD/Stages/PlantStage)

PrimPath = "/Plant/Pumps/P101"

├─ MassFlowSpin           : OpenUsdValueChangeBindingType   (+SourceSemanticId)

├─ BearingTempColor       : OpenUsdValueChangeBindingType

├─ DiffPressureEmissive   : OpenUsdValueChangeBindingType

├─ AlarmActiveVisibility  : OpenUsdAlarmBindingType

└─ SpeedSetpointCommand   : OpenUsdCommandBindingType   (opt-in)

The AddIn is also Organizes-listed from Server/OpenUSD/Representations, so a generic connector discovers it without knowing anything about pumps. Each binding's source resolves relative to Pump101 via SourceBrowsePath (or, from 0.2, a portable SourceSemanticId), so the same declaration applies to every pump instance; the effective runtime key is (Pump101, BindingDefinitionId). The alarm and command bindings target two extra pump Variables — AlarmActive (Boolean) and a writable SpeedSetpoint (Double) — and the PlantStage carries a RootLayerDigest (SHA-256) a connector verifies before composing.

OpenUSD bindings for PumpType

Table 60 – OpenUSD bindings for PumpType

| Binding | Source (relative to the Pump) | Target property | USD type | RenderTargetKind | Conversion |
| --- | --- | --- | --- | --- | --- |
| MassFlowSpin | /Operational/Measurements/MassFlow | xformOp:rotateZ (on …/Impeller) | double | Rotation | flow → rotateZ angle (Scale) |
| BearingTempColor | /Operational/Measurements/BearingTemperature | primvars:displayColor (on …/Body) | color3f | DisplayColor | °C → blue→red gradient (connector mapping) |
| DiffPressureEmissive | /Operational/Measurements/DifferentialPressure | inputs:emissiveColor (on the status-light material) | color3f | EmissiveColor | bar → emissive glow (connector mapping) |

Notes:

- MassFlowSpin targets the impeller prim; xformOp:rotateZ must appear in that prim's xformOpOrder.

- BearingTempColor targets a child prim (…/Body) and drives a colour; the numeric-to-color3f mapping is a connector responsibility declared by RenderTargetKind = DisplayColor and ValueSemanticUri.

- DiffPressureEmissive drives a UsdPreviewSurface emissive input; a non-Good source value uses the binding's BadQualityAction (default Skip).

Reference implementation (validated end-to-end)

The PumpDeviceIntegrationServer sample in marcschier/UA-.NETStandard realizes this design and validates it with an automated end-to-end test suite (PumpOpenUsdE2eTests, ten passing cases): the companion model is served; the facility is browsable from the Server Object; the representation and its five bindings are discoverable through the registry; live telemetry flows through a generic connector into a mock USD sink; the semantic id + signal role are surfaced; the stage RootLayerDigest verifies; the alarm binding drives status-light visibility; the command binding is fail-closed by default and writes the server setpoint when enabled; and history replay degrades gracefully on a non-historizing source. Because the sample's PumpType instance (Pump #1) exposes the OPC 40223 measurement surface, the reference bindings use the measurements actually present rather than the illustrative Speed/Running above:

Table 61 – Reference implementation (validated end-to-end)

| Reference binding | Source (Pump measurement) | Target property | USD type | RenderTargetKind |
| --- | --- | --- | --- | --- |
| MassFlowSpin | MassFlow (+ SourceSemanticId IRDI) | xformOp:rotateZ (on the represented prim) | double | Rotation |
| BearingTempColor | BearingTemperature | primvars:displayColor (on …/Body) | color3f | DisplayColor |
| DiffPressureEmissive | DifferentialPressure | inputs:emissiveColor | color3f | EmissiveColor |
| AlarmActiveVisibility | AlarmActive (supervision alarm ActiveState) | visibility (on …/StatusLight) | token | Visibility |
| SpeedSetpointCommand | (command) → SpeedSetpoint | inputs:speedSetpoint (on …/Impeller) | double | — |

The alarm binding (OpenUsdAlarmBindingType, AlarmAspect = ActiveState) shows the status light when a supervision alarm is active; the command binding (OpenUsdCommandBindingType, SignalRole = Controllable) is opt-in — the bridge writes the setpoint only with --enable-commands (single-writer, fail-closed). The PlantStage publishes a RootLayerDigest (Sha256) the connector verifies before composing.

Implementer findings from the source-generated OPC UA .NET model (generic, not Pump-specific — applies to any server built from this companion NodeSet):

- Attach with a hierarchical ReferenceType. The generated CreateInstanceOf… factories leave ReferenceTypeId = Null, which is not a browsable reference. Attach the OpenUsdRepresentation AddIn to the represented Object and each OpenUsdLiveBinding to the representation with an explicit HasComponent (or HasAddIn) so the nodes are browsable.

- Instantiate bindings via the placeholder. Create each binding from the representation's <Binding> placeholder (the generated AddxBinding_ helper), which yields a concrete instance with a valid BrowseName and reference type.

- Optional members are not auto-created. Only mandatory members exist after instantiation; the optional members a connector reads (SourceNodeId, RenderTargetKind, Scale, BadQualityAction, and the 0.2 members SignalRole, SourceSemanticId, AlarmAspect, CommandTargetNodeId, CommandTriggerPropertyName) must be explicitly created so they carry a BrowseName and are browsable/readable.

- Discovery uses the registry, not the represented object. A connector enumerates representations from Server/OpenUSD/Representations (Organizes) — it does not need to know or reach the represented Object, confirming the Part 1 discovery facility is sufficient on its own.

Composition / aggregation (validated)

The sample also exercises the composition model (base spec §7.10–§7.10.2):

- 1:1 (Child). The pump is composed of an Impeller and a Bearing component Object, each with its own representation, declared as One <Component> bindings (CompositionArc = Child) that compose the …/Impeller and …/Bearing child prims.

- 1..n (Instance) + dynamic. A ProductionLine Object aggregates 1..n pumps via a Many <Component> binding (CompositionArc = Instance, Dynamic = true), authoring an instanceable reference prim per pump under /Plant/Line1/Pumps. A pump is added and removed at runtime; with ModelChangeEmissionEnabled the server emits GeneralModelChangeEvents and the connector reconciles the prims (new prim authored; removed prim set active = false).

- Cross-server (Reference). A <Component> binding carries ComponentServerUri/ComponentEndpointUrl for an OEM pump on another server; the connector composes its reference prim and (given a remote session factory) federates to drive its bindings.

Composition-specific implementer findings (generic):

- Reach the represented Object via the aggregating reference. Resolve a representation's owner by browsing the inverse of HasComponent/HasAddIn (Aggregates), not any hierarchical reference — otherwise the Organizes link from the registry is mistaken for the parent.

- Process every representation. Composition spans the aggregating representation and each component's own representation, so a connector iterates all registry entries, not just the first.

- One OfType filter covers both model-change events. GeneralModelChangeEventType and SemanticChangeEventType both derive from BaseModelChangeEventType, so a single OfType(BaseModelChangeEventType) event filter suffices.

PumpOpenUsdE2eTests now has sixteen passing cases; the five composition cases are PumpComponentsComposeChildPrims, ProductionLineAggregatesPumps, DynamicPumpIsComposedThenDeactivated, CrossServerComponentIsComposed, and ComponentBindingsAreDiscoverable.

Asset content delivery

The reference server also demonstrates the optional OU-AssetDelivery capability from the base spec §7.11. PlantStage exposes an Assets folder whose OpenUsdAssetType children serve the .usda layers through read-only Part 5 FileType streams: Plant.usda (RootLayer), pump.usda (Reference), and remote-pump.usda (Reference). Each served layer carries a SHA-256 digest.

A generic connector can therefore browse <Stage>.Assets, download and verify the layers, cache them with the same relative AssetIdentifier paths, and compose the live layer over the local Plant.usda. The rendered pump twin is self-contained: no external asset repository or manual USD asset setup is required when the server advertises this capability.

Where the bindings live

- Machine-readable descriptor: ../../extras/openusd-binding/examples/pumps/Pumps.OpenUsdBinding.json.

- Illustrative instance overlay (NodeSet): Opc.Ua.Pumps.OpenUsd.NodeSet2.xml (this folder) — a concrete Pump101 with the AddIn and the three telemetry bindings, for browsing/inspection. The alarm, command, and integrity capabilities are shown in the descriptor JSON and the C# sample.

- Runnable USD writer: ../../extras/openusd-binding/examples/pumps/usd_writer.py (+ generated live.usda).

- C# end-to-end: the PumpDeviceIntegrationServer sample in marcschier/UA-.NETStandard exposes the representation + bindings, and PumpOpenUsdE2eTests starts the server via the generic host, connects a client session, discovers the representation and bindings through Server/OpenUSD/Representations, subscribes to the bound source Variables, and drives a generic connector into a mock USD sink (asserted in CI). A Python pxr writer authors a real live.usda locally (Omniverse rendering is out of CI scope).

(informative)

OpenUSD bindings for robotics

Scope

This addendum binds one OPC 40010 MotionDeviceSystem (RobotCell) to /Cell in an OpenUSD stage. It defines recursive composition from the system to two articulated MotionDevice robots (/Cell/Robots/R1, /Cell/Robots/R2) and from each robot to six Axis link Xforms. Each Axis carries a read-only telemetry binding (OpenUsdValueChangeBindingType) from ParameterSet/ActualPosition in degrees to a USD rotate op (xformOp:rotateZ, xformOp:rotateY, or xformOp:rotateX). It also shows an emergency-stop alarm binding driving beacon visibility and a per-robot warning-halo visibility, an opt-in speed-override command binding, and a dynamic gripper tool reference mounted on R1's flange.

How the bindings are applied

A MotionDeviceSystemType instance gains an OpenUSD representation by composing an OpenUsdRepresentation AddIn (HasAddIn) that targets a stage and /Cell, and by carrying <Component> and <Binding> children. Component bindings then recursively compose the represented children:

RobotCell : MotionDeviceSystemType

└─ HasAddIn OpenUsdRepresentation : OpenUsdRepresentationType

Stage    = NodeId(Server/OpenUSD/Stages/RobotCellStage)

PrimPath = "/Cell"

├─ <Component> RobotsAggregation : OpenUsdComponentBindingType

│    MotionDevices (Organizes, Many) -> /Cell/Robots/<BrowseName>, Reference @robot.usda@</Robot>

├─ EmergencyStopBeacon : OpenUsdAlarmBindingType (-> /Cell/SafetyBeacon.visibility)

└─ SpeedOverrideCommand : OpenUsdCommandBindingType (-> /Cell.inputs:speedOverride)

MotionDevices/R1 : MotionDeviceType

└─ HasAddIn OpenUsdRepresentation

PrimPath = "/Cell/Robots/R1"

├─ <Component> AxesAggregation : Axes (HasComponent, Many) -> child link Xforms

├─ <Component> GripperTool : Flange/MountedTool -> /Cell/Robots/R1/Base/J1/J2/J3/J4/J5/J6/Flange/Tool, Reference @tool.usda@</Gripper>, Dynamic=true

└─ EmergencyStopWarning : OpenUsdAlarmBindingType (-> /Cell/Robots/R1/Warning.visibility)

MotionDevices/R1/Axes/A1 : AxisType

└─ HasAddIn OpenUsdRepresentation

PrimPath = "/Cell/Robots/R1/Base/J1"

└─ AxisActualPosition : OpenUsdValueChangeBindingType

SourceBrowsePath = "/ParameterSet/ActualPosition"

TargetPropertyName = "xformOp:rotateZ"

RenderTargetKind = Rotation

The AddIns are also Organizes-listed from Server/OpenUSD/Representations, so a generic connector discovers them without knowing anything about robotics. Each Axis binding resolves its source relative to the represented Axis Object; the effective runtime key is (Axis Object, BindingDefinitionId).

OpenUSD bindings for MotionDeviceSystem / MotionDevice / Axis

Table 62 – OpenUSD bindings for MotionDeviceSystem / MotionDevice / Axis

| Binding | Source / component relationship | Target property | USD type | RenderTargetKind / arc | Conversion |
| --- | --- | --- | --- | --- | --- |
| RobotsAggregation | RobotCell/MotionDevices (Organizes, Many) | /Cell/Robots/<BrowseName> | prim reference | Reference | compose @robot.usda@</Robot>; non-instanceable |
| AxisActualPosition A1 | Axis A1/ParameterSet/ActualPosition | xformOp:rotateZ on .../Base/J1 | double | Rotation | degrees -> degrees |
| AxisActualPosition A2 | Axis A2/ParameterSet/ActualPosition | xformOp:rotateY on .../Base/J1/J2 | double | Rotation | degrees -> degrees |
| AxisActualPosition A3 | Axis A3/ParameterSet/ActualPosition | xformOp:rotateY on .../Base/J1/J2/J3 | double | Rotation | degrees -> degrees |
| AxisActualPosition A4 | Axis A4/ParameterSet/ActualPosition | xformOp:rotateX on .../Base/J1/J2/J3/J4 | double | Rotation | degrees -> degrees |
| AxisActualPosition A5 | Axis A5/ParameterSet/ActualPosition | xformOp:rotateY on .../Base/J1/J2/J3/J4/J5 | double | Rotation | degrees -> degrees |
| AxisActualPosition A6 | Axis A6/ParameterSet/ActualPosition | xformOp:rotateX on .../Base/J1/J2/J3/J4/J5/J6 | double | Rotation | degrees -> degrees |
| EmergencyStopBeacon | /SafetyStates/EmergencyStop ActiveState | /Cell/SafetyBeacon.visibility | token | Visibility | active -> inherited, clear -> invisible |
| EmergencyStopWarning | shared cell e-stop ActiveState | robot Warning.visibility | token | Visibility | active -> inherited, clear -> invisible |
| SpeedOverrideCommand | USD command intent -> /Controllers/Controller_C1/ParameterSet/SpeedOverride | /Cell.inputs:speedOverride | double | command | opt-in, authorized write |
| GripperTool | R1/Flange/MountedTool | /Cell/Robots/R1/.../Flange/Tool | prim reference | Reference, Dynamic | compose @tool.usda@</Gripper> while mounted |

Notes:

- Every joint target prim must contain the named xformOp:rotate* in xformOpOrder.

- The Axis values are already in degrees; no radians conversion is applied.

- The robot safety binding targets Warning.visibility on each robot root. Visibility is used because the shared emergency-stop source is Boolean and the generic connector maps Boolean values reliably to the Visibility render target (inherited / invisible).

Composition / aggregation

The robotics example exercises recursive composition (base spec §7.10–§7.10.2). The system aggregates MotionDevices using CompositionArc = Reference; the base Cell.usda layer contains positioned empty /Cell/Robots/R1 and /Cell/Robots/R2 mount-point Xforms, and the connector authors reference arcs on those prims in the stronger live.usda layer. Each robot then composes its Axes using CompositionArc = Child, because the link prims are pre-authored inside robot.usda. The nesting mirrors the OPC 40010 structure while preserving an artist-authored USD kinematic chain.

Reference, not Instance, is intentional for /Cell/Robots/R1 and /Cell/Robots/R2: both robots use the same reusable robot.usda asset, but each needs independent live opinions on the same relative joint paths. Instanceable prims share prototype composition and are not suitable when every robot must articulate independently. The R1 gripper uses dynamic Reference composition so a model-change event can add or remove /Cell/Robots/R1/Base/J1/J2/J3/J4/J5/J6/Flange/Tool without mutating Cell.usda.

Asset content delivery

The reference server also demonstrates the optional OU-AssetDelivery capability from the base spec §7.11. RobotCellStage exposes an Assets folder whose OpenUsdAssetType children serve the .usda layers through read-only Part 5 FileType streams: Cell.usda (RootLayer), robot.usda (Reference), and tool.usda (Reference). Each served layer carries a SHA-256 digest.

A generic connector can therefore browse <Stage>.Assets, download and verify the layers, cache them with the same relative AssetIdentifier paths, and compose the live layer over the local Cell.usda. The rendered robot-cell twin is self-contained: no external asset repository or manual USD asset setup is required when the server advertises this capability.

Reference implementation

The RoboticsDeviceIntegrationServer sample realizes this design and validates it with RobotOpenUsdE2eTests: the companion Robotics model is served; the RobotCell representation and child robot/Axis representations are discoverable through Server/OpenUSD/Representations; live Axis telemetry drives a generic connector into a USD sink; the e-stop alarm updates cell beacon and robot warning visibility; the speed override command is declared but fail-closed unless the connector enables commands and the server authorizes the write; and the dynamic gripper is reconciled from model-change events.

The connector/bridge is the same generic implementation used for the pump example. It does not branch on MotionDeviceSystemType; it processes every OpenUsdRepresentation and its <Binding> / <Component> children.

Where the bindings live

- Machine-readable descriptor: ../../extras/openusd-binding/examples/robotics/Robotics.OpenUsdBinding.json.

- Illustrative instance overlay (NodeSet): Opc.Ua.Robotics.OpenUsd.NodeSet2.xml (this folder) — a concrete RobotCell with an OpenUsdRepresentation AddIn, a RobotsAggregation component binding, and representative robot/Axis bindings for browsing/inspection.

- Runnable USD writer: ../../extras/openusd-binding/examples/robotics/usd_writer.py (+ generated live.usda).

- USD assets and tutorial: ../../extras/openusd-binding/examples/robotics/Cell.usda, robot.usda, tool.usda, stage.usda, render_robot.py, and E2E-GUIDE.md.

- C# end-to-end: the RoboticsDeviceIntegrationServer sample exposes the representation + bindings, and RobotOpenUsdE2eTests discovers them through the registry and drives the same generic connector infrastructure used by pumps.

_____________

—————————