| Logo of OPC Foundation, only if this is a joint work. Both logos shall be side by side.. |  | Logo of other organization. Both logos shall be side by side.. | OPC UA Companion Specification |
| --- | --- | --- | --- |
| OPC nnnnn-m |  |  |  |
| OPC UA for OpenUSD Part 2: OpenUSD Scene Materialization Draft0.4.1 2026-07-31 Edit the advanced properties to complete the title page. Boxes are used to provide context or guidelines on expected content. Any words or phrases written in red font colour shall be replaced by actual values as appropriate for the companion specification. |  |  |  |

| Specification Type: | Industry Standard Specification | Comments: |  |
| --- | --- | --- | --- |
| Doc-Number | OPC nnnnn-m |  |  |
| Title: | OPC UA for OpenUSD Part 2OpenUSD Scene Materialization | Date: | 2026-07-31 |
| Version: | Draft0.4.1 | Software: | MS-Word |
|  |  | Source: | OPC-UA-OpenUSD-Scene-Part2.docx |
| Author: | <organization> | Status: | Draft |

Template Revisions

| Version | Date | Description |
| --- | --- | --- |
| 1.01.09 | Mar 09, 2020 | M-4665: Link to NodeSet indicates that also ERRATA, Amendments or Revisions are applied. Fixed various styles. |
| 1.01.10 | Apr 29, 2020 | Minor update for the Value attribute (M-5314). |
| 1.01.11 | July 09, 2020 | M-5595: Added better wording and recommendations for NamespaceMetadata as suggested. M-5520: Fixed quotation marks. M-5781: Title "Additional Variable Attributes" misleading. M-5673: Added HasInterface Reference to figure. M-5468: Use of Namespace Index also in Method signatures. M-5789: Clarify use of NamespaceIndex for Profiles or ConformanceUnits in other specifications. |
| 1.01.12 | Nov 16, 2020 | M-5904: BrowseName convention for placeholders. M-6184: The "additional attributes" table shall not be restricted to Value and Description. M-6183: Fix heading names for columns with a browse path. M-6112: Add an example state machine. M-6185: Add new table types to conventions. |
| 1.01.13 | Feb 17, 2021 | M-6302: Updated format for NamespaceMetadata table to make it validatable. M-6317: Added guideline for uncaptioned embedded figures. |
| 1.01.14 | Nov 15, 2021 | M-6264: GeneratesEvent example added. M-7147: Added abbreviated terms used in template. M-6265: No HasSubtype References. M-7265: Added max size for ConformanceUnit description. M-6612: Added definition of capability ID (Annex A.2). M-6150: Extended tables with Conformance Units row. |
| 1.01.15 | Oct 01, 2022 | M-7528: Namespace index also for the “Subtype of” rows. M-8025: Added missing BrowsePath tables for subcomponents. M-6776: Changed the examples for Structure and Union to start with an uppercase character. M-7341: Added extended definition for structures. |
| 1.01.16 | Mar 14, 2023 | M-8638: Updated URL format for schema files (Annex A). Updated URL format for normative references to documents (Clause 2). |
| 1.01.17 | Nov 17, 2023 | M-9196: Conformance Units and Profiles should be in profile database. M-8765: Added URL syntax for individual files. M-9170: Casing of UANodeSet wrong. M-9182: Added reference to IEC specifications. |
| 1.01.18 | Dec 03, 2024 | M-9275: Missing value rank 0. M-9270: Added guidelines to make figures smaller. M-8648: Well-Known BrowseNames. M-9723: Hyperlinks to online reference. |
| 1.01.19 | Jan 21, 2025 | M-9833: Added description on issue reporting to the “Agreement of Use”. |

CONTENTS

1	Scope	10

2	Normative references	11

3	Terms, abbreviated terms and conventions	12

3.1	Overview	12

3.2	OpenUSD terms	12

3.3	Abbreviated terms	12

3.4	Conventions used in this document	13

3.4.1	Conventions for Node descriptions	13

3.4.2	NodeIds and BrowseNames	16

3.4.3	Common Attributes	17

3.4.4	Structures	19

4	General information to OpenUSD and OPC UA	20

4.1	Introduction to OpenUSD	20

4.2	Introduction to OPC Unified Architecture	20

4.2.1	What is OPC UA?	20

4.2.2	Basics of OPC UA	21

4.2.3	Information modelling in OPC UA	22

5	Use cases	25

6	OpenUSD information model overview	26

6.1	The materialization	26

6.2	Two complementary models	26

6.3	Discovery	27

6.4	Organisation of the model	27

6.5	Mapping tables	27

6.5.1	USD concept to OPC UA Node	27

6.5.2	SdfValueTypeName to OPC UA DataType and ValueRank	27

6.5.3	Metadata	28

6.6	Conversion between .usd and the address space	28

6.6.1	Importing a .usd into the address space	28

6.6.2	Exporting the address space to .usd	28

6.6.3	Reference converter	29

6.6.4	Round-trip contract	29

6.7	Vendor extension	29

6.7.1	Typed schemas as ObjectType subtyping	29

6.7.2	Applied schemas as AddIns and Interfaces	29

6.7.3	New value types as DataType subtyping	29

6.7.4	Unknown-type fallback	30

6.8	Live-data mapping	30

7	OPC UA ObjectTypes	30

7.1	UsdStageType	30

7.2	UsdPrimType	31

7.3	UsdTypedType	32

7.4	UsdRelationshipType	32

7.5	UsdCompositionArcType	33

7.6	UsdGeoreferenceApiType	33

7.7	UsdGeomImageableType	34

7.8	UsdGeomXformableType	34

7.9	UsdGeomXformType	35

7.10	UsdGeomScopeType	35

7.11	UsdGeomGprimType	35

7.12	UsdGeomMeshType	35

7.13	UsdGeomCylinderType	36

7.14	UsdGeomSphereType	36

7.15	UsdGeomCubeType	36

7.16	UsdGeomConeType	37

7.17	UsdGeomCapsuleType	37

7.18	UsdShadeMaterialType	37

7.19	UsdShadeShaderType	38

7.20	UsdVariantSetType	38

7.21	UsdApiSchemaType	38

7.22	UsdCollectionAPIType	39

7.23	UsdGlobeAnchorApiType	39

7.24	UsdGeomCameraType	39

8	OPC UA VariableTypes	40

8.1	UsdAttributeType	40

9	OPC UA DataTypes	41

9.1	UsdSpecifierEnum	41

9.2	UsdVariabilityEnum	41

9.3	UsdPrimKindEnum	42

9.4	UsdListOpTypeEnum	42

9.5	UsdArcKindEnum	43

9.6	UsdToken	43

9.7	UsdAssetPath	43

9.8	UsdTimeCode	44

9.9	UsdColor3f	44

9.10	UsdNormal3f	44

9.11	UsdPoint3f	45

9.12	UsdVector3f	45

9.13	UsdTexCoord2f	45

9.14	UsdQuatf	45

9.15	UsdQuatd	46

9.16	UsdMatrix4d	46

9.17	UsdLayerOffset	46

9.18	UsdReferenceSpec	47

9.19	UsdVariantSelection	47

10	OPC UA ReferenceTypes	47

10.1	UsdRelationshipTarget	47

10.2	UsdConnection	48

11	Profiles and conformance units	49

12	Namespaces	49

12.1	Namespace metadata	49

12.2	Handling of OPC UA namespaces	50

Annex A (normative)   OpenUSD namespace and mappings	51

A.1	NodeSet and supplementary files for OpenUSD Information Model	51

A.2	Capability identifier	52

A.3	Node reference	52

Annex B (informative)  Relationship to Part 1	58

Annex C (informative)  Concrete Cesium for Omniverse georeference mapping	59

C.1	CesiumGeoreferencePrim as a UsdTypedType subtype	59

C.2	CesiumGlobeAnchorAPI as a UsdApiSchemaType AddIn	59

C.3	Worked example	59

C.4	Round-trip	60

Figures

Figure 1 – The scope of OPC UA within an enterprise	21

Figure 2 – A basic Object in an OPC UA Address Space	22

Figure 3 – The relationship between Type Definitions and Instances	23

Figure 4 – Examples of References between Objects	24

Figure 5 – The OPC UA Information Model notation	24

Tables

Table 1 – Examples of DataTypes	14

Table 2 – Type Definition Table	15

Table 3 – Examples of Other characteristics	15

Table 4 – <some>Type additional References	16

Table 5 – <some>Type additional subcomponents	16

Table 6 – <some>Type Attribute values for child Nodes	16

Table 7 – Common Node Attributes	18

Table 8 – Common Object Attributes	18

Table 9 – Common Variable Attributes	18

Table 10 – Common VariableType Attributes	19

Table 11 – Common Method Attributes	19

Table 12 – Structures without optional fields where none of the fields allow subtypes	19

Table 13 – Structures with optional fields	19

Table 14 – Structures where one or more of the fields allow subtypes	20

Table 15 – Two complementary models	26

Table 16 – USD concept to OPC UA Node	27

Table 17 – SdfValueTypeName to OPC UA DataType and ValueRank	28

Table 18 – UsdStageType definition	31

Table 19 – UsdPrimType definition	31

Table 20 – UsdTypedType definition	32

Table 21 – UsdRelationshipType definition	32

Table 22 – UsdCompositionArcType definition	33

Table 23 – UsdGeoreferenceApiType definition	34

Table 24 – UsdGeomImageableType definition	34

Table 25 – UsdGeomXformableType definition	34

Table 26 – UsdGeomXformType definition	35

Table 27 – UsdGeomScopeType definition	35

Table 28 – UsdGeomGprimType definition	35

Table 29 – UsdGeomMeshType definition	36

Table 30 – UsdGeomCylinderType definition	36

Table 31 – UsdGeomSphereType definition	36

Table 32 – UsdGeomCubeType definition	37

Table 33 – UsdGeomConeType definition	37

Table 34 – UsdGeomCapsuleType definition	37

Table 35 – UsdShadeMaterialType definition	38

Table 36 – UsdShadeShaderType definition	38

Table 37 – UsdVariantSetType definition	38

Table 38 – UsdApiSchemaType definition	39

Table 39 – UsdCollectionAPIType definition	39

Table 40 – UsdGlobeAnchorApiType definition	39

Table 41 – UsdGeomCameraType definition	40

Table 42 – UsdAttributeType definition	41

Table 43 – UsdSpecifierEnum Items	41

Table 44 – UsdSpecifierEnum definition	41

Table 45 – UsdVariabilityEnum Items	41

Table 46 – UsdVariabilityEnum definition	42

Table 47 – UsdPrimKindEnum Items	42

Table 48 – UsdPrimKindEnum definition	42

Table 49 – UsdListOpTypeEnum Items	42

Table 50 – UsdListOpTypeEnum definition	43

Table 51 – UsdArcKindEnum Items	43

Table 52 – UsdArcKindEnum definition	43

Table 53 – UsdToken definition	43

Table 54 – UsdAssetPath definition	44

Table 55 – UsdTimeCode definition	44

Table 56 – UsdColor3f definition	44

Table 57 – UsdNormal3f definition	44

Table 58 – UsdPoint3f definition	45

Table 59 – UsdVector3f definition	45

Table 60 – UsdTexCoord2f definition	45

Table 61 – UsdQuatf definition	46

Table 62 – UsdQuatd definition	46

Table 63 – UsdMatrix4d definition	46

Table 64 – UsdLayerOffset Items	46

Table 65 – UsdLayerOffset definition	47

Table 66 – UsdReferenceSpec Items	47

Table 67 – UsdReferenceSpec definition	47

Table 68 – UsdVariantSelection Items	47

Table 69 – UsdVariantSelection definition	47

Table 70 – UsdRelationshipTarget definition	48

Table 71 – UsdConnection definition	48

Table 72 – Profiles and conformance units	49

Table 73 – NamespaceMetadata Object for this document	49

Table 74 – Namespaces used in an OpenUSD Server	50

Table 75 – Namespaces used in this document	50

Table 76 – Nodes defined by this document	53

Table 77 – CesiumGeoreferencePrim as a UsdTypedType subtype	59

Table 78 – CesiumGlobeAnchorAPI as a UsdApiSchemaType AddIn	59

OPC FOUNDATION, Alliance for OpenUSD

____________

This work (OPC UA Companion Specification Template, by OPC Foundation), identified by OPC Foundation, is free of known copyright restrictions.

<Remove the above Public Domain notice and add a copyright date in the following Agreement of use for the completed specification. If possible (but not legally required), provide attribution to the original author in the following way:

“This specification is a derivative work of the public domain document OPC UA Companion Specification Template, by OPC Foundation”

>

AGREEMENT OF USE

<For joint work, this is the agreement accepted by OPC Foundation and used by most if not all joint companion specifications.

Changes to this agreement will require OPC Foundation review. For non-joint work replace this section with appropriate agreement of use and copyright verbiage.>

COPYRIGHT RESTRICTIONS

- This document is provided "as is" by the OPC Foundation and the Alliance for OpenUSD.

- Right of use for this specification is restricted to this specification and does not grant rights of use for referred documents.

- Right of use for this specification will be granted without cost.

- This document may be distributed through computer systems, printed or copied as long as the content remains unchanged and the document is not modified.

- OPC Foundation and Alliance for OpenUSD do not guarantee usability for any purpose and shall not be made liable for any case using the content of this document.

- The user of the document agrees to indemnify OPC Foundation and Alliance for OpenUSD and their officers, directors and agents harmless from all demands, claims, actions, losses, damages (including damages from personal injuries), costs and expenses (including attorneys' fees) which are in any way related to activities associated with its use of content from this specification.

- The document shall not be used in conjunction with company advertising, shall not be sold or licensed to any party.

- The intellectual property and copyright is solely owned by the OPC Foundation and the Alliance for OpenUSD.

PATENTS

The attention of adopters is directed to the possibility that compliance with or adoption of OPC or Alliance for OpenUSD specifications may require use of an invention covered by patent rights. OPC Foundation or Alliance for OpenUSD shall not be responsible for identifying patents for which a license may be required by any OPC or Alliance for OpenUSD specification, or for conducting legal inquiries into the legal validity or scope of those patents that are brought to its attention. OPC or Alliance for OpenUSD specifications are prospective and advisory only. Prospective users are responsible for protecting themselves against liability for infringement of patents.

WARRANTY AND LIABILITY DISCLAIMERS

WHILE THIS PUBLICATION IS BELIEVED TO BE ACCURATE, IT IS PROVIDED "AS IS" AND MAY CONTAIN ERRORS OR MISPRINTS. THE OPC FOUDATION NOR Alliance for OpenUSD MAKES NO WARRANTY OF ANY KIND, EXPRESSED OR IMPLIED, WITH REGARD TO THIS PUBLICATION, INCLUDING BUT NOT LIMITED TO ANY WARRANTY OF TITLE OR OWNERSHIP, IMPLIED WARRANTY OF MERCHANTABILITY OR WARRANTY OF FITNESS FOR A PARTICULAR PURPOSE OR USE. IN NO EVENT SHALL THE OPC FOUNDATION NOR Alliance for OpenUSD BE LIABLE FOR ERRORS CONTAINED HEREIN OR FOR DIRECT, INDIRECT, INCIDENTAL, SPECIAL, CONSEQUENTIAL, RELIANCE OR COVER DAMAGES, INCLUDING LOSS OF PROFITS, REVENUE, DATA OR USE, INCURRED BY ANY USER OR ANY THIRD PARTY IN CONNECTION WITH THE FURNISHING, PERFORMANCE, OR USE OF THIS MATERIAL, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH DAMAGES.

The entire risk as to the quality and performance of software developed using this specification is borne by you.

RESTRICTED RIGHTS LEGEND

This Specification is provided with Restricted Rights. Use, duplication, or disclosure by the U.S. government is subject to restrictions as set forth in (a) this Agreement pursuant to DFARs 227.7202-3(a); (b) subparagraph (c)(1)(i) of the Rights in Technical Data and Computer Software clause at DFARs 252.227-7013; or (c) the Commercial Computer Software Restricted Rights clause at FAR 52.227-19 subdivision (c)(1) and (2), as applicable. Contractor / manufacturer are the OPC Foundation, 16101 N. 82nd Street, Suite 3B, Scottsdale, AZ, 85260-1830

COMPLIANCE

The combination of Alliance for OpenUSD and OPC Foundation shall at all times be the sole entities that may authorize developers, suppliers and sellers of hardware and software to use certification marks, trademarks, or other special designations to indicate compliance with these materials as specified within this document. Products developed using this specification may claim compliance or conformance with this specification if and only if the software satisfactorily meets the certification requirements set by Alliance for OpenUSD or the OPC Foundation. Products that do not meet these requirements may claim only that the product was based on this specification and must not claim compliance or conformance with this specification.

Trademarks

Most computer and software brand names have trademarks or registered trademarks. The individual trademarks have not been listed here.

GENERAL PROVISIONS

Should any provision of this Agreement be held to be void, invalid, unenforceable, or illegal by a court, the validity and enforceability of the other provisions shall not be affected thereby.

This Agreement shall be governed by and construed under the laws of Germany.

This Agreement embodies the entire understanding between the parties with respect to, and supersedes any prior understanding or agreement (oral or written) relating to, this specification.

ISSUE REPORTING

If an error or problem is found in this specification, the UaNodeSet, or any associated supplementary files, it should be reported as an issue.

The reporting process can be found here: https://opcfoundation.org/resources/issue-tracking/

The Link to the issue tracking project for this document is here:

https://mantis.opcfoundation.org/set_project.php?project_id=<nnn>&make_default=no

<nnn> is the project_id in Mantis which is created for any document when requested by the working group. Example: https://mantis.opcfoundation.org/set_project.php?project_id=142&make_default=no is the Link for OPC 40001-* (Machinery).

If you have no Mantis Project or do not know the project_id, please send a request to TechnicalDirector@opcfoundation.org.

Release 0.4.1 highlights

<Revision Highlights specify the interesting changes to the previous revision. Such a "Revision Highlights" clause will not exist in the first revision.>

The table below follows the design and process used for the OPC UA specification. All "interesting" changes need to be reported in the problem tracking tool used for the specification. The OPC Foundation uses Mantis and provides it for companion specs as well. If a different problem tracking tool is used, "Mantis" needs to be replaced.

<The two rows in the following table are just examples. Note that the "Mantis IDs" are real hyperlinks – when clicked the reader opens the Mantis page.>

Scope shall specify the type of change. The three options are Errata (corrected something that was wrong), Clarification (make something clearer that was not wrong), and Feature (added new functionality).

The following table includes the Mantis issues resolved with this revision.

| Mantis ID | Scope | Summary | Resolution |
| --- | --- | --- | --- |
| 3165 | Errata | Wrong variable data types in Program example. | Fixed datatypes and replaced Table A.14 by description of the variables. |
| 3521 | Clarification | Modelling rules for states and transitions. | Removed the modelling rules from state and transition objects as they are never created (multiple tables). |

OPC UA FOR OPENUSD

Part 2: Scene Materialization

# Scope

Part 1 (OPC UA — OpenUSD Bindings) declares which external USD prim represents an OPC UA Object and which live Variable values drive which USD attributes; the USD scene lives outside OPC UA and a connector renders it. Part 2 is complementary and orthogonal: it brings the USD scene graph into the OPC UA address space as first-class nodes, so the composed stage can be read, browsed, subscribed, historized, authored, and extended directly over OPC UA, and converted losslessly (for the composed scene) to and from .usd files.

The model is domain-agnostic and self-contained: it depends only on the base OPC UA model (it does not require Part 1). It covers:

- Structure. A composed Stage, its Prim namespace hierarchy, each prim's Attributes (typed, valued Variables) and Relationships (ordered targets, as both references and target-list Variables), prim/stage Metadata, applied API schemas, composition arcs, and VariantSets.

- Typed schemas as OPC UA types. USD IsA (typed) schemas map to OPC UA ObjectType subtyping (UsdGeomMeshType : UsdGeomGprimType : UsdGeomXformableType : …); USD applied API schemas map to OPC UA AddIns / Interfaces. This is the vendor-extension mechanism (6.7).

- Conversion. A normative, bidirectional mapping between a composed USD stage and this address space (6.6), with a composed-scene round-trip contract.

- Live data. A materialized Attribute is an ordinary OPC UA Variable, so time-varying USD attributes (e.g. an xformOp:rotateZ driven by process data) are exposed as live Variable values and, where retained, as HistoricalAccess time samples — and may be driven by, or serve as the target of, Part 1 live bindings (§11).

Fidelity (normative boundary). This model materializes the composed (resolved) stage as the primary address space, plus composition-arc and provenance metadata sufficient to reconstruct the arc structure. It does not materialize the per-layer opinion stack (the authoring layer stack, per-layer overrides, and value-clip machinery); those are summarised as provenance metadata. Round-trip is therefore composed-scene lossless, not authoring-layer lossless (6.6.4).

Out of scope (reserved): value clips, per-layer opinion editing, the full UsdShade/UsdLux/UsdSkel/UsdPhysics schema surface (vendor/extension packages), USD Sdf layer-file muting/permissions, and the render/materialization semantics of specific renderers.

NOTE   PROVISIONAL WORKING DRAFT — not normative, not endorsed by the OPC Foundation or the Alliance for OpenUSD. The document number, the Mantis project identifier and every NodeId in this document are placeholders; the OPC Foundation assigns the real values.

OPC Foundation

OPC is the interoperability standard for the secure and reliable exchange of data and information in the industrial automation space and in other industries. It is platform independent and ensures the seamless flow of information among devices from multiple vendors. The OPC Foundation is responsible for the development and maintenance of this standard.

OPC UA is a platform independent service-oriented architecture that integrates all the functionality of the individual OPC Classic specifications into one extensible framework. This multi-layered approach accomplishes the original design specification goals of:

- Platform independence: from an embedded microcontroller to cloud-based infrastructure

- Secure: encryption, authentication, authorisation, and auditing

- Extensible: ability to add new features including transports without affecting existing applications

- Comprehensive information modelling capabilities: for defining any model from simple to complex

Alliance for OpenUSD

# Normative references

The following referenced documents are indispensable for the application of this document. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments and errata) applies.

NOTE   The OPC UA core specifications are regularly published as IEC 62541.

OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts

http://www.opcfoundation.org/documents/10000-1/

OPC 10000-2, OPC Unified Architecture - Part 2: Security Model

http://www.opcfoundation.org/documents/10000-2/

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model

http://www.opcfoundation.org/documents/10000-3/

OPC 10000-4, OPC Unified Architecture - Part 4: Services

http://www.opcfoundation.org/documents/10000-4/

OPC 10000-5, OPC Unified Architecture - Part 5: Information Model

http://www.opcfoundation.org/documents/10000-5/

OPC 10000-6, OPC Unified Architecture - Part 6: Mappings

http://www.opcfoundation.org/documents/10000-6/

OPC 10000-7, OPC Unified Architecture - Part 7: Profiles

http://www.opcfoundation.org/documents/10000-7/

OPC 10000-8, OPC Unified Architecture - Part 8: Data Access

http://www.opcfoundation.org/documents/10000-8/

OPC 10000-11, OPC Unified Architecture - Part 11: Historical Access

http://www.opcfoundation.org/documents/10000-11/

OPC 10000-12, OPC Unified Architecture - Part 12: Discovery and Global Services

http://www.opcfoundation.org/documents/10000-12/

OPC 10000-19, OPC Unified Architecture - Part 19: Dictionary References

http://www.opcfoundation.org/documents/10000-19/

OPC 10000-210, OPC Unified Architecture - Part 210: Relative Spatial Location

http://www.opcfoundation.org/documents/10000-210/

OPC 10000-211, OPC Unified Architecture - Part 211: Global Positioning

http://www.opcfoundation.org/documents/10000-211/

OPC 11030, OPC UA Modelling Best Practices

http://www.opcfoundation.org/documents/11030/

OPC UA for OpenUSD - Part 1: OpenUSD Binding, The companion Part that binds OPC UA Objects to prims on an external USD stage. Not a RequiredModel of this document.

AOUSD OpenUSD Core Specification 1.0.1, Alliance for OpenUSD - normative for USD paths, composition, layers and identity.

https://aousd.org/

# Terms, abbreviated terms and conventions

## Overview

## OpenUSD terms

It is assumed that basic concepts of OPC UA information modelling and of OpenUSD are understood in this document. This document uses these concepts to describe the OpenUSD Information Model. For the purposes of this document, the terms and definitions given in OPC 10000-1, OPC 10000-3, OPC 10000-4, OPC 10000-5 and OPC 10000-7, as well as the following, apply.

OPC UA terms and terms defined in this document are italicized in the document.

## Abbreviated terms

Stage

The fully composed, resolved view of a set of USD layers (materialized here as a UsdStageType).

Prim

The primary container object in the USD namespace hierarchy (materialized as a UsdPrimType or a typed subtype).

Property

A prim member: an Attribute (typed, valued) or a Relationship (ordered targets).

Attribute

A typed, valued USD property (materialized as a UsdAttributeType Variable).

Relationship

A USD property whose value is an ordered list of target paths (materialized as a UsdRelationshipType).

Typed (IsA) schema

A USD prim type that defines the prim's typeName (e.g. Mesh); maps to an OPC UA ObjectType subtype.

Applied (API) schema

A reusable, applied bundle of properties/metadata (e.g. a Collection); maps to an OPC UA AddIn/Interface.

Composition arc

A reference/payload/inherits/specializes/variantSet/sublayer/instance edge that composed the stage.

SdfPath / prim path

The canonical path of a prim/property, e.g. /Plant/Pumps/P101.radius.

Composed-scene round-trip

Import→materialize→export producing an equivalent composed stage (7.4).

## Conventions used in this document

Following are basic conventions that shall be followed for all formal definitions used.

### Conventions for Node descriptions

#### Node definitions

Node definitions are specified using tables (see Table 2).

Attributes are defined by providing the Attribute name and a value, or a description of the value.

References are defined by providing the ReferenceType name, the BrowseName of the TargetNode and its NodeClass.

If the TargetNode is a component of the Node being defined in the table the Attributes of the composed Node are defined in the same row of the table.

The DataType is only specified for Variables; “[<number>]” indicates a single-dimensional array, for multi-dimensional arrays the expression is repeated for each dimension (e.g. [2][3] for a two-dimensional array). For all arrays the ArrayDimensions is set as identified by <number> values. If no <number> is set, the corresponding dimension is set to 0, indicating an unknown size. If no number is provided at all the ArrayDimensions can be omitted. If no brackets are provided, it identifies a scalar DataType and the ValueRank is set to the corresponding value (see OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model). In addition, ArrayDimensions is set to null or is omitted. If it can be Any or ScalarOrOneDimension, the value is put into “{<value>}”, so either “{Any}” or “{ScalarOrOneDimension}” and the ValueRank is set to the corresponding value (see OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model) and the ArrayDimensions is set to null or is omitted. Examples are given in Table 1.

Table 1 – Examples of DataTypes

| Notation | DataType | ValueRank | ArrayDimensions | Description |
| --- | --- | --- | --- | --- |
| 0:Int32 | 0:Int32 | -1 | omitted or null | A scalar Int32. |
| 0:Int32{OneOrMoreDimensions} | 0:Int32 | 0 | omitted or null | The Int32 value is an array with one or more dimensions. |
| 0:Int32[] | 0:Int32 | 1 | omitted or {0} | Single-dimensional array of Int32 with an unknown size. |
| 0:Int32[][] | 0:Int32 | 2 | omitted or {0,0} | Two-dimensional array of Int32 with unknown sizes for both dimensions. |
| 0:Int32[3][] | 0:Int32 | 2 | {3,0} | Two-dimensional array of Int32 with a size of 3 for the first dimension and an unknown size for the second dimension. |
| 0:Int32[5][3] | 0:Int32 | 2 | {5,3} | Two-dimensional array of Int32 with a size of 5 for the first dimension and a size of 3 for the second dimension. |
| 0:Int32{Any} | 0:Int32 | -2 | omitted or null | An Int32 where it is unknown if it is scalar or array with any number of dimensions. |
| 0:Int32{ScalarOrOneDimension} | 0:Int32 | -3 | omitted or null | An Int32 where it is either a single-dimensional array or a scalar. |

The TypeDefinition is specified for Objects and Variables.

The TypeDefinition column specifies a symbolic name for a NodeId, i.e., the specified Node points with a HasTypeDefinition Reference to the corresponding Node.

The ModellingRule of the referenced component is provided by specifying the symbolic name of the rule in the ModellingRule column. In the AddressSpace, the Node shall use a HasModellingRule Reference to point to the corresponding ModellingRule Object.

If the NodeId of a DataType is provided, the symbolic name of the Node representing the DataType shall be used.

Note that if a symbolic name of a different namespace is used, it is prefixed by the NamespaceIndex (see 3.4.2.2).

Nodes of all other NodeClasses cannot be defined in the same table; therefore, only the used ReferenceType, their NodeClass and their BrowseName are specified. A reference to another part of this document points to their definition. Table 2 illustrates the table. If no components are provided, the DataType, TypeDefinition and Other columns can be omitted and only a Comment column is introduced to point to the Node definition.

Each Type Node or well-known Instance Node defined shall have one or more ConformanceUnits defined in 11 that require the Node to be in the AddressSpace.

The relations between Nodes and ConformanceUnits are defined at the end of the tables defining Nodes, one row per ConformanceUnit. The ConformanceUnits are reflected in the Category element for the Node definition in the UANodeSet (see OPC 10000-6, OPC Unified Architecture - Part 6: Mappings).

The list of ConformanceUnits in the UANodeSet allows Servers to optimize resource consumption by using a list of supported ConformanceUnits to select a subset of the Nodes in an Information Model.

When a Node is selected in this way, all dependencies implied by the References are also selected.

Dependencies exist if the Node is the source of HasTypeDefinition, HasInterface, HasAddIn or any HierarchicalReference. Dependencies also exist if the Node is the target of a HasSubtype Reference. For Variables and VariableTypes, the value of the DataType Attribute is a dependency. For DataType Nodes, any DataTypes referenced in the DataTypeDefinition Attribute are also dependencies.

For additional details see OPC 10000-5, OPC Unified Architecture - Part 5: Information Model.

Table 2 – Type Definition Table

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Attribute name | Attribute value. If it is an optional Attribute that is not set “--” is used. |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| ReferenceType name | NodeClass of the target Node. | BrowseName of the target Node. | DataType of the referenced Node, only applicable for Variables. | TypeDefinition of the referenced Node, only applicable for Variables and Objects. | Additional characteristics of the TargetNode such as the ModellingRule or AccessLevel. |
| NOTE Notes referencing footnotes of the table content. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| Name of ConformanceUnit, one row per ConformanceUnit |  |  |  |  |  |

Components of Nodes can be complex that is containing components by themselves. The TypeDefinition, NodeClass and DataType can be derived from the type definitions, and the symbolic name can be created as defined in 3.4.3.1. Therefore, those containing components are not explicitly specified; they are implicitly specified by the type definitions.

The Other column defines additional characteristics of the Node. Examples of characteristics that can appear in this column are show in Table 3.

Table 3 – Examples of Other characteristics

| Name | Short Name | Description |
| --- | --- | --- |
| 0:Mandatory | M | The Node has the Mandatory ModellingRule. |
| 0:Optional | O | The Node has the Optional ModellingRule. |
| 0:MandatoryPlaceholder | MP | The Node has the MandatoryPlaceholder ModellingRule. |
| 0:OptionalPlaceholder | OP | The Node has the OptionalPlaceholder ModellingRule. |
| ReadOnly | RO | The Node AccessLevel has the CurrentRead bit set but not the CurrentWrite bit. |
| ReadWrite | RW | The Node AccessLevel has the CurrentRead and CurrentWrite bits set. |
| WriteOnly | WO | The Node AccessLevel has the CurrentWrite bit set but not the CurrentRead bit. |

If multiple characteristics are defined, they are separated by commas. The name or the short name can be used.

#### Additional References

To provide information about additional References, the format as shown in Table 4 is used.

Table 4 – <some>Type additional References

| SourceBrowsePath | Reference Type | Is Forward | TargetBrowsePath |
| --- | --- | --- | --- |
| SourceBrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table. | ReferenceType name | True = forward Reference. | TargetBrowsePath points to another Node, which can be a well-known instance or a TypeDefinition. You can use BrowsePaths here as well, which is either relative to the TypeDefinition or absolute. If absolute, the first entry needs to refer to a type or well-known instance, uniquely identified within a namespace by the BrowseName. |

References can be to any other Node.

#### Additional sub-components

To provide information about sub-components, the format as shown in Table 5 is used.

Table 5 – <some>Type additional subcomponents

| BrowsePath | References | NodeClass | BrowseName | DataType | TypeDefinition | Others |
| --- | --- | --- | --- | --- | --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | NOTE Same as for Table 2 |  |  |  |  |  |

#### Additional Attribute values

The type definition table provides columns to specify the values for required Node Attributes for InstanceDeclarations. To provide information about additional Attributes, the format as shown in Table 6 is used.

Table 6 – <some>Type Attribute values for child Nodes

| BrowsePath | <Attribute name> Attribute |
| --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | The values of attributes are converted to text by adapting the reversible JSON encoding rules defined in OPC 10000-6. If the JSON encoding of a value is a JSON string or a JSON number then that value is entered in the value field. Double quotes are not included. If the DataType includes a NamespaceIndex (QualifiedNames, NodeIds or ExpandedNodeIds) then the notation used for BrowseNames is used. If the value is an Enumeration the name of the enumeration value is entered. If the value is a Structure then a sequence of name and value pairs is entered. Each pair is followed by a newline. The name is followed by a colon. The names are the names of the fields in the DataTypeDefinition. If the value is an array of non-structures then a sequence of values is entered where each value is followed by a newline. If the value is an array of Structures or a Structure with fields that are arrays or with nested Structures then the complete JSON array or JSON object is entered. |

There can be multiple columns to define more than one Attribute.

### NodeIds and BrowseNames

#### NodeIds

The NodeIds of all Nodes described in this standard are only symbolic names. Annex A defines the actual NodeIds.

The symbolic name of each Node defined in this document is its BrowseName, or, when it is part of another Node, the BrowseName of the other Node, a “.”, and the BrowseName of itself. In this case “part of” means that the whole has a HasProperty or HasComponent Reference to its part. Since all Nodes not being part of another Node have a unique name in this document, the symbolic name is unique.

The NamespaceUri for all NodeIds defined in this document is defined in Annex A. The NamespaceIndex for this NamespaceUri is vendor-specific and depends on the position of the NamespaceUri in the server namespace table.

Note that this document not only defines concrete Nodes, but also requires that some Nodes shall be generated, for example one for each Session running on the Server. The NodeIds of those Nodes are Server-specific, including the namespace. But the NamespaceIndex of those Nodes cannot be the NamespaceIndex used for the Nodes defined in this document, because they are not defined by this document but generated by the Server.

#### BrowseNames

The text part of the BrowseNames for all Nodes defined in this document is specified in the tables defining the Nodes. The NamespaceUri for all BrowseNames defined in this document is defined in 12.2.

For InstanceDeclarations of NodeClass Object and Variable that are placeholders (OptionalPlaceholder and MandatoryPlaceholder ModellingRule), the BrowseName and the DisplayName are enclosed in angle brackets (<>) as recommended in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

If a BrowseName is not defined by this document, a namespace index prefix is added to the BrowseName (e.g., prefix '0' leading to ‘0:EngineeringUnits’ or prefix '2' leading to ‘2:DeviceRevision’). This is typically necessary if a Property of another specification is overwritten or used in the OPC UA types defined in this document. Table 75 – Namespaces used in this document provides a list of namespaces and their indexes as used in this document.

### Common Attributes

#### General

The Attributes of Nodes, their DataTypes and descriptions are defined in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model. Attributes not marked as optional are mandatory and shall be provided by a Server. The following tables define if the Attribute value is defined by this document or if it is server-specific.

For all Nodes specified in this document, the Attributes named in Table 7 shall be set as specified in the table.

Table 7 – Common Node Attributes

| Attribute | Value |
| --- | --- |
| DisplayName | The DisplayName is a LocalizedText. Each Server shall provide the DisplayName identical to the BrowseName of the Node for the LocaleId “en” unless specified differently in the specification. Whether the Server provides translated names for other LocaleIds is server-specific. |
| Description | Optionally a server-specific description is provided. |
| NodeClass | Shall reflect the NodeClass of the Node. |
| NodeId | The NodeId is described by BrowseNames as defined in 3.4.2.1. |
| WriteMask | Optionally the WriteMask Attribute can be provided. If the WriteMask Attribute is provided, it shall set all non-server-specific Attributes to not writable. For example, the Description Attribute can be set to writable since a Server can provide a server-specific description for the Node. The NodeId shall not be writable, because it is defined for each Node in this document. |
| UserWriteMask | Optionally the UserWriteMask Attribute can be provided. The same rules as for the WriteMask Attribute apply. |
| RolePermissions | Optionally server-specific role permissions can be provided. |
| UserRolePermissions | Optionally the role permissions of the current Session can be provided. The value is server-specific and depends on the RolePermissions Attribute (if provided) and the current Session. |
| AccessRestrictions | Optionally server-specific access restrictions can be provided. |

#### Objects

For all Objects specified in this document, the Attributes named in Table 8 shall be set as specified in the Table 8. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 8 – Common Object Attributes

| Attribute | Value |
| --- | --- |
| EventNotifier | Whether the Node can be used to subscribe to Events or not is server-specific. |

#### Variables

For all Variables specified in this document, the Attributes named in Table 9 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 9 – Common Variable Attributes

| Attribute | Value |
| --- | --- |
| MinimumSamplingInterval | Optionally, a server-specific minimum sampling interval is provided. |
| AccessLevel | The access level for Variables used for type definitions is server-specific, for all other Variables defined in this document, the access level shall allow reading; other settings are server-specific. |
| UserAccessLevel | The value for the UserAccessLevel Attribute is server-specific. It is assumed that all Variables can be accessed by at least one user. |
| Value | For Variables used as InstanceDeclarations, the value is server-specific; otherwise, it shall represent the value described in the text. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the Variable. |
| Historizing | The value for the Historizing Attribute is server-specific. |
| AccessLevelEx | If the AccessLevelEx Attribute is provided, it shall have the bits 8, 9, and 10 set to 0, meaning that read and write operations on an individual Variable are atomic, and arrays can be partly written. |

#### VariableTypes

For all VariableTypes specified in this document, the Attributes named in Table 10 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 10 – Common VariableType Attributes

| Attributes | Value |
| --- | --- |
| Value | Optionally a server-specific default value can be provided. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the VariableType. |

#### Methods

For all Methods specified in this document, the Attributes named in Table 11 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 11 – Common Method Attributes

| Attributes | Value |
| --- | --- |
| Executable | All Methods defined in this document shall be executable (Executable Attribute set to “True”), unless it is defined differently in the Method definition. |
| UserExecutable | The value of the UserExecutable Attribute is server-specific. It is assumed that all Methods can be executed by at least one user. |

### Structures

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model differentiates between different kinds of Structures. The following conventions explain, how these Structures shall be defined.

The first kind are Structures without optional fields where none of the fields allows subtype (except fields with abstract DataTypes). Its definition is in Table 12.

Table 12 – Structures without optional fields where none of the fields allow subtypes

| Name | Type | Description |
| --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |
| SP1 | 0:Byte[] | Setpoint 1 |
| SP2 | 0:Byte[] | Setpoint 2 |

The second kind are Structures with optional fields where none of the fields allows subtypes (except fields with abstract DataTypes). Its definition is in Table 13.

Structures with fields that are optional have an “Optional” column. Fields that are optional have True set, otherwise False.

Table 13 – Structures with optional fields

| Name | Type | Description | Optional |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Optional Field_1 | 0:String | Some Text | True |

The third kind are Structures without optional fields where one or more of the fields allow subtypes. Its definition is in Table 14.

Structures with fields that allow subtypes have an “Allow Subtypes” column. Fields that allow subtypes have True set, otherwise False. Fields with abstract DataTypes can always be subtyped.

Table 14 – Structures where one or more of the fields allow subtypes

| Name | Type | Description | Allow Subtypes |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Allow Subtypes | 0:ByteString | Some Bytestring | True |

Fields with abstract DataTypes shall have True in the “Allow Subtypes” column.

It is not allowed to add both columns to combine optional fields and fields that allow subtypes in one structure.

# General information to OpenUSD and OPC UA

## Introduction to OpenUSD

OpenUSD (Universal Scene Description) is an open, extensible framework for describing, composing, simulating and collaborating on three-dimensional scenes. Its scene graph is assembled from layers that compose into a single stage, so several authors and tools contribute to one scene without rewriting it. A stage is a hierarchy of prims, each carrying typed attributes and relationships, addressed by a canonical prim path.

OpenUSD is governed by the Alliance for OpenUSD (AOUSD), which publishes the OpenUSD Core Specification. The Core Specification covers paths, composition, layers and identity; the domain schemas that describe geometry, materials, lighting, skeletons and physics are versioned separately with the OpenUSD software releases.

Industrial visualization pairs OpenUSD with live process data. This document defines how an OPC UA Server declares that pairing as part of its own address space, so that any conforming connector can apply it without prior knowledge of the domain model.

## Introduction to OPC Unified Architecture

This is an OPC UA introduction that can be used as is, shortened or enhanced as appropriate.

### What is OPC UA?

OPC UA is an open and royalty free set of standards designed as a universal communication protocol. While there are numerous communication solutions available, OPC UA has key advantages:

- A state of art security model (see OPC 10000-2, OPC Unified Architecture - Part 2: Security Model).

- A fault tolerant communication protocol.

- An information modelling framework that allows application developers to represent their data in a way that makes sense to them.

OPC UA has a broad scope which delivers for economies of scale for application developers. This means that a larger number of high-quality applications at a reasonable cost are available. When combined with semantic models such as OpenUSD, OPC UA makes it easier for end users to access data via generic commercial applications.

The OPC UA model is scalable from small devices to ERP systems. OPC UA Servers process information locally and then provide that data in a consistent format to any application requesting data - ERP, MES, PMS, Maintenance Systems, HMI, Smartphone, or a standard Browser, for examples. For a more complete overview see OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts.

### Basics of OPC UA

As an open standard, OPC UA is based on standard internet technologies, like TCP/IP, HTTP, Web Sockets.

As an extensible standard, OPC UA provides a set of Services (see OPC 10000-4, OPC Unified Architecture - Part 4: Services) and a basic information model framework. This framework provides an easy manner for creating and exposing vendor defined information in a standard way. More importantly all OPC UA Clients are expected to be able to discover and use vendor-defined information. This means OPC UA users can benefit from the economies of scale that come with generic visualisation and historian applications. This specification is an example of an OPC UA Information Model designed to meet the needs of developers and users.

OPC UA Clients can be any consumer of data from another device on the network to browser based thin clients and ERP systems. The full scope of OPC UA applications is shown in Figure 1.

Figure 1 – The scope of OPC UA within an enterprise

OPC UA provides a robust and reliable communication infrastructure having mechanisms for handling lost messages, failover, heartbeat, etc. With its binary encoded data, it offers a high-performing data exchange solution. Security is built into OPC UA as security requirements become more and more important especially since environments are connected to the office network or the internet and attackers are starting to focus on automation systems.

### Information modelling in OPC UA

#### Concepts

OPC UA provides a framework that can be used to represent complex information as Objects in an AddressSpace which can be accessed with standard services. These Objects consist of Nodes connected by References. Different classes of Nodes convey different semantics. For example, a Variable Node represents a value that can be read or written. The Variable Node has an associated DataType that can define the actual value, such as a string, float, structure etc. It can also describe the Variable value as a variant. A Method Node represents a function that can be called. Every Node has a number of Attributes including a unique identifier called a NodeId and non-localized name called as BrowseName. An Object representing a ‘Reservation’ is shown in Figure 2.

Figure 2 – A basic Object in an OPC UA Address Space

Object and Variable Nodes represent instances and they always reference a TypeDefinition (ObjectType or VariableType) Node which describes their semantics and structure. Figure 3 illustrates the relationship between an instance and its TypeDefinition.

The type Nodes are templates that define all of the children that can be present in an instance of the type. In the example in Figure 3 the PersonType ObjectType defines two children: First Name and Last Name. All instances of PersonType are expected to have the same children with the same BrowseNames. Within a type the BrowseNames uniquely identify the children. This means Client applications can be designed to search for children based on the BrowseNames from the type instead of NodeIds. This eliminates the need for manual reconfiguration of systems if a Client uses types that multiple Servers implement.

OPC UA also supports the concept of sub-typing. This allows a modeller to take an existing type and extend it. There are rules regarding sub-typing defined in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model, but in general they allow the extension of a given type or the restriction of a DataType. For example, the modeller can decide that the existing ObjectType in some cases needs an additional Variable. The modeller can create a subtype of the ObjectType and add the Variable. A Client that is expecting the parent type can treat the new type as if it was of the parent type. Regarding DataTypes, subtypes can only restrict. If a Variable is defined to have a numeric value, a subtype could restrict it to a float.

Figure 3 – The relationship between Type Definitions and Instances

References allow Nodes to be connected in ways that describe their relationships. All References have a ReferenceType that specifies the semantics of the relationship. References can be hierarchical or non-hierarchical. Hierarchical references are used to create the structure of Objects and Variables. Non-hierarchical are used to create arbitrary associations. Applications can define their own ReferenceType by creating subtypes of an existing ReferenceType. Subtypes inherit the semantics of the parent but can add additional restrictions. Figure 4 depicts several References, connecting different Objects.

Figure 4 – Examples of References between Objects

The figures above use a notation that was developed for the OPC UA specification. The notation is summarized in Figure 5. UML representations can also be used; however, the OPC UA notation is less ambiguous because there is a direct mapping from the elements in the figures to Nodes in the AddressSpace of an OPC UA Server.

Figure 5 – The OPC UA Information Model notation

A complete description of the different types of Nodes and References can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model and the base structure is described in OPC 10000-5, OPC Unified Architecture - Part 5: Information Model.

The OPC UA specification defines a very wide range of functionality in its basic information model. It is not required that all Clients or Servers support all functionality in the OPC UA specifications. OPC UA includes the concept of Profiles, which segment the functionality into testable certifiable units. This allows the definition of functional subsets (that are expected to be implemented) within a companion specification. The Profiles do not restrict functionality, but generate requirements for a minimum set of functionalities (see OPC 10000-7, OPC Unified Architecture - Part 7: Profiles).

#### Namespaces

OPC UA allows information from many different sources to be combined into a single coherent AddressSpace. Namespaces are used to make this possible by eliminating naming and id conflicts between information from different sources. Each namespace in OPC UA has a globally unique string called a NamespaceUri which identifies a naming authority and a locally unique integer called a NamespaceIndex, which is an index into the Server's table of NamespaceUris. The NamespaceIndex is unique only within the context of a Session between an OPC UA Client and an OPC UA Server- the NamespaceIndex can change between Sessions and still identify the same item even though the NamespaceUri's location in the table has changed. The Services defined for OPC UA use the NamespaceIndex to specify the Namespace for qualified values.

There are two types of structured values in OPC UA that are qualified with NamespaceIndexes: NodeIds and QualifiedNames. NodeIds are locally unique (and sometimes globally unique) identifiers for Nodes. The same globally unique NodeId can be used as the identifier in a node in many Servers – the node's instance data can vary but its semantic meaning is the same regardless of the Server it appears in. This means Clients can have built-in knowledge of of what the data means in these Nodes. OPC UA Information Models generally define globally unique NodeIds for the TypeDefinitions defined by the Information Model.

QualifiedNames are non-localized names qualified with a Namespace. They are used for the BrowseNames of Nodes and allow the same names to be used by different information models without conflict. TypeDefinitions are not allowed to have children with duplicate BrowseNames; however, instances do not have that restriction.

#### Companion Specifications

An OPC UA companion specification for an industry specific vertical market describes an Information Model by defining ObjectTypes, VariableTypes, DataTypes and ReferenceTypes that represent the concepts used in the vertical market, and potentially also well-defined Objects as entry points into the AddressSpace.

# Use cases

Two worked examples materialize the Part 1 demo assets as Part 2 address spaces (the generated nodesets are pumps/Opc.Ua.Pumps.OpenUsdScene.NodeSet2.xml and robotics/Opc.Ua.Robotics.OpenUsdScene.NodeSet2.xml, each RequiredModel-ing this Scene model + base UA):

- Pump / Plant. The composed Plant stage (Plant.usda, which references and instances pump.usda) materialized as a UsdStageType + prim tree (/Plant, /Plant/Pumps/P101, Pump/Body/Impeller), with a live Impeller xformOp:rotateZ attribute (Mode A, historizing) driven from pump flow, and UsdCompositionArcType entries recording the Reference/Instance aggregation of the pumps.

- Robot / Cell. The composed Cell stage (Cell.usda → robot.usda + tool.usda) materialized with nested Xform joints (Base/J1…J6/Flange/Tool), live joint-rotate attributes (Mode A), and a vendor-extension demo — an applied UsdCollectionAPIType (a materialized API schema) attached via HasAddIn.

Reproduce. The example nodesets are generated from the .usda assets by the reference converter and are byte-deterministic:

python metaverse-specs/extras/openusd-scene/tools/regen_examples.py     # (re)generate both example nodesets

python metaverse-specs/extras/openusd-scene/tools/roundtrip_check.py     # export back to .usda and diff (composed-scene equivalent)

python metaverse-specs/validate_all.py --self-contained                 # structural validation (model + examples)

# OpenUSD information model overview

## The materialization

A composed USD stage is a tree of prims; each prim has typed attributes, relationships, metadata, applied schemas, composition arcs, and variant sets. Part 2 maps this tree structurally onto the OPC UA address space:

UsdStageType  (Server/OpenUSD/Stages/<stage>)

├─ (metadata Variables: DefaultPrim, UpAxis, MetersPerUnit, TimeCodesPerSecond, …)

└─ HasComponent <Prim>  : UsdPrimType / UsdGeom…Type          ← the prim namespace tree

├─ (Property Variables: Specifier, TypeName, Kind, Active, …)

├─ HasComponent <ChildPrim> : UsdPrimType …             ← nested prims

├─ HasComponent <Attribute> : UsdAttributeType          ← typed, valued attributes

├─ HasComponent <Relationship> : UsdRelationshipType    ← ordered targets (+ UsdRelationshipTarget refs)

├─ AppliedSchemas/  → HasAddIn <ApiSchema> : UsdApiSchemaType

├─ Composition/     → <Arc> : UsdCompositionArcType

├─ VariantSets/     → <Set> : UsdVariantSetType

└─ Metadata/        → (metadata Property Variables)

The prim hierarchy is the OPC UA node hierarchy (HasComponent), so browsing the address space is browsing the scene. Attribute Variables carry the resolved value; the exact SdfValueTypeName is preserved in a UsdTypeName property so nothing is lost even when several USD types share one OPC UA DataType (6.5.2).

## Two complementary models

Table 15 – Two complementary models

|  | Part 1 — Bindings | Part 2 — Scene Materialization (this) |
| --- | --- | --- |
| USD scene lives | outside OPC UA (external stage) | inside OPC UA (materialized) |
| OPC UA carries | which prim/attr a value maps to | the prims/attributes themselves |
| Consumer | a connector that writes an external stage | a client that reads/browses/subscribes the scene, or exports .usd |
| Depends on | base UA | base UA (self-contained) |

The two interoperate (6.8, Annex C): a Part 1 live binding may target a Part 2 attribute Variable (so the same process value drives the in-server materialized scene), and a materialized stage may be listed under Part 1's Server/OpenUSD/Stages for unified discovery — but neither model requires the other.

## Discovery

A materialized stage is a UsdStageType Object. A Server SHOULD expose its materialized stages as components of a well-known folder — either Part 1's Server/OpenUSD/Stages (when Part 1 is also implemented) or, standalone, a Server/OpenUSDScene/Stages folder — so a client starts at one entry point and browses HasComponent into the prim tree.

## Organisation of the model

NOTE   The complete, generated node reference (every type, member, NodeId, ModellingRule) is Annex A, produced from the single source of truth Opc.Ua.OpenUsdScene.NodeSet2.xml. This section is the normative narrative; Annex A is authoritative for identifiers.

## Mapping tables

### USD concept to OPC UA Node

Table 16 – USD concept to OPC UA Node

| USD | OPC UA |
| --- | --- |
| Stage | UsdStageType Object |
| Prim (untyped / over) | UsdPrimType Object |
| Prim (typed) | subtype of UsdTypedType (by typeName); unknown → UsdTypedType/UsdPrimType + TypeName |
| Child prim | HasComponent to a UsdPrimType(-subtype) |
| Attribute | UsdAttributeType Variable (HasComponent) |
| Relationship | UsdRelationshipType Object + UsdRelationshipTarget refs |
| Attribute connection | UsdConnection reference |
| Prim/stage metadata | Property Variables (well-known ones as typed members; the rest under Metadata/) |
| Applied API schema | UsdApiSchemaType AddIn (HasAddIn) or Interface (HasInterface) |
| Camera prim (UsdGeomCamera) | UsdGeomCameraType Object; aperture/focal-length attributes carry the intrinsics (7.3, Annex D) |
| Georeference / globe anchor (geodetic) | portable UsdGeoreferenceApiType / UsdGlobeAnchorApiType AddIn (7.6); a vendor georeference prim → a UsdTypedType subtype, a vendor anchor schema → its own UsdApiSchemaType subtype |
| Composition arc | UsdCompositionArcType under Composition/ |
| VariantSet / selection | UsdVariantSetType under VariantSets/ |
| Specifier / Kind / Variability | UsdSpecifierEnum / UsdPrimKindEnum / UsdVariabilityEnum |

### SdfValueTypeName to OPC UA DataType and ValueRank

Scalars map to built-ins or, where USD attaches a role/semantic, to a DataType that subtypes the built-in (the Duration : Double idiom, 9); fixed-size math types map to fixed-length OPC UA arrays (via ValueRank/ArrayDimensions); arrays add one rank. A role-carrying vector uses its semantic DataType as the array's element type. The exact USD type name is always also preserved in the attribute's UsdTypeName property, so the mapping is reversible even where the built-in encoding is many-to-one.

Table 17 – SdfValueTypeName to OPC UA DataType and ValueRank

| SdfValueTypeName | DataType | ValueRank / ArrayDimensions |
| --- | --- | --- |
| bool | Boolean | Scalar |
| int, uchar(→SByte), int64 | Int32 / SByte / Int64 | Scalar |
| uint, uint64 | UInt32 / UInt64 | Scalar |
| half,float / double | Float / Double | Scalar |
| string | String | Scalar |
| token | UsdToken (: String) | Scalar |
| asset | UsdAssetPath (: String) | Scalar |
| timecode | UsdTimeCode (: Double) | Scalar |
| float2/3/4, double2/3/4, int2/3/4 | Float/Double/Int32 | 1‑D array, ArrayDimensions=2/3/4 |
| color3f / normal3f / point3f / vector3f | UsdColor3f / UsdNormal3f / UsdPoint3f / UsdVector3f (: Float) | 1‑D array, ArrayDimensions=3 |
| texCoord2f | UsdTexCoord2f (: Float) | 1‑D array, =2 |
| quatf / quatd | UsdQuatf (: Float) / UsdQuatd (: Double) | 1‑D array, =4 |
| matrix4d | UsdMatrix4d (: Double) | 1‑D array, =16 |
| <T>[] (any array) | as above, +1 rank | ValueRank +1 |
| anything else | BaseDataType (opaque) + UsdTypeName | — |

A generic numeric tuple (float3, int2, …) carries no role beyond its shape, which ArrayDimensions already conveys, so it stays a plain built-in array; a Float[3] therefore unambiguously means float3, while the role variants are distinguished by their semantic DataType. Because these role types subtype a built-in, the value bytes are identical to the plain array form — a client that does not recognise the subtype reads it as Float[3]/Double[16], while a role-aware client (a renderer, a material editor) can tell a colour from a point without parsing a string.

### Metadata

Well-known prim metadata (typeName→TypeName, specifier→Specifier, kind→Kind, active→Active, instanceable→Instanceable, documentation→Documentation) map to the typed members of 7.2; well-known stage metadata to 7.1. All other metadata (customData, assetInfo, comment, displayName, schema-specific keys, …) map to Property Variables under the prim's/stage's Metadata/ folder, named by the metadata key, with the value carried per 6.5.2. Nested dictionaries map to nested Metadata/ folders.

## Conversion between .usd and the address space

### Importing a .usd into the address space

- Open and compose the stage. Create a UsdStageType and populate its metadata (7.1).

- Traverse the composed prim tree depth-first. For each prim, create a UsdPrimType(-subtype by typeName, 7.3) HasComponent under its parent; set Specifier/TypeName/Kind/Active/Instanceable.

- For each attribute, create a UsdAttributeType with DataType/ValueRank/Value/UsdTypeName/Variability/Namespace (6.7.1, 6.5.2); if it has authored connections, add UsdConnection references. If it has time samples, materialize the default as Value and expose the samples via HistoricalAccess (6.8).

- For each relationship, create a UsdRelationshipType with ordered Targets/TargetPaths and UsdRelationshipTarget references (7.4).

- Record applied API schemas (AppliedSchemas/), composition arcs (Composition/), variant sets + selection (VariantSets/), and remaining metadata (Metadata/).

### Exporting the address space to .usd

The inverse: BrowseName → prim/property name; TypeName → def <Type> (or over/class per Specifier); each UsdAttributeType → an attribute (its UsdTypeName gives the exact SdfValueTypeName; Value → default; HistoricalAccess → time samples per a recording profile); UsdRelationshipType → a relationship (TargetPaths); Composition/ arcs → references/payloads/inherits/specializes/variantSets; VariantSets/ → variant sets and selection; Metadata/ → metadata. The exported layer is a single flattened composed layer unless a provenance-aware exporter reconstructs arcs from Composition/.

### Reference converter

### Round-trip contract

Import→export is composed-scene lossless: the exported composed stage is prim-for-prim, attribute-for-attribute (name, SdfValueTypeName, resolved value/array shape), relationship-for-relationship (ordered targets), metadata-for-metadata (well-known + custom), variant-selection-, kind- and specifier-equivalent to the input's composed result, and the recorded composition arc list is preserved. It is not authoring-layer lossless: the input's per-layer opinion stack, sublayer structure, and value clips are summarised as provenance metadata (Composition/, RootLayerIdentifier) rather than reproduced layer-by-layer.

## Vendor extension

USD's two schema kinds map to OPC UA's two extension mechanisms:

### Typed schemas as ObjectType subtyping

A vendor materializes a new typed prim by defining an ObjectType that subtypes the closest materialized ancestor (e.g. a robot-joint prim type : UsdGeomXformableType, a custom gprim : UsdGeomGprimType). Instances use it as their HasTypeDefinition and still carry the USD TypeName token. A generic client that does not know the subtype browses it as its nearest known supertype — subtyping is transparent to browse.

A USD-side client, however, cannot interpret such a prim without the corresponding USD schema: a plugInfo.json manifest plus a generatedSchema.usda, the two files OpenUSD's PlugRegistry/UsdSchemaRegistry need and the only two a codeless schema requires. This Part defines no mechanism for serving files, so it places no requirement on how they are delivered. Where Part 1 is also implemented, a Server should publish them through its artifact registry, which defines a schema-plugin group for exactly this purpose (Part 1 §7.13); a client then fetches the plugin from the same registry it fetches layers from, registers it, and reads the materialized scene with the vendor's prim types fully understood instead of degraded to the §6.7.4 fallback. A Server implementing this Part alone may publish them by any out-of-band means, or not at all — in which case a USD-side client falls back to 6.7.4.

### Applied schemas as AddIns and Interfaces

A vendor materializes a new applied API schema either as an AddIn ObjectType (: UsdApiSchemaType, applied with HasAddIn under AppliedSchemas/) or as an Interface (: BaseInterfaceType, applied with HasInterface) when the schema's members should appear inline on the prim. Multiple API schemas compose on one prim exactly as multiple AddIns/Interfaces do.

### New value types as DataType subtyping

A vendor adds a USD value type by subtyping the built-in primitive it decomposes to, conveying the role in the type system exactly as this model defines UsdColor3f : Float or the standard defines Duration : Double (9): e.g. a UsdColor3d : Double for color3d, a UsdHalf : Float for a half-precision channel, or a UsdFrustum-style structured DataType for a compound value. Instances use the new DataType (as the element type of the fixed-length array, for vector roles); a client that does not recognise it reads the built-in supertype. Alternatively a vendor registers a UsdTypeName token that maps (per 6.5.2) to an existing OPC UA DataType. Either way the UsdTypeName annotation still records the exact SdfValueTypeName for lossless export.

### Unknown-type fallback

An importer that encounters an unknown typed schema, API schema, or value type shall not drop it: it degrades the prim to UsdPrimType (the concrete base — UsdTypedType is abstract and so cannot be an instance's HasTypeDefinition) carrying TypeName, the API schema to a UsdApiSchemaType AddIn (carrying SchemaName; this is why that type is concrete, 7.5), and the value to an opaque value carrying the UsdTypeName — so an exporter reproduces it faithfully and a vendor-aware client can still interpret it. An opaque value shall retain the authored text of the value, not a host-language rendering of it, so that export is byte-faithful.

## Live-data mapping

A materialized UsdAttributeType is an ordinary OPC UA Variable, so USD's static/time-sampled attribute duality maps onto OPC UA's Value/subscription/history surface in two modes a Server may mix per attribute:

- Mode A — live. The attribute's Value is server-maintained and time-varying: a Subscription/MonitoredItem delivers changes, and (where the Server retains it) HistoryRead (Part 11) exposes the value timeline — the OPC UA counterpart of USD time samples. Time-varying xformOps (an impeller xformOp:rotateZ, robot joint angles) and any process-driven attribute use this mode. The Value is maintained by the Server — either by its own logic, or by applying a Part 1 OpenUsdValueChangeBinding/OpenUsdHistoryBinding whose target is this attribute Variable (Annex C, via TargetNodeId or the resolved target path) — so the same process value that a Part 1 connector would push to an external stage instead (or also) drives the in-server materialized scene. Note that an external Part 1 connector authors into a USD sink and cannot write this Variable; Mode A is therefore a Server-side responsibility.

- Mode B — static. The attribute's Value is the authored default; it does not change at runtime.

Timecode ↔ wall-clock: USD time codes are stage-timeline ordinates and OPC UA timestamps are wall-clock; they relate only through an explicit epoch and TimeCodesPerSecond declared by a recording profile. Absent that, HistoricalAccess samples are on a Server-defined timeline and are informative.

# OPC UA ObjectTypes

## UsdStageType

A composed stage. Optional Property members carry stage metadata: DefaultPrim, UpAxis, MetersPerUnit, KilogramsPerUnit, TimeCodesPerSecond, StartTimeCode, EndTimeCode, RootLayerIdentifier, Documentation. Its composed root prims are HasComponent children of type UsdPrimType (an <UsdPrim> OptionalPlaceholder).

Table 18 – UsdStageType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdStageType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | DefaultPrim | UsdToken | 0:PropertyType | O |
| 0:HasProperty | Variable | UpAxis | UsdToken | 0:PropertyType | O |
| 0:HasProperty | Variable | MetersPerUnit | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | KilogramsPerUnit | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | TimeCodesPerSecond | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | StartTimeCode | UsdTimeCode | 0:PropertyType | O |
| 0:HasProperty | Variable | EndTimeCode | UsdTimeCode | 0:PropertyType | O |
| 0:HasProperty | Variable | RootLayerIdentifier | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | Documentation | 0:String | 0:PropertyType | O |
| 0:HasComponent | Object | <UsdPrim> |  | UsdPrimType | OP |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Part1Interop |  |  |  |  |  |

## UsdPrimType

A prim (an untyped prim or an over). Optional Property members: Specifier (UsdSpecifierEnum — Def/Over/Class), TypeName (the schema type token, empty when untyped), Kind (UsdPrimKindEnum), Active, Instanceable, Documentation. Extensible members (all OptionalPlaceholder): child prims <UsdPrim> (UsdPrimType), attributes <UsdAttribute> (UsdAttributeType), relationships <UsdRelationship> (UsdRelationshipType). Optional Folders: AppliedSchemas, Composition, VariantSets, Metadata.

Table 19 – UsdPrimType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdPrimType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Specifier | UsdSpecifierEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | TypeName | UsdToken | 0:PropertyType | O |
| 0:HasProperty | Variable | Kind | UsdPrimKindEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | Active | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | Instanceable | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | Documentation | 0:String | 0:PropertyType | O |
| 0:HasComponent | Object | <UsdPrim> |  | UsdPrimType | OP |
| 0:HasComponent | Variable | <UsdAttribute> | 0:BaseDataType{Any} | UsdAttributeType | OP |
| 0:HasComponent | Object | <UsdRelationship> |  | UsdRelationshipType | OP |
| 0:HasComponent | Object | AppliedSchemas |  | 0:FolderType | O |
| 0:HasComponent | Object | Composition |  | 0:FolderType | O |
| 0:HasComponent | Object | VariantSets |  | 0:FolderType | O |
| 0:HasComponent | Object | Metadata |  | 0:FolderType | O |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |

## UsdTypedType

UsdTypedType : UsdPrimType (abstract) is the base of all typed prims. The materialized UsdGeom subset (a versioned schema release, 2):

UsdTypedType

├─ UsdGeomImageableType         (Visibility, Purpose)

│   ├─ UsdGeomScopeType

│   └─ UsdGeomXformableType     (XformOpOrder)

│        ├─ UsdGeomXformType

│        └─ UsdGeomGprimType    (DisplayColor, DisplayOpacity, DoubleSided)

│             ├─ UsdGeomMeshType     (Points, FaceVertexCounts, FaceVertexIndices)

│             ├─ UsdGeomCylinderType (Height, Radius, Axis)

│             ├─ UsdGeomSphereType   (Radius)

│             ├─ UsdGeomCubeType     (Size)

│             ├─ UsdGeomConeType     (Height, Radius, Axis)

│             └─ UsdGeomCapsuleType  (Height, Radius, Axis)

│        └─ UsdGeomCameraType   (FocalLength, HorizontalAperture, VerticalAperture,

│                                HorizontalApertureOffset, VerticalApertureOffset,

│                                ClippingRange, FStop, FocusDistance, Projection, Exposure)

├─ UsdShadeMaterialType

└─ UsdShadeShaderType           (Info_Id)

A prim of a known typed schema is materialized as the matching subtype (its HasTypeDefinition), and its TypeName property still carries the exact USD typeName. A prim of an unknown typed schema degrades to UsdPrimType/UsdTypedType carrying the TypeName token — never dropped (6.7.4). Vendors add new typed prims by subtyping UsdTypedType (6.7.1).

Table 20 – UsdTypedType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdTypedType |  |  |  |  |
| IsAbstract | True |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdPrimType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdRelationshipType

A relationship. Mandatory Targets (ordered NodeId[] — the materialized target nodes) and TargetPaths (ordered String[] — the SdfPath strings, for fidelity when a target is outside the materialized subtree); Optional Custom. Each resolved target is also linked with a UsdRelationshipTarget reference so the relationship is browsable as a graph edge.

Table 21 – UsdRelationshipType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdRelationshipType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Custom | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | Targets | 0:NodeId[] | 0:PropertyType | M |
| 0:HasProperty | Variable | TargetPaths | 0:String[] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |

## UsdCompositionArcType

- UsdCompositionArcType (under a prim's Composition/): ArcKind (UsdArcKindEnum — Reference/Payload/Inherit/Specialize/VariantSet/Sublayer/Instance), AssetPath, PrimPath, ListPosition (UsdListOpTypeEnum), VariantSet, VariantSelection. This records how the composed prim came to be, so the arc structure round-trips (6.6.4).

- UsdVariantSetType (under a prim's VariantSets/): SetName, Selection (the selected variant), and <Variant> OptionalPlaceholder branches.

- UsdApiSchemaType : BaseObjectType is the base for applied API schemas, applied to a prim via HasAddIn under AppliedSchemas/. UsdCollectionAPIType is a worked example. It is deliberately concrete, because 6.7.4 requires an unknown applied schema to degrade to a UsdApiSchemaType AddIn carrying its SchemaName — an Object cannot take an abstract ObjectType as its HasTypeDefinition. Vendors add new API schemas by subtyping UsdApiSchemaType (or as Interfaces, 6.7.2).

Table 22 – UsdCompositionArcType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdCompositionArcType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | ArcKind | UsdArcKindEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | AssetPath | UsdAssetPath | 0:PropertyType | O |
| 0:HasProperty | Variable | PrimPath | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ListPosition | UsdListOpTypeEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | VariantSet | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | VariantSelection | 0:String | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-CompositionProvenance |  |  |  |  |  |

## UsdGeoreferenceApiType

USD places prims in a local Cartesian stage frame and defines no geodetic (latitude/longitude) schema in its Core Specification. A georeferenced stage — one anchored to real-world global coordinates — is therefore expressed today through applied API schemas provided by extensions (NVIDIA omni.usd.schema.geospatial, Cesium for Omniverse). This model materializes those schemas through the ordinary vendor-extension mechanism (6.7): a georeference/anchor API schema materializes as a UsdApiSchemaType AddIn under a prim's AppliedSchemas/ (6.7.2), and a georeference prim type (e.g. Cesium's CesiumGeoreferencePrim) materializes as a UsdTypedType subtype (6.7.1). The concrete Cesium mapping is given in Annex C.

To give a client a vendor-neutral anchor it can read without knowing which extension authored the stage, this model additionally defines two portable applied API schemas:

- UsdGeoreferenceApiType : UsdApiSchemaType — a stage-level georeference origin: Latitude, Longitude (decimal degrees), Height (metres above the ellipsoid), EpsgCode (EPSG CRS; 0 = local, 4326 = WGS84/GPS), TangentPlane (e.g. ENU). Applied via HasAddIn to the stage's root/anchor prim.

- UsdGlobeAnchorApiType : UsdApiSchemaType — a per-prim geodetic position (Latitude, Longitude, Height) resolved against the stage UsdGeoreferenceApiType. Applied to any placed prim.

A materializer that recognises a vendor georeference schema should additionally populate the portable schema (dual-authoring the same values), so a generic client obtains the anchor from one well-known type while a vendor-aware client still reads the native schema.

Bridge to the OPC UA spatial companion specs. The portable georeference corresponds directly to the OPC UA global- and relative-positioning models:

Latitude/longitude are decimal degrees, height/elevation metres; a non-WGS84 EpsgCode is reprojected before authoring. USD's stage upAxis and metersPerUnit do not auto-reconcile with a geodetic frame; the materializer records them on the UsdStageType (7.1) and the tangent-plane convention on the georeference so a consumer can compose the correct local↔global transform.

Table 23 – UsdGeoreferenceApiType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeoreferenceApiType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdApiSchemaType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Latitude | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Longitude | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Height | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | EpsgCode | 0:UInt32 | 0:PropertyType | O |
| 0:HasProperty | Variable | TangentPlane | UsdToken | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-AppliedSchemas |  |  |  |  |  |
| OUS-Georeferencing |  |  |  |  |  |

## UsdGeomImageableType

Abstract USD imageable prim base.

Table 24 – UsdGeomImageableType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomImageableType |  |  |  |  |
| IsAbstract | True |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdTypedType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Visibility | UsdToken | 0:PropertyType | O |
| 0:HasProperty | Variable | Purpose | UsdToken | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdGeomXformableType

Abstract USD xformable prim base.

Table 25 – UsdGeomXformableType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomXformableType |  |  |  |  |
| IsAbstract | True |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomImageableType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | XformOpOrder | UsdToken[] | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdGeomXformType

USD Xform prim.

Table 26 – UsdGeomXformType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomXformType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomXformableType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdGeomScopeType

USD Scope prim.

Table 27 – UsdGeomScopeType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomScopeType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomImageableType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdGeomGprimType

Abstract USD geometric prim base.

Table 28 – UsdGeomGprimType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomGprimType |  |  |  |  |
| IsAbstract | True |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomXformableType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | DisplayColor | 0:Float[][] | 0:PropertyType | O |
| 0:HasProperty | Variable | DisplayOpacity | 0:Float[] | 0:PropertyType | O |
| 0:HasProperty | Variable | DoubleSided | 0:Boolean | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdGeomMeshType

USD Mesh prim.

Table 29 – UsdGeomMeshType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomMeshType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomGprimType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Points | 0:Float[][] | 0:PropertyType | O |
| 0:HasProperty | Variable | FaceVertexCounts | 0:Int32[] | 0:PropertyType | O |
| 0:HasProperty | Variable | FaceVertexIndices | 0:Int32[] | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdGeomCylinderType

USD Cylinder prim.

Table 30 – UsdGeomCylinderType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomCylinderType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomGprimType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Height | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Radius | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Axis | UsdToken | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdGeomSphereType

USD Sphere prim.

Table 31 – UsdGeomSphereType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomSphereType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomGprimType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Radius | 0:Double | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdGeomCubeType

USD Cube prim.

Table 32 – UsdGeomCubeType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomCubeType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomGprimType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Size | 0:Double | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdGeomConeType

USD Cone prim.

Table 33 – UsdGeomConeType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomConeType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomGprimType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Height | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Radius | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Axis | UsdToken | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdGeomCapsuleType

USD Capsule prim.

Table 34 – UsdGeomCapsuleType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomCapsuleType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomGprimType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Height | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Radius | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Axis | UsdToken | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdShadeMaterialType

USD Shade material prim hook.

Table 35 – UsdShadeMaterialType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdShadeMaterialType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdTypedType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdShadeShaderType

USD Shade shader prim hook.

Table 36 – UsdShadeShaderType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdShadeShaderType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdTypedType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Info_Id | UsdToken | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-TypedSchemas |  |  |  |  |  |

## UsdVariantSetType

USD variant set materialization.

Table 37 – UsdVariantSetType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdVariantSetType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | SetName | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | Selection | UsdToken | 0:PropertyType | O |
| 0:HasComponent | Object | <Variant> |  | UsdPrimType | OP |
| Conformance Units |  |  |  |  |  |
| OUS-CompositionProvenance |  |  |  |  |  |

## UsdApiSchemaType

Base for applied USD API schema AddIns. Concrete, because §8.4 requires an unknown applied schema to degrade to a UsdApiSchemaType AddIn carrying its SchemaName rather than being dropped; vendors still subtype it (§8.2).

Table 38 – UsdApiSchemaType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdApiSchemaType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | SchemaName | UsdToken | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-AppliedSchemas |  |  |  |  |  |

## UsdCollectionAPIType

USD CollectionAPI applied API schema.

Table 39 – UsdCollectionAPIType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdCollectionAPIType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdApiSchemaType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | ExpansionRule | UsdToken | 0:PropertyType | O |
| 0:HasProperty | Variable | IncludesTargets | 0:NodeId[] | 0:PropertyType | O |
| 0:HasProperty | Variable | ExcludesTargets | 0:NodeId[] | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-AppliedSchemas |  |  |  |  |  |

## UsdGlobeAnchorApiType

Portable per-prim globe anchor applied API schema: the geodetic position of an individual prim, resolved against the stage UsdGeoreferenceApiType. Vendor-neutral materialization of Cesium CesiumGlobeAnchorAPI / NVIDIA WGS84LocalPositionAPI; maps to a per-asset OPC UA GPOS GlobalPosition.

Table 40 – UsdGlobeAnchorApiType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGlobeAnchorApiType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdApiSchemaType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Latitude | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Longitude | 0:Double | 0:PropertyType | O |
| 0:HasProperty | Variable | Height | 0:Double | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-AppliedSchemas |  |  |  |  |  |
| OUS-Georeferencing |  |  |  |  |  |

## UsdGeomCameraType

USD Camera prim: a transformable prim describing a view frustum. Materializes the UsdGeomCamera IsA schema. Its aperture and focal-length attributes are the surface from which camera intrinsics are derived (Annex C). OPC UA - Vision defines, in its own VIS-Interop-Scene facet, when a Vision sensor's PrimPath is required to resolve to an instance of this type; that requirement belongs to that specification and is not imposed here.

Table 41 – UsdGeomCameraType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdGeomCameraType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the UsdGeomXformableType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | FocalLength | 0:Float | 0:PropertyType | O |
| 0:HasProperty | Variable | HorizontalAperture | 0:Float | 0:PropertyType | O |
| 0:HasProperty | Variable | VerticalAperture | 0:Float | 0:PropertyType | O |
| 0:HasProperty | Variable | HorizontalApertureOffset | 0:Float | 0:PropertyType | O |
| 0:HasProperty | Variable | VerticalApertureOffset | 0:Float | 0:PropertyType | O |
| 0:HasProperty | Variable | ClippingRange | 0:Float[2] | 0:PropertyType | O |
| 0:HasProperty | Variable | FStop | 0:Float | 0:PropertyType | O |
| 0:HasProperty | Variable | FocusDistance | 0:Float | 0:PropertyType | O |
| 0:HasProperty | Variable | Projection | UsdToken | 0:PropertyType | O |
| 0:HasProperty | Variable | Exposure | 0:Float | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

# OPC UA VariableTypes

The materialized attribute. Its Value is the resolved attribute value; its DataType/ValueRank are chosen per the value-type map (6.5.2) — for a role-carrying USD value type the DataType is the corresponding semantic subtype of the built-in (9) so the role is discoverable from the type system. Optional Property members: UsdTypeName (the exact SdfValueTypeName, e.g. float3, token, asset, color3f[], retained as a fidelity annotation of the precise spelling), Variability (UsdVariabilityEnum), Custom, Namespace (property namespace, e.g. primvars, xformOp), Interpolation, and ConnectionPaths (ordered String[]). Attribute connections are expressed as UsdConnection references to the connected attribute(s), and — exactly as UsdRelationshipType pairs Targets with TargetPaths (7.4) — the ordered ConnectionPaths carry the authored SdfPath strings. Both are needed: a connection whose target lies outside the materialized subtree has no node to point at, so without ConnectionPaths it could not be exported, and the reference set alone does not preserve authored order.

## UsdAttributeType

USD attribute value variable. The runtime DataType and ValueRank reflect the composed Sdf value type.

Table 42 – UsdAttributeType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdAttributeType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| ValueRank | -2 |  |  |  |  |
| DataType | 0:BaseDataType |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseDataVariableType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | UsdTypeName | UsdToken | 0:PropertyType | O |
| 0:HasProperty | Variable | Variability | UsdVariabilityEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | Custom | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | Namespace | UsdToken | 0:PropertyType | O |
| 0:HasProperty | Variable | Interpolation | UsdToken | 0:PropertyType | O |
| 0:HasProperty | Variable | ConnectionPaths | 0:String[] | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-LiveAttributes |  |  |  |  |  |

# OPC UA DataTypes

## UsdSpecifierEnum

USD prim specifier kind.

Table 43 – UsdSpecifierEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Def | 0 |  |
| Over | 1 |  |
| Class | 2 |  |

Table 44 – UsdSpecifierEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdSpecifierEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[3] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |

## UsdVariabilityEnum

USD attribute variability.

Table 45 – UsdVariabilityEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Varying | 0 |  |
| Uniform | 1 |  |

Table 46 – UsdVariabilityEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdVariabilityEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[2] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |

## UsdPrimKindEnum

USD model kind metadata.

Table 47 – UsdPrimKindEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Unspecified | 0 |  |
| Model | 1 |  |
| Group | 2 |  |
| Assembly | 3 |  |
| Component | 4 |  |
| Subcomponent | 5 |  |

Table 48 – UsdPrimKindEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdPrimKindEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[6] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |

## UsdListOpTypeEnum

USD list operation position/type.

Table 49 – UsdListOpTypeEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Explicit | 0 |  |
| Prepend | 1 |  |
| Append | 2 |  |
| Delete | 3 |  |
| Ordered | 4 |  |

Table 50 – UsdListOpTypeEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdListOpTypeEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[5] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OUS-CompositionProvenance |  |  |  |  |  |

## UsdArcKindEnum

USD composition arc kind.

Table 51 – UsdArcKindEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Reference | 0 |  |
| Payload | 1 |  |
| Inherit | 2 |  |
| Specialize | 3 |  |
| VariantSet | 4 |  |
| Sublayer | 5 |  |
| Instance | 6 |  |

Table 52 – UsdArcKindEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdArcKindEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[7] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| OUS-CompositionProvenance |  |  |  |  |  |

## UsdToken

USD token value represented as a UA String subtype.

Table 53 – UsdToken definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdToken |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:String defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdAssetPath

USD asset path represented as a UA String subtype.

Table 54 – UsdAssetPath definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdAssetPath |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:String defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdTimeCode

USD time code represented as a UA Double subtype.

Table 55 – UsdTimeCode definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdTimeCode |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Double defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdColor3f

USD color3f value (RGB float triple); UA Float subtype carried as a 3-element Float array.

Table 56 – UsdColor3f definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdColor3f |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Float defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdNormal3f

USD normal3f value (float triple); UA Float subtype carried as a 3-element Float array.

Table 57 – UsdNormal3f definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdNormal3f |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Float defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdPoint3f

USD point3f value (float triple); UA Float subtype carried as a 3-element Float array.

Table 58 – UsdPoint3f definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdPoint3f |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Float defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdVector3f

USD vector3f value (float triple); UA Float subtype carried as a 3-element Float array.

Table 59 – UsdVector3f definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdVector3f |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Float defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdTexCoord2f

USD texCoord2f value (float pair); UA Float subtype carried as a 2-element Float array.

Table 60 – UsdTexCoord2f definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdTexCoord2f |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Float defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdQuatf

USD quatf value (float quaternion); UA Float subtype carried as a 4-element Float array.

Table 61 – UsdQuatf definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdQuatf |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Float defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdQuatd

USD quatd value (double quaternion); UA Double subtype carried as a 4-element Double array.

Table 62 – UsdQuatd definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdQuatd |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Double defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdMatrix4d

USD matrix4d value (row-major); UA Double subtype carried as a 16-element Double array.

Table 63 – UsdMatrix4d definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdMatrix4d |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Double defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |
| OUS-Conversion |  |  |  |  |  |

## UsdLayerOffset

USD layer offset and scale.

Table 64 – UsdLayerOffset Items

| Name | Value | Description |
| --- | --- | --- |
| Offset |  |  |
| Scale |  |  |

Table 65 – UsdLayerOffset definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdLayerOffset |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-CompositionProvenance |  |  |  |  |  |

## UsdReferenceSpec

USD reference specification.

Table 66 – UsdReferenceSpec Items

| Name | Value | Description |
| --- | --- | --- |
| AssetPath |  |  |
| PrimPath |  |  |
| Offset |  |  |
| Scale |  |  |

Table 67 – UsdReferenceSpec definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdReferenceSpec |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-CompositionProvenance |  |  |  |  |  |

## UsdVariantSelection

USD variant set selection.

Table 68 – UsdVariantSelection Items

| Name | Value | Description |
| --- | --- | --- |
| SetName |  |  |
| VariantName |  |  |

Table 69 – UsdVariantSelection definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdVariantSelection |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-CompositionProvenance |  |  |  |  |  |

# OPC UA ReferenceTypes

## UsdRelationshipTarget

Browsable relationship edge from a prim or relationship to its target prim.

Table 70 – UsdRelationshipTarget definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdRelationshipTarget |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| InverseName | UsdRelationshipTargetOf |  |  |  |  |
| Symmetric | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:NonHierarchicalReferences defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |

## UsdConnection

Browsable USD attribute-connection edge.

Table 71 – UsdConnection definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 1:UsdConnection |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| InverseName | UsdConnectionOf |  |  |  |  |
| Symmetric | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:NonHierarchicalReferences defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| OUS-SceneStructure |  |  |  |  |  |

# Profiles and conformance units

Table 72 – Profiles and conformance units

| CU | Requirement |
| --- | --- |
| OUS-SceneStructure (base) | Expose materialized stages as UsdStageType; materialize the prim tree, attributes (with UsdTypeName), and relationships per 6.4–6.5. |
| OUS-CompositionProvenance | Populate Composition/ arcs and VariantSets/ per 7.5, 6.6.4. |
| OUS-TypedSchemas | Materialize known typed prims as the UsdGeom subtypes of 7.3; unknown → fallback 6.7.4. |
| OUS-AppliedSchemas | Materialize applied API schemas as AddIns/Interfaces per 7.5, 6.7.2. |
| OUS-Georeferencing | Materialize georeference/globe-anchor API schemas per 7.6 — the portable UsdGeoreferenceApiType/UsdGlobeAnchorApiType, and vendor schemas (Cesium/NVIDIA) as AddIns/typed prims per 6.7 (Annex C). |
| OUS-LiveAttributes | Mode-A live attribute Values and, where retained, HistoricalAccess time samples per 6.8. |
| OUS-Conversion | Bidirectional .usd↔address-space per 6.6 with the 6.6.4 round-trip contract. |
| OUS-Part1Interop | Discovery under Server/OpenUSD/Stages and Part 1 bindings targeting Part 2 attributes per Annex C. |

Each CU is independent and additive; a Server implements only what it needs (OUS-SceneStructure is the baseline). The OUS prefix is the short name of this specification, so a conformance unit identifier is unique across companion specifications.

# Namespaces

## Namespace metadata

The namespace metadata provide standardized information about the elements of this namespace, which an aggregating Server relies on. All Nodes defined by this document are static: they are identical in every Server, including the Value Attribute.

The information is provided as an Object of type NamespaceMetadataType, a component of the Namespaces Object of the Server Object. The NamespaceMetadataType ObjectType and its Properties are defined in OPC 10000-5. The same version information is carried by the ModelTableEntry of the UANodeSet XML file.

Table 73 – NamespaceMetadata Object for this document

| Property | DataType | Value |
| --- | --- | --- |
| NamespaceUri | String | http://opcfoundation.org/UA/OpenUSD/Scene/ |
| NamespaceVersion | String | 0.4.0 |
| NamespacePublicationDate | DateTime | 2026-07-29 |
| IsNamespaceSubset | Boolean | False |
| StaticNodeIdTypes | IdType[] | 0 (Numeric) |
| StaticNumericNodeIdRange | NumericRange[] | 1001:6088 |
| StaticStringNodeIdPattern | String | -- |

The IsNamespaceSubset Property is False because the UANodeSet XML file contains the complete namespace. A Server exposing only a subset sets it to True.

## Handling of OPC UA namespaces

Namespaces are used by OPC UA to create unique identifiers across different naming authorities. The NodeId and BrowseName Attributes are identifiers. A Node in the AddressSpace is unambiguously identified by its NodeId; a BrowseName is not unique and is used to build a browse path or to name a standard Property.

Table 74 – Namespaces used in an OpenUSD Server

| NamespaceURI | Description |
| --- | --- |
| http://opcfoundation.org/UA/ | Namespace for NodeIds and BrowseNames defined in the OPC UA specification (OPC 10000-3, OPC 10000-5). |
| Local Server URI | Namespace for Nodes defined in the local Server. This namespace shall have index 1. |
| http://opcfoundation.org/UA/xRegistry/ | Namespace of the RequiredModel that carries the abstract registry base types this document extends. |
| http://opcfoundation.org/UA/OpenUSD/Scene/ | Namespace for NodeIds and BrowseNames defined in this document. |
| Vendor specific types | A Server may provide vendor-specific types derived from the types defined in this document, in one or more additional namespaces. |

The following table lists the namespaces and their indexes used for BrowseNames in this document. The default namespace of this document is not listed, because every BrowseName without a prefix uses it.

Table 75 – Namespaces used in this document

| NamespaceURI | Namespace Index | Example |
| --- | --- | --- |
| http://opcfoundation.org/UA/ | 0 | 0:EngineeringUnits |
| http://opcfoundation.org/UA/xRegistry/ | 1 | 1:ResourceType |

(normative) 

OpenUSD namespace and mappings

NodeSet and supplementary files for OpenUSD Information Model

An Information Model is formally defined in an XML file called a NodeSet This file conforms to the standard syntax defined in the Annex “Information Model XML Schema” OPC 10000-6, OPC Unified Architecture - Part 6: Mappings. It can be read and processed by a computer program.

An Information Model is identified by a URI – the so-called NamespaceUri.

A NamespaceUri follows one of these conventions:

http://opcfoundation.org/UA/OUS/

tag:opcfoundation.org,yyyy-MM:UA:OUS

Where OUS is described in 11 and yyyy-MM is the date when the NamespaceUri was first published. NamespaceUris are not network accessible URLs and the text should not suggest they are. The tag URI syntax allows authors to choose a URI that cannot be used as URL by mistake. Note that the date in the tag syntax is not the same as the PublicationDate for the NodeSet. It is set once when the URI is created and never changed.

The Online Reference provides a summary page for every NamespaceUri of released Information Models which has the form:

https://reference.opcfoundation.org/nodesets?u=http://opcfoundation.org/UA/OpenUSD/Scene/

The OpenUSD Information Model is identified by the following URI:

http://opcfoundation.org/UA/OUS/

Documentation for the NamespaceUri can be found here.

“here” is a hyperlink to the summary page of the Online Reference.

In the hyperlink, the http://opcfoundation.org/UA/OpenUSD/Scene/ has to be replaced with the concrete URI for this specification.

The NodeSet associated with this version of specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/OpenUSD/Scene/&v=0.4.1&i=1

The NodeSet associated with the latest version of the specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/OpenUSD/Scene/&i=1

http://opcfoundation.org/UA/OpenUSD/Scene/ is the NamespaceUri for the Information Model.

The 0.4.1 is the string in the NamespaceVersion from the Namespace Metadata (see 12.1). This value is also the value of the Version attribute in the NodeSet.

Supplementary files for the OpenUSD Information Model can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/OpenUSD/Scene/&v=0.4.1&i=2

The files associated with the latest version of the specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/OpenUSD/Scene/&i=2

Supplementary files should be provided when appropriate (i.e., IRDI NodeSets or examples)

File Names

NodeIds: 	Opc.Ua.OUS.NodeIds.csv

NodeSet: 	Opc.Ua.OUS.NodeSet2.xml;

Any other files should have a prefix that provides context when the file is downloaded in a browser.

When DataTypes are defined in the NodeSet:

Opc.ua.OUS.Types.xsd –

The XML schema for the DataTypes defined by the specification;

Opc.ua.OUS.Types.bsd –

The OPC Binary schema for the DataTypes defined by the specification;

In case there is the need to reference individual files the following syntax should be added to the template:

https://reference.opcfoundation.org/files/<file>?u=<namespaceUri>&v=<version>
https://reference.opcfoundation.org/files/<file>?u=<namespaceUri>

for example:

https://reference.opcfoundation.org/files/StatusCode.csv?u=http://opcfoundation.org/UA/&v=1.05.02
https://reference.opcfoundation.org/files/StatusCode.csv?u=http://opcfoundation.org/UA/
https://reference.opcfoundation.org/files/Opc.Ua.Types.xsd?u=http://opcfoundation.org/UA/&v=1.05.02
https://reference.opcfoundation.org/files/Opc.Ua.Types.xsd?u=http://opcfoundation.org/UA/

Capability identifier

ServerCapabilityIdentifiers are defined in OPC 10000-12, OPC Unified Architecture - Part 12: Discovery and Global Services. They can be used for features, like certain information models, which are likely to be useful during the discovery process. The identifiers shall be short because of length restrictions for fields used in the mDNS specification.

The identifier shall be up to 6 characters. It is recommended to use the OUS introduced in the guideline, at the beginning of clause 11 if that meets the requirement of up to 6 characters.

Note, that such identifiers are not required. If not needed, this Annex section shall be deleted.

The capability identifier for this document shall be:

OUS

Node reference

The following table lists every Node this document defines, with the provisional NodeId assigned by the generator. It is generated from the UANodeSet and is informative for navigation; the UANodeSet is authoritative.

Table 76 – Nodes defined by this document

| NodeId | BrowseName | NodeClass | Description |
| --- | --- | --- | --- |
| ns=1;i=3001 | UsdSpecifierEnum | DataType | USD prim specifier kind. |
| ns=1;i=3901 | EnumStrings | Variable |  |
| ns=1;i=3002 | UsdVariabilityEnum | DataType | USD attribute variability. |
| ns=1;i=3902 | EnumStrings | Variable |  |
| ns=1;i=3003 | UsdPrimKindEnum | DataType | USD model kind metadata. |
| ns=1;i=3903 | EnumStrings | Variable |  |
| ns=1;i=3004 | UsdListOpTypeEnum | DataType | USD list operation position/type. |
| ns=1;i=3904 | EnumStrings | Variable |  |
| ns=1;i=3005 | UsdArcKindEnum | DataType | USD composition arc kind. |
| ns=1;i=3905 | EnumStrings | Variable |  |
| ns=1;i=3006 | UsdToken | DataType | USD token value represented as a UA String subtype. |
| ns=1;i=3007 | UsdAssetPath | DataType | USD asset path represented as a UA String subtype. |
| ns=1;i=3008 | UsdTimeCode | DataType | USD time code represented as a UA Double subtype. |
| ns=1;i=3013 | UsdColor3f | DataType | USD color3f value (RGB float triple); UA Float subtype carried as a 3-element Float array. |
| ns=1;i=3014 | UsdNormal3f | DataType | USD normal3f value (float triple); UA Float subtype carried as a 3-element Float array. |
| ns=1;i=3015 | UsdPoint3f | DataType | USD point3f value (float triple); UA Float subtype carried as a 3-element Float array. |
| ns=1;i=3016 | UsdVector3f | DataType | USD vector3f value (float triple); UA Float subtype carried as a 3-element Float array. |
| ns=1;i=3017 | UsdTexCoord2f | DataType | USD texCoord2f value (float pair); UA Float subtype carried as a 2-element Float array. |
| ns=1;i=3018 | UsdQuatf | DataType | USD quatf value (float quaternion); UA Float subtype carried as a 4-element Float array. |
| ns=1;i=3019 | UsdQuatd | DataType | USD quatd value (double quaternion); UA Double subtype carried as a 4-element Double array. |
| ns=1;i=3020 | UsdMatrix4d | DataType | USD matrix4d value (row-major); UA Double subtype carried as a 16-element Double array. |
| ns=1;i=3010 | UsdLayerOffset | DataType | USD layer offset and scale. |
| ns=1;i=3011 | UsdReferenceSpec | DataType | USD reference specification. |
| ns=1;i=3012 | UsdVariantSelection | DataType | USD variant set selection. |
| ns=1;i=4001 | UsdRelationshipTarget | ReferenceType | Browsable relationship edge from a prim or relationship to its target prim. |
| ns=1;i=4002 | UsdConnection | ReferenceType | Browsable USD attribute-connection edge. |
| ns=1;i=2001 | UsdAttributeType | VariableType | USD attribute value variable. The runtime DataType and ValueRank reflect the composed Sdf value type. |
| ns=1;i=6001 | UsdTypeName | Variable | Exact SdfValueTypeName, e.g. 'float3', 'token', 'asset', or 'color3f[]'. |
| ns=1;i=6002 | Variability | Variable | USD attribute variability. |
| ns=1;i=6003 | Custom | Variable | True if the attribute is a custom USD attribute. |
| ns=1;i=6004 | Namespace | Variable | Attribute namespace, e.g. 'primvars' or 'xformOp'. |
| ns=1;i=6005 | Interpolation | Variable | Interpolation metadata for primvars and similar authored values. |
| ns=1;i=1001 | UsdStageType | ObjectType | A materialized composed OpenUSD stage. |
| ns=1;i=6006 | DefaultPrim | Variable | Default prim token. |
| ns=1;i=6007 | UpAxis | Variable | Stage up axis token. |
| ns=1;i=6008 | MetersPerUnit | Variable | Stage meters-per-unit metadata. |
| ns=1;i=6009 | KilogramsPerUnit | Variable | Stage kilograms-per-unit metadata. |
| ns=1;i=6010 | TimeCodesPerSecond | Variable | Stage time-codes-per-second metadata. |
| ns=1;i=6011 | StartTimeCode | Variable | Stage start time code. |
| ns=1;i=6012 | EndTimeCode | Variable | Stage end time code. |
| ns=1;i=6013 | RootLayerIdentifier | Variable | Root layer identifier. |
| ns=1;i=6014 | Documentation | Variable | Stage documentation metadata. |
| ns=1;i=1002 | UsdPrimType | ObjectType | A materialized composed USD prim (untyped/over base). |
| ns=1;i=6015 | Specifier | Variable | Prim specifier. |
| ns=1;i=6016 | TypeName | Variable | Composed USD type name token. |
| ns=1;i=6017 | Kind | Variable | Model kind metadata. |
| ns=1;i=6018 | Active | Variable | Whether the prim is active. |
| ns=1;i=6019 | Instanceable | Variable | Whether the prim is instanceable. |
| ns=1;i=6020 | Documentation | Variable | Prim documentation metadata. |
| ns=1;i=6021 | <UsdPrim> | Object | Composed root prims of the materialized stage. |
| ns=1;i=6022 | <UsdPrim> | Object | Child prims of this composed prim. |
| ns=1;i=6023 | <UsdAttribute> | Variable | USD attributes authored on this prim. |
| ns=1;i=6024 | <UsdRelationship> | Object | USD relationships authored on this prim. |
| ns=1;i=6025 | AppliedSchemas | Object | Applied API schema AddIns for this prim. |
| ns=1;i=6026 | Composition | Object | Composition arcs contributing to this prim. |
| ns=1;i=6027 | VariantSets | Object | Variant sets authored or composed for this prim. |
| ns=1;i=6028 | Metadata | Object | Arbitrary metadata Property variables for this prim. |
| ns=1;i=1003 | UsdTypedType | ObjectType | Typed (IsA-schema) prim base. |
| ns=1;i=1004 | UsdGeomImageableType | ObjectType | Abstract USD imageable prim base. |
| ns=1;i=6029 | Visibility | Variable | Visibility token. |
| ns=1;i=6030 | Purpose | Variable | Purpose token. |
| ns=1;i=1005 | UsdGeomXformableType | ObjectType | Abstract USD xformable prim base. |
| ns=1;i=6031 | XformOpOrder | Variable | Ordered xformOp token array. |
| ns=1;i=1006 | UsdGeomXformType | ObjectType | USD Xform prim. |
| ns=1;i=1007 | UsdGeomScopeType | ObjectType | USD Scope prim. |
| ns=1;i=1008 | UsdGeomGprimType | ObjectType | Abstract USD geometric prim base. |
| ns=1;i=6032 | DisplayColor | Variable | Display color array (color3f[]). |
| ns=1;i=6033 | DisplayOpacity | Variable | Display opacity array. |
| ns=1;i=6034 | DoubleSided | Variable | Double-sided rendering hint. |
| ns=1;i=1009 | UsdGeomMeshType | ObjectType | USD Mesh prim. |
| ns=1;i=6035 | Points | Variable | Mesh points array. |
| ns=1;i=6036 | FaceVertexCounts | Variable | Mesh face vertex counts. |
| ns=1;i=6037 | FaceVertexIndices | Variable | Mesh face vertex indices. |
| ns=1;i=1010 | UsdGeomCylinderType | ObjectType | USD Cylinder prim. |
| ns=1;i=6038 | Height | Variable | Cylinder height. |
| ns=1;i=6039 | Radius | Variable | Cylinder radius. |
| ns=1;i=6040 | Axis | Variable | Cylinder axis token. |
| ns=1;i=1011 | UsdGeomSphereType | ObjectType | USD Sphere prim. |
| ns=1;i=6041 | Radius | Variable | Sphere radius. |
| ns=1;i=1012 | UsdGeomCubeType | ObjectType | USD Cube prim. |
| ns=1;i=6042 | Size | Variable | Cube size. |
| ns=1;i=1013 | UsdGeomConeType | ObjectType | USD Cone prim. |
| ns=1;i=6043 | Height | Variable | Cone height. |
| ns=1;i=6044 | Radius | Variable | Cone radius. |
| ns=1;i=6045 | Axis | Variable | Cone axis token. |
| ns=1;i=1014 | UsdGeomCapsuleType | ObjectType | USD Capsule prim. |
| ns=1;i=6046 | Height | Variable | Capsule height. |
| ns=1;i=6047 | Radius | Variable | Capsule radius. |
| ns=1;i=6048 | Axis | Variable | Capsule axis token. |
| ns=1;i=1015 | UsdShadeMaterialType | ObjectType | USD Shade material prim hook. |
| ns=1;i=1016 | UsdShadeShaderType | ObjectType | USD Shade shader prim hook. |
| ns=1;i=6049 | Info_Id | Variable | Shader implementation identifier token. |
| ns=1;i=1017 | UsdRelationshipType | ObjectType | USD relationship object. |
| ns=1;i=6050 | Custom | Variable | True if this is a custom relationship. |
| ns=1;i=6051 | Targets | Variable | Ordered target NodeId list. |
| ns=1;i=6052 | TargetPaths | Variable | Ordered SdfPath target strings for fidelity. |
| ns=1;i=1018 | UsdVariantSetType | ObjectType | USD variant set materialization. |
| ns=1;i=6053 | SetName | Variable | Variant set name. |
| ns=1;i=6054 | Selection | Variable | Selected variant token. |
| ns=1;i=6055 | <Variant> | Object | Variant branch holding prim overrides. |
| ns=1;i=1019 | UsdCompositionArcType | ObjectType | USD composition arc materialization. |
| ns=1;i=6056 | ArcKind | Variable | Composition arc kind. |
| ns=1;i=6057 | AssetPath | Variable | Referenced or payload asset path. |
| ns=1;i=6058 | PrimPath | Variable | Target prim path. |
| ns=1;i=6059 | ListPosition | Variable | List operation position/type. |
| ns=1;i=6060 | VariantSet | Variable | Variant set name for variant arcs. |
| ns=1;i=6061 | VariantSelection | Variable | Variant selection name. |
| ns=1;i=1020 | UsdApiSchemaType | ObjectType | Base for applied USD API schema AddIns. Concrete, because §8.4 requires an unknown applied schema to degrade to a UsdApiSchemaType AddIn carrying its SchemaName rather than being dropped; vendors still subtype it (§8.2). |
| ns=1;i=6062 | SchemaName | Variable | Applied API schema name. |
| ns=1;i=1021 | UsdCollectionAPIType | ObjectType | USD CollectionAPI applied API schema. |
| ns=1;i=6063 | ExpansionRule | Variable | Collection expansion rule token. |
| ns=1;i=6064 | IncludesTargets | Variable | Included target NodeIds. |
| ns=1;i=6065 | ExcludesTargets | Variable | Excluded target NodeIds. |
| ns=1;i=1022 | UsdGeoreferenceApiType | ObjectType | Portable stage georeference applied API schema: the geodetic origin that anchors the stage's local Cartesian frame to the globe. Vendor-neutral materialization of Cesium CesiumGeoreferencePrim / NVIDIA WGS84ReferencePositionAPI; maps to OPC UA GPOS (OPC 10000-211) GlobalPosition + GroundControlPoints (Annex B). |
| ns=1;i=6066 | Latitude | Variable | Origin latitude in decimal degrees (WGS84 unless EpsgCode indicates otherwise). |
| ns=1;i=6067 | Longitude | Variable | Origin longitude in decimal degrees. |
| ns=1;i=6068 | Height | Variable | Origin height above the ellipsoid in metres. |
| ns=1;i=6069 | EpsgCode | Variable | EPSG coordinate reference system code (0 = local, 4326 = WGS84/GPS). |
| ns=1;i=6070 | TangentPlane | Variable | Local tangent-plane convention token (e.g. ENU or NED). |
| ns=1;i=1023 | UsdGlobeAnchorApiType | ObjectType | Portable per-prim globe anchor applied API schema: the geodetic position of an individual prim, resolved against the stage UsdGeoreferenceApiType. Vendor-neutral materialization of Cesium CesiumGlobeAnchorAPI / NVIDIA WGS84LocalPositionAPI; maps to a per-asset OPC UA GPOS GlobalPosition. |
| ns=1;i=6071 | Latitude | Variable | Prim latitude in decimal degrees. |
| ns=1;i=6072 | Longitude | Variable | Prim longitude in decimal degrees. |
| ns=1;i=6073 | Height | Variable | Prim height above the ellipsoid in metres. |
| ns=1;i=6074 | <UsdApiSchema> | Object | Applied API schema AddIn instances. |
| ns=1;i=6075 | <UsdCompositionArc> | Object | Composition arcs contributing opinions. |
| ns=1;i=6076 | <UsdVariantSet> | Object | Variant sets available on this prim. |
| ns=1;i=6077 | <Metadata> | Variable | Arbitrary metadata properties. |
| ns=1;i=6078 | ConnectionPaths | Variable | Ordered SdfPath strings of the attribute's authored connections, the connection counterpart of UsdRelationshipType.TargetPaths: a connection whose target lies outside the materialized subtree has no browsable UsdConnection edge, and without this member it could not be exported. |
| ns=1;i=1024 | UsdGeomCameraType | ObjectType | USD Camera prim: a transformable prim describing a view frustum. Materializes the UsdGeomCamera IsA schema. Its aperture and focal-length attributes are the surface from which camera intrinsics are derived (Annex C). OPC UA - Vision defines, in its own VIS-Interop-Scene facet, when a Vision sensor's PrimPath is required to resolve to an instance of this type; that requirement belongs to that specification and is not imposed here. |
| ns=1;i=6079 | FocalLength | Variable | Perspective focal length, in tenths of a world unit (USD convention: mm). |
| ns=1;i=6080 | HorizontalAperture | Variable | Horizontal aperture (sensor width), in tenths of a world unit. |
| ns=1;i=6081 | VerticalAperture | Variable | Vertical aperture (sensor height), in tenths of a world unit. |
| ns=1;i=6082 | HorizontalApertureOffset | Variable | Horizontal aperture offset from centre, in tenths of a world unit. |
| ns=1;i=6083 | VerticalApertureOffset | Variable | Vertical aperture offset from centre, in tenths of a world unit. |
| ns=1;i=6084 | ClippingRange | Variable | Near and far clipping distances as a two-element array (USD float2). |
| ns=1;i=6085 | FStop | Variable | Lens aperture f-number; 0 disables depth of field. |
| ns=1;i=6086 | FocusDistance | Variable | Distance from the camera to the focus plane, in world units. |
| ns=1;i=6087 | Projection | Variable | Projection token: perspective or orthographic. |
| ns=1;i=6088 | Exposure | Variable | Exposure adjustment in stops, applied as a scene-linear scale. |

(informative)

Relationship to Part 1

Part 2 is additive and self-contained, but designed to interoperate with Part 1:

- Binding target. A Part 1 live binding may resolve its target to a Part 2 attribute Variable instead of an external-stage attribute — the materialized scene becomes the binding sink, and Part 1's discovery/conversion/quality machinery applies unchanged. Part 1 carries this two ways: the optional TargetNodeId names the materialized UsdAttributeType Variable directly, and the mandatory TargetStage/TargetPrimPath/TargetPropertyName triple resolves to the same Variable by BrowseName path (with TargetStage naming this model's UsdStageType). A Server should author both so path-resolving and NodeId-resolving connectors agree.

- Binding source. A Part 2 attribute may be the source a Part 1 binding reads (e.g. to mirror the materialized scene onto an external stage).

- Discovery. A materialized UsdStageType may be organized under Part 1's Server/OpenUSD/Stages, so one connector discovers both the external-stage bindings and the in-server materialized stages.

- Identity. A Part 1 OpenUsdRepresentation.PrimPath and a Part 2 prim node identify the same prim on the same stage, so a client can pivot from an OPC UA domain Object (Pump, Robot axis) to its materialized prim and back.

- Artifacts. Part 1 serves USD content from an xRegistry artifact registry at Server/OpenUSD/Artifacts (Part 1 §7.11). Part 2 does not take that dependency: it is base-UA-only and reaches the registry only indirectly, when a Server implements both. Where it does, a materialized stage's RootLayerIdentifier (7.1) is the asset identifier of the registry artifact whose AssetKind is RootLayer — and because Part 1 builds an artifact's registry ResourceId from that identifier by a deterministic, closed-form construction (Part 1 §7.11.3), the stage's authored bytes are located by computation rather than by search. The construction is one-way, so a client confirms the artifact it reached by reading its AssetIdentifier. A Part 2 Server with no Part 1 registry treats RootLayerIdentifier as an opaque provenance string.

- Who drives Mode A. A Part 1 connector authors into a USD sink and cannot write an in-server Variable; driving a materialized attribute's Value (§6.8 Mode A) is therefore a Server-side responsibility — a Part 1 binding declares the mapping, the Server (or a server-hosted connector) applies it.

Neither model requires the other; a Server may implement either alone.

(informative)

Concrete Cesium for Omniverse georeference mapping

Core OpenUSD has no geodetic schema, and the Alliance for OpenUSD's native geolocation schema (an AECO Interest Group proposal to the Geometry Working Group, tracked in the OpenUSD-proposals repository) is, as of this draft, still in progress and unratified. Georeferencing today is therefore done with extension schemas. This annex shows exactly how a Cesium for Omniverse georeferenced stage materializes and how it relates to the portable georeference schemas of 7.6. Cesium georeferences a stage with a CesiumGeoreferencePrim (a typed prim) and anchors individual prims with the CesiumGlobeAnchorAPI (an applied API schema).

CesiumGeoreferencePrim as a UsdTypedType subtype

A vendor typed prim materializes as an ObjectType subtyping UsdTypedType (6.7.1); its attributes materialize as UsdAttributeType Variables (6.7.1):

Table 77 – CesiumGeoreferencePrim as a UsdTypedType subtype

| Cesium USD attribute | SdfValueTypeName | Materialized as |
| --- | --- | --- |
| cesium:anchor:latitude | double | UsdAttributeType (Double), UsdTypeName = "double" |
| cesium:anchor:longitude | double | UsdAttributeType (Double) |
| cesium:anchor:height | double | UsdAttributeType (Double) |
| ecefToUsdTransform (read-only) | matrix4d | UsdAttributeType (UsdMatrix4d, Double[16]) |

CesiumGlobeAnchorAPI as a UsdApiSchemaType AddIn

An applied API schema materializes as a UsdApiSchemaType AddIn under the prim's AppliedSchemas/ (6.7.2, 7.5):

Table 78 – CesiumGlobeAnchorAPI as a UsdApiSchemaType AddIn

| Cesium USD attribute | SdfValueTypeName | Materialized as |
| --- | --- | --- |
| cesium:anchor:latitude | double | UsdAttributeType (Double) on the AddIn |
| cesium:anchor:longitude | double | UsdAttributeType (Double) |
| cesium:anchor:height | double | UsdAttributeType (Double) |

The materializer should also apply the portable UsdGlobeAnchorApiType carrying the same Latitude/Longitude/Height, so a generic client reads the anchor without Cesium-specific knowledge (7.6).

Worked example

#usda 1.0

( upAxis = "Z"  metersPerUnit = 1.0 )

def CesiumGeoreferencePrim "World" {

double cesium:anchor:latitude  = 47.6062

double cesium:anchor:longitude = -122.3321

double cesium:anchor:height    = 56.0

def Xform "AGV_07" ( prepend apiSchemas = ["CesiumGlobeAnchorAPI"] ) {

double cesium:anchor:latitude  = 47.6061

double cesium:anchor:longitude = -122.3319

double cesium:anchor:height    = 56.0

}

}

CesiumGeoreferencePrim is a typed prim (6.7.1) and CesiumGlobeAnchorAPI an applied API schema (6.7.2), so they are authored differently — the first as the prim's typeName, the second in apiSchemas. A materializer should nevertheless recognise a georeference declared either way, since stages in the wild author CesiumGeoreferencePrim through apiSchemas as well; the portable dual-authoring of 7.6 applies in both cases.

materializes as (abbreviated address space):

World : UsdCesiumGeoreferencePrimType (: UsdTypedType)          # vendor typed prim (§6.7.1)

├─ cesium:anchor:latitude   : UsdAttributeType = 47.6062

├─ cesium:anchor:longitude  : UsdAttributeType = -122.3321

├─ cesium:anchor:height     : UsdAttributeType = 56.0

├─ AppliedSchemas/ → HasAddIn UsdGeoreferenceApiType          # portable dual-author (§7.6)

│     Latitude=47.6062  Longitude=-122.3321  Height=56.0  EpsgCode=4326  TangentPlane="ENU"

└─ HasComponent AGV_07 : UsdGeomXformType

└─ AppliedSchemas/

├─ HasAddIn UsdCesiumGlobeAnchorAPIType (: UsdApiSchemaType)   # vendor (§6.7.2)

│     cesium:anchor:latitude=47.6061 …

└─ HasAddIn UsdGlobeAnchorApiType                              # portable (§7.6)

Latitude=47.6061  Longitude=-122.3319  Height=56.0

Round-trip

Export reproduces the vendor schema names (CesiumGeoreferencePrim, CesiumGlobeAnchorAPI) and attribute values from the materialized nodes; the portable UsdGeoreferenceApiType / UsdGlobeAnchorApiType AddIns are additive provenance that need not be re-emitted to .usd (they carry no opinion the vendor schema does not). The georeference round-trip is therefore composed-scene lossless per 6.6.4, with the local↔global transform recovered from the vendor schema (or recomputed from the portable origin plus the stage metersPerUnit/upAxis).

_____________

—————————