| Logo of OPC Foundation, only if this is a joint work. Both logos shall be side by side.. |  | Logo of other organization. Both logos shall be side by side.. | OPC UA Companion Specification |
| --- | --- | --- | --- |
| OPC nnnnn-m |  |  |  |
| OPC UA for Asynchronous Service Execution Part 1: Asynchronous Service Execution Draft0.1.0 2026-08-03 Edit the advanced properties to complete the title page. Boxes are used to provide context or guidelines on expected content. Any words or phrases written in red font colour shall be replaced by actual values as appropriate for the companion specification. |  |  |  |

| Specification Type: | Industry Standard Specification | Comments: |  |
| --- | --- | --- | --- |
| Doc-Number | OPC nnnnn-m |  |  |
| Title: | OPC UA for Asynchronous Service Execution Part 1Asynchronous Service Execution | Date: | 2026-08-03 |
| Version: | Draft0.1.0 | Software: | MS-Word |
|  |  | Source: | OPC-UA-Async-Services.docx |
| Author: | <organization> | Status: | Draft |

Template Revisions

| Version | Date | Description |
| --- | --- | --- |
| 1.01.09 | Mar 09, 2020 | M-4665: Link to NodeSet indicates that also ERRATA, Amendments or Revisions are applied. Fixed various styles. |
| 1.01.10 | Apr 29, 2020 | Minor update for the Value attribute (M-5314). |
| 1.01.11 | July 09, 2020 | M-5595: Added better wording and recommendations for NamespaceMetadata as suggested. M-5520: Fixed quotation marks. M-5781: Title "Additional Variable Attributes" misleading. M-5673: Added HasInterface Reference to figure. M-5468: Use of Namespace Index also in Method signatures. M-5789: Clarify use of NamespaceIndex for Profiles or ConformanceUnits in other specifications. |
| 1.01.12 | Nov 16, 2020 | M-5904: BrowseName convention for placeholders. M-6184: The "additional attributes" table shall not be restricted to Value and Description. M-6183: Fix heading names for columns with a browse path. M-6112: Add an example state machine. M-6185: Add new table types to conventions. |
| 1.01.13 | Feb 17, 2021 | M-6302: Updated format for NamespaceMetadata table to make it validatable. M-6317: Added guideline for uncaptioned embedded figures. |
| 1.01.14 | Nov 15, 2021 | M-6264: GeneratesEvent example added. M-7147: Added abbreviated terms used in template. M-6265: No HasSubtype References. M-7265: Added max size for ConformanceUnit description. M-6612: Added definition of capability ID (Annex A.2). M-6150: Extended tables with Conformance Units row. |
| 1.01.15 | Oct 01, 2022 | M-7528: Namespace index also for the “Subtype of” rows. M-8025: Added missing BrowsePath tables for subcomponents. M-6776: Changed the examples for Structure and Union to start with an uppercase character. M-7341: Added extended definition for structures. |
| 1.01.16 | Mar 14, 2023 | M-8638: Updated URL format for schema files (Annex A). Updated URL format for normative references to documents (Clause 2). |
| 1.01.17 | Nov 17, 2023 | M-9196: Conformance Units and Profiles should be in profile database. M-8765: Added URL syntax for individual files. M-9170: Casing of UANodeSet wrong. M-9182: Added reference to IEC specifications. |
| 1.01.18 | Dec 03, 2024 | M-9275: Missing value rank 0. M-9270: Added guidelines to make figures smaller. M-8648: Well-Known BrowseNames. M-9723: Hyperlinks to online reference. |
| 1.01.19 | Jan 21, 2025 | M-9833: Added description on issue reporting to the “Agreement of Use”. |

CONTENTS

1	Scope	10

2	Normative references	10

3	Terms, abbreviated terms and conventions	11

3.1	Overview	11

3.2	Asynchronous Service Execution terms	11

3.3	Abbreviated terms	12

3.4	Conventions used in this document	12

3.4.1	Conventions for Node descriptions	12

3.4.2	NodeIds and BrowseNames	15

3.4.3	Common Attributes	16

3.4.4	Structures	18

4	General information to Asynchronous Service Execution and OPC UA	18

4.1	Introduction to Asynchronous Service Execution	18

4.2	Introduction to OPC Unified Architecture	19

4.2.1	What is OPC UA?	19

4.2.2	Basics of OPC UA	19

4.2.3	Information modelling in OPC UA	20

5	Use cases	24

6	Asynchronous Service Execution information model overview	25

6.1	The problem	25

6.2	What OPC UA has today	25

6.3	Why a Service, and not another Method	26

6.4	Deferral in one paragraph	26

6.5	The Complete Service	26

6.5.1	Complete	26

6.5.2	Why the response is polymorphic	27

6.6	Deferring a request	28

6.6.1	When a Server may defer	28

6.6.2	The deferral headers	28

6.6.3	The retry contract	28

6.6.4	Request handle uniqueness	29

6.7	Lifecycle	29

6.7.1	States and the two deadlines	29

6.7.2	An effect happens once; a response may be replayed	30

6.7.3	Expiry	30

6.7.4	Cancel	31

6.7.5	The Session	31

6.7.6	Authorization, and what a deferral does not do	32

6.7.7	Auditing	32

6.7.8	Order of evaluation	33

6.8	Interaction with other Services	33

6.9	The information model	34

6.9.1	Server capabilities	34

6.9.2	Diagnostics	35

6.9.3	DataTypes	36

6.9.4	Events	36

6.10	StatusCodes	38

6.11	Relationship to other specifications	38

7	OPC UA ObjectTypes	39

7.1	AsyncServiceCapabilitiesType	39

7.2	AsyncServiceDiagnosticsType	39

8	OPC UA EventTypes	40

8.1	DeferredRequestCompletedEventType	40

8.2	AuditDeferredRequestEventType	40

9	OPC UA DataTypes	41

9.1	DeferredRequestState	41

9.2	DeferredRequestTransition	41

9.3	DeferralRequestHeaderDataType	42

9.4	DeferralResponseHeaderDataType	43

9.5	DeferredRequestDiagnosticsDataType	43

9.6	CompleteRequest	44

9.7	CompleteResponse	44

10	Instances	45

10.1	AsyncServiceCapabilities	45

10.2	AsyncServiceDiagnostics	45

11	Profiles and conformance units	46

12	Namespaces	46

12.1	Namespace metadata	46

12.2	Handling of OPC UA namespaces	47

Annex A (normative)   Asynchronous Service Execution namespace and mappings	48

A.1	NodeSet and supplementary files for Asynchronous Service Execution Information Model	48

A.2	Capability identifier	49

A.3	Node reference	49

Annex B (informative)  A worked gateway deployment	55

B.1	The exchange	55

B.2	The five outcomes, and which of them this specification addresses	55

Annex C (informative)  Choosing between deferral and the alternatives	57

Figures

Figure 1 – The scope of OPC UA within an enterprise	20

Figure 2 – A basic Object in an OPC UA Address Space	21

Figure 3 – The relationship between Type Definitions and Instances	22

Figure 4 – Examples of References between Objects	23

Figure 5 – The OPC UA Information Model notation	23

Figure 6 – Graphical notation used by the AddressSpace figures	34

Figure 7 – The capabilities Object and where a Client finds it	35

Figure 8 – The diagnostics Object and its counters	35

Figure 9 – The completion Event	37

Figure 10 – The audit Event	37

Tables

Table 1 – Examples of DataTypes	13

Table 2 – Type Definition Table	14

Table 3 – Examples of Other characteristics	14

Table 4 – <some>Type additional References	14

Table 5 – <some>Type additional subcomponents	15

Table 6 – <some>Type Attribute values for child Nodes	15

Table 7 – Common Node Attributes	16

Table 8 – Common Object Attributes	17

Table 9 – Common Variable Attributes	17

Table 10 – Common VariableType Attributes	17

Table 11 – Common Method Attributes	17

Table 12 – Structures without optional fields where none of the fields allow subtypes	18

Table 13 – Structures with optional fields	18

Table 14 – Structures where one or more of the fields allow subtypes	18

Table 15 – Complete	26

Table 16 – Complete (2)	27

Table 17 – Auditing	32

Table 18 – StatusCodes	38

Table 19 – StatusCodes (2)	38

Table 20 – AsyncServiceCapabilitiesType definition	39

Table 21 – AsyncServiceDiagnosticsType definition	40

Table 22 – DeferredRequestCompletedEventType definition	40

Table 23 – AuditDeferredRequestEventType definition	41

Table 24 – DeferredRequestState Items	41

Table 25 – DeferredRequestState definition	41

Table 26 – DeferredRequestTransition Items	42

Table 27 – DeferredRequestTransition definition	42

Table 28 – DeferralRequestHeaderDataType Items	42

Table 29 – DeferralRequestHeaderDataType definition	42

Table 30 – DeferralResponseHeaderDataType Items	43

Table 31 – DeferralResponseHeaderDataType definition	43

Table 32 – DeferredRequestDiagnosticsDataType Items	43

Table 33 – DeferredRequestDiagnosticsDataType definition	44

Table 34 – CompleteRequest Items	44

Table 35 – CompleteRequest definition	44

Table 36 – CompleteResponse Items	44

Table 37 – CompleteResponse definition	45

Table 38 – AsyncServiceCapabilities definition	45

Table 39 – AsyncServiceDiagnostics definition	45

Table 40 – Profiles and conformance units	46

Table 41 – NamespaceMetadata Object for this document	47

Table 42 – Namespaces used in an OpenUSD Server	47

Table 43 – Namespaces used in this document	47

Table 44 – Nodes defined by this document	50

Table 45 – The exchange	55

Table 46 – The five outcomes, and which of them this specification addresses	56

Table 47 – Choosing between deferral and the alternatives	57

OPC FOUNDATION, OPC Foundation Security working group

____________

This work (OPC UA Companion Specification Template, by OPC Foundation), identified by OPC Foundation, is free of known copyright restrictions.

<Remove the above Public Domain notice and add a copyright date in the following Agreement of use for the completed specification. If possible (but not legally required), provide attribution to the original author in the following way:

“This specification is a derivative work of the public domain document OPC UA Companion Specification Template, by OPC Foundation”

>

AGREEMENT OF USE

<For joint work, this is the agreement accepted by OPC Foundation and used by most if not all joint companion specifications.

Changes to this agreement will require OPC Foundation review. For non-joint work replace this section with appropriate agreement of use and copyright verbiage.>

COPYRIGHT RESTRICTIONS

- This document is provided "as is" by the OPC Foundation and the OPC Foundation Security working group.

- Right of use for this specification is restricted to this specification and does not grant rights of use for referred documents.

- Right of use for this specification will be granted without cost.

- This document may be distributed through computer systems, printed or copied as long as the content remains unchanged and the document is not modified.

- OPC Foundation and OPC Foundation Security working group do not guarantee usability for any purpose and shall not be made liable for any case using the content of this document.

- The user of the document agrees to indemnify OPC Foundation and OPC Foundation Security working group and their officers, directors and agents harmless from all demands, claims, actions, losses, damages (including damages from personal injuries), costs and expenses (including attorneys' fees) which are in any way related to activities associated with its use of content from this specification.

- The document shall not be used in conjunction with company advertising, shall not be sold or licensed to any party.

- The intellectual property and copyright is solely owned by the OPC Foundation and the OPC Foundation Security working group.

PATENTS

The attention of adopters is directed to the possibility that compliance with or adoption of OPC or OPC Foundation Security working group specifications may require use of an invention covered by patent rights. OPC Foundation or OPC Foundation Security working group shall not be responsible for identifying patents for which a license may be required by any OPC or OPC Foundation Security working group specification, or for conducting legal inquiries into the legal validity or scope of those patents that are brought to its attention. OPC or OPC Foundation Security working group specifications are prospective and advisory only. Prospective users are responsible for protecting themselves against liability for infringement of patents.

WARRANTY AND LIABILITY DISCLAIMERS

WHILE THIS PUBLICATION IS BELIEVED TO BE ACCURATE, IT IS PROVIDED "AS IS" AND MAY CONTAIN ERRORS OR MISPRINTS. THE OPC FOUDATION NOR OPC Foundation Security working group MAKES NO WARRANTY OF ANY KIND, EXPRESSED OR IMPLIED, WITH REGARD TO THIS PUBLICATION, INCLUDING BUT NOT LIMITED TO ANY WARRANTY OF TITLE OR OWNERSHIP, IMPLIED WARRANTY OF MERCHANTABILITY OR WARRANTY OF FITNESS FOR A PARTICULAR PURPOSE OR USE. IN NO EVENT SHALL THE OPC FOUNDATION NOR OPC Foundation Security working group BE LIABLE FOR ERRORS CONTAINED HEREIN OR FOR DIRECT, INDIRECT, INCIDENTAL, SPECIAL, CONSEQUENTIAL, RELIANCE OR COVER DAMAGES, INCLUDING LOSS OF PROFITS, REVENUE, DATA OR USE, INCURRED BY ANY USER OR ANY THIRD PARTY IN CONNECTION WITH THE FURNISHING, PERFORMANCE, OR USE OF THIS MATERIAL, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH DAMAGES.

The entire risk as to the quality and performance of software developed using this specification is borne by you.

RESTRICTED RIGHTS LEGEND

This Specification is provided with Restricted Rights. Use, duplication, or disclosure by the U.S. government is subject to restrictions as set forth in (a) this Agreement pursuant to DFARs 227.7202-3(a); (b) subparagraph (c)(1)(i) of the Rights in Technical Data and Computer Software clause at DFARs 252.227-7013; or (c) the Commercial Computer Software Restricted Rights clause at FAR 52.227-19 subdivision (c)(1) and (2), as applicable. Contractor / manufacturer are the OPC Foundation, 16101 N. 82nd Street, Suite 3B, Scottsdale, AZ, 85260-1830

COMPLIANCE

The combination of OPC Foundation Security working group and OPC Foundation shall at all times be the sole entities that may authorize developers, suppliers and sellers of hardware and software to use certification marks, trademarks, or other special designations to indicate compliance with these materials as specified within this document. Products developed using this specification may claim compliance or conformance with this specification if and only if the software satisfactorily meets the certification requirements set by OPC Foundation Security working group or the OPC Foundation. Products that do not meet these requirements may claim only that the product was based on this specification and must not claim compliance or conformance with this specification.

Trademarks

Most computer and software brand names have trademarks or registered trademarks. The individual trademarks have not been listed here.

GENERAL PROVISIONS

Should any provision of this Agreement be held to be void, invalid, unenforceable, or illegal by a court, the validity and enforceability of the other provisions shall not be affected thereby.

This Agreement shall be governed by and construed under the laws of Germany.

This Agreement embodies the entire understanding between the parties with respect to, and supersedes any prior understanding or agreement (oral or written) relating to, this specification.

ISSUE REPORTING

If an error or problem is found in this specification, the UaNodeSet, or any associated supplementary files, it should be reported as an issue.

The reporting process can be found here: https://opcfoundation.org/resources/issue-tracking/

The Link to the issue tracking project for this document is here:

https://mantis.opcfoundation.org/set_project.php?project_id=<nnn>&make_default=no

<nnn> is the project_id in Mantis which is created for any document when requested by the working group. Example: https://mantis.opcfoundation.org/set_project.php?project_id=142&make_default=no is the Link for OPC 40001-* (Machinery).

If you have no Mantis Project or do not know the project_id, please send a request to TechnicalDirector@opcfoundation.org.

Release 0.1.0 highlights

<Revision Highlights specify the interesting changes to the previous revision. Such a "Revision Highlights" clause will not exist in the first revision.>

The table below follows the design and process used for the OPC UA specification. All "interesting" changes need to be reported in the problem tracking tool used for the specification. The OPC Foundation uses Mantis and provides it for companion specs as well. If a different problem tracking tool is used, "Mantis" needs to be replaced.

<The two rows in the following table are just examples. Note that the "Mantis IDs" are real hyperlinks – when clicked the reader opens the Mantis page.>

Scope shall specify the type of change. The three options are Errata (corrected something that was wrong), Clarification (make something clearer that was not wrong), and Feature (added new functionality).

The following table includes the Mantis issues resolved with this revision.

| Mantis ID | Scope | Summary | Resolution |
| --- | --- | --- | --- |
| 3165 | Errata | Wrong variable data types in Program example. | Fixed datatypes and replaced Table A.14 by description of the variables. |
| 3521 | Clarification | Modelling rules for states and transitions. | Removed the modelling rules from state and transition objects as they are never created (multiple tables). |

OPC UA FOR ASYNCHRONOUS SERVICE EXECUTION

Part 1: Deferring and continuing a Service request

# Scope

OPC UA has no way for a Server to say "still working — ask me again".

This specification adds one: a Server that cannot produce a response within the time its Client is willing to wait parks the request, answers Bad_RequestNotComplete with a cooperative retry hint, and hands the response to the first Complete that arrives once the work has finished. Complete is a new Service in the Session Service Set, keyed on the same requestHandle that Cancel already uses, so a Server issues no ticket and a Client stores no cookie.

It defines the Complete Service, the rules that govern parking and collection, the Nodes through which a Client discovers all of it before making a call that might be deferred, the Events that report completion and audit the lifecycle, and five new StatusCodes. It applies to any Service the Server is willing to defer, so a Client implements it once and it works for a Call, a Write and a HistoryUpdate alike.

It defines no Service-specific behaviour. What a deferred Call does while it is parked is the business of the Method being called.

NOTE   PROVISIONAL WORKING DRAFT — not normative, not endorsed by the OPC Foundation. The document number, the Mantis project identifier, the StatusCode values and every NodeId in this document are placeholders; the OPC Foundation assigns the real values.

OPC Foundation

OPC is the interoperability standard for the secure and reliable exchange of data and information in the industrial automation space and in other industries. It is platform independent and ensures the seamless flow of information among devices from multiple vendors. The OPC Foundation is responsible for the development and maintenance of this standard.

OPC UA is a platform independent service-oriented architecture that integrates all the functionality of the individual OPC Classic specifications into one extensible framework. This multi-layered approach accomplishes the original design specification goals of:

- Platform independence: from an embedded microcontroller to cloud-based infrastructure

- Secure: encryption, authentication, authorisation, and auditing

- Extensible: ability to add new features including transports without affecting existing applications

- Comprehensive information modelling capabilities: for defining any model from simple to complex

OPC Foundation Security working group

# Normative references

The following referenced documents are indispensable for the application of this document. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments and errata) applies.

NOTE   The OPC UA core specifications are regularly published as IEC 62541.

OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts

http://www.opcfoundation.org/documents/10000-1/

OPC 10000-2, OPC Unified Architecture - Part 2: Security Model

http://www.opcfoundation.org/documents/10000-2/

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model

http://www.opcfoundation.org/documents/10000-3/

OPC 10000-4, OPC Unified Architecture - Part 4: Services, which this document proposes to extend with the Continue Service.

http://www.opcfoundation.org/documents/10000-4/

OPC 10000-5, OPC Unified Architecture - Part 5: Information Model, which this document proposes to extend with the asynchronous Service execution capabilities, diagnostics and Events.

http://www.opcfoundation.org/documents/10000-5/

OPC 10000-6, OPC Unified Architecture - Part 6: Mappings

http://www.opcfoundation.org/documents/10000-6/

OPC 10000-7, OPC Unified Architecture - Part 7: Profiles

http://www.opcfoundation.org/documents/10000-7/

OPC 10000-12, OPC Unified Architecture - Part 12: Discovery and Global Services

http://www.opcfoundation.org/documents/10000-12/

OPC 10000-14, OPC Unified Architecture - Part 14: PubSub

http://www.opcfoundation.org/documents/10000-14/

# Terms, abbreviated terms and conventions

## Overview

## Asynchronous Service Execution terms

It is assumed that basic concepts of OPC UA information modelling and of Asynchronous Service Execution are understood in this document. This document uses these concepts to describe the Asynchronous Service Execution Information Model. For the purposes of this document, the terms and definitions given in OPC 10000-1, OPC 10000-3, OPC 10000-4, OPC 10000-5 and OPC 10000-7, as well as the following, apply.

OPC UA terms and terms defined in this document are italicized in the document.

## Abbreviated terms

Deferral

A Server's decision to answer a request later than the request itself, by parking it.

Parked request

A request the Server has accepted and is still working on, or has finished and is holding an answer for.

Parked response

The response of a parked request, held by the Server until a Client collects it, the Client abandons it, or it expires.

Issuing Session

The Session on which the parked request arrived, and the only Session that can collect the response.

Deferrable Service

A Service the Server is willing to defer, as listed in AsyncServiceCapabilities.DeferrableServices.

## Conventions used in this document

Following are basic conventions that shall be followed for all formal definitions used.

### Conventions for Node descriptions

#### Node definitions

Node definitions are specified using tables (see Table 2).

Attributes are defined by providing the Attribute name and a value, or a description of the value.

References are defined by providing the ReferenceType name, the BrowseName of the TargetNode and its NodeClass.

If the TargetNode is a component of the Node being defined in the table the Attributes of the composed Node are defined in the same row of the table.

The DataType is only specified for Variables; “[<number>]” indicates a single-dimensional array, for multi-dimensional arrays the expression is repeated for each dimension (e.g. [2][3] for a two-dimensional array). For all arrays the ArrayDimensions is set as identified by <number> values. If no <number> is set, the corresponding dimension is set to 0, indicating an unknown size. If no number is provided at all the ArrayDimensions can be omitted. If no brackets are provided, it identifies a scalar DataType and the ValueRank is set to the corresponding value (see OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model). In addition, ArrayDimensions is set to null or is omitted. If it can be Any or ScalarOrOneDimension, the value is put into “{<value>}”, so either “{Any}” or “{ScalarOrOneDimension}” and the ValueRank is set to the corresponding value (see OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model) and the ArrayDimensions is set to null or is omitted. Examples are given in Table 1.

Table 1 – Examples of DataTypes

| Notation | DataType | ValueRank | ArrayDimensions | Description |
| --- | --- | --- | --- | --- |
| 0:Int32 | 0:Int32 | -1 | omitted or null | A scalar Int32. |
| 0:Int32{OneOrMoreDimensions} | 0:Int32 | 0 | omitted or null | The Int32 value is an array with one or more dimensions. |
| 0:Int32[] | 0:Int32 | 1 | omitted or {0} | Single-dimensional array of Int32 with an unknown size. |
| 0:Int32[][] | 0:Int32 | 2 | omitted or {0,0} | Two-dimensional array of Int32 with unknown sizes for both dimensions. |
| 0:Int32[3][] | 0:Int32 | 2 | {3,0} | Two-dimensional array of Int32 with a size of 3 for the first dimension and an unknown size for the second dimension. |
| 0:Int32[5][3] | 0:Int32 | 2 | {5,3} | Two-dimensional array of Int32 with a size of 5 for the first dimension and a size of 3 for the second dimension. |
| 0:Int32{Any} | 0:Int32 | -2 | omitted or null | An Int32 where it is unknown if it is scalar or array with any number of dimensions. |
| 0:Int32{ScalarOrOneDimension} | 0:Int32 | -3 | omitted or null | An Int32 where it is either a single-dimensional array or a scalar. |

The TypeDefinition is specified for Objects and Variables.

The TypeDefinition column specifies a symbolic name for a NodeId, i.e., the specified Node points with a HasTypeDefinition Reference to the corresponding Node.

The ModellingRule of the referenced component is provided by specifying the symbolic name of the rule in the ModellingRule column. In the AddressSpace, the Node shall use a HasModellingRule Reference to point to the corresponding ModellingRule Object.

If the NodeId of a DataType is provided, the symbolic name of the Node representing the DataType shall be used.

Note that if a symbolic name of a different namespace is used, it is prefixed by the NamespaceIndex (see 3.4.2.2).

Nodes of all other NodeClasses cannot be defined in the same table; therefore, only the used ReferenceType, their NodeClass and their BrowseName are specified. A reference to another part of this document points to their definition. Table 2 illustrates the table. If no components are provided, the DataType, TypeDefinition and Other columns can be omitted and only a Comment column is introduced to point to the Node definition.

Each Type Node or well-known Instance Node defined shall have one or more ConformanceUnits defined in 11 that require the Node to be in the AddressSpace.

The relations between Nodes and ConformanceUnits are defined at the end of the tables defining Nodes, one row per ConformanceUnit. The ConformanceUnits are reflected in the Category element for the Node definition in the UANodeSet (see OPC 10000-6, OPC Unified Architecture - Part 6: Mappings).

The list of ConformanceUnits in the UANodeSet allows Servers to optimize resource consumption by using a list of supported ConformanceUnits to select a subset of the Nodes in an Information Model.

When a Node is selected in this way, all dependencies implied by the References are also selected.

Dependencies exist if the Node is the source of HasTypeDefinition, HasInterface, HasAddIn or any HierarchicalReference. Dependencies also exist if the Node is the target of a HasSubtype Reference. For Variables and VariableTypes, the value of the DataType Attribute is a dependency. For DataType Nodes, any DataTypes referenced in the DataTypeDefinition Attribute are also dependencies.

For additional details see OPC 10000-5, OPC Unified Architecture - Part 5: Information Model, which this document proposes to extend with the asynchronous Service execution capabilities, diagnostics and Events..

Table 2 – Type Definition Table

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Attribute name | Attribute value. If it is an optional Attribute that is not set “--” is used. |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| ReferenceType name | NodeClass of the target Node. | BrowseName of the target Node. | DataType of the referenced Node, only applicable for Variables. | TypeDefinition of the referenced Node, only applicable for Variables and Objects. | Additional characteristics of the TargetNode such as the ModellingRule or AccessLevel. |
| NOTE Notes referencing footnotes of the table content. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| Name of ConformanceUnit, one row per ConformanceUnit |  |  |  |  |  |

Components of Nodes can be complex that is containing components by themselves. The TypeDefinition, NodeClass and DataType can be derived from the type definitions, and the symbolic name can be created as defined in 3.4.3.1. Therefore, those containing components are not explicitly specified; they are implicitly specified by the type definitions.

The Other column defines additional characteristics of the Node. Examples of characteristics that can appear in this column are show in Table 3.

Table 3 – Examples of Other characteristics

| Name | Short Name | Description |
| --- | --- | --- |
| 0:Mandatory | M | The Node has the Mandatory ModellingRule. |
| 0:Optional | O | The Node has the Optional ModellingRule. |
| 0:MandatoryPlaceholder | MP | The Node has the MandatoryPlaceholder ModellingRule. |
| 0:OptionalPlaceholder | OP | The Node has the OptionalPlaceholder ModellingRule. |
| ReadOnly | RO | The Node AccessLevel has the CurrentRead bit set but not the CurrentWrite bit. |
| ReadWrite | RW | The Node AccessLevel has the CurrentRead and CurrentWrite bits set. |
| WriteOnly | WO | The Node AccessLevel has the CurrentWrite bit set but not the CurrentRead bit. |

If multiple characteristics are defined, they are separated by commas. The name or the short name can be used.

#### Additional References

To provide information about additional References, the format as shown in Table 4 is used.

Table 4 – <some>Type additional References

| SourceBrowsePath | Reference Type | Is Forward | TargetBrowsePath |
| --- | --- | --- | --- |
| SourceBrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table. | ReferenceType name | True = forward Reference. | TargetBrowsePath points to another Node, which can be a well-known instance or a TypeDefinition. You can use BrowsePaths here as well, which is either relative to the TypeDefinition or absolute. If absolute, the first entry needs to refer to a type or well-known instance, uniquely identified within a namespace by the BrowseName. |

References can be to any other Node.

#### Additional sub-components

To provide information about sub-components, the format as shown in Table 5 is used.

Table 5 – <some>Type additional subcomponents

| BrowsePath | References | NodeClass | BrowseName | DataType | TypeDefinition | Others |
| --- | --- | --- | --- | --- | --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | NOTE Same as for Table 2 |  |  |  |  |  |

#### Additional Attribute values

The type definition table provides columns to specify the values for required Node Attributes for InstanceDeclarations. To provide information about additional Attributes, the format as shown in Table 6 is used.

Table 6 – <some>Type Attribute values for child Nodes

| BrowsePath | <Attribute name> Attribute |
| --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | The values of attributes are converted to text by adapting the reversible JSON encoding rules defined in OPC 10000-6. If the JSON encoding of a value is a JSON string or a JSON number then that value is entered in the value field. Double quotes are not included. If the DataType includes a NamespaceIndex (QualifiedNames, NodeIds or ExpandedNodeIds) then the notation used for BrowseNames is used. If the value is an Enumeration the name of the enumeration value is entered. If the value is a Structure then a sequence of name and value pairs is entered. Each pair is followed by a newline. The name is followed by a colon. The names are the names of the fields in the DataTypeDefinition. If the value is an array of non-structures then a sequence of values is entered where each value is followed by a newline. If the value is an array of Structures or a Structure with fields that are arrays or with nested Structures then the complete JSON array or JSON object is entered. |

There can be multiple columns to define more than one Attribute.

### NodeIds and BrowseNames

#### NodeIds

The NodeIds of all Nodes described in this standard are only symbolic names. Annex A defines the actual NodeIds.

The symbolic name of each Node defined in this document is its BrowseName, or, when it is part of another Node, the BrowseName of the other Node, a “.”, and the BrowseName of itself. In this case “part of” means that the whole has a HasProperty or HasComponent Reference to its part. Since all Nodes not being part of another Node have a unique name in this document, the symbolic name is unique.

The NamespaceUri for all NodeIds defined in this document is defined in Annex A. The NamespaceIndex for this NamespaceUri is vendor-specific and depends on the position of the NamespaceUri in the server namespace table.

Note that this document not only defines concrete Nodes, but also requires that some Nodes shall be generated, for example one for each Session running on the Server. The NodeIds of those Nodes are Server-specific, including the namespace. But the NamespaceIndex of those Nodes cannot be the NamespaceIndex used for the Nodes defined in this document, because they are not defined by this document but generated by the Server.

#### BrowseNames

The text part of the BrowseNames for all Nodes defined in this document is specified in the tables defining the Nodes. The NamespaceUri for all BrowseNames defined in this document is defined in 12.2.

For InstanceDeclarations of NodeClass Object and Variable that are placeholders (OptionalPlaceholder and MandatoryPlaceholder ModellingRule), the BrowseName and the DisplayName are enclosed in angle brackets (<>) as recommended in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

If a BrowseName is not defined by this document, a namespace index prefix is added to the BrowseName (e.g., prefix '0' leading to ‘0:EngineeringUnits’ or prefix '2' leading to ‘2:DeviceRevision’). This is typically necessary if a Property of another specification is overwritten or used in the OPC UA types defined in this document. Table 43 – Namespaces used in this document provides a list of namespaces and their indexes as used in this document.

### Common Attributes

#### General

The Attributes of Nodes, their DataTypes and descriptions are defined in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model. Attributes not marked as optional are mandatory and shall be provided by a Server. The following tables define if the Attribute value is defined by this document or if it is server-specific.

For all Nodes specified in this document, the Attributes named in Table 7 shall be set as specified in the table.

Table 7 – Common Node Attributes

| Attribute | Value |
| --- | --- |
| DisplayName | The DisplayName is a LocalizedText. Each Server shall provide the DisplayName identical to the BrowseName of the Node for the LocaleId “en” unless specified differently in the specification. Whether the Server provides translated names for other LocaleIds is server-specific. |
| Description | Optionally a server-specific description is provided. |
| NodeClass | Shall reflect the NodeClass of the Node. |
| NodeId | The NodeId is described by BrowseNames as defined in 3.4.2.1. |
| WriteMask | Optionally the WriteMask Attribute can be provided. If the WriteMask Attribute is provided, it shall set all non-server-specific Attributes to not writable. For example, the Description Attribute can be set to writable since a Server can provide a server-specific description for the Node. The NodeId shall not be writable, because it is defined for each Node in this document. |
| UserWriteMask | Optionally the UserWriteMask Attribute can be provided. The same rules as for the WriteMask Attribute apply. |
| RolePermissions | Optionally server-specific role permissions can be provided. |
| UserRolePermissions | Optionally the role permissions of the current Session can be provided. The value is server-specific and depends on the RolePermissions Attribute (if provided) and the current Session. |
| AccessRestrictions | Optionally server-specific access restrictions can be provided. |

#### Objects

For all Objects specified in this document, the Attributes named in Table 8 shall be set as specified in the Table 8. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 8 – Common Object Attributes

| Attribute | Value |
| --- | --- |
| EventNotifier | Whether the Node can be used to subscribe to Events or not is server-specific. |

#### Variables

For all Variables specified in this document, the Attributes named in Table 9 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 9 – Common Variable Attributes

| Attribute | Value |
| --- | --- |
| MinimumSamplingInterval | Optionally, a server-specific minimum sampling interval is provided. |
| AccessLevel | The access level for Variables used for type definitions is server-specific, for all other Variables defined in this document, the access level shall allow reading; other settings are server-specific. |
| UserAccessLevel | The value for the UserAccessLevel Attribute is server-specific. It is assumed that all Variables can be accessed by at least one user. |
| Value | For Variables used as InstanceDeclarations, the value is server-specific; otherwise, it shall represent the value described in the text. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the Variable. |
| Historizing | The value for the Historizing Attribute is server-specific. |
| AccessLevelEx | If the AccessLevelEx Attribute is provided, it shall have the bits 8, 9, and 10 set to 0, meaning that read and write operations on an individual Variable are atomic, and arrays can be partly written. |

#### VariableTypes

For all VariableTypes specified in this document, the Attributes named in Table 10 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 10 – Common VariableType Attributes

| Attributes | Value |
| --- | --- |
| Value | Optionally a server-specific default value can be provided. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the VariableType. |

#### Methods

For all Methods specified in this document, the Attributes named in Table 11 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 11 – Common Method Attributes

| Attributes | Value |
| --- | --- |
| Executable | All Methods defined in this document shall be executable (Executable Attribute set to “True”), unless it is defined differently in the Method definition. |
| UserExecutable | The value of the UserExecutable Attribute is server-specific. It is assumed that all Methods can be executed by at least one user. |

### Structures

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model differentiates between different kinds of Structures. The following conventions explain, how these Structures shall be defined.

The first kind are Structures without optional fields where none of the fields allows subtype (except fields with abstract DataTypes). Its definition is in Table 12.

Table 12 – Structures without optional fields where none of the fields allow subtypes

| Name | Type | Description |
| --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |
| SP1 | 0:Byte[] | Setpoint 1 |
| SP2 | 0:Byte[] | Setpoint 2 |

The second kind are Structures with optional fields where none of the fields allows subtypes (except fields with abstract DataTypes). Its definition is in Table 13.

Structures with fields that are optional have an “Optional” column. Fields that are optional have True set, otherwise False.

Table 13 – Structures with optional fields

| Name | Type | Description | Optional |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Optional Field_1 | 0:String | Some Text | True |

The third kind are Structures without optional fields where one or more of the fields allow subtypes. Its definition is in Table 14.

Structures with fields that allow subtypes have an “Allow Subtypes” column. Fields that allow subtypes have True set, otherwise False. Fields with abstract DataTypes can always be subtyped.

Table 14 – Structures where one or more of the fields allow subtypes

| Name | Type | Description | Allow Subtypes |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Allow Subtypes | 0:ByteString | Some Bytestring | True |

Fields with abstract DataTypes shall have True in the “Allow Subtypes” column.

It is not allowed to add both columns to combine optional fields and fields that allow subtypes in one structure.

# General information to Asynchronous Service Execution and OPC UA

## Introduction to Asynchronous Service Execution

A Server cannot always answer a request in the time its Client is willing to wait. A gateway asked to distribute a TrustList to the devices behind it, an aggregating Server asked to write a value that lives elsewhere, a Server asked to run a Method that turns a machine: the work outlasts the request, and OPC UA has no way to say so.

What the Client gets today is a timeout, which does not distinguish a Server that failed from a Server that is still working. It therefore cannot safely retry: repeating a certificate update or a Method that moves an axis is not the same as repeating a read.

This document defines asynchronous Service execution, which is the missing answer. A Server that cannot respond in time parks the request and says so with a StatusCode that already exists for the purpose, together with a hint about when to ask again. A new Service, Continue, collects the response when it is ready, keyed on the request handle the Client already assigned and the Cancel Service already uses. It is a proposed addition to the base OPC UA namespace, not a new companion namespace.

## Introduction to OPC Unified Architecture

This is an OPC UA introduction that can be used as is, shortened or enhanced as appropriate.

### What is OPC UA?

OPC UA is an open and royalty free set of standards designed as a universal communication protocol. While there are numerous communication solutions available, OPC UA has key advantages:

- A state of art security model (see OPC 10000-2, OPC Unified Architecture - Part 2: Security Model).

- A fault tolerant communication protocol.

- An information modelling framework that allows application developers to represent their data in a way that makes sense to them.

OPC UA has a broad scope which delivers for economies of scale for application developers. This means that a larger number of high-quality applications at a reasonable cost are available. When combined with semantic models such as Asynchronous Service Execution, OPC UA makes it easier for end users to access data via generic commercial applications.

The OPC UA model is scalable from small devices to ERP systems. OPC UA Servers process information locally and then provide that data in a consistent format to any application requesting data - ERP, MES, PMS, Maintenance Systems, HMI, Smartphone, or a standard Browser, for examples. For a more complete overview see OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts.

### Basics of OPC UA

As an open standard, OPC UA is based on standard internet technologies, like TCP/IP, HTTP, Web Sockets.

As an extensible standard, OPC UA provides a set of Services (see OPC 10000-4, OPC Unified Architecture - Part 4: Services, which this document proposes to extend with the Continue Service.) and a basic information model framework. This framework provides an easy manner for creating and exposing vendor defined information in a standard way. More importantly all OPC UA Clients are expected to be able to discover and use vendor-defined information. This means OPC UA users can benefit from the economies of scale that come with generic visualisation and historian applications. This specification is an example of an OPC UA Information Model designed to meet the needs of developers and users.

OPC UA Clients can be any consumer of data from another device on the network to browser based thin clients and ERP systems. The full scope of OPC UA applications is shown in Figure 1.

Figure 1 – The scope of OPC UA within an enterprise

OPC UA provides a robust and reliable communication infrastructure having mechanisms for handling lost messages, failover, heartbeat, etc. With its binary encoded data, it offers a high-performing data exchange solution. Security is built into OPC UA as security requirements become more and more important especially since environments are connected to the office network or the internet and attackers are starting to focus on automation systems.

### Information modelling in OPC UA

#### Concepts

OPC UA provides a framework that can be used to represent complex information as Objects in an AddressSpace which can be accessed with standard services. These Objects consist of Nodes connected by References. Different classes of Nodes convey different semantics. For example, a Variable Node represents a value that can be read or written. The Variable Node has an associated DataType that can define the actual value, such as a string, float, structure etc. It can also describe the Variable value as a variant. A Method Node represents a function that can be called. Every Node has a number of Attributes including a unique identifier called a NodeId and non-localized name called as BrowseName. An Object representing a ‘Reservation’ is shown in Figure 2.

Figure 2 – A basic Object in an OPC UA Address Space

Object and Variable Nodes represent instances and they always reference a TypeDefinition (ObjectType or VariableType) Node which describes their semantics and structure. Figure 3 illustrates the relationship between an instance and its TypeDefinition.

The type Nodes are templates that define all of the children that can be present in an instance of the type. In the example in Figure 3 the PersonType ObjectType defines two children: First Name and Last Name. All instances of PersonType are expected to have the same children with the same BrowseNames. Within a type the BrowseNames uniquely identify the children. This means Client applications can be designed to search for children based on the BrowseNames from the type instead of NodeIds. This eliminates the need for manual reconfiguration of systems if a Client uses types that multiple Servers implement.

OPC UA also supports the concept of sub-typing. This allows a modeller to take an existing type and extend it. There are rules regarding sub-typing defined in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model, but in general they allow the extension of a given type or the restriction of a DataType. For example, the modeller can decide that the existing ObjectType in some cases needs an additional Variable. The modeller can create a subtype of the ObjectType and add the Variable. A Client that is expecting the parent type can treat the new type as if it was of the parent type. Regarding DataTypes, subtypes can only restrict. If a Variable is defined to have a numeric value, a subtype could restrict it to a float.

Figure 3 – The relationship between Type Definitions and Instances

References allow Nodes to be connected in ways that describe their relationships. All References have a ReferenceType that specifies the semantics of the relationship. References can be hierarchical or non-hierarchical. Hierarchical references are used to create the structure of Objects and Variables. Non-hierarchical are used to create arbitrary associations. Applications can define their own ReferenceType by creating subtypes of an existing ReferenceType. Subtypes inherit the semantics of the parent but can add additional restrictions. Figure 4 depicts several References, connecting different Objects.

Figure 4 – Examples of References between Objects

The figures above use a notation that was developed for the OPC UA specification. The notation is summarized in Figure 5. UML representations can also be used; however, the OPC UA notation is less ambiguous because there is a direct mapping from the elements in the figures to Nodes in the AddressSpace of an OPC UA Server.

Figure 5 – The OPC UA Information Model notation

A complete description of the different types of Nodes and References can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model and the base structure is described in OPC 10000-5, OPC Unified Architecture - Part 5: Information Model, which this document proposes to extend with the asynchronous Service execution capabilities, diagnostics and Events..

The OPC UA specification defines a very wide range of functionality in its basic information model. It is not required that all Clients or Servers support all functionality in the OPC UA specifications. OPC UA includes the concept of Profiles, which segment the functionality into testable certifiable units. This allows the definition of functional subsets (that are expected to be implemented) within a companion specification. The Profiles do not restrict functionality, but generate requirements for a minimum set of functionalities (see OPC 10000-7, OPC Unified Architecture - Part 7: Profiles).

#### Namespaces

OPC UA allows information from many different sources to be combined into a single coherent AddressSpace. Namespaces are used to make this possible by eliminating naming and id conflicts between information from different sources. Each namespace in OPC UA has a globally unique string called a NamespaceUri which identifies a naming authority and a locally unique integer called a NamespaceIndex, which is an index into the Server's table of NamespaceUris. The NamespaceIndex is unique only within the context of a Session between an OPC UA Client and an OPC UA Server- the NamespaceIndex can change between Sessions and still identify the same item even though the NamespaceUri's location in the table has changed. The Services defined for OPC UA use the NamespaceIndex to specify the Namespace for qualified values.

There are two types of structured values in OPC UA that are qualified with NamespaceIndexes: NodeIds and QualifiedNames. NodeIds are locally unique (and sometimes globally unique) identifiers for Nodes. The same globally unique NodeId can be used as the identifier in a node in many Servers – the node's instance data can vary but its semantic meaning is the same regardless of the Server it appears in. This means Clients can have built-in knowledge of of what the data means in these Nodes. OPC UA Information Models generally define globally unique NodeIds for the TypeDefinitions defined by the Information Model.

QualifiedNames are non-localized names qualified with a Namespace. They are used for the BrowseNames of Nodes and allow the same names to be used by different information models without conflict. TypeDefinitions are not allowed to have children with duplicate BrowseNames; however, instances do not have that restriction.

#### Companion Specifications

An OPC UA companion specification for an industry specific vertical market describes an Information Model by defining ObjectTypes, VariableTypes, DataTypes and ReferenceTypes that represent the concepts used in the vertical market, and potentially also well-defined Objects as entry points into the AddressSpace.

# Use cases

Deferral is for a Service call whose answer may legitimately outlast the call. Three families of use case motivate it.

Gateways and aggregating Servers. A Server that fronts other devices or other Servers cannot answer faster than the slowest thing it has to reach. The certificate push Methods of OPC 10000-12 are the sharpest example — one call on the gateway becomes one exchange per device behind it — and Annex B works such a deployment through in full. The same shape appears whenever an aggregating Server forwards a Write or a Method call to an underlying Server.

Operations that change the physical world. A Method that moves an axis, runs a recipe or commissions a device takes as long as the equipment takes. Today a Client either holds a request open for the duration or loses track of the outcome; with a deferral it collects the result when the work is done, and the audit trail records the outcome whether or not it does.

Clients that cannot stay connected. A commissioning tool, a scheduled job or a cloud-hosted Client may not survive an hour-long operation. Durable deferral lets a later Session of the same user identity collect a response the Session that asked for it never saw.

Deferral is not a replacement for a Subscription, which reports what a Client did not ask for, nor for the ticket Methods that individual specifications already define, which continue to work unchanged. Annex C sets out which mechanism suits which shape of problem.

# Asynchronous Service Execution information model overview

## The problem

A Server that is the front of something else cannot answer within the time its Client will wait. A gateway asked to distribute a TrustList to the devices behind it, an aggregating Server asked to write a value that lives in an underlying Server, a Server asked to run a Method that turns a machine: the work outlasts RequestHeader.timeoutHint, and OPC UA has nothing to say about it. The Client gets Bad_Timeout and cannot tell a Server that failed from a Server that is still working — and so cannot retry without risking the effect a second time.

The certificate push Methods of OPC 10000-12 show the shape at full size, and Annex B works one through. A single ApplyChanges on a gateway becomes one exchange per device behind it, and the Method has to return one result while some of those exchanges are still outstanding. The transaction model of OPC 10000-12 §7.10.2 sequences the changes and defers their effect until ApplyChanges, which is real progress; but ApplyChanges itself still has to answer synchronously.

## What OPC UA has today

Good_CompletesAsynchronously announces that processing will finish later. It provides no way to learn the outcome, so it tells a Client to stop waiting without telling it what to do instead.

Ticket Methods. OPC 10000-12 pull management already solves this once, privately: StartSigningRequest returns a requestId, FinishRequest polls it, and Bad_RequestNotComplete means not yet. It works — and it is the model this specification generalizes. But it is a pattern rebuilt by hand in every specification that needs it, with its own identifier, its own poll Method, its own lifetime rules and its own failure modes, available only where someone thought to add it. It cannot be applied to a Write.

Publish. A long poll, solving a different problem — a stream of unsolicited notifications — by keeping requests in flight, which is exactly what a Client cannot afford for an operation that takes an hour.

Raising timeoutHint. A Client that waits an hour holds a socket, a thread and a Session for an hour, learns nothing while it waits, and loses everything if the connection blinks. The point of a deferral is that the Client can go away.

Annex C compares all of these against deferral side by side.

## Why a Service, and not another Method

A ticket Method is defined by whoever owns the Object it hangs on, which means the mechanism exists only where a companion specification put it. Deferral belongs to the Service layer because that is the only layer every Service already passes through: a Client that understands Complete collects a deferred Write, a deferred Call and a deferred HistoryUpdate with the same code, from a Server that never anticipated any of them.

It also needs no new identifier. RequestHeader.requestHandle already identifies an outstanding request well enough for Cancel to act on it (OPC 10000-4 §5.7.5). Complete uses the same key, so the two Services that act on an outstanding request are symmetric: Cancel gives it up, Complete asks for it.

## Deferral in one paragraph

A Server that cannot answer in time parks the request and returns Bad_RequestNotComplete with a RetryAfter hint. The Client calls Complete with the same requestHandle and gets either the parked Service's own response — a CallResponse, a WriteResponse, whatever the original request was — or Bad_RequestNotComplete again with a fresh hint. A Client that has lost interest calls Cancel. A Client that would rather be told than ask subscribes to DeferredRequestCompletedEventType. A Client that understands none of this sees a Bad service result and treats the call as failed, which is what it does today when the Server times out instead.

## The Complete Service

### Complete

Collects the response of a parked request.

Request

Table 15 – Complete

| Name | Type | Description |
| --- | --- | --- |
| requestHeader | RequestHeader | Common request parameters (OPC 10000-4 §7.32). |
| requestHandle | IntegerId | The requestHandle of the parked request, as it appeared in the RequestHeader of the deferred request. |

Response

A Complete has three kinds of answer, and they are kept apart on the wire rather than by a header a stack may discard.

The parked Service's own response message, when the parked request succeeded — the CallResponse, WriteResponse or HistoryUpdateResponse the original request would have produced had the Server answered it immediately. Its ResponseHeader.requestHandle shall carry the requestHandle of the Complete request, not of the parked one, so the response matches the request that fetched it; the parked handle is the request parameter and needs no echo.

A CompleteResponse, when the parked request failed. Its own serviceResult is Good — the Complete succeeded — and deferredServiceResult carries the Bad serviceResult the parked response had, with deferredDiagnosticInfo beside it.

A ServiceFault, when the Complete itself failed, carrying one of the results below.

The middle case is why CompleteResponse exists and is not the empty placeholder a Service definition would otherwise need. Without it, a parked ApplyChanges that failed with Bad_ServerTooBusy and a Complete refused by the retry floor with Bad_ServerTooBusy would be the same message, and a Client could not tell the work failed from ask again later. Every Bad serviceResult travels as a ServiceFault under OPC 10000-4 §7.34, so the two would be indistinguishable at exactly the moment the distinction matters most. Moving the parked failure into a Good response separates them by message type, which every Client can see.

Preconditions. The Session shall be activated. requestHandle shall identify a parked request of that same Session (6.7.5).

Service results

Table 16 – Complete (2)

| Result | When |
| --- | --- |
| the parked response, or a CompleteResponse | The work has finished and the outcome is being handed over. |
| Bad_RequestNotComplete | The work has not finished. A fresh hint accompanies it (6.6.3). |
| Bad_DeferredRequestUnknown | No parked request with that requestHandle is known to this Session. |
| Bad_DeferredRequestExpired | A parked request with that requestHandle existed and the Server discarded it (6.7.3). |
| Bad_RequestCancelledByRequest | A parked request with that requestHandle was abandoned with Cancel (6.7.4). |
| Bad_DeferralNotSupported | The Server implements Complete but defers no Service. A Server that does not implement the Service at all returns Bad_ServiceUnsupported, as it does for any Service it has not implemented. |
| Bad_ServerTooBusy | The call arrived sooner than MinRetryAfter after the previous one while the request was still Executing (6.6.3). |

Bad_DeferredRequestExpired and Bad_RequestCancelledByRequest are distinguished from Bad_DeferredRequestUnknown for as long as the Server keeps a record of the request, which the record floor of 6.7.1 bounds from below. Past that floor a Server may discard the record and answer Bad_DeferredRequestUnknown instead; a Client shall treat all three as there is nothing to collect and there never will be.

### Why the response is polymorphic

Complete is answered with a message that is not the response its request declares. This looks like a new obligation on implementations and is not one.

A Client already cannot assume that the message it receives is the response type it asked for: any request may be answered with a ServiceFault instead, which is a different message with a different TypeId, and OPC 10000-6 identifies every message by its own TypeId rather than by the request it answers. Dispatching a response by reading what arrived — rather than by assuming what was sent — is therefore something every conforming stack already does. Complete asks for no new capability; it widens the set of legal answers from two to the response of whichever Service was parked.

The alternative — wrapping every parked response in an ExtensionObject inside a CompleteResponse — was considered and rejected. It preserves a one-to-one request-to-response mapping that the ServiceFault rule has already broken, and it does so by making every Client decode a response twice and by giving the same response two different on-wire forms depending on how it was collected. A response that is byte-identical however it is fetched is worth more than a mapping that is already not true. CompleteResponse therefore carries a parked failure, which has no response message of its own, and never a parked success, which does.

A Server shall not send a parked response to a Complete from a Session other than the one that parked it, and shall not send any message other than the parked response, a CompleteResponse or a ServiceFault (6.5.1).

## Deferring a request

### When a Server may defer

A Server may defer a request when all of the following hold, and shall not otherwise:

- The request carries a DeferralRequestHeaderDataType in RequestHeader.additionalHeader (6.6.2).

- The request's message type is listed in AsyncServiceCapabilities.DeferrableServices.

- The Service is not one of those 6.8 excludes.

- Parking the request would not take the Server past MaxDeferredRequests, nor the Session past MaxDeferredRequestsPerSession.

A Server that would exceed a parking limit shall either answer the request synchronously or refuse it with Bad_TooManyDeferredRequests. It shall not park a request and then discard it to make room: a parked request that vanishes is indistinguishable, to the Client, from one that was never accepted, and the effect may already be in flight.

Admission is decided before the work starts, not after. A Server shall reserve the parking slot before it begins any work whose effect it cannot undo and whose outcome it might have to defer. Discovering at the end that there is no room to park the answer is the one outcome the mechanism must never produce: it leaves the effect done and the outcome unreachable, which is the failure this specification exists to remove. Where a Server cannot reserve in advance — because it could not know the work would run long — it shall exceed MaxDeferredRequests rather than discard the outcome, and shall report the excess through DeferredRequestCount, whose value is therefore a measurement and not a bound.

Deferral is opt-in, and the first condition is what makes the rest of this specification safe. A Client that has never heard of Complete cannot collect a parked response, so parking one on its behalf would strand the outcome of work it believes failed — and, worse, invite it to retry an UpdateCertificate that is still in flight. A Server therefore answers such a Client exactly as it answers it today: synchronously if it can, and with Bad_Timeout if it cannot. That is no worse than the present behaviour, and it is the reason this specification needs no rule about recognising a retry.

### The deferral headers

A request may carry a DeferralRequestHeaderDataType in RequestHeader.additionalHeader, which OPC 10000-4 §7.32 reserves for exactly this purpose and which an application that does not understand it ignores. Its presence is the Client's statement that it implements Complete, and therefore the Server's permission to defer (6.6.1). Its members are preferences and never preconditions: a request that carries the structure may still be answered synchronously, and a Server shall ignore a member it does not honour rather than fail the request.

A response that reports a request as parked shall carry a DeferralResponseHeaderDataType in ResponseHeader.additionalHeader, which OPC 10000-4 §7.33 reserves the same way.

Both structures are defined in Annex A and described in 6.9.3.

### The retry contract

RetryAfter in the response header tells the Client how long to wait before its next Complete. It is a hint the Server computes from what it knows — a gateway distributing to five hundred devices knows more about how long that takes than any Client does — and a Client should honour it.

Because a Bad serviceResult travels as a ServiceFault, and an implementation may surface a fault as an exception that discards the header it arrived on, the retry contract shall not depend on the header alone. A Server shall publish DefaultRetryAfter and MinRetryAfter in AsyncServiceCapabilities, both readable by any Client with a Read. A Client that cannot read additionalHeader shall use DefaultRetryAfter before every Complete, not only the first.

MinRetryAfter is the floor, and it is normative in three directions. A Server shall not return a RetryAfter below it; shall not publish a DefaultRetryAfter below it, since otherwise the very Clients this clause protects would be throttled for obeying the only value they can read; and shall refuse a Complete that arrives sooner than MinRetryAfter after the previous Complete for the same parked request with Bad_ServerTooBusy. Without an enforced floor, a Client that ignores the hint converts a deferral into a poll loop against a Server that deferred because it was already busy.

The floor applies only while the parked request is Executing. A Complete for a request that is Ready, Delivered, Cancelled or Expired is answered immediately, however soon it arrives. Throttling a Client that has something to collect would be perverse in general, and specifically incompatible with DeferredRequestCompletedEventType, which exists to tell a Client to call Complete the moment the response is ready: a floor that outranked readiness would make the Server refuse the call it had just asked for.

Refusing a Complete with Bad_ServerTooBusy shall not affect the parked request: it is not collected, not expired and not cancelled, it is not a Continued transition and shall not be audited as one, and it shall not increment CompleteCount. The next Complete after the floor has elapsed behaves as though the refused one had not been sent, and every observable of the parked request says so.

### Request handle uniqueness

Cancel is defined against "one or more requests" with a given requestHandle (OPC 10000-4 §5.7.5), so OPC UA does not require handles to be unique. Complete returns exactly one response and therefore does.

A Client shall use a requestHandle that is unique among the requests it has outstanding and parked on a Session. A Server shall refuse, with Bad_RequestHandleInUse, any new request whose requestHandle matches a parked request on the same Session, and shall not park two requests under one handle on one Session. Handles on different Sessions never collide, because a parked request is never visible outside the Session that created it (6.7.5).

A Server shall not attempt to recognise a re-sent request as a repeat of a parked one. It has no need to: deferral is opt-in (6.6.1), so a Client that receives Bad_RequestNotComplete is by construction a Client that knows to call Complete rather than to retry. Comparing a new request against a parked one would mean retaining or digesting the whole request body — unbounded for a Write carrying thousands of values, and ill-defined across encodings — to solve a problem the opt-in has already removed.

Complete and Cancel are exempt from this clause. Their own RequestHeader.requestHandle is the handle of that call and has nothing to do with the requestHandle parameter naming the parked request, so a collision between the two is not a collision at all. A Server shall not refuse a Complete or a Cancel under this clause.

## Lifecycle

### States and the two deadlines

A parked request is Executing, then Ready, and then terminal: Delivered, Cancelled or Expired. DeferredRequestState in Annex A is the normative enumeration.

Executing and Ready are the states of a live parked request. The three terminal states are records of one that is not, kept so that Complete can say why there is nothing new to collect — and, for Delivered, so that it can hand over the same answer again (6.7.2).

Two deadlines govern a parked request, and conflating them is what would make an implementation ambiguous.

The response deadline is when the Server discards the response itself:

NOTE   ResponseDeadline = ParkedAt + min(MaxDeferralTime, RequestedDeferralTime where that is non-zero)

ExpiryTime in the response header shall state this deadline, and 6.7.3 discards the response at it. Because it depends only on values fixed when the request was parked, it never moves.

The record floor is how long the terminal record outlives the response, so that a Client following the retry contract is told why there is nothing to collect rather than being told there never was anything. A Server shall keep the record until at least

NOTE   RecordFloor = the later of LastDeferralResponseAt + the RetryAfter it last issued for that request, and ParkedAt + MinRetryAfter

The Client was told when to come back, so the record is still there when it does. Past that floor a Server may discard the record and answer Bad_DeferredRequestUnknown instead (6.5.1).

Neither value bounds retention from below against the events of 6.7.5: a Session that closes holding a parked response, a user identity that changes, and a Server that shuts down all discard a parked response before its response deadline, and are audited as Discarded so that the difference is visible.

### An effect happens once; a response may be replayed

A parked response is handed over on Complete, and the parked request becomes Delivered. It is not discarded. Until its response deadline the Server shall answer a further Complete for the same handle with the same response.

This is deliberate, and it is the difference between a mechanism that solves the problem and one that moves it. A Server cannot know whether a response it transmitted arrived: if the connection fails between transmission and receipt — which is precisely the condition that makes long operations hard — a delete-on-delivery rule leaves the Client with an effect it caused and an outcome it can never learn. That is the failure this specification exists to remove, and reintroducing it at the last step would defeat the whole mechanism.

What happens once is the effect. A Server shall not execute a parked request a second time under any circumstances, and a replayed response is byte-equivalent to the first, not a re-execution.

After the response deadline a further Complete returns Bad_DeferredRequestExpired, or Bad_DeferredRequestUnknown once the record floor has passed and the Server has discarded the record. A Server shall not answer Bad_DeferredRequestExpired while the response is still retained and collectable.

### Expiry

A Server shall discard a parked response at its response deadline (6.7.1), whether or not the work has finished and whether or not the response was collected, and shall answer a subsequent Complete with Bad_DeferredRequestExpired for as long as it keeps the record.

The response deadline runs from the moment the request is parked, not from the moment the response becomes ready, so a Client can compute it the instant it receives Bad_RequestNotComplete — before it knows anything else about how long the work will take. ExpiryTime states the same deadline as an absolute time, so a Client with a skewed clock and a Client with a slow link agree on it.

Expiry discards the answer. It does not stop the work, and it shall not be read as an undo (6.7.6). Where the work later finishes, its outcome still reaches the audit trail as a Completed transition (6.7.7).

### Cancel

Cancel (OPC 10000-4 §5.7.5) acts on a parked request as it acts on any other outstanding request: the parked response is discarded and the request counts towards cancelCount. A subsequent Complete returns Bad_RequestCancelledByRequest.

Cancel and Complete are the two halves of the same decision, which is why Complete reuses Cancel's parameter and placement: a Client that has a parked request either wants the answer or does not, and the Service it calls says which.

### The Session

A parked request belongs to its issuing Session. A Server shall discard every parked response of a Session when that Session closes or is abandoned, shall discard them when the Session's user identity changes through a subsequent ActivateSession, and shall answer a Complete from any other Session with Bad_DeferredRequestUnknown — not with Bad_UserAccessDenied, which would confirm that the handle exists to a caller with no business knowing it.

A parked request shall not be treated as Session activity for the purpose of the Session timeout. Work the Server is doing on its own is not evidence that the Client is still there, and a Session that stayed alive because of it would keep a user identity unexamined for as long as the work ran.

A parked response never leaves its Session. There is no reclaim by a later Session, by the same user or any other, and this is a deliberate limit rather than an omission. Reclaim across Sessions requires a notion of "the same user" that survives a Session, and OPC UA does not supply one: ActivateSession authenticates a token and says nothing about when two tokens presented at different times denote the same person. A Server could only approximate it from the value it uses to select Roles, which is routinely a group — so a mechanism built on it would entitle one operator to another operator's certificate-management result. No approximation is worth that.

The Session is a longer-lived thing than the connection, which is why this costs less than it appears. A Session survives the loss of the SecureChannel that carried it: OPC UA reconnect logic lets a Client re-establish a broken connection and reactivate the same Session, and the parked response is still there. What is lost is only the case where the Client process goes away — and for that, 6.7.7 already puts the outcome in the audit trail, which is what an operator needs and what a departed Client cannot use anyway.

Reconnect shall not weaken the channel. Because a Session can be reactivated on a new SecureChannel, the channel that collects a parked response need not be the one that parked it. A Server shall record the SecurityMode in force when a request was parked, and shall refuse a Complete arriving over a SecureChannel whose SecurityMode is weaker with Bad_SecurityModeInsufficient — without discarding the parked response, so a Client that reconnects badly can reconnect again properly. Without this, a response parked under SignAndEncrypt could be collected in cleartext over a None endpoint the Server also exposes, which for the certificate-management responses this specification exists to carry would be a downgrade with no warning.

### Authorization, and what a deferral does not do

Deferral moves when a response is delivered. It shall not move when the request is authorized: a Server shall perform every authorization check the Service requires before it parks the request, exactly as it would before executing it. A request the user may not make is refused, not parked.

Abandoning the answer is not cancelling the effect. Cancel and expiry both discard a parked response. Whether the work that response describes is undone is a property of the Service being deferred and of the Server, and this specification requires nothing of it. A Server shall not state or imply that discarding a parked response rolls anything back, and a Client shall not assume it.

That is not a gap left open; it is what a distributed operation actually is. A gateway that has already written a TrustList to two hundred devices cannot un-write it because the Client stopped listening, and a mechanism that promised otherwise would be promising something no implementation could keep. What the specification does require instead is that the outcome remains observable: 6.7.7 requires a Completed audit transition when the work finishes, whether or not any response was still being held and whether or not anyone collected it.

### Auditing

A Server that supports auditing shall generate an AuditDeferredRequestEventType Event for every transition of a parked request. DeferredRequestTransition in Annex A is the normative enumeration; the table below is the complete set, with the Outcome each carries.

Table 17 – Auditing

| Transition | Raised when | Outcome |
| --- | --- | --- |
| Deferred | The Server parked the request. | Good_CompletesAsynchronously — not yet known. |
| Continued | A Complete arrived and the response was not ready. A call refused with Bad_ServerTooBusy is not a Continued transition (6.6.3). | Good_CompletesAsynchronously — not yet known. |
| Completed | The work finished and its outcome became known. Raised whether or not a response is still held. | The serviceResult of the response. |
| Delivered | A Session collected the response, including a replay (6.7.2). | The serviceResult of the response. |
| Denied | A Complete was refused because the calling Session was not the one that parked the request (6.7.5), or because its SecureChannel was too weak to carry the response. A call refused by the retry floor is not a Denied transition (6.6.3). | The refusing StatusCode. |
| Cancelled | A Client abandoned the response with Cancel. | The serviceResult where the work had finished, Good_CompletesAsynchronously where it had not. |
| Expired | The response deadline passed. | As Cancelled. |
| Discarded | The response was discarded before its deadline because the issuing Session closed, its identity changed, or the Server shut down. | As Cancelled. |

This is deliberately stricter than the auditing of an ordinary request. A deferral separates the moment an effect is authorized from the moment its outcome is known, and permits the Client that authorized it to walk away in between, so the audit trail is the only record that spans both.

Completed is what makes that promise good. MaxDeferralTime expires a parked request whether or not the work is done (6.7.3), so an Expired transition alone would record Good_CompletesAsynchronously for the very requests whose outcome nobody else will ever see. Completed is raised when the answer exists, even if no Client is left to receive it, and it is therefore the transition an auditor reads to learn what actually happened.

Denied is what makes probing visible. A Complete for a handle the caller does not own is answered Bad_DeferredRequestUnknown and is indistinguishable, to that caller, from a handle that never existed — which is the point. Without a transition of its own, a campaign of such calls would leave no trace at all, and the deliberate opacity of the answer would have cost the Server its only signal.

The audit Event is itself a disclosure surface. It names the Session, the user, the Service and the timing of every parked request, so it is a strictly larger disclosure than the DeferredRequests Variable 6.9.2 restricts. A Server shall deliver AuditDeferredRequestEventType only to Sessions whose Roles include SecurityAdmin, and only over an encrypted SecureChannel. A Server that delivers it more widely shall omit RequestHandle, ServiceId and the inherited SessionId and ClientUserId for a Session that did not issue the request. Restricting the Variable and leaving the Event open would restrict nothing, since the Event carries more and arrives unbidden.

### Order of evaluation

Two things can happen to a parked request at once — a Cancel while a Complete is in flight, a deadline that passes while a response is being handed over — and a Client's view of the outcome must not depend on which the Server noticed first. A Server shall apply every transition of a parked request atomically, and shall resolve a Complete against the state in force when it began, in this order:

- A terminal state wins over throttling. Ready, Delivered, Cancelled and Expired are answered immediately; the retry floor is evaluated only for Executing (6.6.3).

- A Complete already resolved as Ready completes. A Cancel or a deadline that arrives after it began does not turn its answer into a fault; the collection is audited as Delivered, and the Cancel then applies to the Delivered record.

- Otherwise Cancel wins over expiry, which wins over a Complete that has not yet resolved. A Client that abandoned a response is told it abandoned it, rather than that it ran out of time.

The single-execution rule of 6.7.2 is unaffected by all of this: whichever order the Server resolves these in, the parked request's effect happened once.

## Interaction with other Services

Services that are never deferred. A Server shall not defer Complete, Cancel, Publish, Republish, CreateSession, ActivateSession, CloseSession, or any Service of the SecureChannel or Discovery Service Sets.

Complete and Cancel cannot be deferred without recursion. Publish is already a long poll and deferring it would replace one waiting mechanism with two. The Session Services establish the very context a parked request is scoped to: a parked ActivateSession would be a parked request belonging to a Session that does not yet exist, or whose identity is the thing in question. The Discovery Services are answered without a Session and therefore have nowhere to park.

Discovering deferral is never deferred. A Browse of ServerCapabilities and a Read of any Property of the AsyncServiceCapabilities Object shall be answered synchronously. Deferring them would be a bootstrap loop: a Client cannot learn DefaultRetryAfter — the value it needs in order to respond to a deferral at all — from a call that is itself deferred. Every other Browse and Read may be deferred like any other Service, subject to 6.6.1.

Call. Deferral is per request, not per operation. A Call carrying several methodsToCall is parked as a whole and its response is delivered as a whole, once every operation has settled. A Server shall not deliver a partial CallResponse.

This costs some parallelism — one slow device holds up the answers about nineteen fast ones — and buys a mechanism that is identical for every Service. Per-operation deferral would need a continuation identifier per operation, a partial-response encoding per Service, and a rule for what a Client does with a response half of whose entries are placeholders; and the Client that wants the fast answers separately can send them as separate requests, which is a thing it can already do.

Cancel. Covered by 6.7.4. A Cancel naming a handle that identifies both an in-flight request and a parked one cancels both, and counts both.

Subscriptions. Unaffected. A Client that would rather be told than ask subscribes to DeferredRequestCompletedEventType on the Server Object (6.9.4) and calls Complete once, when there is something to collect. The Event is an optimization of the retry contract and never a replacement: a Server shall honour a Complete that arrives without one, and a Client that receives no Event shall fall back on RetryAfter.

Server shutdown. A Server that is shutting down shall discard its parked responses, shall audit each as Discarded, and should answer any Complete that arrives with Bad_Shutdown. Parked responses are not required to survive a restart; the response deadline is the only guarantee a Client has, and it is bounded.

## The information model

The complete node reference is Annex A. This clause states what the Nodes are for.

The AddressSpace figures in this document use the OPC UA graphical notation of OPC 10000-3. A Node of an instance NodeClass — Object, Variable or View — is a plain rectangle, a Method is a rounded rectangle, and a type — ObjectType, VariableType, ReferenceType or DataType — is a rectangle standing on a shadow. An abstract type is set in italics, and a Node whose BrowseName is a placeholder is written in angle brackets. A HasTypeDefinition reference carries a solid arrowhead; a HasComponent reference is the plain unlabelled arrow; every other ReferenceType is drawn with its BrowseName on the arrow, and a HasInterface reference is dashed. A figure shows the part of the model its clause describes, never the whole of it.

Figure 6 – Graphical notation used by the AddressSpace figures

### Server capabilities

AsyncServiceCapabilitiesType, instanced as the well-known AsyncServiceCapabilities Object under ServerCapabilities, is the Server-wide answer. Its absence is how a Server says it never defers a request — a Client checks for the Object rather than discovering the fact from a Bad_RequestNotComplete it was not expecting.

<!-- model-figure: root=i=70000 require=mandatory external=BaseObjectType,ServerCapabilities -->

Figure 7 – The capabilities Object and where a Client finds it

DeferrableServices lists the request message DataTypes the Server may defer, exhaustively. A Service absent from the list is never deferred. The list is exhaustive rather than open because the alternative — an empty array meaning "anything" — would make the useful reading and the uninitialized reading identical, and a Client cannot tell a Server that defers everything from a Server that has not filled the Property in.

Every member of this type is Mandatory. A conformance unit that named an Optional member could not be verified against a legal Server, because omitting the member would be conformant. Where a capability is genuinely absent, it is expressed as a value — 0, FALSE, an empty array — which a Client can read and act on.

### Diagnostics

AsyncServiceDiagnosticsType, instanced as AsyncServiceDiagnostics under ServerDiagnostics, carries the counters and one record per parked request.

<!-- model-figure: root=i=70001 require=mandatory external=BaseObjectType,ServerDiagnostics -->

Figure 8 – The diagnostics Object and its counters

ExpiredCount and CompleteCount are the two an operator watches. A rising ExpiredCount says Clients are deferring and never returning, which is a Client defect that presents as Server memory. A high CompleteCount against a long StartTime says a Client is polling a Server that asked it not to.

DeferredRequests is security-related. It names the Session behind every parked request, the Service it called, when it called it and how often it has asked since. Aggregated across a Server, that is a record of which user is doing what long-running work and when — including work whose response they have not yet seen. A Server shall restrict the Variable to an encrypted SecureChannel, answering Bad_SecurityModeInsufficient otherwise, and shall express that restriction through the AccessRestrictions Attribute so a Client can discover it by reading rather than by failing.

Two projections, not one. A Server shall project DeferredRequests per Session — a Session sees the records of the requests it parked, and no others. A Server shall additionally allow a Session whose Roles include SecurityAdmin to read every record, because an operator diagnosing a Server full of uncollected responses is by definition not the user who parked them, and a projection that hid them from the only person who can act would make the diagnostics decorative. The administrative projection is a deliberate, Role-gated widening and not a hole: it is the same trade OPC 10000-5 §6.3.4 makes for SessionSecurityDiagnosticsArray.

The audit Event is a third surface, and the widest of the three. AuditDeferredRequestEventType carries the same per-request facts plus the inherited SessionId and ClientUserId, and it arrives unbidden at every Subscriber rather than waiting to be read. Restricting this Variable while leaving that Event open would restrict nothing; the 6.7.7 therefore gates the Event on the same Role.

The counters are Server-wide and are not projected. They aggregate without naming anyone, so they carry no information about an individual Session — which is why they can be read by an operator entitled to neither projection of DeferredRequests.

### DataTypes

CompleteRequest and CompleteResponse are the Service message types of the Complete Service, modelled as Structures with the three encodings exactly as every other Service's request and response pair is. They are in the model rather than only in the Service definition for a concrete reason: AsyncServiceCapabilities.DeferrableServices names a Service by the NodeId of its request message, so a Service absent from the model could not be named at all.

CompleteResponse carries DeferredServiceResult because a parked request that failed has no response message of its own to return, and a bare ServiceFault could not be told apart from a Complete that failed on its own account. The 6.5.1 sets out why that distinction has to be visible on the wire.

DeferralRequestHeaderDataType and DeferralResponseHeaderDataType are the two defined uses of the additionalHeader member that OPC 10000-4 §7.32 and §7.33 reserve. An application that does not understand them ignores them, which is what those clauses already require, so a Server that sends the response header to a Client that has never heard of it loses nothing.

The request header's presence is the Client's opt-in, and is the only thing that permits a Server to defer at all (6.6.1). Its members are preferences and never preconditions: a Server that cannot honour RequestedDeferralTime revises it down — never up, and never beyond MaxDeferralTime — rather than failing the request, so a Client that asks for something is never worse off than one that asks for nothing.

That one structure carries both jobs because the alternative — a separate Boolean saying "I understand deferral" beside a structure of preferences — would let a Client set one and omit the other, and a Server would have to decide what a preference from a Client that did not opt in means.

EstimatedCompletionTime is a forecast and ExpiryTime is a deadline. Only the second binds. They are separate members rather than one, because a Server that can estimate and a Server that cannot both have a deadline, and folding them together would make the one answer a Server often has — I do not know when, but you have until this time — inexpressible.

DeferredRequestState describes a parked request. DeferredRequestTransition describes what happened to one. They are separate enumerations because Continued and Denied are actions that leave the state unchanged, and an audit trail that recorded only states would not show that a Client asked or that one was turned away; and because Completed and Discarded are things that happen to a request without corresponding to any state it rests in.

### Events

DeferredRequestCompletedEventType is raised on the Server Object when a parked response becomes ready. It is an optimization of the retry contract, never a replacement for it: a Client that subscribes calls Complete once, when there is something to collect, and a Client that does not is unaffected because RetryAfter still governs.

<!-- model-figure: root=i=70010 require=mandatory external=BaseEventType -->

Figure 9 – The completion Event

The Event names a parked request, so it shall reach only the Session that parked it. A Server shall not deliver it to any other Session, however that Session's Event filter is written. Delivering it more widely would tell every subscriber which user is running which long operation, which is the same disclosure 6.6 restricts DeferredRequests to prevent, arriving by a different route.

ServiceResult carries the service-level serviceResult of the parked response and nothing more. For a Service whose response carries per-operation results — Call, Write, HistoryUpdate — a Good ServiceResult says the request was processed, not that every operation in it succeeded, and a Client that needs the per-operation outcomes shall call Complete and read them. What the Event saves is the polling, not the collection.

A Server shall hold the response until it is collected, cancelled or expires, whether or not the Event was delivered and whether or not any Client read it: a Client that receives the Event is not thereby deemed to have collected anything.

AuditDeferredRequestEventType reports every transition. It subtypes AuditSessionEventType and carries its own RequestHandle, following AuditCancelEventType, which is the existing audit event for the other Service that acts on an outstanding request by its handle.

<!-- model-figure: root=i=70011 require=mandatory external=AuditSessionEventType -->

Figure 10 – The audit Event

Because it names the Session and the user behind every parked request, a Server shall deliver it only to Sessions whose Roles include SecurityAdmin, and only over an encrypted SecureChannel; the 6.7.7 states the rule and the alternative for a Server that delivers it more widely. An Event that arrives unbidden is not a lesser disclosure than a Variable that has to be read — it is a greater one.

Its Outcome is the serviceResult of the parked response and is not the audit result. The inherited Status says whether the audited action succeeded — whether the Cancel was accepted, whether the Complete was answered — which is a different question from what the deferred Service returned. A Delivered transition with Status TRUE and an Outcome of Bad_UserAccessDenied is a successful delivery of a refusal, and both halves matter.

Where the outcome is not yet known — a Deferred transition, and an Expired transition for a request whose work had not finished — Outcome is Good_CompletesAsynchronously. That is the one StatusCode in OPC UA that says the answer is not here yet without claiming anything about what it will be, and an audit reader needs to tell "expired holding a result" from "expired still working".

## StatusCodes

Five StatusCodes are new. The most important one is not.

Table 18 – StatusCodes

| Symbolic id | Meaning |
| --- | --- |
| Bad_DeferralNotSupported | Complete was called on a Server that does not defer requests. |
| Bad_DeferredRequestUnknown | No parked request with that requestHandle is known to the calling Session. |
| Bad_DeferredRequestExpired | A parked request with that requestHandle existed and the Server discarded it. |
| Bad_TooManyDeferredRequests | A parking limit would be exceeded, and the Server could not answer synchronously. |
| Bad_RequestHandleInUse | A new request carries a requestHandle that already identifies a parked request on the same Session (6.6.4). |

Numeric values are provisional; final assignments are made by the OPC Foundation alongside the existing StatusCode registry.

The following are existing StatusCodes, reused:

Table 19 – StatusCodes (2)

| Symbolic id | Reused as |
| --- | --- |
| Bad_RequestNotComplete | "The request has not been processed by the server yet." Already OPC UA's poll-again code, defined for the pull-management FinishRequest Method of OPC 10000-12. Deferral generalizes the pattern it was written for, so it generalizes the code rather than adding a synonym beside it. |
| Bad_RequestCancelledByRequest | Returned by Complete for a parked request abandoned with Cancel, which is what the code already describes. |
| Bad_ServerTooBusy | Returned by Complete when it arrives sooner than MinRetryAfter after the previous one. |
| Bad_Shutdown | Returned by Complete when the Server is shutting down and has discarded its parked responses. |
| Bad_ServiceUnsupported | Returned for Complete by a Server that does not implement the Service, exactly as for any unimplemented Service. It is what distinguishes "I do not have this Service" from Bad_DeferralNotSupported, which says "I have it, and there is nothing I would defer". |
| Bad_SecurityModeInsufficient | Returned when DeferredRequests is read over an unencrypted SecureChannel (6.9.2), and when a Complete arrives over a SecureChannel weaker than the one its request was parked on (6.7.5). |
| Good_CompletesAsynchronously | Carried as the Outcome of a Deferred audit transition, whose result is not yet known. This specification adds no new use of it on the Service path: a deferred request is reported by Bad_RequestNotComplete, because a Client that does not implement Complete must not read a deferral as a success. |

## Relationship to other specifications

OPC 10000-12, push certificate management. Deferral is what lets a gateway answer ApplyChanges at all when the answer depends on devices behind it. It changes no Method signature and adds no Part 12 Node: the Methods stay exactly as they are, and the gateway's answer arrives through Complete instead of not arriving. Annex B works one deployment through. How a gateway reports per-device detail through a Method that returns one result is a separate question, and OPC 10000-12 v1.05.07 already answers it with the TransactionDiagnostics Object.

OPC 10000-12, pull certificate management. StartSigningRequest / FinishRequest is the pattern this specification generalizes, and it stays as it is. A Server that implements both offers a Client two ways to wait for the same class of work; nothing requires it to retire the older one, and a Client that already speaks it keeps working.

OPC 10000-14, PubSub. Unrelated. Deferral is about the request/response path; a Client that has moved its data to PubSub still uses Call and Write for the operations this specification defers.

<!-- BEGIN GENERATED: model-reference -->

<a id="annex-a"></a>

# OPC UA ObjectTypes

## AsyncServiceCapabilitiesType

Server-wide deferral limits and capabilities, exposed as the AsyncServiceCapabilities component of ServerCapabilities. Its absence is how a Server says it never defers a request, so a Client learns that from one Browse rather than from a Bad_RequestNotComplete it did not expect.

Table 20 – AsyncServiceCapabilitiesType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:AsyncServiceCapabilitiesType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasProperty | Variable | MaxDeferredRequests | UInt32 | PropertyType | M |
| HasProperty | Variable | MaxDeferredRequestsPerSession | UInt32 | PropertyType | M |
| HasProperty | Variable | MaxDeferralTime | Duration | PropertyType | M |
| HasProperty | Variable | DefaultRetryAfter | Duration | PropertyType | M |
| HasProperty | Variable | MinRetryAfter | Duration | PropertyType | M |
| HasProperty | Variable | DeferrableServices | NodeId[] | PropertyType | M |
| Conformance Units |  |  |  |  |  |
| ASE-Model |  |  |  |  |  |

## AsyncServiceDiagnosticsType

Counters and per-request records for deferred requests, exposed as the AsyncServiceDiagnostics component of ServerDiagnostics. It is what an operator reads to tell a Server that is slow from a Server whose Clients never collect what they asked for.

Table 21 – AsyncServiceDiagnosticsType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:AsyncServiceDiagnosticsType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasComponent | Variable | DeferredRequestCount | UInt32 | BaseDataVariableType | M |
| HasComponent | Variable | TotalDeferredCount | Counter | BaseDataVariableType | M |
| HasComponent | Variable | CompletedCount | Counter | BaseDataVariableType | M |
| HasComponent | Variable | ExpiredCount | Counter | BaseDataVariableType | M |
| HasComponent | Variable | CancelledCount | Counter | BaseDataVariableType | M |
| HasComponent | Variable | RejectedCount | Counter | BaseDataVariableType | M |
| HasComponent | Variable | DeferredRequests | DeferredRequestDiagnosticsDataType[] | BaseDataVariableType | M |
| Conformance Units |  |  |  |  |  |
| ASE-Diagnostics |  |  |  |  |  |

# OPC UA EventTypes

## DeferredRequestCompletedEventType

Raised when a parked response becomes ready to collect. A Client that subscribes to it calls Complete once, when there is something to collect, instead of polling until there is; a Client that cannot subscribe is unaffected, because RetryAfter remains the contract.

Table 22 – DeferredRequestCompletedEventType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:DeferredRequestCompletedEventType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the BaseEventType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasProperty | Variable | RequestHandle | IntegerId | PropertyType | M |
| HasProperty | Variable | ServiceId | NodeId | PropertyType | M |
| HasProperty | Variable | ServiceResult | StatusCode | PropertyType | M |
| HasProperty | Variable | CompletionTime | UtcTime | PropertyType | M |
| HasProperty | Variable | ExpiryTime | UtcTime | PropertyType | M |
| Conformance Units |  |  |  |  |  |
| ASE-CompletionEvents |  |  |  |  |  |

## AuditDeferredRequestEventType

Audit event for every transition of a parked request. A deferred request separates the moment an effect is authorized from the moment its outcome is known, and the Client that authorized it may never collect the answer, so the audit trail is the only record that spans both. It follows AuditCancelEventType, which is likewise an AuditSessionEventType carrying a requestHandle. It names the Session and the user behind every parked request, so it is delivered only to Sessions authorized to audit.

Table 23 – AuditDeferredRequestEventType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:AuditDeferredRequestEventType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the AuditSessionEventType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasProperty | Variable | RequestHandle | IntegerId | PropertyType | M |
| HasProperty | Variable | ServiceId | NodeId | PropertyType | M |
| HasProperty | Variable | Transition | DeferredRequestTransition | PropertyType | M |
| HasProperty | Variable | Outcome | StatusCode | PropertyType | M |
| Conformance Units |  |  |  |  |  |
| ASE-Auditing |  |  |  |  |  |

# OPC UA DataTypes

## DeferredRequestState

The state of a parked request. Delivered, Expired and Cancelled are terminal records rather than live requests: a Server keeps them so that Complete can say why there is nothing new to collect, and so that a response lost on the network can be collected again.

Table 24 – DeferredRequestState Items

| Name | Value | Description |
| --- | --- | --- |
| Executing | 0 | The Server is still working on the request. Complete returns Bad_RequestNotComplete. |
| Ready | 1 | The response is complete and parked. The next Complete returns it. |
| Expired | 2 | The response deadline passed before the response was collected and the Server discarded it. Complete returns Bad_DeferredRequestExpired. |
| Cancelled | 3 | The Client abandoned the response with Cancel. Complete returns Bad_RequestCancelledByRequest. |
| Delivered | 4 | The response was collected and is retained for replay until the response deadline. A Complete returns the same response again, so a Client that lost it to a broken connection is not left with an effect whose outcome it can never learn. |

Table 25 – DeferredRequestState definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:DeferredRequestState |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasProperty | Variable | EnumStrings | LocalizedText[5] | PropertyType |  |
| Conformance Units |  |  |  |  |  |
| ASE-Execution |  |  |  |  |  |
| ASE-Diagnostics |  |  |  |  |  |

## DeferredRequestTransition

The transitions of a parked request, as reported by AuditDeferredRequestEventType. They are transitions rather than states because Continued and Denied are actions that leave the state unchanged, and an audit trail that recorded only states would not show that a Client asked, or that one was turned away.

Table 26 – DeferredRequestTransition Items

| Name | Value | Description |
| --- | --- | --- |
| Deferred | 0 | The Server parked the request and answered Bad_RequestNotComplete. |
| Continued | 1 | A Client called Complete and the response was not yet ready. |
| Delivered | 2 | A Client collected the parked response, or collected it again by replay. |
| Denied | 3 | A Complete was refused because the calling Session was not the one that parked the request, or because the SecureChannel was too weak to carry the response. It is what makes a campaign of handle probing visible; a call refused by the retry floor is not a Denied transition, because it never examined the request. |
| Cancelled | 4 | A Client abandoned the parked response with Cancel. |
| Expired | 5 | The Server discarded the parked response because the response deadline passed. |
| Completed | 6 | The work finished and its outcome became known. It is raised even when no response is held any longer, which is the only way the outcome of a request that outlived its response deadline reaches the audit trail. |
| Discarded | 7 | The Server discarded the parked response before its response deadline because the issuing Session closed, its user identity changed, or the Server shut down. |

Table 27 – DeferredRequestTransition definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:DeferredRequestTransition |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasProperty | Variable | EnumStrings | LocalizedText[8] | PropertyType |  |
| Conformance Units |  |  |  |  |  |
| ASE-Auditing |  |  |  |  |  |

## DeferralRequestHeaderDataType

Carried in RequestHeader.additionalHeader, where its presence is how a Client says it understands deferral. A Server defers only a request that carries it, so a Client that has never heard of this specification is answered exactly as it is answered today. Its members are preferences and never preconditions: a request that carries the structure may still be answered synchronously.

Table 28 – DeferralRequestHeaderDataType Items

| Name | Value | Description |
| --- | --- | --- |
| RequestedDeferralTime |  | How long the Client would like the response held. The Server revises it down to MaxDeferralTime and never up. 0 means no preference and selects MaxDeferralTime. |

Table 29 – DeferralRequestHeaderDataType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:DeferralRequestHeaderDataType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasEncoding | Object | Default Binary |  | DataTypeEncodingType |  |
| HasEncoding | Object | Default XML |  | DataTypeEncodingType |  |
| HasEncoding | Object | Default JSON |  | DataTypeEncodingType |  |
| Conformance Units |  |  |  |  |  |
| ASE-Execution |  |  |  |  |  |

## DeferralResponseHeaderDataType

Carried in ResponseHeader.additionalHeader of every response that reports a request as parked. Because a Bad serviceResult travels as a ServiceFault, this structure is the only place a per-request hint can ride; the Client that cannot read it falls back on DefaultRetryAfter, which every Client can read.

Table 30 – DeferralResponseHeaderDataType Items

| Name | Value | Description |
| --- | --- | --- |
| RequestHandle |  | Echo of the requestHandle that identifies the parked request. It is echoed rather than assumed so that a Client whose stack does not surface the RequestHeader it sent can still key the parked request. |
| RetryAfter |  | How long to wait before the next Complete. Never below MinRetryAfter. |
| ExpiryTime |  | When the Server discards the parked response. |
| EstimatedCompletionTime |  | The Server's estimate of when the response will be ready, or a null DateTime when it cannot estimate. It is a forecast and never a commitment; ExpiryTime is the only deadline that binds. |

Table 31 – DeferralResponseHeaderDataType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:DeferralResponseHeaderDataType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasEncoding | Object | Default Binary |  | DataTypeEncodingType |  |
| HasEncoding | Object | Default XML |  | DataTypeEncodingType |  |
| HasEncoding | Object | Default JSON |  | DataTypeEncodingType |  |
| Conformance Units |  |  |  |  |  |
| ASE-Execution |  |  |  |  |  |

## DeferredRequestDiagnosticsDataType

One parked request, as reported by AsyncServiceDiagnostics. CompleteCount and StartTime are the two that matter in practice: together they separate a Client that is waiting patiently from one that is polling a Server it was asked not to.

Table 32 – DeferredRequestDiagnosticsDataType Items

| Name | Value | Description |
| --- | --- | --- |
| SessionId |  | The Session that issued the request. |
| RequestHandle |  | The requestHandle that identifies the parked request within that Session. |
| ServiceId |  | The DataType NodeId of the parked request message. |
| State |  | The state of the parked request. |
| StartTime |  | When the Server parked the request. |
| ExpiryTime |  | When the Server discards the parked response. |
| CompleteCount |  | How many times a Client has called Complete for this request. A call refused with Bad_ServerTooBusy is not counted, because it never examined the request. |

Table 33 – DeferredRequestDiagnosticsDataType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:DeferredRequestDiagnosticsDataType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasEncoding | Object | Default Binary |  | DataTypeEncodingType |  |
| HasEncoding | Object | Default XML |  | DataTypeEncodingType |  |
| HasEncoding | Object | Default JSON |  | DataTypeEncodingType |  |
| Conformance Units |  |  |  |  |  |
| ASE-Diagnostics |  |  |  |  |  |

## CompleteRequest

The Complete Service request. Its DataType NodeId is what AsyncServiceCapabilities.DeferrableServices uses to name a Service, and Complete itself is never deferrable.

Table 34 – CompleteRequest Items

| Name | Value | Description |
| --- | --- | --- |
| RequestHeader |  | Common request parameters. |
| RequestHandle |  | The requestHandle of the parked request, as it appeared in the RequestHeader of the deferred request. |

Table 35 – CompleteRequest definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:CompleteRequest |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasEncoding | Object | Default Binary |  | DataTypeEncodingType |  |
| HasEncoding | Object | Default XML |  | DataTypeEncodingType |  |
| HasEncoding | Object | Default JSON |  | DataTypeEncodingType |  |
| Conformance Units |  |  |  |  |  |
| ASE-Execution |  |  |  |  |  |

## CompleteResponse

The Complete Service response, returned when the parked response is itself a failure. A successful Complete for a parked request that succeeded is answered with the parked Service's own response message instead; a Complete that fails on its own account travels as a ServiceFault. This message is what keeps those two apart, which a bare ServiceFault could not: a parked ApplyChanges that failed and a Complete that arrived too soon would otherwise be the same message.

Table 36 – CompleteResponse Items

| Name | Value | Description |
| --- | --- | --- |
| ResponseHeader |  | Common response parameters. Its serviceResult is Good: the Complete succeeded, whatever the parked Service returned. |
| DeferredServiceResult |  | The serviceResult of the parked response. Always a Bad StatusCode; a parked response with a Good serviceResult is returned as the parked Service's own response message. |
| DeferredDiagnosticInfo |  | The serviceDiagnostics the parked response carried, whose string table is the ResponseHeader's. |

Table 37 – CompleteResponse definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:CompleteResponse |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| HasEncoding | Object | Default Binary |  | DataTypeEncodingType |  |
| HasEncoding | Object | Default XML |  | DataTypeEncodingType |  |
| HasEncoding | Object | Default JSON |  | DataTypeEncodingType |  |
| Conformance Units |  |  |  |  |  |
| ASE-Execution |  |  |  |  |  |

# Instances

## AsyncServiceCapabilities

Server-wide deferral capabilities. Its absence is how a Server says it never defers a request.

Table 38 – AsyncServiceCapabilities definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:AsyncServiceCapabilities |  |  |  |  |
| TypeDefinition | AsyncServiceCapabilitiesType |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Conformance Units |  |  |  |  |  |
| ASE-Model |  |  |  |  |  |

## AsyncServiceDiagnostics

Deferred request counters and the per-request records of the reading Session.

Table 39 – AsyncServiceDiagnostics definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 0:AsyncServiceDiagnostics |  |  |  |  |
| TypeDefinition | AsyncServiceDiagnosticsType |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Conformance Units |  |  |  |  |  |
| ASE-Diagnostics |  |  |  |  |  |

# Profiles and conformance units

Table 40 – Profiles and conformance units

| Conformance unit | Requires | Content |
| --- | --- | --- |
| ASE-Execution | ASE-Model | Complete (6.5), the deferral rules of 6.6 including the opt-in and the retry contract, the lifecycle of 6.7 excluding 6.7.7 auditing, the CompleteRequest, CompleteResponse, DeferralRequestHeaderDataType, DeferralResponseHeaderDataType and DeferredRequestState DataTypes (6.9.3), and the StatusCodes of 6.10. |
| ASE-Model | ASE-Execution | AsyncServiceCapabilitiesType and the well-known AsyncServiceCapabilities Object (6.9.1). |
| ASE-Diagnostics | ASE-Execution | AsyncServiceDiagnosticsType, the well-known AsyncServiceDiagnostics Object, DeferredRequestDiagnosticsDataType and the two projections of 6.9.2. |
| ASE-CompletionEvents | ASE-Execution | DeferredRequestCompletedEventType and the delivery restriction of 6.9.4. |
| ASE-Auditing | ASE-Execution | AuditDeferredRequestEventType, DeferredRequestTransition, and the obligation to raise an Event on every transition, with the outcomes and the delivery restriction of 6.7.7. |

ASE-Model and ASE-Execution require each other, and are two units rather than one because the model and the Services land in different Parts. Neither is claimable alone: a Server that published AsyncServiceCapabilities without implementing Complete would be advertising limits on something it does not do, and a Server that deferred without publishing the Object would contradict 6.9.1, which makes the Object's absence the statement that a Server never defers.

The full test assertion table is in the Part 4 errata §10.1.

# Namespaces

## Namespace metadata

The namespace metadata provide standardized information about the elements of this namespace, which an aggregating Server relies on. All Nodes defined by this document are static: they are identical in every Server, including the Value Attribute.

The information is provided as an Object of type NamespaceMetadataType, a component of the Namespaces Object of the Server Object. The NamespaceMetadataType ObjectType and its Properties are defined in OPC 10000-5. The same version information is carried by the ModelTableEntry of the UANodeSet XML file.

Table 41 – NamespaceMetadata Object for this document

| Property | DataType | Value |
| --- | --- | --- |
| NamespaceUri | String | http://opcfoundation.org/UA/ |
| NamespaceVersion | String | 1.05.05-draft |
| NamespacePublicationDate | DateTime | 2026-08-03 |
| IsNamespaceSubset | Boolean | True |
| StaticNodeIdTypes | IdType[] | 0 (Numeric) |
| StaticNumericNodeIdRange | NumericRange[] | 70000:71036 |
| StaticStringNodeIdPattern | String | -- |

The IsNamespaceSubset Property is True because the UANodeSet XML file contains only the Nodes this document adds, not the complete namespace. A Server that exposes the whole namespace sets it to False.

## Handling of OPC UA namespaces

Namespaces are used by OPC UA to create unique identifiers across different naming authorities. The NodeId and BrowseName Attributes are identifiers. A Node in the AddressSpace is unambiguously identified by its NodeId; a BrowseName is not unique and is used to build a browse path or to name a standard Property.

Table 42 – Namespaces used in an OpenUSD Server

| NamespaceURI | Description |
| --- | --- |
| http://opcfoundation.org/UA/ | Namespace for NodeIds and BrowseNames defined in the OPC UA specification (OPC 10000-3, OPC 10000-5). |
| Local Server URI | Namespace for Nodes defined in the local Server. This namespace shall have index 1. |
| http://opcfoundation.org/UA/xRegistry/ | Namespace of the RequiredModel that carries the abstract registry base types this document extends. |
| http://opcfoundation.org/UA/ | Namespace for NodeIds and BrowseNames defined in this document. |
| Vendor specific types | A Server may provide vendor-specific types derived from the types defined in this document, in one or more additional namespaces. |

The following table lists the namespaces and their indexes used for BrowseNames in this document. The default namespace of this document is not listed, because every BrowseName without a prefix uses it.

Table 43 – Namespaces used in this document

| NamespaceURI | Namespace Index | Example |
| --- | --- | --- |
| http://opcfoundation.org/UA/ | 0 | 0:EngineeringUnits |
| http://opcfoundation.org/UA/xRegistry/ | 1 | 1:ResourceType |

(normative) 

Asynchronous Service Execution namespace and mappings

NodeSet and supplementary files for Asynchronous Service Execution Information Model

An Information Model is formally defined in an XML file called a NodeSet This file conforms to the standard syntax defined in the Annex “Information Model XML Schema” OPC 10000-6, OPC Unified Architecture - Part 6: Mappings. It can be read and processed by a computer program.

An Information Model is identified by a URI – the so-called NamespaceUri.

A NamespaceUri follows one of these conventions:

http://opcfoundation.org/UA/ASE/

tag:opcfoundation.org,yyyy-MM:UA:ASE

Where ASE is described in 11 and yyyy-MM is the date when the NamespaceUri was first published. NamespaceUris are not network accessible URLs and the text should not suggest they are. The tag URI syntax allows authors to choose a URI that cannot be used as URL by mistake. Note that the date in the tag syntax is not the same as the PublicationDate for the NodeSet. It is set once when the URI is created and never changed.

The Online Reference provides a summary page for every NamespaceUri of released Information Models which has the form:

https://reference.opcfoundation.org/nodesets?u=http://opcfoundation.org/UA/

The Asynchronous Service Execution Information Model is identified by the following URI:

http://opcfoundation.org/UA/ASE/

Documentation for the NamespaceUri can be found here.

“here” is a hyperlink to the summary page of the Online Reference.

In the hyperlink, the http://opcfoundation.org/UA/ has to be replaced with the concrete URI for this specification.

The NodeSet associated with this version of specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/&v=0.1.0&i=1

The NodeSet associated with the latest version of the specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/&i=1

http://opcfoundation.org/UA/ is the NamespaceUri for the Information Model.

The 0.1.0 is the string in the NamespaceVersion from the Namespace Metadata (see 12.1). This value is also the value of the Version attribute in the NodeSet.

Supplementary files for the Asynchronous Service Execution Information Model can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/&v=0.1.0&i=2

The files associated with the latest version of the specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/&i=2

Supplementary files should be provided when appropriate (i.e., IRDI NodeSets or examples)

File Names

NodeIds: 	Opc.Ua.ASE.NodeIds.csv

NodeSet: 	Opc.Ua.ASE.NodeSet2.xml;

Any other files should have a prefix that provides context when the file is downloaded in a browser.

When DataTypes are defined in the NodeSet:

Opc.ua.ASE.Types.xsd –

The XML schema for the DataTypes defined by the specification;

Opc.ua.ASE.Types.bsd –

The OPC Binary schema for the DataTypes defined by the specification;

In case there is the need to reference individual files the following syntax should be added to the template:

https://reference.opcfoundation.org/files/<file>?u=<namespaceUri>&v=<version>
https://reference.opcfoundation.org/files/<file>?u=<namespaceUri>

for example:

https://reference.opcfoundation.org/files/StatusCode.csv?u=http://opcfoundation.org/UA/&v=1.05.02
https://reference.opcfoundation.org/files/StatusCode.csv?u=http://opcfoundation.org/UA/
https://reference.opcfoundation.org/files/Opc.Ua.Types.xsd?u=http://opcfoundation.org/UA/&v=1.05.02
https://reference.opcfoundation.org/files/Opc.Ua.Types.xsd?u=http://opcfoundation.org/UA/

Capability identifier

ServerCapabilityIdentifiers are defined in OPC 10000-12, OPC Unified Architecture - Part 12: Discovery and Global Services. They can be used for features, like certain information models, which are likely to be useful during the discovery process. The identifiers shall be short because of length restrictions for fields used in the mDNS specification.

The identifier shall be up to 6 characters. It is recommended to use the ASE introduced in the guideline, at the beginning of clause 11 if that meets the requirement of up to 6 characters.

Note, that such identifiers are not required. If not needed, this Annex section shall be deleted.

The capability identifier for this document shall be:

ASE

Node reference

The following table lists every Node this document defines, with the provisional NodeId assigned by the generator. It is generated from the UANodeSet and is informative for navigation; the UANodeSet is authoritative.

Table 44 – Nodes defined by this document

| NodeId | BrowseName | NodeClass | Description |
| --- | --- | --- | --- |
| i=70000 | AsyncServiceCapabilitiesType | ObjectType | Server-wide deferral limits and capabilities, exposed as the AsyncServiceCapabilities component of ServerCapabilities. Its absence is how a Server says it never defers a request, so a Client learns that from one Browse rather than from a Bad_RequestNotComplete it did not expect. |
| i=71000 | MaxDeferredRequests | Variable | The greatest number of parked responses the Server holds at one time, across every Session. A request that would take the Server past this number is answered synchronously or refused with Bad_TooManyDeferredRequests; it is never silently dropped. |
| i=71001 | MaxDeferredRequestsPerSession | Variable | The greatest number of parked responses the Server holds for one Session. It bounds one Session and nothing wider: a Client may open as many Sessions as MaxSessions allows, so this Property is not by itself a bound on what one user can reserve, and isolating users from one another is a Server matter this model does not describe. |
| i=71002 | MaxDeferralTime | Variable | The longest a Server holds a parked response before discarding it. It starts when the request is parked, not when the response becomes ready, so a Client can compute the deadline from the moment it receives Bad_RequestNotComplete. |
| i=71003 | DefaultRetryAfter | Variable | The interval a Client waits before each Complete when it cannot read the DeferralResponseHeaderDataType carried in ResponseHeader.additionalHeader. It is never below MinRetryAfter, so a Client that can read nothing else is never throttled for obeying the only value available to it. Every Client can read this Property, so the retry contract does not depend on a header that a stack may discard with the fault that carries it. |
| i=71004 | MinRetryAfter | Variable | The shortest interval the Server accepts between two Complete calls for the same parked request. A Client that calls more often is refused with Bad_ServerTooBusy. Without a published floor, a Client that ignores RetryAfter turns a deferral into a poll loop against the very Server that deferred because it was busy. |
| i=71005 | DeferrableServices | Variable | The DataType NodeIds of the request messages this Server may defer, listed exhaustively. A Service absent from the list is never deferred, so a Client knows before it calls whether an answer can arrive late. |
| i=70001 | AsyncServiceDiagnosticsType | ObjectType | Counters and per-request records for deferred requests, exposed as the AsyncServiceDiagnostics component of ServerDiagnostics. It is what an operator reads to tell a Server that is slow from a Server whose Clients never collect what they asked for. |
| i=71006 | DeferredRequestCount | Variable | The number of parked responses the Server currently holds, in any state. |
| i=71007 | TotalDeferredCount | Variable | The number of requests the Server has parked since it started. |
| i=71008 | CompletedCount | Variable | The number of parked responses collected by a Complete since the Server started. |
| i=71009 | ExpiredCount | Variable | The number of parked responses discarded because MaxDeferralTime elapsed before they were collected. A rising count is the signature of Clients that defer and never return. |
| i=71010 | CancelledCount | Variable | The number of parked responses abandoned with Cancel since the Server started. |
| i=71011 | RejectedCount | Variable | The number of requests refused with Bad_TooManyDeferredRequests because a parking limit would have been exceeded. |
| i=71012 | DeferredRequests | Variable | One record per parked response the reading Session issued. Empty when it holds none. It names who is running what long operation and when, so it carries the EncryptionRequired AccessRestriction and is projected per Session. |
| i=70010 | DeferredRequestCompletedEventType | ObjectType | Raised when a parked response becomes ready to collect. A Client that subscribes to it calls Complete once, when there is something to collect, instead of polling until there is; a Client that cannot subscribe is unaffected, because RetryAfter remains the contract. |
| i=71013 | RequestHandle | Variable | The requestHandle of the parked request, as the Client sent it in the RequestHeader. It is the only identifier the mechanism uses, so a Client keys the Event to its own outstanding work without holding a Server-assigned ticket. |
| i=71014 | ServiceId | Variable | The DataType NodeId of the parked request message, so a Client that deferred several different Services can tell which one completed. |
| i=71015 | ServiceResult | Variable | The service-level serviceResult the parked response carries. For a Service whose response holds per-operation results it says the request was processed, not that every operation in it succeeded. |
| i=71016 | CompletionTime | Variable | When the response became ready. |
| i=71017 | ExpiryTime | Variable | When the Server discards the parked response. A Client has until this time to call Complete. |
| i=70011 | AuditDeferredRequestEventType | ObjectType | Audit event for every transition of a parked request. A deferred request separates the moment an effect is authorized from the moment its outcome is known, and the Client that authorized it may never collect the answer, so the audit trail is the only record that spans both. It follows AuditCancelEventType, which is likewise an AuditSessionEventType carrying a requestHandle. It names the Session and the user behind every parked request, so it is delivered only to Sessions authorized to audit. |
| i=71018 | RequestHandle | Variable | The requestHandle of the request this transition belongs to. |
| i=71019 | ServiceId | Variable | The DataType NodeId of the deferred request message. |
| i=71020 | Transition | Variable | The transition being reported. |
| i=71021 | Outcome | Variable | The serviceResult of the parked response for a Delivered transition, and for an Expired transition whose work had finished. It is the refusing StatusCode for a Denied transition, and Good_CompletesAsynchronously wherever the outcome is not yet known: a Deferred transition, and an Expired transition for a request whose work had not finished. It is the service result, not the audit result: the inherited Status Property says whether the audited action succeeded, which is a different question from what the deferred Service returned. |
| i=70030 | DeferredRequestState | DataType | The state of a parked request. Delivered, Expired and Cancelled are terminal records rather than live requests: a Server keeps them so that Complete can say why there is nothing new to collect, and so that a response lost on the network can be collected again. |
| i=70930 | EnumStrings | Variable |  |
| i=70031 | DeferredRequestTransition | DataType | The transitions of a parked request, as reported by AuditDeferredRequestEventType. They are transitions rather than states because Continued and Denied are actions that leave the state unchanged, and an audit trail that recorded only states would not show that a Client asked, or that one was turned away. |
| i=70931 | EnumStrings | Variable |  |
| i=70032 | DeferralRequestHeaderDataType | DataType | Carried in RequestHeader.additionalHeader, where its presence is how a Client says it understands deferral. A Server defers only a request that carries it, so a Client that has never heard of this specification is answered exactly as it is answered today. Its members are preferences and never preconditions: a request that carries the structure may still be answered synchronously. |
| i=71022 | Default Binary | Object |  |
| i=71023 | Default XML | Object |  |
| i=71024 | Default JSON | Object |  |
| i=70033 | DeferralResponseHeaderDataType | DataType | Carried in ResponseHeader.additionalHeader of every response that reports a request as parked. Because a Bad serviceResult travels as a ServiceFault, this structure is the only place a per-request hint can ride; the Client that cannot read it falls back on DefaultRetryAfter, which every Client can read. |
| i=71025 | Default Binary | Object |  |
| i=71026 | Default XML | Object |  |
| i=71027 | Default JSON | Object |  |
| i=70034 | DeferredRequestDiagnosticsDataType | DataType | One parked request, as reported by AsyncServiceDiagnostics. CompleteCount and StartTime are the two that matter in practice: together they separate a Client that is waiting patiently from one that is polling a Server it was asked not to. |
| i=71028 | Default Binary | Object |  |
| i=71029 | Default XML | Object |  |
| i=71030 | Default JSON | Object |  |
| i=70035 | CompleteRequest | DataType | The Complete Service request. Its DataType NodeId is what AsyncServiceCapabilities.DeferrableServices uses to name a Service, and Complete itself is never deferrable. |
| i=71031 | Default Binary | Object |  |
| i=71032 | Default XML | Object |  |
| i=71033 | Default JSON | Object |  |
| i=70036 | CompleteResponse | DataType | The Complete Service response, returned when the parked response is itself a failure. A successful Complete for a parked request that succeeded is answered with the parked Service's own response message instead; a Complete that fails on its own account travels as a ServiceFault. This message is what keeps those two apart, which a bare ServiceFault could not: a parked ApplyChanges that failed and a Complete that arrived too soon would otherwise be the same message. |
| i=71034 | Default Binary | Object |  |
| i=71035 | Default XML | Object |  |
| i=71036 | Default JSON | Object |  |
| i=70100 | AsyncServiceCapabilities | Object | Server-wide deferral capabilities. Its absence is how a Server says it never defers a request. |
| i=70101 | AsyncServiceDiagnostics | Object | Deferred request counters and the per-request records of the reading Session. |

(informative)

A worked gateway deployment

A GDS pushes a new TrustList to a Server that is a gateway for 500 field devices. The gateway holds the OPC UA Session; the devices behind it are reached over a fieldbus that answers in its own time.

The exchange

Table 45 – The exchange

| Step | Call | Answer |
| --- | --- | --- |
| 1 | GDS reads ServerCapabilities | AsyncServiceCapabilities present. DeferrableServices includes the Call request. MaxDeferralTime 3600 s, DefaultRetryAfter 30 s, MinRetryAfter 10 s. |
| 2 | TrustList.Open, Write, CloseAndUpdate, requestHandle 41 | The gateway stages the list locally. ApplyChangesRequired TRUE — a transaction is open (OPC 10000-12 §7.10.2). Answered synchronously; nothing has reached a device yet. |
| 3 | ApplyChanges, requestHandle 42, carrying a DeferralRequestHeaderDataType | The header is the GDS saying it implements Complete, so the gateway may defer. It reserves a parking slot, begins distributing and parks the request. Bad_RequestNotComplete, with RetryAfter 120 s and ExpiryTime now + 3600 s. |
| 4 | Complete(42) after 120 s | Bad_RequestNotComplete, RetryAfter 300 s. 380 devices have answered. A Continued audit transition is raised. |
| 5 | The GDS's connection drops | The Session outlives the SecureChannel. The GDS reconnects and reactivates the same Session, over an endpoint at least as strong as the one it parked on, and the parked response is still there (6.7.5). |
| 6 | Complete(42) | The parked CallResponse for ApplyChanges, and a Delivered audit transition. |
| 7 | The connection drops as the response is transmitted; Complete(42) again | The same CallResponse, replayed from the Delivered record. The distribution is not repeated (6.7.2). |

Had the GDS gone away for good rather than reconnecting, the gateway would still have raised a Completed transition carrying the outcome the moment the last device answered, and an Expired transition when the response deadline passed — so the deployment is recorded even though nobody ever collected it.

Step 5 is why a parked response does not need to outlive its Session. The case a Client actually meets is a broken connection, and OPC UA already carries a Session across one; the case it does not meet often — its own process ending mid-operation — is the case where the audit trail, not the response, is what anyone will read afterwards.

The five outcomes, and which of them this specification addresses

The scenarios that motivate this work are a mixture of two different problems, and separating them is the point.

Table 46 – The five outcomes, and which of them this specification addresses

| Scenario | What actually happens | Whose problem |
| --- | --- | --- |
| The device answers promptly | Its result is included when the response is assembled. | Neither. |
| The device is slower than the Client's timeout | The gateway parks the request and the GDS collects the answer later. | Deferral. Without it there is no answer at all, only Bad_Timeout. |
| The device is unreachable right now | The gateway retries until its own deadline and reports Bad_NoCommunication for that device. | Deferral makes the report deliverable; the code itself already exists. |
| The device will never be reachable | The gateway stops retrying and reports Bad_NotConnected for that device. | As above. |
| The device has been replaced | The gateway reports Bad_CertificateInvalid or Bad_ConfigurationError for that device, depending on what it can tell. | As above. |

Three of the five need no new result code. They need the response that carries the code to be deliverable at all, which is what a deferral provides, and they need somewhere to put per-device detail, which is what TransactionDiagnostics already provides. Only the second row is a genuine gap in the Service layer, and it is the one this specification fills.

This is why the specification defines no new target unreachable result code. A gateway that cannot reach a device has the codes it needs; what it did not have was a way to say ask me again.

<a id="annex-c"></a>

(informative)

Choosing between deferral and the alternatives

Table 47 – Choosing between deferral and the alternatives

|  | Deferral (Complete) | Ticket Method | Publish long poll | Raise timeoutHint |
| --- | --- | --- | --- | --- |
| Works for | Any deferrable Service | The one Method it was written for | Subscription notifications | Any Service |
| Survives a broken connection | Yes, on Session reconnect | Usually yes | No | No |
| Survives the Client process ending | No — the audit trail carries the outcome instead | Usually yes | No | No |
| New Nodes per use case | None | An identifier, a poll Method, lifetime rules | None | None |
| Retry pacing | Server-advertised and enforced | Unspecified | N/A | N/A |
| Legacy Client sees | Exactly today's behaviour: it never opts in, so it is never deferred | A Method it does not call | Normal operation | A very long wait |
| Duplicate-effect risk | None — a Client that did not opt in is never deferred (6.6.1) | Not applicable | Not applicable | High on reconnect |
| Cost | One Service, five StatusCodes, eleven types | Rebuilt per specification | — | Held resources |

Use a deferral when the work is a Service call whose answer may outlast the call. Use a ticket Method where one already exists and Clients speak it. Use a Subscription when the Server has something to say that no Client asked for. Do not raise timeoutHint past a few seconds: it converts a Server-side delay into a Client-side outage.

_____________

—————————