| Logo of OPC Foundation, only if this is a joint work. Both logos shall be side by side.. |  | Logo of other organization. Both logos shall be side by side.. | OPC UA Companion Specification |
| --- | --- | --- | --- |
| OPC nnnnn-m |  |  |  |
| OPC UA for <Title> Part <mm>: <Part Name> Draft 1.xy YYYY-MM-DD Edit the advanced properties to complete the title page. Boxes are used to provide context or guidelines on expected content. Any words or phrases written in red font colour shall be replaced by actual values as appropriate for the companion specification. |  |  |  |

| Specification Type: | Industry Standard Specification | Comments: |  |
| --- | --- | --- | --- |
| Doc-Number | OPC nnnnn-m |  |  |
| Title: | OPC UA for <Title> Part <mm> :<Part Name> | Date: | YYYY-MM-DD |
| Version: | Draft 1.xy | Software: | MS-Word |
|  |  | Source: | OPC 20020 - UA Companion Specification Template v1.01.18.docx |
| Author: | <organization> | Status: | Draft |

Template Revisions

| Version | Date | Description |
| --- | --- | --- |
| 1.01.09 | Mar 09, 2020 | M-4665: Link to NodeSet indicates that also ERRATA, Amendments or Revisions are applied. Fixed various styles. |
| 1.01.10 | Apr 29, 2020 | Minor update for the Value attribute (M-5314). |
| 1.01.11 | July 09, 2020 | M-5595: Added better wording and recommendations for NamespaceMetadata as suggested. M-5520: Fixed quotation marks. M-5781: Title "Additional Variable Attributes" misleading. M-5673: Added HasInterface Reference to figure. M-5468: Use of Namespace Index also in Method signatures. M-5789: Clarify use of NamespaceIndex for Profiles or ConformanceUnits in other specifications. |
| 1.01.12 | Nov 16, 2020 | M-5904: BrowseName convention for placeholders. M-6184: The "additional attributes" table shall not be restricted to Value and Description. M-6183: Fix heading names for columns with a browse path. M-6112: Add an example state machine. M-6185: Add new table types to conventions. |
| 1.01.13 | Feb 17, 2021 | M-6302: Updated format for NamespaceMetadata table to make it validatable. M-6317: Added guideline for uncaptioned embedded figures. |
| 1.01.14 | Nov 15, 2021 | M-6264: GeneratesEvent example added. M-7147: Added abbreviated terms used in template. M-6265: No HasSubtype References. M-7265: Added max size for ConformanceUnit description. M-6612: Added definition of capability ID (Annex A.2). M-6150: Extended tables with Conformance Units row. |
| 1.01.15 | Oct 01, 2022 | M-7528: Namespace index also for the “Subtype of” rows. M-8025: Added missing BrowsePath tables for subcomponents. M-6776: Changed the examples for Structure and Union to start with an uppercase character. M-7341: Added extended definition for structures. |
| 1.01.16 | Mar 14, 2023 | M-8638: Updated URL format for schema files (Annex A). Updated URL format for normative references to documents (Clause 2). |
| 1.01.17 | Nov 17, 2023 | M-9196: Conformance Units and Profiles should be in profile database. M-8765: Added URL syntax for individual files. M-9170: Casing of UANodeSet wrong. M-9182: Added reference to IEC specifications. |
| 1.01.18 | Dec 03, 2024 | M-9275: Missing value rank 0. M-9270: Added guidelines to make figures smaller. M-8648: Well-Known BrowseNames. M-9723: Hyperlinks to online reference. |
| 1.01.19 | Jan 21, 2025 | M-9833: Added description on issue reporting to the “Agreement of Use”. |

CONTENTS

1	Scope	1

2	Normative references	1

3	Terms, abbreviated terms and conventions	3

3.1	Overview	3

3.2	OPC UA for <title> terms	3

3.3	Abbreviated terms	4

3.4	Conventions used in this document	4

3.4.1	Conventions for Node descriptions	4

3.4.2	NodeIds and BrowseNames	7

3.4.3	Common Attributes	8

3.4.4	Structures	9

4	EDITING Guidelines	11

4.1	Guideline 1: How to add FIGURES	11

4.2	Guideline 2: Heading capitalization	11

4.3	Guideline 3: Do not use HasSubtype References in Type definition tables	11

4.4	Guideline 4: Reduce the size of embedded figures to make document smaller	12

4.5	Guideline 5: Do not use Hyperlinks to the online reference	13

5	General information to <title> and OPC UA	14

5.1	Introduction to <title>	14

5.2	Introduction to OPC Unified Architecture	14

5.2.1	What is OPC UA?	14

5.2.2	Basics of OPC UA	14

5.2.3	Information modelling in OPC UA	15

6	Use cases	19

7	<title> Information Model overview	20

8	OPC UA ObjectTypes	20

8.1	<some>Type definition	20

8.1.1	Overview	20

8.1.2	ObjectType definition	20

8.1.3	<some>Method	24

8.2	ExampleStateMachineType	25

9	OPC UA EventTypes	27

9.1	<some>EventType	27

10	OPC UA VariableTypes	27

10.1	<some>VariableType	27

11	OPC UA DataTypes	28

11.1	<someStructure>	28

11.2	<someUnion>	28

11.3	<someEnumeration>	29

11.4	<someOptionSet>	29

12	OPC UA ReferenceTypes	30

12.1	<someReferenceType>	30

13	Instances	30

13.1	<someInstance>	30

14	Well-Known BrowseNames	31

14.1	Well-Known <Type> BrowseNames	31

15	Profiles and Conformance Units	32

16	Namespaces	33

16.1	Namespace Metadata	33

16.2	Handling of OPC UA Namespaces	33

Annex A (normative)   <Title> Namespace and mappings	35

A.1	NodeSet and supplementary files for <Title> Information Model	35

A.2	Capability Identifier	36

Figures

Figure 1 – The scope of OPC UA within an enterprise	15

Figure 2 – A basic Object in an OPC UA Address Space	16

Figure 3 – The relationship between Type Definitions and Instances	17

Figure 4 – Examples of References between Objects	18

Figure 5 – The OPC UA Information Model notation	18

Tables

Table 1 – Examples of DataTypes	5

Table 2 – Type Definition Table	6

Table 3 – Examples of Other characteristics	6

Table 4 – <some>Type additional References	6

Table 5 – <some>Type additional subcomponents	7

Table 6 – <some>Type Attribute values for child Nodes	7

Table 7 – Common Node Attributes	8

Table 8 – Common Object Attributes	8

Table 9 – Common Variable Attributes	9

Table 10 – Common VariableType Attributes	9

Table 11 – Common Method Attributes	9

Table 12 – Structures without optional fields where none of the fields allow subtypes	10

Table 13 – Structures with optional fields	10

Table 14 – Structures where one or more of the fields allow subtypes	10

Table 15 – <Table With Embedded Graphics>	11

Table 16 – <some>Type definition	20

Table 17 – <some>Type additional References	21

Table 18 – <some>Type additional subcomponents	22

Table 19 – <some>Type Attribute values for child Nodes	23

Table 20 – <some>Method Method Arguments	24

Table 21 – <some>Method Method AddressSpace definition	24

Table 22 – ExampleStateMachineType definition	25

Table 23 – ExampleStateMachineType additional References	25

Table 24 – ExampleStateMachineType Attribute values for child Nodes	26

Table 25 – <some>EventType definition	27

Table 26 – <some>Type definition	27

Table 27 – <someStructure> Structure (with field that allows subtypes)	28

Table 28 – <someStructure> definition	28

Table 29 – <someUnion> Union	28

Table 30 – <someUnion> definition	28

Table 31 – <someEnumeration> Items	29

Table 32 – <someEnumeration> definition	29

Table 33 – <someOptionSet> Values	29

Table 34 – <someOptionSet> definition	29

Table 35 – <someReferenceType> definition	30

Table 36 – <someInstance> definition	30

Table 37 – Well-Known <Type> BrowseNames	31

Table 39 – NamespaceMetadata Object for this document	33

Table 40 – Namespaces used in a <title> Server	34

Table 41 – Namespaces used in this document	34

<OPC FOUNDATION (if joint work)>, <other organization>

____________

This work (OPC UA Companion Specification Template, by OPC Foundation), identified by OPC Foundation, is free of known copyright restrictions.

<Remove the above Public Domain notice and add a copyright date in the following Agreement of use for the completed specification. If possible (but not legally required), provide attribution to the original author in the following way:

“This specification is a derivative work of the public domain document OPC UA Companion Specification Template, by OPC Foundation”

>

AGREEMENT OF USE

<For joint work, this is the agreement accepted by OPC Foundation and used by most if not all joint companion specifications.

Changes to this agreement will require OPC Foundation review. For non-joint work replace this section with appropriate agreement of use and copyright verbiage.>

COPYRIGHT RESTRICTIONS

- This document is provided "as is" by the <OPC Foundation (if joint work)> and the <other organization>.

- Right of use for this specification is restricted to this specification and does not grant rights of use for referred documents.

- Right of use for this specification will be granted without cost.

- This document may be distributed through computer systems, printed or copied as long as the content remains unchanged and the document is not modified.

- <OPC Foundation (if joint work)> and <other organization> do not guarantee usability for any purpose and shall not be made liable for any case using the content of this document.

- The user of the document agrees to indemnify <OPC Foundation (if joint work)> and <other organization> and their officers, directors and agents harmless from all demands, claims, actions, losses, damages (including damages from personal injuries), costs and expenses (including attorneys' fees) which are in any way related to activities associated with its use of content from this specification.

- The document shall not be used in conjunction with company advertising, shall not be sold or licensed to any party.

- The intellectual property and copyright is solely owned by the <OPC Foundation (if joint work)> and the <other organization>.

PATENTS

The attention of adopters is directed to the possibility that compliance with or adoption of OPC or <other organization> specifications may require use of an invention covered by patent rights. OPC Foundation or <other organization> shall not be responsible for identifying patents for which a license may be required by any OPC or <other organization> specification, or for conducting legal inquiries into the legal validity or scope of those patents that are brought to its attention. OPC or <other organization> specifications are prospective and advisory only. Prospective users are responsible for protecting themselves against liability for infringement of patents.

WARRANTY AND LIABILITY DISCLAIMERS

WHILE THIS PUBLICATION IS BELIEVED TO BE ACCURATE, IT IS PROVIDED "AS IS" AND MAY CONTAIN ERRORS OR MISPRINTS. THE OPC FOUDATION NOR <other organization> MAKES NO WARRANTY OF ANY KIND, EXPRESSED OR IMPLIED, WITH REGARD TO THIS PUBLICATION, INCLUDING BUT NOT LIMITED TO ANY WARRANTY OF TITLE OR OWNERSHIP, IMPLIED WARRANTY OF MERCHANTABILITY OR WARRANTY OF FITNESS FOR A PARTICULAR PURPOSE OR USE. IN NO EVENT SHALL THE OPC FOUNDATION NOR <other organization> BE LIABLE FOR ERRORS CONTAINED HEREIN OR FOR DIRECT, INDIRECT, INCIDENTAL, SPECIAL, CONSEQUENTIAL, RELIANCE OR COVER DAMAGES, INCLUDING LOSS OF PROFITS, REVENUE, DATA OR USE, INCURRED BY ANY USER OR ANY THIRD PARTY IN CONNECTION WITH THE FURNISHING, PERFORMANCE, OR USE OF THIS MATERIAL, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH DAMAGES.

The entire risk as to the quality and performance of software developed using this specification is borne by you.

RESTRICTED RIGHTS LEGEND

This Specification is provided with Restricted Rights. Use, duplication, or disclosure by the U.S. government is subject to restrictions as set forth in (a) this Agreement pursuant to DFARs 227.7202-3(a); (b) subparagraph (c)(1)(i) of the Rights in Technical Data and Computer Software clause at DFARs 252.227-7013; or (c) the Commercial Computer Software Restricted Rights clause at FAR 52.227-19 subdivision (c)(1) and (2), as applicable. Contractor / manufacturer are the OPC Foundation, 16101 N. 82nd Street, Suite 3B, Scottsdale, AZ, 85260-1830

COMPLIANCE

The combination of <other organization> and OPC Foundation shall at all times be the sole entities that may authorize developers, suppliers and sellers of hardware and software to use certification marks, trademarks, or other special designations to indicate compliance with these materials as specified within this document. Products developed using this specification may claim compliance or conformance with this specification if and only if the software satisfactorily meets the certification requirements set by <other organization> or the OPC Foundation. Products that do not meet these requirements may claim only that the product was based on this specification and must not claim compliance or conformance with this specification.

Trademarks

Most computer and software brand names have trademarks or registered trademarks. The individual trademarks have not been listed here.

GENERAL PROVISIONS

Should any provision of this Agreement be held to be void, invalid, unenforceable, or illegal by a court, the validity and enforceability of the other provisions shall not be affected thereby.

This Agreement shall be governed by and construed under the laws of Germany.

This Agreement embodies the entire understanding between the parties with respect to, and supersedes any prior understanding or agreement (oral or written) relating to, this specification.

ISSUE REPORTING

If an error or problem is found in this specification, the UaNodeSet, or any associated supplementary files, it should be reported as an issue.

The reporting process can be found here: https://opcfoundation.org/resources/issue-tracking/

The Link to the issue tracking project for this document is here:

https://mantis.opcfoundation.org/set_project.php?project_id=<nnn>&make_default=no

<nnn> is the project_id in Mantis which is created for any document when requested by the working group. Example: https://mantis.opcfoundation.org/set_project.php?project_id=142&make_default=no is the Link for OPC 40001-* (Machinery).

If you have no Mantis Project or do not know the project_id, please send a request to TechnicalDirector@opcfoundation.org.

Revision x.y Highlights

<Revision Highlights specify the interesting changes to the previous revision. Such a "Revision Highlights" clause will not exist in the first revision.>

The table below follows the design and process used for the OPC UA specification. All "interesting" changes need to be reported in the problem tracking tool used for the specification. The OPC Foundation uses Mantis and provides it for companion specs as well. If a different problem tracking tool is used, "Mantis" needs to be replaced.

<The two rows in the following table are just examples. Note that the "Mantis IDs" are real hyperlinks – when clicked the reader opens the Mantis page.>

Scope shall specify the type of change. The three options are Errata (corrected something that was wrong), Clarification (make something clearer that was not wrong), and Feature (added new functionality).

The following table includes the Mantis issues resolved with this revision.

| Mantis ID | Scope | Summary | Resolution |
| --- | --- | --- | --- |
| 3165 | Errata | Wrong variable data types in Program example. | Fixed datatypes and replaced Table A.14 by description of the variables. |
| 3521 | Clarification | Modelling rules for states and transitions. | Removed the modelling rules from state and transition objects as they are never created (multiple tables). |

MAIN TITLE IN CAPITAL LETTERS –

Part X: Second part of the title in normal letters

# Scope

This document XXXXX specifies / establishes / ...

<Specify what this document covers. Look into other companion specs for examples.>

OPC Foundation

OPC is the interoperability standard for the secure and reliable exchange of data and information in the industrial automation space and in other industries. It is platform independent and ensures the seamless flow of information among devices from multiple vendors. The OPC Foundation is responsible for the development and maintenance of this standard.

OPC UA is a platform independent service-oriented architecture that integrates all the functionality of the individual OPC Classic specifications into one extensible framework. This multi-layered approach accomplishes the original design specification goals of:

- Platform independence: from an embedded microcontroller to cloud-based infrastructure

- Secure: encryption, authentication, authorisation, and auditing

- Extensible: ability to add new features including transports without affecting existing applications

- Comprehensive information modelling capabilities: for defining any model from simple to complex

<other organization>

# Normative references

The following referenced documents are indispensable for the application of this document. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments and errata) applies.

NOTE The OPC UA core specifications are regularly published as IEC 62541.

<Insert only references that apply to this document. Following are examples only>

OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts

http://www.opcfoundation.org/documents/10000-1/

OPC 10000-2, OPC Unified Architecture - Part 2: Security Model

http://www.opcfoundation.org/documents/10000-2/

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model

http://www.opcfoundation.org/documents/10000-3/

OPC 10000-4, OPC Unified Architecture - Part 4: Services

http://www.opcfoundation.org/documents/10000-4/

OPC 10000-5, OPC Unified Architecture - Part 5: Information Model

http://www.opcfoundation.org/documents/10000-5/

OPC 10000-6, OPC Unified Architecture - Part 6: Mappings

http://www.opcfoundation.org/documents/10000-6/

OPC 10000-7, OPC Unified Architecture - Part 7: Profiles

http://www.opcfoundation.org/documents/10000-7/

OPC 10000-8, OPC Unified Architecture - Part 8: Data Access

http://www.opcfoundation.org/documents/10000-8/

OPC 10000-9, OPC Unified Architecture - Part 9: Alarms and Conditions

http://www.opcfoundation.org/documents/10000-9/

OPC 10000-10, OPC Unified Architecture - Part 10: Programs

http://www.opcfoundation.org/documents/10000-10/

OPC 10000-11, OPC Unified Architecture - Part 11: Historical Access

http://www.opcfoundation.org/documents/10000-11/

OPC 10000-12, OPC Unified Architecture - Part 12: Discovery and Global Services

http://www.opcfoundation.org/documents/10000-12/

OPC 10000-13, OPC Unified Architecture - Part 13: Aggregates

http://www.opcfoundation.org/documents/10000-13/

OPC 10000-14, OPC Unified Architecture - Part 14: PubSub

http://www.opcfoundation.org/documents/10000-14/

OPC 10000-15, OPC Unified Architecture - Part 15: Safety

http://www.opcfoundation.org/documents/10000-15/

OPC 10000-16, OPC Unified Architecture - Part 16: State Machines

http://www.opcfoundation.org/documents/10000-16/

OPC 10000-17, OPC Unified Architecture - Part 17: Alias Names

http://www.opcfoundation.org/documents/10000-17/

OPC 10000-18, OPC Unified Architecture - Part 18: Role-Based Security

http://www.opcfoundation.org/documents/10000-18/

OPC 10000-19, OPC Unified Architecture - Part 19: Dictionary References

http://www.opcfoundation.org/documents/10000-19/

OPC 10000-20, OPC Unified Architecture - Part 20: File Transfer

http://www.opcfoundation.org/documents/10000-20/

OPC 10000-22, OPC Unified Architecture - Part 22: Base Network Model

http://www.opcfoundation.org/documents/10000-22/

OPC 10000-100, OPC Unified Architecture - Part 100: Devices

http://www.opcfoundation.org/documents/10000-100/

OPC 10000-110, OPC Unified Architecture - Part 110: Asset Management Basics

http://www.opcfoundation.org/documents/10000-110/

OPC 10000-200, OPC Unified Architecture - Part 200: Industrial Automation

http://www.opcfoundation.org/documents/10000-200/

Examples for references to other companion specifications

OPC 40001-1, OPC UA for Machinery - Part 1: Basic Building Blocks

http://www.opcfoundation.org/documents/40001-1/

OPC 10031-4, OPC UA for ISA-95 – Part 4: Job Control

http://www.opcfoundation.org/documents/10031-4/

# Terms, abbreviated terms and conventions

## Overview

It is assumed that basic concepts of OPC UA information modelling and <other specifications> are understood in this document. This document will use these concepts to describe the <title> Information Model. For the purposes of this document, the terms and definitions given in OPC 10000-1, OPC 10000-3, OPC 10000-4, OPC 10000-5, OPC 10000-7, OPC 10000-100, … as well as the following apply.

Note that OPC UA terms and terms defined in this document are italicized in the document.

## OPC UA for <title> terms

Term descriptions are expected to be written in such a form that the term definition can replace the term in its context.

term 1

<a short description – max two lines>

Note 1 to entry: Optional additional text if the short description is not considered sufficient.

EXAMPLE 1 First example for term 1.

EXAMPLE 2 Second example for term 1.

[SOURCE: where definition 1 was found]

term 2

definition 2

## Abbreviated terms

The following abbreviations are examples and those used in this template. The list shall only contain abbreviations used in the document.

AC	Alarm and Condition

DCS	Distributed Control Systems

ERP	Enterprise Resource Planning

HMI	Human Machine Interface

HTTP	Hypertext Transfer Protocol

IP	Internet Protocol

MES	Manufacturing Execution System

PLC	Programable Logical Controller

PMS	Production Management System

TCP	Transmission Control Protocol

UML	Unified Modelling Language

URI	Uniform Resource Identifier

XML	Extensible Markup Language

## Conventions used in this document

Following are basic conventions that shall be followed for all formal definitions used.

### Conventions for Node descriptions

#### Node definitions

Node definitions are specified using tables (see Table 2).

Attributes are defined by providing the Attribute name and a value, or a description of the value.

References are defined by providing the ReferenceType name, the BrowseName of the TargetNode and its NodeClass.

If the TargetNode is a component of the Node being defined in the table the Attributes of the composed Node are defined in the same row of the table.

The DataType is only specified for Variables; “[<number>]” indicates a single-dimensional array, for multi-dimensional arrays the expression is repeated for each dimension (e.g. [2][3] for a two-dimensional array). For all arrays the ArrayDimensions is set as identified by <number> values. If no <number> is set, the corresponding dimension is set to 0, indicating an unknown size. If no number is provided at all the ArrayDimensions can be omitted. If no brackets are provided, it identifies a scalar DataType and the ValueRank is set to the corresponding value (see OPC 10000-3). In addition, ArrayDimensions is set to null or is omitted. If it can be Any or ScalarOrOneDimension, the value is put into “{<value>}”, so either “{Any}” or “{ScalarOrOneDimension}” and the ValueRank is set to the corresponding value (see OPC 10000-3) and the ArrayDimensions is set to null or is omitted. Examples are given in Table 1.

Table 1 – Examples of DataTypes

| Notation | DataType | ValueRank | ArrayDimensions | Description |
| --- | --- | --- | --- | --- |
| 0:Int32 | 0:Int32 | -1 | omitted or null | A scalar Int32. |
| 0:Int32{OneOrMoreDimensions} | 0:Int32 | 0 | omitted or null | The Int32 value is an array with one or more dimensions. |
| 0:Int32[] | 0:Int32 | 1 | omitted or {0} | Single-dimensional array of Int32 with an unknown size. |
| 0:Int32[][] | 0:Int32 | 2 | omitted or {0,0} | Two-dimensional array of Int32 with unknown sizes for both dimensions. |
| 0:Int32[3][] | 0:Int32 | 2 | {3,0} | Two-dimensional array of Int32 with a size of 3 for the first dimension and an unknown size for the second dimension. |
| 0:Int32[5][3] | 0:Int32 | 2 | {5,3} | Two-dimensional array of Int32 with a size of 5 for the first dimension and a size of 3 for the second dimension. |
| 0:Int32{Any} | 0:Int32 | -2 | omitted or null | An Int32 where it is unknown if it is scalar or array with any number of dimensions. |
| 0:Int32{ScalarOrOneDimension} | 0:Int32 | -3 | omitted or null | An Int32 where it is either a single-dimensional array or a scalar. |

The TypeDefinition is specified for Objects and Variables.

The TypeDefinition column specifies a symbolic name for a NodeId, i.e., the specified Node points with a HasTypeDefinition Reference to the corresponding Node.

The ModellingRule of the referenced component is provided by specifying the symbolic name of the rule in the ModellingRule column. In the AddressSpace, the Node shall use a HasModellingRule Reference to point to the corresponding ModellingRule Object.

If the NodeId of a DataType is provided, the symbolic name of the Node representing the DataType shall be used.

Note that if a symbolic name of a different namespace is used, it is prefixed by the NamespaceIndex (see 3.4.2.2).

Nodes of all other NodeClasses cannot be defined in the same table; therefore, only the used ReferenceType, their NodeClass and their BrowseName are specified. A reference to another part of this document points to their definition. Table 2 illustrates the table. If no components are provided, the DataType, TypeDefinition and Other columns can be omitted and only a Comment column is introduced to point to the Node definition.

Each Type Node or well-known Instance Node defined shall have one or more ConformanceUnits defined in 0 that require the Node to be in the AddressSpace.

The relations between Nodes and ConformanceUnits are defined at the end of the tables defining Nodes, one row per ConformanceUnit. The ConformanceUnits are reflected in the Category element for the Node definition in the UANodeSet (see OPC 10000-6).

The list of ConformanceUnits in the UANodeSet allows Servers to optimize resource consumption by using a list of supported ConformanceUnits to select a subset of the Nodes in an Information Model.

When a Node is selected in this way, all dependencies implied by the References are also selected.

Dependencies exist if the Node is the source of HasTypeDefinition, HasInterface, HasAddIn or any HierarchicalReference. Dependencies also exist if the Node is the target of a HasSubtype Reference. For Variables and VariableTypes, the value of the DataType Attribute is a dependency. For DataType Nodes, any DataTypes referenced in the DataTypeDefinition Attribute are also dependencies.

For additional details see OPC 10000-5.

Table 2 – Type Definition Table

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Attribute name | Attribute value. If it is an optional Attribute that is not set “--” is used. |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| ReferenceType name | NodeClass of the target Node. | BrowseName of the target Node. | DataType of the referenced Node, only applicable for Variables. | TypeDefinition of the referenced Node, only applicable for Variables and Objects. | Additional characteristics of the TargetNode such as the ModellingRule or AccessLevel. |
| NOTE Notes referencing footnotes of the table content. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| Name of ConformanceUnit, one row per ConformanceUnit |  |  |  |  |  |

Components of Nodes can be complex that is containing components by themselves. The TypeDefinition, NodeClass and DataType can be derived from the type definitions, and the symbolic name can be created as defined in 3.4.3.1. Therefore, those containing components are not explicitly specified; they are implicitly specified by the type definitions.

The Other column defines additional characteristics of the Node. Examples of characteristics that can appear in this column are show in Table 3.

Table 3 – Examples of Other characteristics

| Name | Short Name | Description |
| --- | --- | --- |
| 0:Mandatory | M | The Node has the Mandatory ModellingRule. |
| 0:Optional | O | The Node has the Optional ModellingRule. |
| 0:MandatoryPlaceholder | MP | The Node has the MandatoryPlaceholder ModellingRule. |
| 0:OptionalPlaceholder | OP | The Node has the OptionalPlaceholder ModellingRule. |
| ReadOnly | RO | The Node AccessLevel has the CurrentRead bit set but not the CurrentWrite bit. |
| ReadWrite | RW | The Node AccessLevel has the CurrentRead and CurrentWrite bits set. |
| WriteOnly | WO | The Node AccessLevel has the CurrentWrite bit set but not the CurrentRead bit. |

If multiple characteristics are defined, they are separated by commas. The name or the short name can be used.

#### Additional References

To provide information about additional References, the format as shown in Table 4 is used.

Table 4 – <some>Type additional References

| SourceBrowsePath | Reference Type | Is Forward | TargetBrowsePath |
| --- | --- | --- | --- |
| SourceBrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table. | ReferenceType name | True = forward Reference. | TargetBrowsePath points to another Node, which can be a well-known instance or a TypeDefinition. You can use BrowsePaths here as well, which is either relative to the TypeDefinition or absolute. If absolute, the first entry needs to refer to a type or well-known instance, uniquely identified within a namespace by the BrowseName. |

References can be to any other Node.

#### Additional sub-components

To provide information about sub-components, the format as shown in Table 5 is used.

Table 5 – <some>Type additional subcomponents

| BrowsePath | References | NodeClass | BrowseName | DataType | TypeDefinition | Others |
| --- | --- | --- | --- | --- | --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | NOTE Same as for Table 2 |  |  |  |  |  |

#### Additional Attribute values

The type definition table provides columns to specify the values for required Node Attributes for InstanceDeclarations. To provide information about additional Attributes, the format as shown in Table 6 is used.

Table 6 – <some>Type Attribute values for child Nodes

| BrowsePath | <Attribute name> Attribute |
| --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | The values of attributes are converted to text by adapting the reversible JSON encoding rules defined in OPC 10000-6. If the JSON encoding of a value is a JSON string or a JSON number then that value is entered in the value field. Double quotes are not included. If the DataType includes a NamespaceIndex (QualifiedNames, NodeIds or ExpandedNodeIds) then the notation used for BrowseNames is used. If the value is an Enumeration the name of the enumeration value is entered. If the value is a Structure then a sequence of name and value pairs is entered. Each pair is followed by a newline. The name is followed by a colon. The names are the names of the fields in the DataTypeDefinition. If the value is an array of non-structures then a sequence of values is entered where each value is followed by a newline. If the value is an array of Structures or a Structure with fields that are arrays or with nested Structures then the complete JSON array or JSON object is entered. |

There can be multiple columns to define more than one Attribute.

### NodeIds and BrowseNames

#### NodeIds

The NodeIds of all Nodes described in this standard are only symbolic names. Annex A defines the actual NodeIds.

The symbolic name of each Node defined in this document is its BrowseName, or, when it is part of another Node, the BrowseName of the other Node, a “.”, and the BrowseName of itself. In this case “part of” means that the whole has a HasProperty or HasComponent Reference to its part. Since all Nodes not being part of another Node have a unique name in this document, the symbolic name is unique.

The NamespaceUri for all NodeIds defined in this document is defined in Annex A. The NamespaceIndex for this NamespaceUri is vendor-specific and depends on the position of the NamespaceUri in the server namespace table.

Note that this document not only defines concrete Nodes, but also requires that some Nodes shall be generated, for example one for each Session running on the Server. The NodeIds of those Nodes are Server-specific, including the namespace. But the NamespaceIndex of those Nodes cannot be the NamespaceIndex used for the Nodes defined in this document, because they are not defined by this document but generated by the Server.

#### BrowseNames

The text part of the BrowseNames for all Nodes defined in this document is specified in the tables defining the Nodes. The NamespaceUri for all BrowseNames defined in this document is defined in 16.2.

For InstanceDeclarations of NodeClass Object and Variable that are placeholders (OptionalPlaceholder and MandatoryPlaceholder ModellingRule), the BrowseName and the DisplayName are enclosed in angle brackets (<>) as recommended in OPC 10000-3.

If a BrowseName is not defined by this document, a namespace index prefix is added to the BrowseName (e.g., prefix '0' leading to ‘0:EngineeringUnits’ or prefix '2' leading to ‘2:DeviceRevision’). This is typically necessary if a Property of another specification is overwritten or used in the OPC UA types defined in this document. Table 40 provides a list of namespaces and their indexes as used in this document.

### Common Attributes

#### General

The Attributes of Nodes, their DataTypes and descriptions are defined in OPC 10000-3. Attributes not marked as optional are mandatory and shall be provided by a Server. The following tables define if the Attribute value is defined by this document or if it is server-specific.

For all Nodes specified in this document, the Attributes named in Table 7 shall be set as specified in the table.

Table 7 – Common Node Attributes

| Attribute | Value |
| --- | --- |
| DisplayName | The DisplayName is a LocalizedText. Each Server shall provide the DisplayName identical to the BrowseName of the Node for the LocaleId “en” unless specified differently in the specification. Whether the Server provides translated names for other LocaleIds is server-specific. |
| Description | Optionally a server-specific description is provided. |
| NodeClass | Shall reflect the NodeClass of the Node. |
| NodeId | The NodeId is described by BrowseNames as defined in 3.4.2.1. |
| WriteMask | Optionally the WriteMask Attribute can be provided. If the WriteMask Attribute is provided, it shall set all non-server-specific Attributes to not writable. For example, the Description Attribute can be set to writable since a Server can provide a server-specific description for the Node. The NodeId shall not be writable, because it is defined for each Node in this document. |
| UserWriteMask | Optionally the UserWriteMask Attribute can be provided. The same rules as for the WriteMask Attribute apply. |
| RolePermissions | Optionally server-specific role permissions can be provided. |
| UserRolePermissions | Optionally the role permissions of the current Session can be provided. The value is server-specific and depends on the RolePermissions Attribute (if provided) and the current Session. |
| AccessRestrictions | Optionally server-specific access restrictions can be provided. |

#### Objects

For all Objects specified in this document, the Attributes named in Table 8 shall be set as specified in the Table 8. The definitions for the Attributes can be found in OPC 10000-3.

Table 8 – Common Object Attributes

| Attribute | Value |
| --- | --- |
| EventNotifier | Whether the Node can be used to subscribe to Events or not is server-specific. |

#### Variables

For all Variables specified in this document, the Attributes named in Table 9 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3.

Table 9 – Common Variable Attributes

| Attribute | Value |
| --- | --- |
| MinimumSamplingInterval | Optionally, a server-specific minimum sampling interval is provided. |
| AccessLevel | The access level for Variables used for type definitions is server-specific, for all other Variables defined in this document, the access level shall allow reading; other settings are server-specific. |
| UserAccessLevel | The value for the UserAccessLevel Attribute is server-specific. It is assumed that all Variables can be accessed by at least one user. |
| Value | For Variables used as InstanceDeclarations, the value is server-specific; otherwise, it shall represent the value described in the text. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the Variable. |
| Historizing | The value for the Historizing Attribute is server-specific. |
| AccessLevelEx | If the AccessLevelEx Attribute is provided, it shall have the bits 8, 9, and 10 set to 0, meaning that read and write operations on an individual Variable are atomic, and arrays can be partly written. |

#### VariableTypes

For all VariableTypes specified in this document, the Attributes named in Table 10 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3.

Table 10 – Common VariableType Attributes

| Attributes | Value |
| --- | --- |
| Value | Optionally a server-specific default value can be provided. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the VariableType. |

#### Methods

For all Methods specified in this document, the Attributes named in Table 11 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3.

Table 11 – Common Method Attributes

| Attributes | Value |
| --- | --- |
| Executable | All Methods defined in this document shall be executable (Executable Attribute set to “True”), unless it is defined differently in the Method definition. |
| UserExecutable | The value of the UserExecutable Attribute is server-specific. It is assumed that all Methods can be executed by at least one user. |

### Structures

OPC 10000-3 differentiates between different kinds of Structures. The following conventions explain, how these Structures shall be defined.

The first kind are Structures without optional fields where none of the fields allows subtype (except fields with abstract DataTypes). Its definition is in Table 12.

Table 12 – Structures without optional fields where none of the fields allow subtypes

| Name | Type | Description |
| --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |
| SP1 | 0:Byte[] | Setpoint 1 |
| SP2 | 0:Byte[] | Setpoint 2 |

The second kind are Structures with optional fields where none of the fields allows subtypes (except fields with abstract DataTypes). Its definition is in Table 13.

Structures with fields that are optional have an “Optional” column. Fields that are optional have True set, otherwise False.

Table 13 – Structures with optional fields

| Name | Type | Description | Optional |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Optional Field_1 | 0:String | Some Text | True |

The third kind are Structures without optional fields where one or more of the fields allow subtypes. Its definition is in Table 14.

Structures with fields that allow subtypes have an “Allow Subtypes” column. Fields that allow subtypes have True set, otherwise False. Fields with abstract DataTypes can always be subtyped.

Table 14 – Structures where one or more of the fields allow subtypes

| Name | Type | Description | Allow Subtypes |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Allow Subtypes | 0:ByteString | Some Bytestring | True |

Fields with abstract DataTypes shall have True in the “Allow Subtypes” column.

It is not allowed to add both columns to combine optional fields and fields that allow subtypes in one structure.

# EDITING Guidelines

This section provides overall guidelines for editors. Please delete before publication.

## Guideline 1: How to add FIGURES

Figures shall be embedded document objects (Powerpoint, Excel or Visio).

Figures shall be followed by a caption (Figure <n> - <Description>).

** Do not use inline Word drawing objects! **

** This includes blocks of code which are captioned as figures! **

The style for Figures is “FIGURE”

The style for Figure Captions is “FIGURE-title”

If it is necessary to add an embedded object to the document that is not a figure that appears in the TOC then the style shall be “FIGURE-uncaptioned”. Table 15 provides an example of uncaptioned embedded objects.

Table 15 – <Table With Embedded Graphics>

| NodeClass | Graphical Representation | Comment |
| --- | --- | --- |
| Object |  | Rectangle including text representing the string-part of the DisplayName of the Object. The font shall not be set to italic. |
| Variable |  | Rectangle with rounded corners including text representing the string-part of the DisplayName of the Variable. The font shall not be set in italic. |

## Guideline 2: Heading capitalization

This guideline is applied for all OPC UA parts following the IEC guidelines:

- The first letter is capitalized.

- For headers that consist of multiple words, all other words are all lower case with the exception of proper nouns, like terms or type names.

This applies to section, table, and figure headers.

## Guideline 3: Do not use HasSubtype References in Type definition tables

HasSubtype References conflict with the ConformanceUnit References and therefore should be avoided. All HasSubtype References have been removed from the existing types defined in Part 5 (Mantis 6650).

## Guideline 4: Reduce the size of embedded figures to make document smaller

Embedded Visio and Powerpoint can lead to large word docs since there are much unused information elements in them.

This guideline defines how to make them smaller.

- Compress embedded PowerPoint

- Compress embedded Visio

## Guideline 5: Do not use Hyperlinks to the online reference

Search links or permanent links to the online reference (https://reference.opcfoundation.org/) shall not be used in companion specifications. Only the published documents are considered “the standard”.

Reasons:

- We make no claim to keep all versions of a spec online, so links to older versions may be invalid in future.

- With the core specs, only the latest version is online and the section numbering can change between versions, so the permalink may resolve, but it could bring you to the wrong section.

# General information to <title> and OPC UA

## Introduction to <title>

Insert an introduction (about one page) of the companion organization and the model that it represents.

## Introduction to OPC Unified Architecture

This is an OPC UA introduction that can be used as is, shortened or enhanced as appropriate.

### What is OPC UA?

OPC UA is an open and royalty free set of standards designed as a universal communication protocol. While there are numerous communication solutions available, OPC UA has key advantages:

- A state of art security model (see OPC 10000-2).

- A fault tolerant communication protocol.

- An information modelling framework that allows application developers to represent their data in a way that makes sense to them.

OPC UA has a broad scope which delivers for economies of scale for application developers. This means that a larger number of high-quality applications at a reasonable cost are available. When combined with semantic models such as <title>, OPC UA makes it easier for end users to access data via generic commercial applications.

The OPC UA model is scalable from small devices to ERP systems. OPC UA Servers process information locally and then provide that data in a consistent format to any application requesting data - ERP, MES, PMS, Maintenance Systems, HMI, Smartphone, or a standard Browser, for examples. For a more complete overview see OPC 10000-1.

### Basics of OPC UA

As an open standard, OPC UA is based on standard internet technologies, like TCP/IP, HTTP, Web Sockets.

As an extensible standard, OPC UA provides a set of Services (see OPC 10000-4) and a basic information model framework. This framework provides an easy manner for creating and exposing vendor defined information in a standard way. More importantly all OPC UA Clients are expected to be able to discover and use vendor-defined information. This means OPC UA users can benefit from the economies of scale that come with generic visualisation and historian applications. This specification is an example of an OPC UA Information Model designed to meet the needs of developers and users.

OPC UA Clients can be any consumer of data from another device on the network to browser based thin clients and ERP systems. The full scope of OPC UA applications is shown in Figure 1.

Figure 1 – The scope of OPC UA within an enterprise

OPC UA provides a robust and reliable communication infrastructure having mechanisms for handling lost messages, failover, heartbeat, etc. With its binary encoded data, it offers a high-performing data exchange solution. Security is built into OPC UA as security requirements become more and more important especially since environments are connected to the office network or the internet and attackers are starting to focus on automation systems.

### Information modelling in OPC UA

#### Concepts

OPC UA provides a framework that can be used to represent complex information as Objects in an AddressSpace which can be accessed with standard services. These Objects consist of Nodes connected by References. Different classes of Nodes convey different semantics. For example, a Variable Node represents a value that can be read or written. The Variable Node has an associated DataType that can define the actual value, such as a string, float, structure etc. It can also describe the Variable value as a variant. A Method Node represents a function that can be called. Every Node has a number of Attributes including a unique identifier called a NodeId and non-localized name called as BrowseName. An Object representing a ‘Reservation’ is shown in Figure 2.

Figure 2 – A basic Object in an OPC UA Address Space

Object and Variable Nodes represent instances and they always reference a TypeDefinition (ObjectType or VariableType) Node which describes their semantics and structure. Figure 3 illustrates the relationship between an instance and its TypeDefinition.

The type Nodes are templates that define all of the children that can be present in an instance of the type. In the example in Figure 3 the PersonType ObjectType defines two children: First Name and Last Name. All instances of PersonType are expected to have the same children with the same BrowseNames. Within a type the BrowseNames uniquely identify the children. This means Client applications can be designed to search for children based on the BrowseNames from the type instead of NodeIds. This eliminates the need for manual reconfiguration of systems if a Client uses types that multiple Servers implement.

OPC UA also supports the concept of sub-typing. This allows a modeller to take an existing type and extend it. There are rules regarding sub-typing defined in OPC 10000-3, but in general they allow the extension of a given type or the restriction of a DataType. For example, the modeller can decide that the existing ObjectType in some cases needs an additional Variable. The modeller can create a subtype of the ObjectType and add the Variable. A Client that is expecting the parent type can treat the new type as if it was of the parent type. Regarding DataTypes, subtypes can only restrict. If a Variable is defined to have a numeric value, a subtype could restrict it to a float.

Figure 3 – The relationship between Type Definitions and Instances

References allow Nodes to be connected in ways that describe their relationships. All References have a ReferenceType that specifies the semantics of the relationship. References can be hierarchical or non-hierarchical. Hierarchical references are used to create the structure of Objects and Variables. Non-hierarchical are used to create arbitrary associations. Applications can define their own ReferenceType by creating subtypes of an existing ReferenceType. Subtypes inherit the semantics of the parent but can add additional restrictions. Figure 4 depicts several References, connecting different Objects.

Figure 4 – Examples of References between Objects

The figures above use a notation that was developed for the OPC UA specification. The notation is summarized in Figure 5. UML representations can also be used; however, the OPC UA notation is less ambiguous because there is a direct mapping from the elements in the figures to Nodes in the AddressSpace of an OPC UA Server.

Figure 5 – The OPC UA Information Model notation

A complete description of the different types of Nodes and References can be found in OPC 10000-3 and the base structure is described in OPC 10000-5.

The OPC UA specification defines a very wide range of functionality in its basic information model. It is not required that all Clients or Servers support all functionality in the OPC UA specifications. OPC UA includes the concept of Profiles, which segment the functionality into testable certifiable units. This allows the definition of functional subsets (that are expected to be implemented) within a companion specification. The Profiles do not restrict functionality, but generate requirements for a minimum set of functionalities (see OPC 10000-7).

#### Namespaces

OPC UA allows information from many different sources to be combined into a single coherent AddressSpace. Namespaces are used to make this possible by eliminating naming and id conflicts between information from different sources. Each namespace in OPC UA has a globally unique string called a NamespaceUri which identifies a naming authority and a locally unique integer called a NamespaceIndex, which is an index into the Server's table of NamespaceUris. The NamespaceIndex is unique only within the context of a Session between an OPC UA Client and an OPC UA Server- the NamespaceIndex can change between Sessions and still identify the same item even though the NamespaceUri's location in the table has changed. The Services defined for OPC UA use the NamespaceIndex to specify the Namespace for qualified values.

There are two types of structured values in OPC UA that are qualified with NamespaceIndexes: NodeIds and QualifiedNames. NodeIds are locally unique (and sometimes globally unique) identifiers for Nodes. The same globally unique NodeId can be used as the identifier in a node in many Servers – the node's instance data can vary but its semantic meaning is the same regardless of the Server it appears in. This means Clients can have built-in knowledge of of what the data means in these Nodes. OPC UA Information Models generally define globally unique NodeIds for the TypeDefinitions defined by the Information Model.

QualifiedNames are non-localized names qualified with a Namespace. They are used for the BrowseNames of Nodes and allow the same names to be used by different information models without conflict. TypeDefinitions are not allowed to have children with duplicate BrowseNames; however, instances do not have that restriction.

#### Companion Specifications

An OPC UA companion specification for an industry specific vertical market describes an Information Model by defining ObjectTypes, VariableTypes, DataTypes and ReferenceTypes that represent the concepts used in the vertical market, and potentially also well-defined Objects as entry points into the AddressSpace.

# Use cases

Insert the use cases that can be achieved by using OPC UA with the companion organization’s information model.

# <title> Information Model overview

An overview of the model elements and how they relate to each other.

Following shall be sections that specify the companion information model. Such models can vary and no fixed structure can be given. An option could be to have separate chapters for ObjectTypes, VariableTypes, DataTypes, a.s.o.

# OPC UA ObjectTypes

## <some>Type definition

### Overview

An overview description of <some>Type. This can be supplemented with a type model figure.

The <some>Type provides … and is formally defined in Table 16.

### ObjectType definition

Table 16 – <some>Type definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | <some>Type |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | Node Class | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the <other>Type defined in …, i.e., inheriting the InstanceDeclarations of that Node. e.g., Subtype of the 0:BaseObjectType defined in OPC 10000-5 … |  |  |  |  |  |
| 0:HasProperty | Variable | <some>Property1 | 0:String | 0:PropertyType | M, RO |
| 0:HasProperty | Variable | <some>Property2 | 0:Int32 | 0:PropertyType | M, RW |
| 0:HasComponent | Variable | <some>Measurement | 0:Double | 0:AnalogItemType | O |
| 0:HasComponent | Variable | SimpleArray | 0:Int32[] | 0:BaseDataVariableType | O |
| 0:HasComponent | Variable | ComplexArray | 0:EnumValueType[] | 0:BaseDataVariableType | O |
| 0:HasComponent | Object | <some>Alarm |  | 0:AlarmConditionType | O |
| 0:HasComponent | Method | <some>Method | See 8.1.3 |  | M |
| 0:HasDictionaryEntry | Object | 3:0112/2///61987#xzx607 |  |  |  |
| 0:GeneratesEvent | ObjectType | 0:DeviceFailureEventType |  |  |  |
| Conformance Units |  |  |  |  |  |
| <ConformanceUnit_1> |  |  |  |  |  |
| <ConformanceUnit_2> |  |  |  |  |  |
| <ConformanceUnit_3> |  |  |  |  |  |

SPECIFYING CONFORMANCE UNITS The ConformanceUnits listed in the table are the primary ConformanceUnits used to test the capabilities provided by a Node. ConformanceUnits which indirectly require the Node are not listed. For example, a ConformanceUnit testing a subtype of a ObjectType does not need to be listed since a supertype is automatically included if a subtype is included. If there are no suitable ConformanceUnits then the Node may not be needed or there are missing ConformanceUnits. The OPC Foundation tooling used to validate the specification during the release process automatically adds the ConformanceUnits listed to the Category element for the Node definition in the UANodeSet. Therefore, editors do not have to add these Category elements manually into the UANodeSet. See also corresponding description in 3.4.1.1.

Here should be text for the description of the table rows.

<some>Property1 is used for …

The <some>Alarm becomes active, if …

The components of the <some>Type have additional references which are defined in Table 17.

Table 17 – <some>Type additional References

| SourceBrowsePath | Reference Type | Is Forward | TargetBrowsePath |
| --- | --- | --- | --- |
| <some>Property1 | 0:HasDictionaryEntry | True | 3:0112/2///61987#xzx608 |
| <some>Measurement. 0:EngineeringUnits. | 0:Organizes | False | 0:Objects. Units. |
| <some>Measurement | 0:HasCondition | True | <some>Type. <some>Alarm. |

SPECIFYING ADDITIONAL REFERENCES <See 3.4.1.2 for the definition of this table.> Table 16 allows you to define ObjectTypes. You add InstanceDeclarations, which can be based on complex TypeDefinitions (such as AnalogItemType). The complex structure of those TypeDefinitions does not need to be further defined, as it is already done by their TypeDefinitions. However, if you want to add additional References, you can use a table format as shown in Table 17. This format allows you to add References from those InstanceDeclarations to any other Node. In the following figure shows of the AddressSpace as defined by Table 16 and Table 17. SPECIFYING DICTIONARY REFERENCES When making use of dictionary references (see OPC 10000-19) the following rules apply: - DictionaryEntries from a TypeDefinition shall be referenced directly (see Table 16) - DictionaryEntries from InstanceDeclarations shall be referenced by using an ‘Additional References’ table for the TypeDefinition (see Table 17). - When using IRDIs or URIs - use the well-defined namespace (see OPC 10000-19) and include this in Table 40. This template already contains as example the IRDI namespace - create an additional NodeSet file for this namespace containing only the DictionaryEntries your specification is referencing, no additional organizational structure - use the URI or IRDI as the BrowseName and add a prefixed for the NamespaceIndex (see examples above)

The components of the <some>Type have additional subcomponents which are defined in Table 18.

Table 18 – <some>Type additional subcomponents

| BrowsePath | References | NodeClass | BrowseName | DataType | TypeDefinition | Others |
| --- | --- | --- | --- | --- | --- | --- |
| <some>Alarm | 0:HasComponent | Object | AlarmParams |  | 0:BaseObjectType | M |
| <some>Measurement | 0:HasProperty | Variable | 0:AllowNulls | 0:Boolean | 0:PropertyType | O |
| <some>Alarm. AlarmParams. | 0:HasComponent | Variable | MaxNumberOfPorts | 0:Byte | 0:BaseDataVariableType | M |
| <some>Alarm. AlarmParams. | 0:HasComponent | Variable | LocationTag | 0:String | 0:BaseDataVariableType | M |
| <some>Alarm. AlarmParams. LocationTag. | 0:HasProperty | Variable | 0:MaxStringLength | 0:UInt32 | 0:PropertyType | O |

SPECIFYING ADDITIONAL SUBCOMPONENTS <See 3.4.1.3 for the definition of this table.> Table 16 allows you to define ObjectTypes. You add InstanceDeclarations, which can be based on complex TypeDefinitions (such as AnalogItemType). The complex structure of those TypeDefinitions does not need to be further defined, as it is already done by their TypeDefinitions. However, if you want to add additional subcomponents, you can use a table format as shown in Table 18. This format allows you to add instances to those InstanceDeclarations. In the following figure shows of the AddressSpace as defined by Table 16 and Table 18.

The child Nodes of the <some>Type have additional Attribute values defined in Table 19.

<See 3.4.1.4 for the definition of this table.> It allows to specify Attributes like the Value or Description that cannot be specified in the ObjectType table. Fields can be empty which means this Attribute is not defined. A column where all fields are empty should be omitted.

Table 19 – <some>Type Attribute values for child Nodes

| BrowsePath | Value Attribute | Description Attribute |
| --- | --- | --- |
| <some>Measurement | 5.7 | This is a description for <some>Measurement |
| <some>Alarm. AlarmParams. LocationTag. | "Building 2" | This is a description for LocationTag. |
| <some>Measurement. 0:EURange. | High: 1000 Low: 0 | This is the EURange for <some>Measurement. |
| <some>Measurement. 0:EngineeringUnits. | NamespaceUri: <some namespace> UnitId: 1234 DisplayName: Fidgets Description: <some description> |  |
| <some>Alarm |  | This is a description for <some>Alarm |
| SimpleArray | [0,1,2] |  |
| ComplexArray | [ {“Value”: 0, "DisplayName": " ON ", "Description": “some description”}, {"Value": 1, "DisplayName": "OFF", "Description": "some other description"} ] |  |

### <some>Method

Provide description of the Method, what it is used for, how it works etc

If specific result codes are to be used, it is recommended to include the table "Method Result Codes" and include these specific codes.

The signature of this Method is specified below. Table 20 and Table 21 specify the Arguments and AddressSpace representation, respectively.

The AddressSpace definition can be omitted if there are no Properties other than InputArguments and OutputArguments.

Signature

<some>Method (

[in]  0:String       InArg1,

[in]  0:Float        InArg2,

[out] 0:UInt32       OutArg1,

[out] 0:Int32        someMethodStatus);

Table 20 – <some>Method Method Arguments

| Argument | Description |
| --- | --- |
| InArg1 | <description> |
| InArg2 | <description> |
| OutArg1 | <description> |
| someMethodStatus | This is an example where the Method needs to return special status information. 0 – OK -1 – E_FirstError – <description> -2 – E_SecondError – <description> |

Provide description of the method, what it is used for, how it works etc

Method Result Codes (defined in Call Service)

| Result Code | Description |
| --- | --- |
| Bad_UserAccessDenied | See OPC 10000-4 for a general description. |

Table 21 – <some>Method Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | <some>Method |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |

## ExampleStateMachineType

This section gives an example of how a StateMachine is defined using the table formats used in the temple. This allows the Validator to check the correctness of the StateMachine in the Spec with the NodeSet-File

Here needs to be text describing the StateMachine. In our case, we use a very simple StateMachine with two states. A figure is always helpful.

Figure 6 Example State Machine

The ExampleStateMachineType provides … and is formally defined in Table 22.

Table 22 – ExampleStateMachineType definition

| Attribute | Value |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BrowseName | ExampleStateMachineType |  |  |  |  |  |
| IsAbstract | False |  |  |  |  |  |
| References | Node Class | BrowseName | DataType | TypeDefinition | Other |  |
| Subtype of the 0:FiniteStateMachineType defined in …, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |  |
| 0:HasComponent | Object | Idle |  | 0:InitialStateType |  |  |
| 0:HasComponent | Object | Working |  | 0:StateType |  |  |
| 0:HasComponent | Object | FromIdleToWorking |  | 0:TransitionType |  |  |
| 0:HasComponent | Object | FromWorkingToIdle |  | 0:TransitionType |  |  |
| 0:HasComponent | Method | Start |  |  | M |  |
| 0:HasComponent | Method | Stop |  |  | M |  |
| Conformance Units |  |  |  |  |  |
| <ConformanceUnit_4> |  |  |  |  |  |
| <ConformanceUnit_5> |  |  |  |  |  |  |

The components of the ExampleStateMachineType have additional references which are defined in Table 23.

Table 23 – ExampleStateMachineType additional References

| SourceBrowsePath | Reference Type | Is Forward | TargetBrowsePath |
| --- | --- | --- | --- |
| FromIdleToWorking | 0:FromState | True | Idle |
|  | 0:ToState | True | Working |
|  | 0:HasCause | True | Start |
| FromWorkingToIdle | 0:FromState | True | Working |
|  | 0:ToState | True | Idle |
|  | 0:HasCause | True | Stop |
|  | 0:HasEffect | True | 0:BaseEventType |

Note: Method signature would need to be defined as well.

The component Variables of the ExampleStateMachineType have additional Attributes defined in Table 24.

Table 24 – ExampleStateMachineType Attribute values for child Nodes

| BrowsePath | Value Attribute |
| --- | --- |
| Idle. 0:StateNumber. | 1 |
| Working. 0:StateNumber. | 2 |
| FromIdleToWorking. 0:TransitionNumber. | 1 |
| FromWorkingToIdle. 0:TransitionNumber. | 2 |

# OPC UA EventTypes

## <some>EventType

This EventType is ….. Its representation in the AddressSpace is formally defined in Table 25.

Table 25 – <some>EventType definition

| Attribute |  | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BrowseName |  | <some>EventType |  |  |  |  |
| IsAbstract |  | True |  |  |  |  |
| References | NodeClass |  | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseEventType defined in …, which means it inherits the InstanceDeclarations of that Node. |  |  |  |  |  |  |
| 0:HasProperty | Variable |  | <some>Eventfield | 0:String | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |  |
| <ConformanceUnit_6> |  |  |  |  |  |  |
| <ConformanceUnit_7> |  |  |  |  |  |  |

This EventType inherits all Properties of the BaseEventType. ….

# OPC UA VariableTypes

## <some>VariableType

The <some>VariableType is a subtype of the BaseVariableType. It is used ….

It is formally defined in Table 26.

Table 26 – <some>Type definition

| Attribute |  | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BrowseName |  | <some>Type |  |  |  |  |
| IsAbstract |  | False |  |  |  |  |
| ValueRank |  | −1 (−1 = Scalar) |  |  |  |  |
| DataType |  | String |  |  |  |  |
| References | NodeClass |  | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseDataVariableType defined in … |  |  |  |  |  |  |
| 0:HasComponent | Variable |  | <var1> | 0:UtcTime | 0:BaseDataVariableType | 0:Mandatory |
| 0:HasComponent | Variable |  | <var2> | 0:UtcTime | 0:BaseDataVariableType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |  |
| <ConformanceUnit_8> |  |  |  |  |  |  |
| <ConformanceUnit_9> |  |  |  |  |  |  |

# OPC UA DataTypes

## <someStructure>

See 3.4.4 for the different kinds of Structures.

This structure contains …. The structure is defined in Table 27.

Table 27 – <someStructure> Structure (with field that allows subtypes)

| Name | Type | Description | Allow Subtypes |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| SP2 | 0:Byte[] | Setpoint 2 | False |
| Allow Subtypes | 0:ByteString | Some Bytestring | True |

Its representation in the AddressSpace is defined in Table 28.

Table 28 – <someStructure> definition

| Attribute |  | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BrowseName |  | <someStructure> |  |  |  |  |
| IsAbstract |  | False |  |  |  |  |
| References | NodeClass |  | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the <someParentStructure> defined in … |  |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |  |
| <ConformanceUnit_10> |  |  |  |  |  |  |
| <ConformanceUnit_11> |  |  |  |  |  |  |

## <someUnion>

This union contains …. The union is defined in Table 29.

Table 29 – <someUnion> Union

| Name | Type | Description |
| --- | --- | --- |
| <someUnion> | union |  |
| Var_1 | 0:String | First set |
| Var_2 | <someStructure> | Second set |
| Var_3 | <someEnumeration> | Third set |

Its representation in the AddressSpace is defined in Table 30.

Table 30 – <someUnion> definition

| Attributes |  | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BrowseName |  | <someUnion> |  |  |  |  |
| IsAbstract |  | False |  |  |  |  |
| References | NodeClass |  | BrowseName | DataType | TypeDefinition | Other |
| Subtype of 0:Union defined in OPC 10000-5. |  |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |  |
| <ConformanceUnit_12> |  |  |  |  |  |  |
| <ConformanceUnit_13> |  |  |  |  |  |  |

## <someEnumeration>

This enumeration …. The enumeration is defined in Table 31.

Table 31 – <someEnumeration> Items

| Name | Value | Description |
| --- | --- | --- |
| <Enum1_Name> | 0 | <Enum1Description> |
| <Enum2_Name> | 1 | <Enum2Description> |
| <Enum3_Name> | 2 | <Enum4Description> |

Each Enumeration item is represented by a "Name" - the human readable representation and a "Value" - the numeric representation. If the Enumeration is zero-based and sequential, the EnumStrings Property is used for the names. In all other cases the EnumValues Property has to be used.

Its representation in the AddressSpace is defined in Table 32.

Table 32 – <someEnumeration> definition

| Attribute |  | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BrowseName |  | <someEnumeration> |  |  |  |  |
| IsAbstract |  | False |  |  |  |  |
| References | NodeClass |  | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration type defined in OPC 10000-5 |  |  |  |  |  |  |
| 0:HasProperty | Variable |  | 0:EnumStrings | 0:LocalizedText [] | 0:PropertyType |  |
| Conformance Units |  |  |  |  |  |  |
| <ConformanceUnit_14> |  |  |  |  |  |  |
| <ConformanceUnit_15> |  |  |  |  |  |  |

## <someOptionSet>

This DataType defines flags for … <someOptionSet> is formally defined in Table 33.

Table 33 – <someOptionSet> Values

| Value | Bit No. | Description |
| --- | --- | --- |
| <Value1> | 0 | This flag…. |
| <Value2> | 1 | This flag…. |
| <Value3> | 2 | This flag…. |

The <someOptionSet> representation in the AddressSpace is defined in Table 34.

Table 34 – <someOptionSet> definition

| Attribute |  | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BrowseName |  | <someOptionSet> |  |  |  |  |
| IsAbstract |  | False |  |  |  |  |
| References | NodeClass |  | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:OptionSet DataType defined in OPC 10000-5 |  |  |  |  |  |  |
| 0:HasProperty | Variable |  | 0:OptionSetValues | 0:LocalizedText [] | 0:PropertyType |  |
| Conformance Units |  |  |  |  |  |  |
| <ConformanceUnit_16> |  |  |  |  |  |  |
| <ConformanceUnit_17> |  |  |  |  |  |  |

# OPC UA ReferenceTypes

## <someReferenceType>

The <someReferenceType> is a concrete ReferenceType and can be used directly. It is a subtype of <someParentReferenceType>.

The semantic of this ReferenceType is to link …...

The SourceNode of References of this type shall be an…...

The TargetNode of this ReferenceType shall be an …..

The <someReferenceType> is formally defined in Table 35.

Table 35 – <someReferenceType> definition

| Attributes | Value |  |  |
| --- | --- | --- | --- |
| BrowseName | <someReferenceType> |  |  |
| InverseName | <someinverseName> |  |  |
| Symmetric | <True/False> |  |  |
| IsAbstract | <True/False> |  |  |
| References | NodeClass | BrowseName | Comment |
| Subtype <someParentReferenceType> |  |  |  |
| Conformance Units |  |  |  |
| <ConformanceUnit_18> |  |  |  |
| <ConformanceUnit_19> |  |  |  |

# Instances

## <someInstance>

The <someInstance> is formally defined in Table 36.

Table 36 – <someInstance> definition

| Attribute | Value |  |  |  |
| --- | --- | --- | --- | --- |
| BrowseName | <someInstance> |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition |
| OrganizedBy by the <TheLocationInAddressSpace> defined in <Where It is Defined> |  |  |  |  |
| 0:HasTypeDefinition | <class of SomeInstance> | <Type of someInstance> | Defined in <Where Type of SomeInstance isdefined> |  |
| Conformance Units |  |  |  |  |
| <ConformanceUnit_20> |  |  |  |  |
| <ConformanceUnit_21> |  |  |  |  |

Provide some description of the instance, what it is used for, constraints on it etc

# Well-Known BrowseNames

Well-Known BrowseNames are not specific to a type definition or to an InstanceDeclaration.

Examples are “NodeVersion” or “EngineeringUnits” defined in OPC 10000-3 or FunctionalGroup Names defined in OPC 10000-100.

For Properties for instance the title will be “Well-Known PropertyType BrowseNames”.

## Well-Known <Type> BrowseNames

The <Type> BrowseNames are formally defined in Table 37.

Table 37 – Well-Known <Type> BrowseNames

| BrowseName | Purpose |
| --- | --- |
| <FirstName> | <FirstName description> |
| <SecondName> | <SecondName description> |
| <OtherName> | <OtherName description>. |

# Profiles and Conformance Units

Profiles and ConformanceUnits break functionality into testable groups. All companion specification shall include at least one Profile/Facet.

Profiles and ConformanceUnits are configured in the Profile Database.

See OPC 20023 for guidelines to do this.

<short name>

A <short name> is required for each companion specification to assure uniqueness of string identifiers. It precedes the names of Profiles and ConformanceUnits and is included in URIs and URLs defined in a companion specification.

A <short name> is all caps if an acronym, otherwise camel case.

Exception if the short name is a trademark. Use trademark casing.

Meaning and significance of Profiles and ConformanceUnits are described in OPC 10000-7.

The Profiles and ConformanceUnits for this specification are maintained in an online database and accessible via https://profiles.opcfoundation.org/pg=<name of profile group>.

The ProfileGroup name is specified in OPC 20023 and can be viewed via the GUI of the profile database.

Examples:

OPC 10000-200 (IA):	https://profiles.opcfoundation.org/?pg=IA-GM%201.0x

OPC 40000-nnn:		https://profiles.opcfoundation.org/?pg=Machinery%201.x

OPC 10000-100 (DI):	https://profiles.opcfoundation.org/?pg=DI%201.04

A snapshot of the profile group (with profiles and conformance units) can be included here as well. For this, the profile database provides an application to export all information of a profile group as a word document. The contents of this word document can then be pasted in this chapter.

An introductory paragraph shall describe whether this is a snapshot (database contains always the latest information) or it is the formal definition (database is just a better GUI).

# Namespaces

## Namespace Metadata

Namespace Metadata are required for any companion standard that specifies an information model (e.g., Objects and ObjectTypes). The metadata provide standardized information about the elements of this namespace. This information is particularly important for aggregating Servers.

Typically, all Nodes of a companion specification are static and therefore the metadata shall describe them as static. This is done by setting all Numeric NodeIds to static (StaticNodeIdTypes). If you use different NodeIds (e.g., Strings), this needs to be adapted. If not all Nodes are static, it needs to be adapted as well. Static NodeIds mean, that the same Node is used in all servers, e.g., for TypeDefinitions or entry points like the “Root” Object of the base specification. Not static Nodes would be Nodes providing server-specific information (e.g., typically all the instances based on the TypeDefinitions of a companion specification) or other dynamic behaviour (e.g., a standardized Method that adds or removes something from a server).

Table 38 defines the namespace metadata for this document. The Object is used to provide version information for the namespace and an indication about static Nodes. Static Nodes are identical for all Attributes in all Servers, including the Value Attribute. See OPC 10000-5 for more details.

The information is provided as Object of type NamespaceMetadataType. This Object is a component of the Namespaces Object that is part of the Server Object. The NamespaceMetadataType ObjectType and its Properties are defined in OPC 10000-5.

The version information is also provided as part of the ModelTableEntry in the UANodeSet XML file. The UANodeSet XML schema is defined in OPC 10000-6.

Table 38 – NamespaceMetadata Object for this document

| Attribute | Value |  |  |
| --- | --- | --- | --- |
| BrowseName | http://opcfoundation.org/UA/<short name>/ |  |  |
| Property |  | DataType | Value |
| NamespaceUri |  | String | http://opcfoundation.org/UA/<short name> |
| NamespaceVersion |  | String | X.YY.ZZ |
| NamespacePublicationDate |  | DateTime | YYYY-MM-DD |
| IsNamespaceSubset |  | Boolean | False |
| StaticNodeIdTypes |  | IdType[] | 0 |
| StaticNumericNodeIdRange |  | NumericRange [] |  |
| StaticStringNodeIdPattern |  | String |  |

Note: The IsNamespaceSubset Property is set to False as the UANodeSet XML file contains the complete Namespace. Servers only exposing a subset of the Namespace need to change the value to True.

## Handling of OPC UA Namespaces

Namespaces are used by OPC UA to create unique identifiers across different naming authorities. The Attributes NodeId and BrowseName are identifiers. A Node in the UA AddressSpace is unambiguously identified using a NodeId. Unlike NodeIds, the BrowseName cannot be used to unambiguously identify a Node. Different Nodes can have the same BrowseName. They are used to build a browse path between two Nodes or to define a standard Property.

Servers can often choose to use the same namespace for the NodeId and the BrowseName. However, if they want to provide a standard Property, its BrowseName shall have the namespace of the standards body although the namespace of the NodeId reflects something else, for example the EngineeringUnits Property. All NodeIds of Nodes not defined in this document shall not use the standard namespaces.

Table 39 provides a list of namespaces typically used in a <title> OPC UA Server.

Table 39 – Namespaces used in a <title> Server

| NamespaceURI | Description |
| --- | --- |
| http://opcfoundation.org/UA/ | Namespace for NodeIds and BrowseNames defined in the OPC UA specification. This namespace shall have namespace index 0. |
| Local Server URI | Namespace for nodes defined in the local server. This namespace shall have namespace index 1. |
| http://opcfoundation.org/UA/DI/ | Namespace for NodeIds and BrowseNames defined in OPC 10000-100. The namespace index is Server specific. |
| http://opcfoundation.org/UA/<title>/ | Namespace for NodeIds and BrowseNames defined in this document. The namespace index is Server specific. |
| Vendor specific types | A Server can provide vendor-specific types like types derived from ObjectTypes defined in this document in a vendor-specific namespace. |
| Vendor specific instances | A Server provides vendor-specific instances of the standard types or vendor-specific instances of vendor-specific types in a vendor-specific namespace. It is recommended to separate vendor specific types and vendor specific instances into two or more namespaces. |

Table 40 provides a list of namespaces and their indices used for BrowseNames in this document. The default namespace of this document is not listed since all BrowseNames without prefix use this default namespace.

Table 40 – Namespaces used in this document

| NamespaceURI | Namespace Index | Example |
| --- | --- | --- |
| http://opcfoundation.org/UA/ | 0 | 0:EngineeringUnits |
| http://opcfoundation.org/UA/DI/ | 2 | 2:DeviceRevision |
| http://opcfoundation.org/UA/Dictionary/IRDI/ | 3 | 3:0112/2///61987#xzx608 |

(normative) 

<Title> Namespace and mappings

NodeSet and supplementary files for <Title> Information Model

An Information Model is formally defined in an XML file called a NodeSet This file conforms to the standard syntax defined in the Annex “Information Model XML Schema” OPC 10000-6. It can be read and processed by a computer program.

An Information Model is identified by a URI – the so-called NamespaceUri.

A NamespaceUri follows one of these conventions:

http://opcfoundation.org/UA/<short name>/

tag:opcfoundation.org,yyyy-MM:UA:<short name>

Where <short name> is described in 15 and yyyy-MM is the date when the NamespaceUri was first published. NamespaceUris are not network accessible URLs and the text should not suggest they are. The tag URI syntax allows authors to choose a URI that cannot be used as URL by mistake. Note that the date in the tag syntax is not the same as the PublicationDate for the NodeSet. It is set once when the URI is created and never changed.

The Online Reference provides a summary page for every NamespaceUri of released Information Models which has the form:

https://reference.opcfoundation.org/nodesets?u=<NamespaceUri>

The <Title> Information Model is identified by the following URI:

http://opcfoundation.org/UA/<short name>/

Documentation for the NamespaceUri can be found here.

“here” is a hyperlink to the summary page of the Online Reference.

In the hyperlink, the <NamespaceUri> has to be replaced with the concrete URI for this specification.

The NodeSet associated with this version of specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=<NamespaceUri>&v=<Version>&i=1

The NodeSet associated with the latest version of the specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=<NamespaceUri>&i=1

<NamespaceUri> is the NamespaceUri for the Information Model.

The <Version> is the string in the NamespaceVersion from the Namespace Metadata (see 16.1). This value is also the value of the Version attribute in the NodeSet.

Supplementary files for the <Title> Information Model can be found here:

https://reference.opcfoundation.org/nodesets/?u=<NamespaceUri>&v=<Version>&i=2

The files associated with the latest version of the specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=<NamespaceUri>&i=2

Supplementary files should be provided when appropriate (i.e., IRDI NodeSets or examples)

File Names

NodeIds: 	Opc.Ua.<short name>.NodeIds.csv

NodeSet: 	Opc.Ua.<short name>.NodeSet2.xml;

Any other files should have a prefix that provides context when the file is downloaded in a browser.

When DataTypes are defined in the NodeSet:

Opc.ua.<short name>.Types.xsd –

The XML schema for the DataTypes defined by the specification;

Opc.ua.<short name>.Types.bsd –

The OPC Binary schema for the DataTypes defined by the specification;

In case there is the need to reference individual files the following syntax should be added to the template:

https://reference.opcfoundation.org/files/<file>?u=<namespaceUri>&v=<version>
https://reference.opcfoundation.org/files/<file>?u=<namespaceUri>

for example:

https://reference.opcfoundation.org/files/StatusCode.csv?u=http://opcfoundation.org/UA/&v=1.05.02
https://reference.opcfoundation.org/files/StatusCode.csv?u=http://opcfoundation.org/UA/
https://reference.opcfoundation.org/files/Opc.Ua.Types.xsd?u=http://opcfoundation.org/UA/&v=1.05.02
https://reference.opcfoundation.org/files/Opc.Ua.Types.xsd?u=http://opcfoundation.org/UA/

Capability Identifier

ServerCapabilityIdentifiers are defined in OPC 10000-12. They can be used for features, like certain information models, which are likely to be useful during the discovery process. The identifiers shall be short because of length restrictions for fields used in the mDNS specification.

The identifier shall be up to 6 characters. It is recommended to use the <short name> introduced in the guideline, at the beginning of clause 15 if that meets the requirement of up to 6 characters.

Note, that such identifiers are not required. If not needed, this Annex section shall be deleted.

The capability identifier for this document shall be:

<short name>

_____________

—————————