| Logo of OPC Foundation, only if this is a joint work. Both logos shall be side by side.. |  | Logo of other organization. Both logos shall be side by side.. | OPC UA Companion Specification |
| --- | --- | --- | --- |
| OPC nnnnn-m |  |  |  |
| OPC UA for WoT Connectivity Part 1: WoT Connectivity Draft1.2.0 2026-07-29 Edit the advanced properties to complete the title page. Boxes are used to provide context or guidelines on expected content. Any words or phrases written in red font colour shall be replaced by actual values as appropriate for the companion specification. |  |  |  |

| Specification Type: | Industry Standard Specification | Comments: |  |
| --- | --- | --- | --- |
| Doc-Number | OPC nnnnn-m |  |  |
| Title: | OPC UA for WoT Connectivity Part 1WoT Connectivity | Date: | 2026-07-29 |
| Version: | Draft1.2.0 | Software: | MS-Word |
|  |  | Source: | OPC-UA-WoT-Connectivity.docx |
| Author: | <organization> | Status: | Draft |

Template Revisions

| Version | Date | Description |
| --- | --- | --- |
| 1.01.09 | Mar 09, 2020 | M-4665: Link to NodeSet indicates that also ERRATA, Amendments or Revisions are applied. Fixed various styles. |
| 1.01.10 | Apr 29, 2020 | Minor update for the Value attribute (M-5314). |
| 1.01.11 | July 09, 2020 | M-5595: Added better wording and recommendations for NamespaceMetadata as suggested. M-5520: Fixed quotation marks. M-5781: Title "Additional Variable Attributes" misleading. M-5673: Added HasInterface Reference to figure. M-5468: Use of Namespace Index also in Method signatures. M-5789: Clarify use of NamespaceIndex for Profiles or ConformanceUnits in other specifications. |
| 1.01.12 | Nov 16, 2020 | M-5904: BrowseName convention for placeholders. M-6184: The "additional attributes" table shall not be restricted to Value and Description. M-6183: Fix heading names for columns with a browse path. M-6112: Add an example state machine. M-6185: Add new table types to conventions. |
| 1.01.13 | Feb 17, 2021 | M-6302: Updated format for NamespaceMetadata table to make it validatable. M-6317: Added guideline for uncaptioned embedded figures. |
| 1.01.14 | Nov 15, 2021 | M-6264: GeneratesEvent example added. M-7147: Added abbreviated terms used in template. M-6265: No HasSubtype References. M-7265: Added max size for ConformanceUnit description. M-6612: Added definition of capability ID (Annex A.2). M-6150: Extended tables with Conformance Units row. |
| 1.01.15 | Oct 01, 2022 | M-7528: Namespace index also for the “Subtype of” rows. M-8025: Added missing BrowsePath tables for subcomponents. M-6776: Changed the examples for Structure and Union to start with an uppercase character. M-7341: Added extended definition for structures. |
| 1.01.16 | Mar 14, 2023 | M-8638: Updated URL format for schema files (Annex A). Updated URL format for normative references to documents (Clause 2). |
| 1.01.17 | Nov 17, 2023 | M-9196: Conformance Units and Profiles should be in profile database. M-8765: Added URL syntax for individual files. M-9170: Casing of UANodeSet wrong. M-9182: Added reference to IEC specifications. |
| 1.01.18 | Dec 03, 2024 | M-9275: Missing value rank 0. M-9270: Added guidelines to make figures smaller. M-8648: Well-Known BrowseNames. M-9723: Hyperlinks to online reference. |
| 1.01.19 | Jan 21, 2025 | M-9833: Added description on issue reporting to the “Agreement of Use”. |

CONTENTS

1	Scope	11

2	Normative references	12

3	Terms, abbreviated terms and conventions	13

3.1	Overview	13

3.2	WoT Connectivity terms	13

3.3	Abbreviated terms	13

3.4	Conventions used in this document	14

3.4.1	Conventions for Node descriptions	14

3.4.2	NodeIds and BrowseNames	17

3.4.3	Common Attributes	18

3.4.4	Structures	19

4	General information to WoT Connectivity and OPC UA	20

4.1	Introduction to WoT Connectivity	20

4.2	Introduction to OPC Unified Architecture	21

4.2.1	What is OPC UA?	21

4.2.2	Basics of OPC UA	21

4.2.3	Information modelling in OPC UA	22

5	Use cases	26

5.1	Projecting a Thing Model to an ObjectType	26

5.2	Projecting a Thing Description to an Object	27

5.3	An invalid Thing Description stays stored	27

5.4	Refresh results	27

6	WoT Connectivity information model overview	28

6.1	Namespace, model dependencies and NodeId allocation	29

6.2	Organisation of the model	29

6.3	Registry root	29

6.4	Groups	29

6.5	Documents	29

6.6	Bindings	30

6.7	Organisation of the DataTypes	30

6.8	Events and the notifier chain	30

6.9	Projection correlation	31

6.10	Well-known registry instance	31

6.11	Registry semantics and lifecycle	31

6.11.1	Canonical files and derived projection	31

6.11.2	Projection mapping	31

6.11.3	Placement and parent selection	32

6.11.4	Dependency graph construction and closure atomicity	32

6.11.5	Invalid documents and desired versus active divergence	33

6.11.6	Shadow prepare, switch and retirement	33

6.11.7	Automatic and explicit refresh	34

6.11.8	Version switch, unload, delete and federation	34

6.11.9	Model change events and NodeVersion correlation	35

6.11.10	Semantic change events	35

6.11.11	Security of the registry surface	35

6.12	Protocol binder	36

6.13	Refresh Method and results	36

6.13.1	Purpose	36

6.13.2	Signature	36

6.13.3	Caller workflow	36

6.13.4	Validation, planning and apply algorithm	37

6.13.5	Concurrency and generation behaviour	37

6.13.6	Outcomes, errors and implementer responsibilities	37

6.13.7	Refresh sequence	38

6.14	Events and change notifications	38

6.15	Incorporated OPC 10100-1 version 1.02 model	38

6.15.1	The preserved 1.02 model	38

6.15.2	Backing the deprecated surface with the registry	39

7	OPC UA ObjectTypes	40

7.1	WoTRegistryType	40

7.1.1	Refresh	41

7.2	ThingDescriptionGroupType	41

7.3	ThingModelGroupType	42

7.4	WoTDocumentType	42

7.4.1	Validate	43

7.4.2	SetEnabled	44

7.4.3	SetDefaultVersion	44

7.5	ThingDescriptionFileType	45

7.6	ThingModelFileType	45

7.7	WoTBindingType	45

7.8	WoTAssetConnectionManagementType	46

7.8.1	CreateAsset	46

7.8.2	DeleteAsset	47

7.8.3	DiscoverAssets	47

7.8.4	CreateAssetForEndpoint	48

7.8.5	ConnectionTest	48

7.9	IWoTAssetType	49

7.10	WoTAssetConfigurationType	49

7.11	WoTAssetFileType	49

7.11.1	CloseAndUpdate	49

8	OPC UA EventTypes	50

8.1	WoTResourceEventType	50

8.2	WoTValidationFailureEventType	50

8.3	WoTLoadFailureEventType	51

8.4	WoTBindingFailureEventType	51

8.5	WoTRefreshCompletedEventType	51

9	OPC UA DataTypes	52

9.1	WoTDocumentKindEnum	52

9.2	WoTLoadStateEnum	52

9.3	WoTRefreshModeEnum	53

9.4	WoTAtomicityEnum	53

9.5	WoTDeletePolicyEnum	54

9.6	WoTOutcomeEnum	54

9.7	WoTPhaseEnum	55

9.8	WoTBindingCapabilityEnum	55

9.9	WoTValidationOutcomeDataType	56

9.10	WoTBindingCapabilityDataType	57

9.11	WoTRefreshOptionsDataType	57

9.12	WoTResourceSelectorDataType	58

9.13	WoTResourceLoadResultDataType	58

9.14	WoTRefreshSummaryDataType	59

9.15	WoTDependencyDataType	59

10	OPC UA ReferenceTypes	60

10.1	HasWoTProjection	60

10.2	HasWoTComponent	60

11	Instances	61

11.1	WoTRegistry	61

11.1.1	Refresh	61

11.2	WoTAssetConnectionManagement	62

11.2.1	CreateAsset	62

11.2.2	DeleteAsset	63

11.2.3	DiscoverAssets	63

11.2.4	CreateAssetForEndpoint	64

11.2.5	ConnectionTest	64

12	Profiles and conformance units	65

13	Namespaces	65

13.1	Namespace metadata	65

13.2	Handling of OPC UA namespaces	66

14	Security	66

Annex A (normative)   WoT Connectivity namespace and mappings	68

A.1	NodeSet and supplementary files for WoT Connectivity Information Model	68

A.2	Capability identifier	69

A.3	Node reference	69

Annex B (informative)  Acceptance scenarios	80

Figures

Figure 1 – The scope of OPC UA within an enterprise	22

Figure 2 – A basic Object in an OPC UA Address Space	23

Figure 3 – The relationship between Type Definitions and Instances	24

Figure 4 – Examples of References between Objects	25

Figure 5 – The OPC UA Information Model notation	25

Figure 6 – Canonical documents and the projection derived from them	28

Figure 7 – Projection lifecycle of a stored document	34

Figure 8 – Refresh sequence	38

Tables

Table 1 – Examples of DataTypes	14

Table 2 – Type Definition Table	15

Table 3 – Examples of Other characteristics	16

Table 4 – <some>Type additional References	16

Table 5 – <some>Type additional subcomponents	16

Table 6 – <some>Type Attribute values for child Nodes	17

Table 7 – Common Node Attributes	18

Table 8 – Common Object Attributes	18

Table 9 – Common Variable Attributes	19

Table 10 – Common VariableType Attributes	19

Table 11 – Common Method Attributes	19

Table 12 – Structures without optional fields where none of the fields allow subtypes	20

Table 13 – Structures with optional fields	20

Table 14 – Structures where one or more of the fields allow subtypes	20

Table 15 – The preserved 1.02 model	39

Table 16 – WoTRegistryType definition	40

Table 17 – Refresh Method Arguments	41

Table 18 – Refresh Method AddressSpace definition	41

Table 19 – ThingDescriptionGroupType definition	42

Table 20 – ThingModelGroupType definition	42

Table 21 – WoTDocumentType definition	43

Table 22 – Validate Method Arguments	43

Table 23 – Validate Method AddressSpace definition	44

Table 24 – SetEnabled Method Arguments	44

Table 25 – SetEnabled Method AddressSpace definition	44

Table 26 – SetDefaultVersion Method Arguments	44

Table 27 – SetDefaultVersion Method AddressSpace definition	45

Table 28 – ThingDescriptionFileType definition	45

Table 29 – ThingModelFileType definition	45

Table 30 – WoTBindingType definition	46

Table 31 – WoTAssetConnectionManagementType definition	46

Table 32 – CreateAsset Method Arguments	46

Table 33 – CreateAsset Method AddressSpace definition	47

Table 34 – DeleteAsset Method Arguments	47

Table 35 – DeleteAsset Method AddressSpace definition	47

Table 36 – DiscoverAssets Method Arguments	47

Table 37 – DiscoverAssets Method AddressSpace definition	47

Table 38 – CreateAssetForEndpoint Method Arguments	48

Table 39 – CreateAssetForEndpoint Method AddressSpace definition	48

Table 40 – ConnectionTest Method Arguments	48

Table 41 – ConnectionTest Method AddressSpace definition	48

Table 42 – IWoTAssetType definition	49

Table 43 – WoTAssetConfigurationType definition	49

Table 44 – WoTAssetFileType definition	49

Table 45 – CloseAndUpdate Method Arguments	50

Table 46 – CloseAndUpdate Method AddressSpace definition	50

Table 47 – WoTResourceEventType definition	50

Table 48 – WoTValidationFailureEventType definition	51

Table 49 – WoTLoadFailureEventType definition	51

Table 50 – WoTBindingFailureEventType definition	51

Table 51 – WoTRefreshCompletedEventType definition	52

Table 52 – WoTDocumentKindEnum Items	52

Table 53 – WoTDocumentKindEnum definition	52

Table 54 – WoTLoadStateEnum Items	53

Table 55 – WoTLoadStateEnum definition	53

Table 56 – WoTRefreshModeEnum Items	53

Table 57 – WoTRefreshModeEnum definition	53

Table 58 – WoTAtomicityEnum Items	54

Table 59 – WoTAtomicityEnum definition	54

Table 60 – WoTDeletePolicyEnum Items	54

Table 61 – WoTDeletePolicyEnum definition	54

Table 62 – WoTOutcomeEnum Items	55

Table 63 – WoTOutcomeEnum definition	55

Table 64 – WoTPhaseEnum Items	55

Table 65 – WoTPhaseEnum definition	55

Table 66 – WoTBindingCapabilityEnum Items	56

Table 67 – WoTBindingCapabilityEnum definition	56

Table 68 – WoTValidationOutcomeDataType Items	56

Table 69 – WoTValidationOutcomeDataType definition	56

Table 70 – WoTBindingCapabilityDataType Items	57

Table 71 – WoTBindingCapabilityDataType definition	57

Table 72 – WoTRefreshOptionsDataType Items	57

Table 73 – WoTRefreshOptionsDataType definition	57

Table 74 – WoTResourceSelectorDataType Items	58

Table 75 – WoTResourceSelectorDataType definition	58

Table 76 – WoTResourceLoadResultDataType Items	58

Table 77 – WoTResourceLoadResultDataType definition	59

Table 78 – WoTRefreshSummaryDataType Items	59

Table 79 – WoTRefreshSummaryDataType definition	59

Table 80 – WoTDependencyDataType Items	60

Table 81 – WoTDependencyDataType definition	60

Table 82 – HasWoTProjection definition	60

Table 83 – HasWoTComponent definition	60

Table 84 – WoTRegistry definition	61

Table 85 – Refresh Method Arguments	61

Table 86 – Refresh Method AddressSpace definition	62

Table 87 – WoTAssetConnectionManagement definition	62

Table 88 – CreateAsset Method Arguments	62

Table 89 – CreateAsset Method AddressSpace definition	63

Table 90 – DeleteAsset Method Arguments	63

Table 91 – DeleteAsset Method AddressSpace definition	63

Table 92 – DiscoverAssets Method Arguments	63

Table 93 – DiscoverAssets Method AddressSpace definition	63

Table 94 – CreateAssetForEndpoint Method Arguments	64

Table 95 – CreateAssetForEndpoint Method AddressSpace definition	64

Table 96 – ConnectionTest Method Arguments	64

Table 97 – ConnectionTest Method AddressSpace definition	64

Table 98 – Profiles and conformance units	65

Table 99 – NamespaceMetadata Object for this document	66

Table 100 – Namespaces used in an OpenUSD Server	66

Table 101 – Namespaces used in this document	66

Table 102 – Nodes defined by this document	70

OPC FOUNDATION, W3C Web of Things Working Group

____________

This work (OPC UA Companion Specification Template, by OPC Foundation), identified by OPC Foundation, is free of known copyright restrictions.

<Remove the above Public Domain notice and add a copyright date in the following Agreement of use for the completed specification. If possible (but not legally required), provide attribution to the original author in the following way:

“This specification is a derivative work of the public domain document OPC UA Companion Specification Template, by OPC Foundation”

>

AGREEMENT OF USE

<For joint work, this is the agreement accepted by OPC Foundation and used by most if not all joint companion specifications.

Changes to this agreement will require OPC Foundation review. For non-joint work replace this section with appropriate agreement of use and copyright verbiage.>

COPYRIGHT RESTRICTIONS

- This document is provided "as is" by the OPC Foundation and the W3C Web of Things Working Group.

- Right of use for this specification is restricted to this specification and does not grant rights of use for referred documents.

- Right of use for this specification will be granted without cost.

- This document may be distributed through computer systems, printed or copied as long as the content remains unchanged and the document is not modified.

- OPC Foundation and W3C Web of Things Working Group do not guarantee usability for any purpose and shall not be made liable for any case using the content of this document.

- The user of the document agrees to indemnify OPC Foundation and W3C Web of Things Working Group and their officers, directors and agents harmless from all demands, claims, actions, losses, damages (including damages from personal injuries), costs and expenses (including attorneys' fees) which are in any way related to activities associated with its use of content from this specification.

- The document shall not be used in conjunction with company advertising, shall not be sold or licensed to any party.

- The intellectual property and copyright is solely owned by the OPC Foundation and the W3C Web of Things Working Group.

PATENTS

The attention of adopters is directed to the possibility that compliance with or adoption of OPC or W3C Web of Things Working Group specifications may require use of an invention covered by patent rights. OPC Foundation or W3C Web of Things Working Group shall not be responsible for identifying patents for which a license may be required by any OPC or W3C Web of Things Working Group specification, or for conducting legal inquiries into the legal validity or scope of those patents that are brought to its attention. OPC or W3C Web of Things Working Group specifications are prospective and advisory only. Prospective users are responsible for protecting themselves against liability for infringement of patents.

WARRANTY AND LIABILITY DISCLAIMERS

WHILE THIS PUBLICATION IS BELIEVED TO BE ACCURATE, IT IS PROVIDED "AS IS" AND MAY CONTAIN ERRORS OR MISPRINTS. THE OPC FOUDATION NOR W3C Web of Things Working Group MAKES NO WARRANTY OF ANY KIND, EXPRESSED OR IMPLIED, WITH REGARD TO THIS PUBLICATION, INCLUDING BUT NOT LIMITED TO ANY WARRANTY OF TITLE OR OWNERSHIP, IMPLIED WARRANTY OF MERCHANTABILITY OR WARRANTY OF FITNESS FOR A PARTICULAR PURPOSE OR USE. IN NO EVENT SHALL THE OPC FOUNDATION NOR W3C Web of Things Working Group BE LIABLE FOR ERRORS CONTAINED HEREIN OR FOR DIRECT, INDIRECT, INCIDENTAL, SPECIAL, CONSEQUENTIAL, RELIANCE OR COVER DAMAGES, INCLUDING LOSS OF PROFITS, REVENUE, DATA OR USE, INCURRED BY ANY USER OR ANY THIRD PARTY IN CONNECTION WITH THE FURNISHING, PERFORMANCE, OR USE OF THIS MATERIAL, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH DAMAGES.

The entire risk as to the quality and performance of software developed using this specification is borne by you.

RESTRICTED RIGHTS LEGEND

This Specification is provided with Restricted Rights. Use, duplication, or disclosure by the U.S. government is subject to restrictions as set forth in (a) this Agreement pursuant to DFARs 227.7202-3(a); (b) subparagraph (c)(1)(i) of the Rights in Technical Data and Computer Software clause at DFARs 252.227-7013; or (c) the Commercial Computer Software Restricted Rights clause at FAR 52.227-19 subdivision (c)(1) and (2), as applicable. Contractor / manufacturer are the OPC Foundation, 16101 N. 82nd Street, Suite 3B, Scottsdale, AZ, 85260-1830

COMPLIANCE

The combination of W3C Web of Things Working Group and OPC Foundation shall at all times be the sole entities that may authorize developers, suppliers and sellers of hardware and software to use certification marks, trademarks, or other special designations to indicate compliance with these materials as specified within this document. Products developed using this specification may claim compliance or conformance with this specification if and only if the software satisfactorily meets the certification requirements set by W3C Web of Things Working Group or the OPC Foundation. Products that do not meet these requirements may claim only that the product was based on this specification and must not claim compliance or conformance with this specification.

Trademarks

Most computer and software brand names have trademarks or registered trademarks. The individual trademarks have not been listed here.

GENERAL PROVISIONS

Should any provision of this Agreement be held to be void, invalid, unenforceable, or illegal by a court, the validity and enforceability of the other provisions shall not be affected thereby.

This Agreement shall be governed by and construed under the laws of Germany.

This Agreement embodies the entire understanding between the parties with respect to, and supersedes any prior understanding or agreement (oral or written) relating to, this specification.

ISSUE REPORTING

If an error or problem is found in this specification, the UaNodeSet, or any associated supplementary files, it should be reported as an issue.

The reporting process can be found here: https://opcfoundation.org/resources/issue-tracking/

The Link to the issue tracking project for this document is here:

https://mantis.opcfoundation.org/set_project.php?project_id=<nnn>&make_default=no

<nnn> is the project_id in Mantis which is created for any document when requested by the working group. Example: https://mantis.opcfoundation.org/set_project.php?project_id=142&make_default=no is the Link for OPC 40001-* (Machinery).

If you have no Mantis Project or do not know the project_id, please send a request to TechnicalDirector@opcfoundation.org.

Release 1.2.0 highlights

<Revision Highlights specify the interesting changes to the previous revision. Such a "Revision Highlights" clause will not exist in the first revision.>

The table below follows the design and process used for the OPC UA specification. All "interesting" changes need to be reported in the problem tracking tool used for the specification. The OPC Foundation uses Mantis and provides it for companion specs as well. If a different problem tracking tool is used, "Mantis" needs to be replaced.

<The two rows in the following table are just examples. Note that the "Mantis IDs" are real hyperlinks – when clicked the reader opens the Mantis page.>

Scope shall specify the type of change. The three options are Errata (corrected something that was wrong), Clarification (make something clearer that was not wrong), and Feature (added new functionality).

The following table includes the Mantis issues resolved with this revision.

| Mantis ID | Scope | Summary | Resolution |
| --- | --- | --- | --- |
| 3165 | Errata | Wrong variable data types in Program example. | Fixed datatypes and replaced Table A.14 by description of the variables. |
| 3521 | Clarification | Modelling rules for states and transitions. | Removed the modelling rules from state and transition objects as they are never created (multiple tables). |

OPC UA FOR WoT CONNECTIVITY

Part 1: Thing Description registry and projection

# Scope

This specification defines WoT Connectivity 1.1: an OPC UA information model and normative behaviour for a server that stores, validates, versions and projects W3C Web of Things documents. It is an additive revision of OPC 10100-1 v1.02 published in the same namespace http://opcfoundation.org/UA/WoT-Con/.

- A Thing Model (WoT-TM/1.1) describes a reusable class of Things; this specification projects it to OPC UA types.

- A Thing Description (WoT-TD/1.1) describes a concrete Thing instance; this specification projects it to OPC UA instances whose interaction affordances are bound to protocol bindings.

The registry files and versions are canonical. The AddressSpace that a client browses — types from Thing Models, instances from Thing Descriptions, References from links, and monitored values driven by binder plans built from forms — is a derived projection that a server refreshes, atomically and idempotently, from the stored documents.

This specification incorporates the published OPC 10100-1 v1.02 WoT Connectivity model (namespace http://opcfoundation.org/UA/WoT-Con/, model version 1.02.0) into the same combined NodeSet and namespace. Every published NodeId (1..172), type, method signature and the well-known WoTAssetConnectionManagement object is preserved exactly (6.15). Because the additive registry supersedes the flat asset-management surface, the 1.02 management and upload types are marked deprecated (ReleaseStatus="Deprecated", following OPC 11030) — deprecated, not removed, so existing 1.02 clients keep working unchanged. This is a single combined model in one namespace, not a separate namespace and not a dual profile.

Out of scope: the WoT vocabulary itself (defined by the revised OPC UA — WoT Binding JSON-LD vocabulary, a normative dependency of this specification), the xRegistry document/API semantics (defined by OPC UA — xRegistry), and the concrete wire protocols of individual W3C binding templates.

NOTE   PROVISIONAL WORKING DRAFT — not normative, not endorsed by the OPC Foundation. The document number, the Mantis project identifier and every NodeId in this document are placeholders; the OPC Foundation assigns the real values.

OPC Foundation

OPC is the interoperability standard for the secure and reliable exchange of data and information in the industrial automation space and in other industries. It is platform independent and ensures the seamless flow of information among devices from multiple vendors. The OPC Foundation is responsible for the development and maintenance of this standard.

OPC UA is a platform independent service-oriented architecture that integrates all the functionality of the individual OPC Classic specifications into one extensible framework. This multi-layered approach accomplishes the original design specification goals of:

- Platform independence: from an embedded microcontroller to cloud-based infrastructure

- Secure: encryption, authentication, authorisation, and auditing

- Extensible: ability to add new features including transports without affecting existing applications

- Comprehensive information modelling capabilities: for defining any model from simple to complex

W3C Web of Things Working Group

# Normative references

The following referenced documents are indispensable for the application of this document. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments and errata) applies.

NOTE   The OPC UA core specifications are regularly published as IEC 62541.

OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts

http://www.opcfoundation.org/documents/10000-1/

OPC 10000-2, OPC Unified Architecture - Part 2: Security Model

http://www.opcfoundation.org/documents/10000-2/

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model

http://www.opcfoundation.org/documents/10000-3/

OPC 10000-4, OPC Unified Architecture - Part 4: Services

http://www.opcfoundation.org/documents/10000-4/

OPC 10000-5, OPC Unified Architecture - Part 5: Information Model

http://www.opcfoundation.org/documents/10000-5/

OPC 10000-6, OPC Unified Architecture - Part 6: Mappings

http://www.opcfoundation.org/documents/10000-6/

OPC 10000-7, OPC Unified Architecture - Part 7: Profiles

http://www.opcfoundation.org/documents/10000-7/

OPC 10000-12, OPC Unified Architecture - Part 12: Discovery and Global Services

http://www.opcfoundation.org/documents/10000-12/

OPC 10000-20, OPC Unified Architecture - Part 20: File Transfer

http://www.opcfoundation.org/documents/10000-20/

OPC 10100-1, OPC UA for Web of Things Connectivity - Part 1, version 1.02, the published baseline this document incorporates and preserves.

http://www.opcfoundation.org/documents/10100-1/

OPC 11030, OPC UA Modelling Best Practices, including the compatibility and versioning rules applied to a projected model.

http://www.opcfoundation.org/documents/11030/

OPC UA for xRegistry, The abstract registry model of registries, groups and resources that this document extends; declared as a RequiredModel of its NodeSet.

OPC UA for WoT Binding, The uav JSON-LD vocabulary and the NodeSet-to-WoT mapping. A normative vocabulary dependency, not a NodeSet RequiredModel.

W3C WoT Thing Description 1.1, Web of Things (WoT) Thing Description 1.1

https://www.w3.org/TR/wot-thing-description11/

W3C WoT Binding Templates, Web of Things (WoT) Binding Templates

https://www.w3.org/TR/wot-binding-templates/

# Terms, abbreviated terms and conventions

## Overview

## WoT Connectivity terms

It is assumed that basic concepts of OPC UA information modelling and of WoT Connectivity are understood in this document. This document uses these concepts to describe the WoT Connectivity Information Model. For the purposes of this document, the terms and definitions given in OPC 10000-1, OPC 10000-3, OPC 10000-4, OPC 10000-5 and OPC 10000-7, as well as the following, apply.

OPC UA terms and terms defined in this document are italicized in the document.

## Abbreviated terms

Canonical document

a stored TD or TM version; the authoritative source of truth. Everything a client browses is derived from it.

Desired version

vs active version — the version an operator wants projected vs the version whose projection is currently serving.

Shadow generation

a fully materialized but not-yet-visible projection built beside the active one and switched in atomically.

Incorporated 1.02 model

the published OPC 10100-1 v1.02 nodes, preserved unchanged in this combined NodeSet at their published NodeIds and marked Deprecated (§13).

## Conventions used in this document

Following are basic conventions that shall be followed for all formal definitions used.

### Conventions for Node descriptions

#### Node definitions

Node definitions are specified using tables (see Table 2).

Attributes are defined by providing the Attribute name and a value, or a description of the value.

References are defined by providing the ReferenceType name, the BrowseName of the TargetNode and its NodeClass.

If the TargetNode is a component of the Node being defined in the table the Attributes of the composed Node are defined in the same row of the table.

The DataType is only specified for Variables; “[<number>]” indicates a single-dimensional array, for multi-dimensional arrays the expression is repeated for each dimension (e.g. [2][3] for a two-dimensional array). For all arrays the ArrayDimensions is set as identified by <number> values. If no <number> is set, the corresponding dimension is set to 0, indicating an unknown size. If no number is provided at all the ArrayDimensions can be omitted. If no brackets are provided, it identifies a scalar DataType and the ValueRank is set to the corresponding value (see OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model). In addition, ArrayDimensions is set to null or is omitted. If it can be Any or ScalarOrOneDimension, the value is put into “{<value>}”, so either “{Any}” or “{ScalarOrOneDimension}” and the ValueRank is set to the corresponding value (see OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model) and the ArrayDimensions is set to null or is omitted. Examples are given in Table 1.

Table 1 – Examples of DataTypes

| Notation | DataType | ValueRank | ArrayDimensions | Description |
| --- | --- | --- | --- | --- |
| 0:Int32 | 0:Int32 | -1 | omitted or null | A scalar Int32. |
| 0:Int32{OneOrMoreDimensions} | 0:Int32 | 0 | omitted or null | The Int32 value is an array with one or more dimensions. |
| 0:Int32[] | 0:Int32 | 1 | omitted or {0} | Single-dimensional array of Int32 with an unknown size. |
| 0:Int32[][] | 0:Int32 | 2 | omitted or {0,0} | Two-dimensional array of Int32 with unknown sizes for both dimensions. |
| 0:Int32[3][] | 0:Int32 | 2 | {3,0} | Two-dimensional array of Int32 with a size of 3 for the first dimension and an unknown size for the second dimension. |
| 0:Int32[5][3] | 0:Int32 | 2 | {5,3} | Two-dimensional array of Int32 with a size of 5 for the first dimension and a size of 3 for the second dimension. |
| 0:Int32{Any} | 0:Int32 | -2 | omitted or null | An Int32 where it is unknown if it is scalar or array with any number of dimensions. |
| 0:Int32{ScalarOrOneDimension} | 0:Int32 | -3 | omitted or null | An Int32 where it is either a single-dimensional array or a scalar. |

The TypeDefinition is specified for Objects and Variables.

The TypeDefinition column specifies a symbolic name for a NodeId, i.e., the specified Node points with a HasTypeDefinition Reference to the corresponding Node.

The ModellingRule of the referenced component is provided by specifying the symbolic name of the rule in the ModellingRule column. In the AddressSpace, the Node shall use a HasModellingRule Reference to point to the corresponding ModellingRule Object.

If the NodeId of a DataType is provided, the symbolic name of the Node representing the DataType shall be used.

Note that if a symbolic name of a different namespace is used, it is prefixed by the NamespaceIndex (see 3.4.2.2).

Nodes of all other NodeClasses cannot be defined in the same table; therefore, only the used ReferenceType, their NodeClass and their BrowseName are specified. A reference to another part of this document points to their definition. Table 2 illustrates the table. If no components are provided, the DataType, TypeDefinition and Other columns can be omitted and only a Comment column is introduced to point to the Node definition.

Each Type Node or well-known Instance Node defined shall have one or more ConformanceUnits defined in 12 that require the Node to be in the AddressSpace.

The relations between Nodes and ConformanceUnits are defined at the end of the tables defining Nodes, one row per ConformanceUnit. The ConformanceUnits are reflected in the Category element for the Node definition in the UANodeSet (see OPC 10000-6, OPC Unified Architecture - Part 6: Mappings).

The list of ConformanceUnits in the UANodeSet allows Servers to optimize resource consumption by using a list of supported ConformanceUnits to select a subset of the Nodes in an Information Model.

When a Node is selected in this way, all dependencies implied by the References are also selected.

Dependencies exist if the Node is the source of HasTypeDefinition, HasInterface, HasAddIn or any HierarchicalReference. Dependencies also exist if the Node is the target of a HasSubtype Reference. For Variables and VariableTypes, the value of the DataType Attribute is a dependency. For DataType Nodes, any DataTypes referenced in the DataTypeDefinition Attribute are also dependencies.

For additional details see OPC 10000-5, OPC Unified Architecture - Part 5: Information Model.

Table 2 – Type Definition Table

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Attribute name | Attribute value. If it is an optional Attribute that is not set “--” is used. |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| ReferenceType name | NodeClass of the target Node. | BrowseName of the target Node. | DataType of the referenced Node, only applicable for Variables. | TypeDefinition of the referenced Node, only applicable for Variables and Objects. | Additional characteristics of the TargetNode such as the ModellingRule or AccessLevel. |
| NOTE Notes referencing footnotes of the table content. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| Name of ConformanceUnit, one row per ConformanceUnit |  |  |  |  |  |

Components of Nodes can be complex that is containing components by themselves. The TypeDefinition, NodeClass and DataType can be derived from the type definitions, and the symbolic name can be created as defined in 3.4.3.1. Therefore, those containing components are not explicitly specified; they are implicitly specified by the type definitions.

The Other column defines additional characteristics of the Node. Examples of characteristics that can appear in this column are show in Table 3.

Table 3 – Examples of Other characteristics

| Name | Short Name | Description |
| --- | --- | --- |
| 0:Mandatory | M | The Node has the Mandatory ModellingRule. |
| 0:Optional | O | The Node has the Optional ModellingRule. |
| 0:MandatoryPlaceholder | MP | The Node has the MandatoryPlaceholder ModellingRule. |
| 0:OptionalPlaceholder | OP | The Node has the OptionalPlaceholder ModellingRule. |
| ReadOnly | RO | The Node AccessLevel has the CurrentRead bit set but not the CurrentWrite bit. |
| ReadWrite | RW | The Node AccessLevel has the CurrentRead and CurrentWrite bits set. |
| WriteOnly | WO | The Node AccessLevel has the CurrentWrite bit set but not the CurrentRead bit. |

If multiple characteristics are defined, they are separated by commas. The name or the short name can be used.

#### Additional References

To provide information about additional References, the format as shown in Table 4 is used.

Table 4 – <some>Type additional References

| SourceBrowsePath | Reference Type | Is Forward | TargetBrowsePath |
| --- | --- | --- | --- |
| SourceBrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table. | ReferenceType name | True = forward Reference. | TargetBrowsePath points to another Node, which can be a well-known instance or a TypeDefinition. You can use BrowsePaths here as well, which is either relative to the TypeDefinition or absolute. If absolute, the first entry needs to refer to a type or well-known instance, uniquely identified within a namespace by the BrowseName. |

References can be to any other Node.

#### Additional sub-components

To provide information about sub-components, the format as shown in Table 5 is used.

Table 5 – <some>Type additional subcomponents

| BrowsePath | References | NodeClass | BrowseName | DataType | TypeDefinition | Others |
| --- | --- | --- | --- | --- | --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | NOTE Same as for Table 2 |  |  |  |  |  |

#### Additional Attribute values

The type definition table provides columns to specify the values for required Node Attributes for InstanceDeclarations. To provide information about additional Attributes, the format as shown in Table 6 is used.

Table 6 – <some>Type Attribute values for child Nodes

| BrowsePath | <Attribute name> Attribute |
| --- | --- |
| BrowsePath is always relative to the TypeDefinition. Multiple elements are defined as separate rows of a nested table | The values of attributes are converted to text by adapting the reversible JSON encoding rules defined in OPC 10000-6. If the JSON encoding of a value is a JSON string or a JSON number then that value is entered in the value field. Double quotes are not included. If the DataType includes a NamespaceIndex (QualifiedNames, NodeIds or ExpandedNodeIds) then the notation used for BrowseNames is used. If the value is an Enumeration the name of the enumeration value is entered. If the value is a Structure then a sequence of name and value pairs is entered. Each pair is followed by a newline. The name is followed by a colon. The names are the names of the fields in the DataTypeDefinition. If the value is an array of non-structures then a sequence of values is entered where each value is followed by a newline. If the value is an array of Structures or a Structure with fields that are arrays or with nested Structures then the complete JSON array or JSON object is entered. |

There can be multiple columns to define more than one Attribute.

### NodeIds and BrowseNames

#### NodeIds

The NodeIds of all Nodes described in this standard are only symbolic names. Annex A defines the actual NodeIds.

The symbolic name of each Node defined in this document is its BrowseName, or, when it is part of another Node, the BrowseName of the other Node, a “.”, and the BrowseName of itself. In this case “part of” means that the whole has a HasProperty or HasComponent Reference to its part. Since all Nodes not being part of another Node have a unique name in this document, the symbolic name is unique.

The NamespaceUri for all NodeIds defined in this document is defined in Annex A. The NamespaceIndex for this NamespaceUri is vendor-specific and depends on the position of the NamespaceUri in the server namespace table.

Note that this document not only defines concrete Nodes, but also requires that some Nodes shall be generated, for example one for each Session running on the Server. The NodeIds of those Nodes are Server-specific, including the namespace. But the NamespaceIndex of those Nodes cannot be the NamespaceIndex used for the Nodes defined in this document, because they are not defined by this document but generated by the Server.

#### BrowseNames

The text part of the BrowseNames for all Nodes defined in this document is specified in the tables defining the Nodes. The NamespaceUri for all BrowseNames defined in this document is defined in 13.2.

For InstanceDeclarations of NodeClass Object and Variable that are placeholders (OptionalPlaceholder and MandatoryPlaceholder ModellingRule), the BrowseName and the DisplayName are enclosed in angle brackets (<>) as recommended in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

If a BrowseName is not defined by this document, a namespace index prefix is added to the BrowseName (e.g., prefix '0' leading to ‘0:EngineeringUnits’ or prefix '2' leading to ‘2:DeviceRevision’). This is typically necessary if a Property of another specification is overwritten or used in the OPC UA types defined in this document. Table 101 – Namespaces used in this document provides a list of namespaces and their indexes as used in this document.

### Common Attributes

#### General

The Attributes of Nodes, their DataTypes and descriptions are defined in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model. Attributes not marked as optional are mandatory and shall be provided by a Server. The following tables define if the Attribute value is defined by this document or if it is server-specific.

For all Nodes specified in this document, the Attributes named in Table 7 shall be set as specified in the table.

Table 7 – Common Node Attributes

| Attribute | Value |
| --- | --- |
| DisplayName | The DisplayName is a LocalizedText. Each Server shall provide the DisplayName identical to the BrowseName of the Node for the LocaleId “en” unless specified differently in the specification. Whether the Server provides translated names for other LocaleIds is server-specific. |
| Description | Optionally a server-specific description is provided. |
| NodeClass | Shall reflect the NodeClass of the Node. |
| NodeId | The NodeId is described by BrowseNames as defined in 3.4.2.1. |
| WriteMask | Optionally the WriteMask Attribute can be provided. If the WriteMask Attribute is provided, it shall set all non-server-specific Attributes to not writable. For example, the Description Attribute can be set to writable since a Server can provide a server-specific description for the Node. The NodeId shall not be writable, because it is defined for each Node in this document. |
| UserWriteMask | Optionally the UserWriteMask Attribute can be provided. The same rules as for the WriteMask Attribute apply. |
| RolePermissions | Optionally server-specific role permissions can be provided. |
| UserRolePermissions | Optionally the role permissions of the current Session can be provided. The value is server-specific and depends on the RolePermissions Attribute (if provided) and the current Session. |
| AccessRestrictions | Optionally server-specific access restrictions can be provided. |

#### Objects

For all Objects specified in this document, the Attributes named in Table 8 shall be set as specified in the Table 8. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 8 – Common Object Attributes

| Attribute | Value |
| --- | --- |
| EventNotifier | Whether the Node can be used to subscribe to Events or not is server-specific. |

#### Variables

For all Variables specified in this document, the Attributes named in Table 9 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 9 – Common Variable Attributes

| Attribute | Value |
| --- | --- |
| MinimumSamplingInterval | Optionally, a server-specific minimum sampling interval is provided. |
| AccessLevel | The access level for Variables used for type definitions is server-specific, for all other Variables defined in this document, the access level shall allow reading; other settings are server-specific. |
| UserAccessLevel | The value for the UserAccessLevel Attribute is server-specific. It is assumed that all Variables can be accessed by at least one user. |
| Value | For Variables used as InstanceDeclarations, the value is server-specific; otherwise, it shall represent the value described in the text. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the Variable. |
| Historizing | The value for the Historizing Attribute is server-specific. |
| AccessLevelEx | If the AccessLevelEx Attribute is provided, it shall have the bits 8, 9, and 10 set to 0, meaning that read and write operations on an individual Variable are atomic, and arrays can be partly written. |

#### VariableTypes

For all VariableTypes specified in this document, the Attributes named in Table 10 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 10 – Common VariableType Attributes

| Attributes | Value |
| --- | --- |
| Value | Optionally a server-specific default value can be provided. |
| ArrayDimensions | If the ValueRank does not identify an array of a specific dimension (i.e., ValueRank <= 0) the ArrayDimensions can either be set to null or the Attribute is missing. This behaviour is server-specific. If the ValueRank specifies an array of a specific dimension (i.e., ValueRank > 0) then the ArrayDimensions Attribute shall be specified in the table defining the VariableType. |

#### Methods

For all Methods specified in this document, the Attributes named in Table 11 shall be set as specified in the table. The definitions for the Attributes can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model.

Table 11 – Common Method Attributes

| Attributes | Value |
| --- | --- |
| Executable | All Methods defined in this document shall be executable (Executable Attribute set to “True”), unless it is defined differently in the Method definition. |
| UserExecutable | The value of the UserExecutable Attribute is server-specific. It is assumed that all Methods can be executed by at least one user. |

### Structures

OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model differentiates between different kinds of Structures. The following conventions explain, how these Structures shall be defined.

The first kind are Structures without optional fields where none of the fields allows subtype (except fields with abstract DataTypes). Its definition is in Table 12.

Table 12 – Structures without optional fields where none of the fields allow subtypes

| Name | Type | Description |
| --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |
| SP1 | 0:Byte[] | Setpoint 1 |
| SP2 | 0:Byte[] | Setpoint 2 |

The second kind are Structures with optional fields where none of the fields allows subtypes (except fields with abstract DataTypes). Its definition is in Table 13.

Structures with fields that are optional have an “Optional” column. Fields that are optional have True set, otherwise False.

Table 13 – Structures with optional fields

| Name | Type | Description | Optional |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Optional Field_1 | 0:String | Some Text | True |

The third kind are Structures without optional fields where one or more of the fields allow subtypes. Its definition is in Table 14.

Structures with fields that allow subtypes have an “Allow Subtypes” column. Fields that allow subtypes have True set, otherwise False. Fields with abstract DataTypes can always be subtyped.

Table 14 – Structures where one or more of the fields allow subtypes

| Name | Type | Description | Allow Subtypes |
| --- | --- | --- | --- |
| <someStructure> | structure | Subtype of <someParentStructure> defined in … |  |
| SP1 | 0:Byte[] | Setpoint 1 | False |
| Allow Subtypes | 0:ByteString | Some Bytestring | True |

Fields with abstract DataTypes shall have True in the “Allow Subtypes” column.

It is not allowed to add both columns to combine optional fields and fields that allow subtypes in one structure.

# General information to WoT Connectivity and OPC UA

## Introduction to WoT Connectivity

The W3C Web of Things (WoT) describes a device or a service by a Thing Description: a JSON-LD document that names its properties, actions and events and states, in machine-readable form, which protocol operation reads, writes, observes or invokes each of them. A Thing Model is the reusable, instance-independent template a Thing Description is derived from.

A Thing Description is therefore a complete, portable statement of what a Thing offers and how to reach it. What it is not is part of an address space: a Client that wants to browse, subscribe to or invoke a Thing has to read the document, understand its bindings and build the calls itself.

This document defines an OPC UA registry for those documents and the address space they project into. Thing Descriptions and Thing Models are stored as canonical files, and the Server derives ObjectTypes, Objects, Variables, Methods and EventTypes from them, so that a Web of Things description becomes a browsable and subscribable part of the address space while the stored document remains the single source of truth.

## Introduction to OPC Unified Architecture

This is an OPC UA introduction that can be used as is, shortened or enhanced as appropriate.

### What is OPC UA?

OPC UA is an open and royalty free set of standards designed as a universal communication protocol. While there are numerous communication solutions available, OPC UA has key advantages:

- A state of art security model (see OPC 10000-2, OPC Unified Architecture - Part 2: Security Model).

- A fault tolerant communication protocol.

- An information modelling framework that allows application developers to represent their data in a way that makes sense to them.

OPC UA has a broad scope which delivers for economies of scale for application developers. This means that a larger number of high-quality applications at a reasonable cost are available. When combined with semantic models such as WoT Connectivity, OPC UA makes it easier for end users to access data via generic commercial applications.

The OPC UA model is scalable from small devices to ERP systems. OPC UA Servers process information locally and then provide that data in a consistent format to any application requesting data - ERP, MES, PMS, Maintenance Systems, HMI, Smartphone, or a standard Browser, for examples. For a more complete overview see OPC 10000-1, OPC Unified Architecture - Part 1: Overview and Concepts.

### Basics of OPC UA

As an open standard, OPC UA is based on standard internet technologies, like TCP/IP, HTTP, Web Sockets.

As an extensible standard, OPC UA provides a set of Services (see OPC 10000-4, OPC Unified Architecture - Part 4: Services) and a basic information model framework. This framework provides an easy manner for creating and exposing vendor defined information in a standard way. More importantly all OPC UA Clients are expected to be able to discover and use vendor-defined information. This means OPC UA users can benefit from the economies of scale that come with generic visualisation and historian applications. This specification is an example of an OPC UA Information Model designed to meet the needs of developers and users.

OPC UA Clients can be any consumer of data from another device on the network to browser based thin clients and ERP systems. The full scope of OPC UA applications is shown in Figure 1.

Figure 1 – The scope of OPC UA within an enterprise

OPC UA provides a robust and reliable communication infrastructure having mechanisms for handling lost messages, failover, heartbeat, etc. With its binary encoded data, it offers a high-performing data exchange solution. Security is built into OPC UA as security requirements become more and more important especially since environments are connected to the office network or the internet and attackers are starting to focus on automation systems.

### Information modelling in OPC UA

#### Concepts

OPC UA provides a framework that can be used to represent complex information as Objects in an AddressSpace which can be accessed with standard services. These Objects consist of Nodes connected by References. Different classes of Nodes convey different semantics. For example, a Variable Node represents a value that can be read or written. The Variable Node has an associated DataType that can define the actual value, such as a string, float, structure etc. It can also describe the Variable value as a variant. A Method Node represents a function that can be called. Every Node has a number of Attributes including a unique identifier called a NodeId and non-localized name called as BrowseName. An Object representing a ‘Reservation’ is shown in Figure 2.

Figure 2 – A basic Object in an OPC UA Address Space

Object and Variable Nodes represent instances and they always reference a TypeDefinition (ObjectType or VariableType) Node which describes their semantics and structure. Figure 3 illustrates the relationship between an instance and its TypeDefinition.

The type Nodes are templates that define all of the children that can be present in an instance of the type. In the example in Figure 3 the PersonType ObjectType defines two children: First Name and Last Name. All instances of PersonType are expected to have the same children with the same BrowseNames. Within a type the BrowseNames uniquely identify the children. This means Client applications can be designed to search for children based on the BrowseNames from the type instead of NodeIds. This eliminates the need for manual reconfiguration of systems if a Client uses types that multiple Servers implement.

OPC UA also supports the concept of sub-typing. This allows a modeller to take an existing type and extend it. There are rules regarding sub-typing defined in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model, but in general they allow the extension of a given type or the restriction of a DataType. For example, the modeller can decide that the existing ObjectType in some cases needs an additional Variable. The modeller can create a subtype of the ObjectType and add the Variable. A Client that is expecting the parent type can treat the new type as if it was of the parent type. Regarding DataTypes, subtypes can only restrict. If a Variable is defined to have a numeric value, a subtype could restrict it to a float.

Figure 3 – The relationship between Type Definitions and Instances

References allow Nodes to be connected in ways that describe their relationships. All References have a ReferenceType that specifies the semantics of the relationship. References can be hierarchical or non-hierarchical. Hierarchical references are used to create the structure of Objects and Variables. Non-hierarchical are used to create arbitrary associations. Applications can define their own ReferenceType by creating subtypes of an existing ReferenceType. Subtypes inherit the semantics of the parent but can add additional restrictions. Figure 4 depicts several References, connecting different Objects.

Figure 4 – Examples of References between Objects

The figures above use a notation that was developed for the OPC UA specification. The notation is summarized in Figure 5. UML representations can also be used; however, the OPC UA notation is less ambiguous because there is a direct mapping from the elements in the figures to Nodes in the AddressSpace of an OPC UA Server.

Figure 5 – The OPC UA Information Model notation

A complete description of the different types of Nodes and References can be found in OPC 10000-3, OPC Unified Architecture - Part 3: Address Space Model and the base structure is described in OPC 10000-5, OPC Unified Architecture - Part 5: Information Model.

The OPC UA specification defines a very wide range of functionality in its basic information model. It is not required that all Clients or Servers support all functionality in the OPC UA specifications. OPC UA includes the concept of Profiles, which segment the functionality into testable certifiable units. This allows the definition of functional subsets (that are expected to be implemented) within a companion specification. The Profiles do not restrict functionality, but generate requirements for a minimum set of functionalities (see OPC 10000-7, OPC Unified Architecture - Part 7: Profiles).

#### Namespaces

OPC UA allows information from many different sources to be combined into a single coherent AddressSpace. Namespaces are used to make this possible by eliminating naming and id conflicts between information from different sources. Each namespace in OPC UA has a globally unique string called a NamespaceUri which identifies a naming authority and a locally unique integer called a NamespaceIndex, which is an index into the Server's table of NamespaceUris. The NamespaceIndex is unique only within the context of a Session between an OPC UA Client and an OPC UA Server- the NamespaceIndex can change between Sessions and still identify the same item even though the NamespaceUri's location in the table has changed. The Services defined for OPC UA use the NamespaceIndex to specify the Namespace for qualified values.

There are two types of structured values in OPC UA that are qualified with NamespaceIndexes: NodeIds and QualifiedNames. NodeIds are locally unique (and sometimes globally unique) identifiers for Nodes. The same globally unique NodeId can be used as the identifier in a node in many Servers – the node's instance data can vary but its semantic meaning is the same regardless of the Server it appears in. This means Clients can have built-in knowledge of of what the data means in these Nodes. OPC UA Information Models generally define globally unique NodeIds for the TypeDefinitions defined by the Information Model.

QualifiedNames are non-localized names qualified with a Namespace. They are used for the BrowseNames of Nodes and allow the same names to be used by different information models without conflict. TypeDefinitions are not allowed to have children with duplicate BrowseNames; however, instances do not have that restriction.

#### Companion Specifications

An OPC UA companion specification for an industry specific vertical market describes an Information Model by defining ObjectTypes, VariableTypes, DataTypes and ReferenceTypes that represent the concepts used in the vertical market, and potentially also well-defined Objects as entry points into the AddressSpace.

# Use cases

The four documents under examples/ are refreshed together in the examples/04-refresh-results.json run. Representative fragments are shown and discussed below; the full files carry the complete context and forms.

## Projecting a Thing Model to an ObjectType

The Thing Model is a class template; its @type uav:objectType makes a refresh project it to an OPC UA ObjectType, and each affordance becomes a member declaration with the modelling rule the TM declares.

"@type": ["tm:ThingModel", "uav:objectType"],

"title": "PumpType",

"uav:browseName": "1:PumpType",

"properties": {

"pumpSpeed": {

"@type": "uav:variableType", "uav:browseName": "1:PumpSpeed",

"type": "number", "unit": "qudt-quantitykind:AngularVelocity",

"uav:modellingRule": "Mandatory", "uav:scaleFactor": 0.1, "uav:decimalPlaces": 2

}

},

"actions": { "reset": { "@type": "uav:method", "uav:modellingRule": "Optional" } }

Here PumpType projects to an ObjectType whose PumpSpeed is a Mandatory Variable (scaled engineering = raw × 0.1, two decimals) and whose reset is an Optional Method. The resulting type NodeId is published back on ThingModelFileType.DerivedTypeNodeId.

## Projecting a Thing Description to an Object

The Thing Description is a concrete instance (@type uav:object) that derives from the Thing Model through a links rel=type entry — the dependency edge of 6.11.4 — and binds each affordance to a protocol form.

"@type": ["Thing", "uav:object"],

"title": "Pump 01",

"links": [ { "rel": "type", "href": "../01-thing-model-pump.tm.jsonld" } ],

"base": "opc.tcp://opcuademo.com:4840",

"properties": { "pumpSpeed": { "@type": "uav:variable",

"forms": [ { "href": "/?id=nsu=http://example.com/demo/pump;s=PumpSpeed",

"op": ["readproperty", "observeproperty"] } ] } }

A refresh with Atomicity = PerClosure activates {Pump 01, PumpType} together; the pumpSpeed form compiles into a binder plan (readproperty → Read, observeproperty → MonitoredItem, 6.12), and the resource carries HasWoTProjection to the projected Object. A TD that also wanted to appear under a parent machine would add a links entry with rel: uav:componentOf (6.11.3).

## An invalid Thing Description stays stored

An intentionally invalid TD demonstrates 6.11.5: it stays stored, is marked Failed, and leaves any prior projection untouched.

// missing top-level "title"; undefined security scheme; invalid form op

"security": "missing_sc",

"properties": { "pumpSpeed": { "forms": [ { "op": ["frobnicate"] } ] } },

"links": [ { "rel": "type", "href": "../thingmodels/does-not-exist.tm.jsonld" } ]

Format validation fails at Phase = FormatValidation; the registry records a WoTValidationOutcomeDataType with FormatOutcome = Failed, raises a WoTValidationFailureEventType from the resource, and reports an unresolved WoTDependencyDataType edge for the missing Thing Model.

## Refresh results

The Refresh output over the three documents pairs a WoTRefreshSummaryDataType with per-resource WoTResourceLoadResultDataType rows.

"summary": { "Generation": 7, "Outcome": "Success", "Atomicity": "PerClosure",

"Total": 3, "Succeeded": 2, "Failed": 1, "Retired": 1 },

"results": [

{ "ResourceId": "pumptype",   "Outcome": "Success", "Phase": "Activation",

"LoadState": "Active", "MaterializedNodeCount": 12 },

{ "ResourceId": "pump-01",    "Outcome": "Success", "Phase": "Activation", "LoadState": "Active" },

{ "ResourceId": "pump-broken","Outcome": "Failed",  "Phase": "FormatValidation", "LoadState": "Failed" }

]

The summary reports two successes and one failure in generation 7, with one superseded generation retired under the configured policy (6.11.6); the failed pump-broken is isolated because its closure never activated, exactly as 6.11.4 requires.

# WoT Connectivity information model overview

This version of the WoT Connectivity specification is organised around a single principle: the registry is the source of truth; the AddressSpace is a cache of it. A server ingests TDs and TMs as registry documents, validates and versions them with xRegistry semantics, resolves their dependency graph, and projects the valid closure into OPC UA nodes. Clients interact with those projected nodes exactly as they would with any OPC UA model; the registry additionally exposes the documents, their lifecycle state, and a Refresh control surface.

Figure 6 – Canonical documents and the projection derived from them

Layering. This specification reuses the abstract xRegistry base (RegistryType/GroupType/ResourceType, namespace index 1) and adds, in the same own namespace (index 2) that carries the incorporated 1.02 model, the WoT-specific subtypes, DataTypes, events and the well-known WoTRegistry object. The WoT vocabulary that governs how a document maps to nodes is the uav JSON-LD vocabulary of the revised OPC UA — WoT Binding; it is a normative dependency but not a NodeSet RequiredModel, because it is a JSON-LD vocabulary, not an OPC UA information model.

Relationship to OPC 10100-1 v1.02. The published v1.02 asset-management surface (WoTAssetConnectionManagement, the asset types and the WoTFile/CloseAndUpdate upload flow) is incorporated into the same NodeSet and namespace and remains callable, but is marked Deprecated: it is a special, flat case of the general registry, and 6.15 records how it is backed by the registry without any signature change. New deployments use the registry surface directly.

Separation of concerns. Routing/lifecycle metadata (load state, generation, desired/active version, validation outcomes, content digest, selected bindings) lives on the registry and document nodes; the semantic mapping of affordances to nodes is carried by the stored document and the uav vocabulary. This mirrors the xRegistry separation of registry metadata from resource content.

## Namespace, model dependencies and NodeId allocation

## Organisation of the model

This section defines each information-model concept the additive registry introduces: what it is, where it appears in the AddressSpace, why it exists, and how it is used. Every type links to its normative node reference in Annex A. Annex A also documents the incorporated 1.02 legacy types (6.15). All registry NodeIds are provisional.

## Registry root

`WoTRegistryType` (i=64000) is the registry root type, a subtype of the abstract xRegistry `RegistryType` (itself a FolderType).

It is instantiated once as the well-known WoTRegistry object under the Server object (6.9).

It is the single entry point from which a client discovers every stored Thing Model and Thing Description and controls their projection.

It holds the two group placeholders <ThingDescriptionGroup> / <ThingModelGroup> and adds registry-wide lifecycle state (RefreshGeneration, AutoRefresh, RefreshMode, RefreshInterval, LastRefreshTime, LastRefreshSummary, DefaultAtomicity, DeletePolicy), validation policy (ValidateFormat, ValidateCompatibility, StrictValidation, VocabularyVersion), the binding surface (SupportedBindings, SelectedBindings) and the Refresh Method (6.13). A client browses Server → WoTRegistry, reads RefreshGeneration to learn the current projection generation, and calls Refresh to re-project on demand.

## Groups

`ThingDescriptionGroupType` (i=64001) and `ThingModelGroupType` (i=64002) are xRegistry `GroupType` subtypes.

Instances appear directly under the registry, one group per related set of documents (for example one group per site or per vendor catalog).

Groups are the unit of organisation, access control and policy: read access to a group is the authorisation boundary for discovering the Things it contains (6.11.11).

Each group carries the group-level validation policy (ValidateFormat, ValidateCompatibility, ConsistentFormat) and a constrained <ThingDescription> / <ThingModel> placeholder that limits its members to the matching document subtype. A Thing Description group holds only Thing Descriptions; a Thing Model group holds only Thing Models.

## Documents

`WoTDocumentType` (i=64003, abstract) is the base of a stored WoT document, a subtype of the xRegistry `ResourceType`. `ThingDescriptionFileType` (i=64004) and `ThingModelFileType` (i=64005) are the concrete subtypes.

Document instances are the members of the groups.

The document is the canonical source of truth; everything a client browses in the projection is derived from these bytes and their versions.

Because ResourceType is a FileType, the JSON-LD document bytes are read and written with the inherited Open/Read/Write/Close Methods, so a client fetches the exact stored TD/TM. WoTDocumentType adds the derived-projection metadata (DocumentKind, Enabled, LoadState, DesiredVersionId, ActiveVersionId, IsDefault, Ancestor, Compatibility, AutoRefresh, RefreshGeneration, LastRefreshTime, ContentDigest, ValidationOutcome, MaterializedNodeCount, RootNodeId, SelectedBindings) and the Validate / SetEnabled / SetDefaultVersion Methods. ThingDescriptionFileType adds the TD instance identity (ThingId, ThingTitle, BaseUri, ModelReference); ThingModelFileType adds the TM type identity (ModelTitle, ModelVersion, DerivedTypeNodeId). For example, after a Thing Model is projected, a client reads ThingModelFileType.DerivedTypeNodeId to find the ObjectType it produced.

## Bindings

`WoTBindingType` (i=64006) is a browseable protocol-binding descriptor.

The registry's SupportedBindings folder holds one WoTBindingType object per protocol binding the server can realise (OPC UA, HTTP, Modbus, …).

It lets a client discover which W3C binding templates the server supports, at which pinned document version and maturity, before relying on a form.

Its BindingUri, Title, ProfileVersion, DraftMaturity, Enabled, ContentTypes and a Capabilities snapshot are individual, browseable nodes. Immutable snapshots of the selected binding set are additionally exposed as arrays of `WoTBindingCapabilityDataType` (SelectedBindings, on the registry and on each document). Browseable policy/identity is always exposed as Objects/Properties; arrays are used only for immutable snapshots. No credentials or secrets are ever exposed on a binding node.

## Organisation of the DataTypes

The model defines eight enumerations and seven structures.

They type the Properties, method arguments and event fields above.

The enumerations give lifecycle and outcome values a stable, machine-readable meaning; the structures package related, versioned facts as a single immutable snapshot.

The enumerations are `WoTDocumentKindEnum`, `WoTLoadStateEnum`, `WoTRefreshModeEnum`, `WoTAtomicityEnum`, `WoTDeletePolicyEnum`, `WoTOutcomeEnum`, `WoTPhaseEnum` and `WoTBindingCapabilityEnum`. The structures — `WoTValidationOutcomeDataType`, `WoTBindingCapabilityDataType`, `WoTRefreshOptionsDataType`, `WoTResourceSelectorDataType`, `WoTResourceLoadResultDataType`, `WoTRefreshSummaryDataType` and `WoTDependencyDataType` — are each an immutable versioned snapshot, read as a single Variant and never mutated in place; each carries Default Binary and Default JSON encodings. examples/04-refresh-results.json (5) shows the two refresh structures populated.

## Events and the notifier chain

`WoTResourceEventType` (i=64010, abstract, subtype of BaseEventType) is the common WoT resource event, carrying the affected identity (Xid, ResourceId, VersionId), DocumentKind, Generation, Phase and Outcome. Its concrete failure subtypes are `WoTValidationFailureEventType` (i=64011), `WoTLoadFailureEventType` (i=64012) and `WoTBindingFailureEventType` (i=64013); `WoTRefreshCompletedEventType` (i=64014) carries the Summary and committed Generation.

The failing resource is the source of a failure event; the registry is the source of the refresh-completed event.

Events let an operator observe validation, projection and binding problems and refresh completion without polling.

The notifier chain is Server → WoTRegistry → groups → resources: the well-known WoTRegistry object declares EventNotifier = SubscribeToEvents and is a HasNotifier target of the Server object (i=2253); groups are HasNotifier targets of the registry and resources of their group. A subscriber on WoTRegistry therefore receives every failure event raised by any contained resource and the refresh-completed event raised by the registry itself.

## Projection correlation

`HasWoTProjection` (i=64060, subtype of NonHierarchicalReferences, inverse WoTProjectionOf) links a stored document resource (source) to the root node of its derived projection (target).

It lets a client navigate in both directions — find the projected node behind a document and the document behind a projected node — and it anchors NodeVersion correlation (6.11.9).

After a Thing Description is projected to an Object, the resource carries HasWoTProjection to that Object; browsing the inverse WoTProjectionOf from any projected node reaches its canonical document.

## Well-known registry instance

WoTRegistry (i=64100, type definition WoTRegistryType) is a HasComponent of the Server object (i=2253).

A fixed, well-known location makes the registry discoverable without configuration, exactly as the incorporated 1.02 WoTAssetConnectionManagement object is discoverable under Objects.

The generated NodeSet materialises the instance with a functional Refresh Method and concrete Values for every Mandatory member (own and inherited), so loading the NodeSet alone yields a structurally complete, callable registry; a server binds the concrete handlers.

## Registry semantics and lifecycle

### Canonical files and derived projection

The stored TD/TM files and their versions are canonical. The projected AddressSpace and any generated code-behind are derived: a server shall be able to rebuild them entirely from the stored documents, the pinned uav vocabulary version and the registry's model, without any additional hidden state. A client shall not rely on projected nodes surviving a change to the underlying document except as governed by the generation and retirement rules below.

### Projection mapping

A valid document is projected using the uav JSON-LD vocabulary defined by the revised OPC UA — WoT Binding; that specification is the normative source for how each uav term maps to an OPC UA construct, and this section applies it:

- A Thing Model projects to a type: uav:objectType → an ObjectType, uav:variableType → a VariableType; its affordances become member declarations with the declared modelling rule (uav:modellingRule), unit (uav:unitProperty / QUDT), scaling (uav:scaleFactor, uav:decimalPlaces) and grouping (uav:memberOf, uav:propertyGroups/eventGroups/actionGroups). The materialized type NodeId is exposed as ThingModelFileType.DerivedTypeNodeId.

- A Thing Description projects to an instance: uav:object → an Object whose affordances become Variables (properties), Methods (actions) and event sources (events → subtypes of an event type, per the TD's uav:eventType/uav:isEvent/data).

- Affordances map to nodes as above; links map to OPC UA References (uav:componentModel → HasComponent, a ReferenceType compact model name used directly in rel → that typed Reference with uav:refId as identifier, uav:reference/uav:capability → non-hierarchical references, uav:componentOf → the parent HasComponent of 6.11.3) or, when no native reference fits, to an explicit link representation carried on the projected node.

- Forms do not become nodes; each form is compiled into a binder plan (6.12) that the server executes to read/write/observe/invoke/subscribe the affordance over the form's protocol binding.

### Placement and parent selection

This specification shall not impose a mandatory flat "Assets" root as a container for every projected instance; the authored hierarchy and references of the stored documents determine where each Thing appears.

A Thing Description author selects the parent under which its projected Object is exposed by adding a WoT links entry with the relation `rel: uav:componentOf` (defined by the WoT Binding vocabulary, §6.2). The relation is directional: uav:componentOf states that this Thing is a component of the linked resource, so the link target is the intended parent (container). The link href shall identify the parent in one of three ways, and the materializer shall resolve it in this order:

- another document in the same registry (a relative/registry href, resolved to that document's projection root in the committed generation);

- an existing AddressSpace node, given as an OPC UA NodeId or a uav:browsePath;

- the projection root of the Thing Model the TD derives from (a self-reference to the type instance owner), when the href names it.

When the parent resolves, the materializer shall create a forward OPC UA HasComponent reference from the resolved parent node to the projected Object (equivalently an inverse HasComponent from the Object to its parent). When a uav:componentOf link is present but its target cannot be resolved within the committed generation, the document's projection shall fail (LoadState = Failed, WoTLoadFailureEventType, Phase = Projection) rather than silently falling back. When no uav:componentOf link is present, the projected Object shall be Organizesd directly under the Objects folder. A server shall not require, and clients shall not assume, any additional convenience container.

### Dependency graph construction and closure atomicity

Documents form a dependency DAG. A refresh shall construct this graph before projecting: a Thing Description depends on the Thing Models it derives from (links rel=type) and on any parent it references (links rel=uav:componentOf, 6.11.3); a Thing Model depends on the Thing Models it extends or references (tm:extends, tm:ref). Each resolved and unresolved edge shall be recorded as a WoTDependencyDataType (SourceXid, TargetXid, TargetUri, RefType, Resolved) so the closure is inspectable. A document together with its transitive dependencies is a closure.

A dependency shall be resolved against the selected registry snapshot. A matching local resource version is used first; if no local match exists, a configured xRegistry federation provider may supply a pinned remote registry resource and version. Known contexts and schemas may be satisfied from implementation-provided, version-pinned local catalogs. A materializer shall not dereference an arbitrary Web URL found in a context, schema reference, link or form while refreshing a projection. ExternalReference and ResourceUrl are federation metadata and do not by themselves grant permission to fetch a document.

TD form endpoints and security declarations are informative to protocol clients and may be inputs to an explicitly enabled protocol binder. They do not select the registry transport, establish trust, authorize dependency resolution or weaken the registry access requirements of 6.11.11.

A refresh shall reject a graph that is not a DAG: if a cycle is detected (for example two Thing Models that tm:extends each other), the affected documents shall be reported Failed with Phase = DependencyResolution and a WoTLoadFailureEventType, and shall not be projected. When the applied atomicity is PerClosure or coarser, the whole closure shall be projected into a shadow generation and committed together or not at all: a closure with any unresolved or invalid dependency shall not be partially activated — no node of that closure becomes visible. When the applied atomicity is PerResource, an independent resource with no unresolved dependency may commit even if an unrelated resource in the same refresh fails.

Example. Refreshing pump-01 (which links rel=type to PumpType) with Atomicity = PerClosure activates the pair {pump-01, PumpType} atomically; if PumpType is missing, neither is projected and pump-01 is reported Failed with an unresolved WoTDependencyDataType edge.

### Invalid documents and desired versus active divergence

Validation failure shall not destroy data. An invalid document (format or compatibility) shall remain stored; its LoadState shall become Failed, its ValidationOutcome shall record the failing phase and reason, and a WoTValidationFailureEventType shall be raised from the resource. The previously active valid projection of that resource shall remain active and unchanged: a refresh that would activate an invalid document shall instead keep the prior committed generation of that closure serving.

DesiredVersionId records the version an operator wants projected; ActiveVersionId records the version currently serving. They may differ transiently during a switch. When the desired version is invalid, they shall diverge persistently — the last valid active version keeps serving while DesiredVersionId points at the rejected version — and this divergence shall be observable so operator tooling can surface it. A server shall not silently activate a desired version that fails validation.

### Shadow prepare, switch and retirement

Projection shall be generational and use a shadow-then-switch discipline so a client never observes a half-built model. A refresh shall proceed through the phases of WoTPhaseEnum: it prepares the new nodes as a shadow generation beside the active one (LoadState = Loading), validates and binds them, then switches atomically to make them visible (LoadState = Active) and increments RefreshGeneration.

The implementation shall apply one documented retirement policy after the switch:

- graceful retirement — the superseded generation enters Superseded, then Retiring. Existing MonitoredItems, continuation points and in-flight requests continue against it until they drain or are migrated to equivalent nodes. New service requests use the active generation. The server removes the old nodes and binding plans only after the retained work drains; or

- immediate retirement — new service requests use the active generation and the prior generation is retired without waiting for its MonitoredItems to drain. The server shall invalidate every affected MonitoredItem. Each affected data-change MonitoredItem shall report BadNodeIdUnknown; affected event MonitoredItems shall cease producing events and subsequent monitored-item service operations on them shall return BadNodeIdUnknown. Clients may then delete or recreate those MonitoredItems.

The policy may be implementation- or configuration-selected but shall be deterministic for a refresh and documented by the implementation. Graceful retirement is the continuity-preserving policy validated by PR #4015; immediate retirement is suitable when retaining an old projection is not supported or desired. The number of generations retired shall be reported in the refresh summary (WoTRefreshSummaryDataType.Retired).

Figure 7 – Projection lifecycle of a stored document

### Automatic and explicit refresh

The registry shall support both automatic and explicit refresh. When AutoRefresh is true, the registry shall re-project per RefreshMode: Periodic on each RefreshInterval, EventDriven on a stored-document change (a write or, for a legacy asset, CloseAndUpdate), or Scheduled on an implementation-defined schedule. The Refresh Method (6.13) shall re-project a selection on demand regardless of AutoRefresh.

A refresh shall be idempotent: a document whose ContentDigest is unchanged since its last projection at the current VocabularyVersion shall be reported Unchanged and shall not be re-materialized, unless Options.Force is set. Re-running an unchanged refresh shall produce the same active generation and the same node set (no NodeId churn, no RefreshGeneration increment). A server should compute ContentDigest over the canonical document bytes so that semantically insignificant reformatting does not force re-projection.

### Version switch, unload, delete and federation

- Version switch. Setting DesiredVersionId (or calling SetDefaultVersion) and refreshing shall shadow-switch the resource's projection to the selected version per 6.11.6. With graceful retirement, live subscriptions continue against the prior generation until drain or migration. With immediate retirement, affected MonitoredItems report BadNodeIdUnknown.

- Unload. SetEnabled(false) shall request unloading the projection while keeping the stored document. Dependents shall be treated per the effective DeletePolicy: Reject shall refuse the operation while any loaded document still depends on the resource; Retire shall retire the projection but keep the document resolvable for dependents; Cascade shall unload dependents that resolve only through this document; Force shall unload the projection even while dependents remain, marking those dependents Failed.

- Delete. The inherited xRegistry Delete shall remove the stored resource/version; its projection shall be retired first, subject to the same DeletePolicy.

- Federation. A document may be served by reference through the inherited xRegistry ExternalReference (ExpandedNodeId) / ResourceUrl. A server shall resolve it only through a configured xRegistry federation provider, not by treating either Property as permission for an arbitrary network fetch. A federated Thing Model may satisfy a local Thing Description's dependency closure when the provider pins its registry identity, version and digest. A federated dependency that cannot be resolved shall be reported as an unresolved WoTDependencyDataType edge and handled as in 6.11.4.

Example. Unloading PumpType with DeletePolicy = Reject while pump-01 still depends on it is rejected; retrying with Cascade unloads pump-01's projection first, then PumpType's.

### Model change events and NodeVersion correlation

A committed generation switch changes the AddressSpace graph. The server shall emit OPC UA model change events (GeneralModelChangeEventType) for the committed node additions/removals/reference changes, and shall stamp affected nodes' NodeVersion so a client can correlate a node's version with the RefreshGeneration that produced it (the HasWoTProjection reference ties the node back to its document). Model change events are emitted for committed graph changes only — never for shadow-generation scratch work.

### Semantic change events

When a refresh changes the meaning of a type or instance (for example a DataType, EngineeringUnit or semantic identifier changes in a way governed by the Part 3/Part 5 model-change rules and the OPC 11030 compatibility rules), the server MAY additionally emit an OPC UA semantic change event (SemanticChangeEventType) for the affected nodes. Concrete subtypes of the abstract model/semantic change event types are defined only where required for emission; this specification relies on the Core types unless a WoT-specific subtype is needed.

### Security of the registry surface

Document dependencies shall be resolved only from the selected local registry snapshot, version-pinned local catalogs or a configured xRegistry federation provider. Federation transport shall use the registry's configured trust and credentials. Credentials for federation and protocol-binding endpoints are held out of band and never exposed on registry or binding nodes.

Management Methods (Refresh, Validate, SetEnabled, SetDefaultVersion, and the inherited xRegistry create/delete Methods) are subject to OPC UA role-based access control. Every operation that creates, modifies, selects, enables, disables or deletes registry content or metadata, including FileType write/commit operations and Refresh, shall be accepted only over an OPC UA SecureChannel using MessageSecurityMode SignAndEncrypt. Registry reads should use a secured channel. An implementation may expose read-only Browse, Read and FileType download operations over MessageSecurityMode None when its deployment policy permits this; clients shall not infer authenticity, integrity or confidentiality from such a channel.

Read access to a group MAY be restricted to authorise discovery of the Things it contains. TD form endpoints and security declarations are informative to protocol clients and may be consumed by an explicitly enabled binder. They do not configure or secure the registry, authorize document resolution, or override the server's endpoint allowlist, trust store, credential provider or SecureChannel policy.

## Protocol binder

The binder turns a form into an executable plan. It has a protocol-independent core and a set of per-binding modules.

- Core: parses a form, resolves its href against the TD base, selects the binding by the form's protocol vocabulary, maps the WoT op set to OPC UA service semantics (readproperty→Read, writeproperty→Write, observeproperty→MonitoredItem, invokeaction→Call, subscribeevent→event MonitoredItem), and produces a plan whose capabilities are recorded in the document's SelectedBindings snapshot.

- Per-binding: each W3C binding template (OPC UA, HTTP, Modbus, MQTT, CoAP, …) is a module advertised as a WoTBindingType with its Capabilities (WoTBindingCapabilityEnum set) and content types.

- Version pinning and maturity: each binding is pinned to a specific W3C binding-document version (ProfileVersion) and exposes that document's draft maturity (DraftMaturity: WD/CR/PR/REC). A server shall bind a form only with a binding whose pinned document it implements, and shall surface the maturity so consumers can judge stability. A form that names an unknown binding or an operation the binding does not support raises a WoTBindingFailureEventType.

## Refresh Method and results

### Purpose

Refresh is the control surface that (re-)derives the AddressSpace projection from the canonical documents. It exists because the projection is a cache: whenever the documents, their versions, or the pinned vocabulary change, the cache must be rebuilt deterministically and atomically. An implementer should treat Refresh as the single funnel through which every projection change flows, whether triggered explicitly or automatically (6.11.7). Typical use cases are: initial load of a newly ingested Thing Model or Thing Description; version switch to a newly published version; repair after a previously failed document is corrected; dry-run planning to preview what a refresh would do before committing; and forced re-projection after a vocabulary-version change even though document bytes are unchanged.

### Signature

WoTRegistryType.Refresh(Selection, Options, ExpectedGeneration, RequestId) → (Summary, Results, NewGeneration):

- Selection — an array of WoTResourceSelectorDataType; an empty array selects the whole registry. Selectors filter by kind, group, resource, version or a single Xid.

- Options — WoTRefreshOptionsDataType: Atomicity, Force, DryRun, IncludeDependents, DeletePolicy, MaxParallelism, Timeout.

- ExpectedGeneration — optimistic concurrency: if non-zero and unequal to RefreshGeneration, the call shall fail Bad_InvalidState and change nothing.

- RequestId — echoed into Summary.RequestId and the completion event for correlation.

- Summary — a WoTRefreshSummaryDataType: overall outcome, applied atomicity, counts (total/succeeded/unchanged/failed/skipped/retired), timing and the committed generation.

- Results — an array of WoTResourceLoadResultDataType, one per considered resource: identity, kind, per-resource outcome and phase, resulting load state, generation, materialized-node count and root, content digest and a message.

- NewGeneration — the committed generation; unchanged on a dry run or a full failure.

### Caller workflow

A typical caller: (1) reads RefreshGeneration to capture the current generation; (2) calls Refresh with a Selection, Options.DryRun = true and ExpectedGeneration set to the captured value to obtain a plan (Summary/Results) without changing anything; (3) inspects the predicted per-resource outcomes; (4) calls Refresh again with DryRun = false and the same ExpectedGeneration to commit. Steps 1 and 4 make the operation safe under concurrency: if another refresh committed in between, the generation no longer matches and the commit fails without effect, so the caller re-plans against the new generation.

### Validation, planning and apply algorithm

On each invocation the server shall:

- Check concurrency. If ExpectedGeneration is non-zero and ≠ RefreshGeneration, fail Bad_InvalidState, change nothing.

- Select. Expand Selection to a resource set; an empty Selection selects the whole registry. If Options.IncludeDependents, add every document that transitively depends on a selected document.

- Resolve and parse. For each selected document, read its bytes from the registry snapshot and resolve referenced contexts, schemas and linked TDs/TMs from that snapshot, a version-pinned local catalog or configured xRegistry federation only (Phase = Fetch/Parse). Do not perform arbitrary external Web resolution.

- Validate. Perform format and, when enabled, compatibility validation (Phase = FormatValidation/CompatibilityValidation), recording a WoTValidationOutcomeDataType. An invalid document is marked Failed and excluded from projection; its prior active projection is retained (6.11.5).

- Resolve dependencies. Build the dependency DAG (6.11.4) and group the valid documents into closures; a cyclic or unresolved-dependency closure is failed at Phase = DependencyResolution.

- Plan. For each document, compare ContentDigest and vocabulary version against the last projection; unchanged documents are marked Unchanged and skipped unless Options.Force.

- Project (shadow). Materialize the changed closures into a shadow generation (Phase = Projection, LoadState = Loading), honouring MaxParallelism. If Options.DryRun, stop here and report the plan without committing.

- Activate. Switch the shadow generation in atomically at the granularity of Options.Atomicity (Phase = Activation), increment RefreshGeneration, emit Core model change events (6.11.9), and stamp NodeVersion.

- Retire. Apply the configured graceful or immediate retirement policy to superseded generations (Phase = Retirement, 6.11.6). Immediate retirement reports BadNodeIdUnknown for affected MonitoredItems.

- Summarize. Populate Summary/Results, cache Summary as LastRefreshSummary, set LastRefreshTime, and raise WoTRefreshCompletedEventType.

### Concurrency and generation behaviour

Concurrent Refresh calls shall be serialized with respect to committing a generation: at most one generation switch is in flight at a time. RefreshGeneration shall increment by exactly one per committed switch and shall not change on a dry run, a full failure, or an all-Unchanged refresh. Because a caller can pin ExpectedGeneration, a lost update is impossible: a stale plan cannot overwrite a newer generation.

### Outcomes, errors and implementer responsibilities

DryRun shall validate and compute Summary/Results without committing any projection change. Validate (on a document) performs format/compatibility validation only and returns a WoTValidationOutcomeDataType. A per-resource Outcome is one of Success, Unchanged, Warning, Skipped, Rejected or Failed; a document that fails shall carry the failing Phase and a human-readable Message. A partial failure under PerResource atomicity shall leave successful resources committed and failed resources on their prior generation; a failure under PerClosure/PerRegistry atomicity shall leave the whole unit uncommitted. Implementers are responsible for: making the whole operation restartable (a crash mid-refresh must not leave a half-switched generation); ensuring idempotence via ContentDigest; and never destroying a stored document or a last-valid projection because of a refresh error. A representative populated result set is examples/04-refresh-results.json (5.4).

### Refresh sequence

Figure 8 – Refresh sequence

## Events and change notifications

Events let an operator observe the registry without polling; an implementer should raise them at the exact points below so tooling can react deterministically. A conformant registry shall raise: WoTValidationFailureEventType on a format or compatibility failure; WoTLoadFailureEventType when a validated document fails to materialize or a shadow generation cannot be activated; WoTBindingFailureEventType when a form cannot be bound (unknown binding or unsupported operation); and WoTRefreshCompletedEventType on every completed refresh, including automatic ones. Each failure event shall name the failing resource as its source and carry the Phase at which the failure occurred; the refresh-completed event shall name the registry and carry the committed Summary and Generation. On a committed generation switch the server shall additionally raise Core GeneralModelChangeEventType model change events for the added/removed nodes and reference changes (6.11.9), and — where required by 6.11.10 — SemanticChangeEventType. Model change events shall be raised only for committed graph changes, never for shadow-generation scratch work. A subscriber on the well-known WoTRegistry object receives all of the above through the Server → registry → group → resource notifier chain (6.8).

## Incorporated OPC 10100-1 version 1.02 model

### The preserved 1.02 model

The entry point is the WoTAssetConnectionManagement object (an instance of WoTAssetConnectionManagementType) under the Objects folder, preserved at its published NodeId and callable. Because xRegistry occupies namespace index 1 in this combined document, the 1.02 nodes are the own-namespace nodes at index 2; their numeric identifiers are unchanged and all own-namespace references and BrowseNames are consistent. The types, methods and method signatures are:

Table 15 – The preserved 1.02 model

| Element | Kind | Preserved definition |
| --- | --- | --- |
| WoTAssetConnectionManagementType | ObjectType (BaseObjectType) | <WoTAssetName> Object placeholder (BaseObjectType, HasInterface IWoTAssetType); SupportedWoTBindings UriString[] Property; Methods below; Configuration (WoTAssetConfigurationType). |
| CreateAsset | Method (Mandatory) | CreateAsset([in] String AssetName, [out] NodeId AssetId). |
| DeleteAsset | Method (Mandatory) | DeleteAsset([in] NodeId AssetId). |
| DiscoverAssets | Method (Optional) | DiscoverAssets([out] String[] AssetEndpoints). |
| CreateAssetForEndpoint | Method (Optional) | CreateAssetForEndpoint([in] String AssetName, [in] String AssetEndpoint, [out] NodeId AssetId). |
| ConnectionTest | Method (Optional) | ConnectionTest([in] String AssetEndpoint, [out] Boolean Success, [out] String Status). |
| WoTAssetConfigurationType | ObjectType | Vendor <WoTConfigurationParameterName> Properties; License String. |
| IWoTAssetType | Interface (abstract) | <WoTPropertyName> Variables via HasWoTComponent; AssetEndpoint String; WoTFile (WoTAssetFileType, Mandatory). |
| WoTAssetFileType | ObjectType (FileType) | CloseAndUpdate([in] UInt32 FileHandle) (Mandatory). |
| HasWoTComponent | ReferenceType | Subtype of HasComponent; InverseName WoTComponentOf. |

Every 1.02 scenario continues to work: create-from-existing-TD (CreateAsset + WoTFile upload + CloseAndUpdate), discovery (DiscoverAssets → ConnectionTest → CreateAssetForEndpoint with an auto-generated TD file), deletion (DeleteAsset), and the supported-bindings advertisement (SupportedWoTBindings). The incorporated NamespaceMetadata carries the new 1.2.0 version while its NodeIds stay stable, and the deprecation is machine-readable (ReleaseStatus="Deprecated") so tools can steer new development to the registry surface.

### Backing the deprecated surface with the registry

A server may back the deprecated asset-management surface with the registry so that both views stay consistent, without changing any 1.02 signature:

- `CreateAsset(AssetName) → AssetId` — the server creates (or reuses) a default ThingDescriptionGroup, creates a ThingDescriptionFileType resource for the asset (xRegistry CreateResource), and returns the NodeId of the projected Object as AssetId. The <WoTAssetName> object is the projected Object.

- `WoTFile` / `WoTAssetFileType` — the legacy WoTFile maps onto the ThingDescriptionFileType resource's inherited FileType (Open/Read/Write/Close): uploading the TD writes the resource's document bytes.

- `CloseAndUpdate(FileHandle)` — maps onto write-close of the resource followed by an implicit single-resource Refresh (validate + project). The 1.02 result codes are preserved: Bad_DecodingError/Bad_NotSupported/Bad_NotFound correspond to the format-validation and projection failures of this specification; on success the projected Variables appear exactly as in 1.02.

- `DeleteAsset(AssetId)` — maps onto SetEnabled(false) (unload projection) and the inherited xRegistry Delete of the backing resource, subject to the delete policy.

- `DiscoverAssets` / `ConnectionTest` / `CreateAssetForEndpoint` — preserved unchanged; a discovered/auto-generated TD is stored as a ThingDescriptionFileType resource, so discovery-created assets become first-class registry documents.

- `SupportedWoTBindings` (`UriString[]`) — surfaces the same binding set the registry advertises through SupportedBindings / SelectedBindings.

- `HasWoTComponent` — the legacy per-property reference remains valid on legacy-projected assets; registry-projected instances additionally carry HasWoTProjection back to their document.

Because the incorporation keeps the 1.02 namespace, types, node numbering and method signatures intact, a legacy client cannot tell whether the registry backs the asset manager; a registry-aware client sees the same assets as registry documents.

# OPC UA ObjectTypes

## WoTRegistryType

The WoT Connectivity 1.1 registry root - an xRegistry RegistryType (a FolderType) that holds ThingDescriptionGroupType and ThingModelGroupType groups. The stored Thing Description / Thing Model files and their versions are canonical; the projected AddressSpace (types from Thing Models, instances from Thing Descriptions) is derived code-behind. Exposed as a well-known WoTRegistry object under the Server object (i=2253). Adds registry-wide refresh, generation and validation-policy state and the Refresh Method.

Table 16 – WoTRegistryType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTRegistryType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 1:RegistryType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | AutoRefresh | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | RefreshMode | WoTRefreshModeEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | RefreshInterval | i=290 | 0:PropertyType | O |
| 0:HasProperty | Variable | RefreshGeneration | 0:UInt32 | 0:PropertyType | M |
| 0:HasProperty | Variable | LastRefreshTime | 0:DateTime | 0:PropertyType | O |
| 0:HasProperty | Variable | LastRefreshSummary | WoTRefreshSummaryDataType | 0:PropertyType | O |
| 0:HasProperty | Variable | DefaultAtomicity | WoTAtomicityEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | DeletePolicy | WoTDeletePolicyEnum | 0:PropertyType | O |
| 0:HasProperty | Variable | ValidateFormat | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | ValidateCompatibility | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | StrictValidation | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | VocabularyVersion | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | SelectedBindings | WoTBindingCapabilityDataType[] | 0:PropertyType | O |
| 0:HasComponent | Object | SupportedBindings |  | 0:FolderType | O |
| 0:Organizes | Object | <ThingDescriptionGroup> |  | ThingDescriptionGroupType | OP |
| 0:Organizes | Object | <ThingModelGroup> |  | ThingModelGroupType | OP |
| 0:HasComponent | Method | Refresh |  |  | O |
| i=41 | ObjectType | WoTRefreshCompletedEventType |  |  |  |
| Conformance Units |  |  |  |  |  |
| WOTC-RegistryDiscovery |  |  |  |  |  |
| WOTC-Refresh |  |  |  |  |  |

### Refresh

Re-project selected stored documents into the AddressSpace. Idempotent: a document whose content digest is unchanged is reported Unchanged and not re-materialized unless Options.Force is set. Projects into a shadow generation and switches atomically per Options.Atomicity; superseded generations use the implementation's documented graceful or immediate retirement policy. If ExpectedGeneration is non-zero and does not equal RefreshGeneration, the call fails with Bad_InvalidState and changes nothing (optimistic concurrency). An empty Selection selects the whole registry.

Signature

Refresh (

[in]  WoTResourceSelectorDataType[] Selection,

[in]  WoTRefreshOptionsDataType Options,

[in]  0:UInt32       ExpectedGeneration,

[in]  0:String       RequestId,

[out] WoTRefreshSummaryDataType Summary,

[out] WoTResourceLoadResultDataType[] Results,

[out] 0:UInt32       NewGeneration);

Table 17 – Refresh Method Arguments

| Argument | Description |
| --- | --- |
| Selection | The documents to refresh; empty selects the whole registry. |
| Options | Options controlling atomicity, force, dry-run and dependents. |
| ExpectedGeneration | Expected current RefreshGeneration for optimistic concurrency; 0 disables the check. |
| RequestId | Caller-supplied identifier echoed into the summary and the completion event. |
| Summary | The refresh summary. |
| Results | The per-resource results. |
| NewGeneration | The committed generation (unchanged on dry run or full failure). |

Table 18 – Refresh Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | Refresh |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |

## ThingDescriptionGroupType

An xRegistry GroupType that collects related ThingDescriptionFileType resources (a Thing Description Group per the WoT xRegistry model). Adds the group-level format/compatibility validation policy. Its <ThingDescription> placeholder constrains members to the Thing Description subtype.

Table 19 – ThingDescriptionGroupType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:ThingDescriptionGroupType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 1:GroupType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | ValidateFormat | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | ValidateCompatibility | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | ConsistentFormat | 0:Boolean | 0:PropertyType | O |
| 0:Organizes | Object | <ThingDescription> |  | ThingDescriptionFileType | OP |
| Conformance Units |  |  |  |  |  |
| WOTC-RegistryDiscovery |  |  |  |  |  |

## ThingModelGroupType

An xRegistry GroupType that collects related ThingModelFileType resources (a Thing Model Group per the WoT xRegistry model). Adds the group-level format/compatibility validation policy. Its <ThingModel> placeholder constrains members to the Thing Model subtype.

Table 20 – ThingModelGroupType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:ThingModelGroupType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 1:GroupType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | ValidateFormat | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | ValidateCompatibility | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | ConsistentFormat | 0:Boolean | 0:PropertyType | O |
| 0:Organizes | Object | <ThingModel> |  | ThingModelFileType | OP |
| Conformance Units |  |  |  |  |  |
| WOTC-RegistryDiscovery |  |  |  |  |  |

## WoTDocumentType

The abstract base of a stored WoT document resource - an xRegistry ResourceType (a FileType) whose content bytes are the JSON-LD document, read/written with the inherited Open/Read/Write/Close Methods. Adds the derived-projection metadata (load state, desired/active version, validation and compatibility outcomes, content digest, materialized-node count and root, selected bindings) and the Validate, SetEnabled and SetDefaultVersion Methods. Concrete subtypes fix the document kind.

Table 21 – WoTDocumentType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTDocumentType |  |  |  |  |
| IsAbstract | True |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 1:ResourceType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | DocumentKind | WoTDocumentKindEnum | 0:PropertyType | M |
| 0:HasProperty | Variable | Enabled | 0:Boolean | 0:PropertyType | M |
| 0:HasProperty | Variable | LoadState | WoTLoadStateEnum | 0:PropertyType | M |
| 0:HasProperty | Variable | DesiredVersionId | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ActiveVersionId | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | IsDefault | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | Ancestor | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | Compatibility | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | AutoRefresh | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | RefreshGeneration | 0:UInt32 | 0:PropertyType | O |
| 0:HasProperty | Variable | LastRefreshTime | 0:DateTime | 0:PropertyType | O |
| 0:HasProperty | Variable | ContentDigest | 0:ByteString | 0:PropertyType | O |
| 0:HasProperty | Variable | ValidationOutcome | WoTValidationOutcomeDataType | 0:PropertyType | O |
| 0:HasProperty | Variable | MaterializedNodeCount | 0:UInt32 | 0:PropertyType | O |
| 0:HasProperty | Variable | RootNodeId | 0:NodeId | 0:PropertyType | O |
| 0:HasProperty | Variable | SelectedBindings | WoTBindingCapabilityDataType[] | 0:PropertyType | O |
| 0:HasComponent | Method | Validate |  |  | O |
| 0:HasComponent | Method | SetEnabled |  |  | O |
| 0:HasComponent | Method | SetDefaultVersion |  |  | O |
| i=41 | ObjectType | WoTValidationFailureEventType |  |  |  |
| i=41 | ObjectType | WoTLoadFailureEventType |  |  |  |
| i=41 | ObjectType | WoTBindingFailureEventType |  |  |  |
| Conformance Units |  |  |  |  |  |
| WOTC-DocumentRead |  |  |  |  |  |
| WOTC-DocumentWrite |  |  |  |  |  |
| WOTC-VersionLifecycle |  |  |  |  |  |

### Validate

Validate the stored document (format and, when enabled, compatibility) without changing its projection. Returns the outcome snapshot; also refreshes the ValidationOutcome Property.

Signature

Validate (

[out] WoTValidationOutcomeDataType Outcome);

Table 22 – Validate Method Arguments

| Argument | Description |
| --- | --- |
| Outcome | The validation outcome snapshot. |

Table 23 – Validate Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | Validate |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |

### SetEnabled

Set the desired Enabled state of this document. Enabling requests validation and projection; disabling requests unload per the registry DeletePolicy. If ExpectedEpoch is non-zero and does not equal the resource's current Epoch the call fails with Bad_InvalidState and changes nothing.

Signature

SetEnabled (

[in]  0:Boolean      Enabled,

[in]  0:UInt32       ExpectedEpoch);

Table 24 – SetEnabled Method Arguments

| Argument | Description |
| --- | --- |
| Enabled | The desired enabled state. |
| ExpectedEpoch | Expected current Epoch for optimistic concurrency; 0 disables the check. |

Table 25 – SetEnabled Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | SetEnabled |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |

### SetDefaultVersion

Make a specific version of this resource its default (sticky) version, so that resolvers selecting the resource without a versionid resolve to it. If ExpectedEpoch is non-zero and does not equal the resource's current Epoch the call fails with Bad_InvalidState and changes nothing.

Signature

SetDefaultVersion (

[in]  0:String       VersionId,

[in]  0:UInt32       ExpectedEpoch);

Table 26 – SetDefaultVersion Method Arguments

| Argument | Description |
| --- | --- |
| VersionId | The versionid to make default. |
| ExpectedEpoch | Expected current Epoch for optimistic concurrency; 0 disables the check. |

Table 27 – SetDefaultVersion Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | SetDefaultVersion |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |

## ThingDescriptionFileType

A concrete WoTDocumentType whose content is a W3C WoT Thing Description (WoT-TD/1.1, application/td+json). Projects to OPC UA instances: affordances become Variables, Methods and event sources; forms become binder plans. Adds the Thing instance identity (ThingId, base URI) and the link to the Thing Model it derives from.

Table 28 – ThingDescriptionFileType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:ThingDescriptionFileType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the WoTDocumentType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | ThingId | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ThingTitle | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | BaseUri | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ModelReference | 0:String | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| WOTC-DocumentRead |  |  |  |  |  |
| WOTC-TDValidation |  |  |  |  |  |
| WOTC-InstanceMaterialization |  |  |  |  |  |

## ThingModelFileType

A concrete WoTDocumentType whose content is a W3C WoT Thing Model (WoT-TM/1.1, application/tm+json). Projects to OPC UA types: it materializes an ObjectType or VariableType and the affordance member declarations and modelling rules. Adds the derived type NodeId and model version.

Table 29 – ThingModelFileType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:ThingModelFileType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the WoTDocumentType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | ModelTitle | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ModelVersion | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | DerivedTypeNodeId | 0:NodeId | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| WOTC-DocumentRead |  |  |  |  |  |
| WOTC-TMValidation |  |  |  |  |  |
| WOTC-TypeMaterialization |  |  |  |  |  |

## WoTBindingType

A browseable protocol-binding descriptor: the live, per-field representation of one W3C WoT protocol binding the server can realize (its URI, title, version-pinned W3C document, draft maturity, enabled state, content types and a capability snapshot). Selected/active binding sets are additionally exposed as immutable WoTBindingCapabilityDataType array snapshots. Policy and identity are browseable; no credentials or secrets are ever exposed here.

Table 30 – WoTBindingType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTBindingType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | BindingUri | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | Title | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | ProfileVersion | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | DraftMaturity | 0:String | 0:PropertyType | O |
| 0:HasProperty | Variable | Enabled | 0:Boolean | 0:PropertyType | O |
| 0:HasProperty | Variable | ContentTypes | 0:String[] | 0:PropertyType | O |
| 0:HasProperty | Variable | Capabilities | WoTBindingCapabilityDataType | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| WOTC-BinderCore |  |  |  |  |  |
| WOTC-BinderProtocol |  |  |  |  |  |

## WoTAssetConnectionManagementType

NOTE   This ObjectType is incorporated unchanged from OPC 10100-1 version 1.02 and is deprecated. It is preserved so that existing Clients continue to work; new development uses the registry types of this document.

Table 31 – WoTAssetConnectionManagementType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTAssetConnectionManagementType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseObjectType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:Organizes | Object | <WoTAssetName> |  | 0:BaseObjectType | OP |
| 0:HasComponent | Method | CreateAsset |  |  | M |
| 0:HasComponent | Method | DeleteAsset |  |  | M |
| 0:HasProperty | Variable | SupportedWoTBindings | i=23751[] | 0:PropertyType | O |
| 0:HasComponent | Method | DiscoverAssets |  |  | O |
| 0:HasComponent | Method | CreateAssetForEndpoint |  |  | O |
| 0:HasComponent | Method | ConnectionTest |  |  | O |
| 0:HasComponent | Object | Configuration |  | WoTAssetConfigurationType | O |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### CreateAsset

Signature

CreateAsset (

[in]  0:String       AssetName,

[out] 0:NodeId       AssetId);

Table 32 – CreateAsset Method Arguments

| Argument | Description |
| --- | --- |
| AssetName |  |
| AssetId |  |

Table 33 – CreateAsset Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | CreateAsset |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### DeleteAsset

Signature

DeleteAsset (

[in]  0:NodeId       AssetId);

Table 34 – DeleteAsset Method Arguments

| Argument | Description |
| --- | --- |
| AssetId |  |

Table 35 – DeleteAsset Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | DeleteAsset |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### DiscoverAssets

Signature

DiscoverAssets (

[out] 0:String[]     AssetEndpoints);

Table 36 – DiscoverAssets Method Arguments

| Argument | Description |
| --- | --- |
| AssetEndpoints |  |

Table 37 – DiscoverAssets Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | DiscoverAssets |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### CreateAssetForEndpoint

Signature

CreateAssetForEndpoint (

[in]  0:String       AssetName,

[in]  0:String       AssetEndpoint,

[out] 0:NodeId       AssetId);

Table 38 – CreateAssetForEndpoint Method Arguments

| Argument | Description |
| --- | --- |
| AssetName |  |
| AssetEndpoint |  |
| AssetId |  |

Table 39 – CreateAssetForEndpoint Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | CreateAssetForEndpoint |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### ConnectionTest

Signature

ConnectionTest (

[in]  0:String       AssetEndpoint,

[out] 0:Boolean      Success,

[out] 0:String       Status);

Table 40 – ConnectionTest Method Arguments

| Argument | Description |
| --- | --- |
| AssetEndpoint |  |
| Success |  |
| Status |  |

Table 41 – ConnectionTest Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | ConnectionTest |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

## IWoTAssetType

NOTE   This ObjectType is incorporated unchanged from OPC 10100-1 version 1.02 and is deprecated. It is preserved so that existing Clients continue to work; new development uses the registry types of this document.

Table 42 – IWoTAssetType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:IWoTAssetType |  |  |  |  |
| IsAbstract | True |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseInterfaceType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasComponent | Object | WoTFile |  | WoTAssetFileType | M |
| HasWoTComponent | Variable | <WoTPropertyName> | 0:BaseDataType | 0:BaseDataVariableType | OP |
| 0:HasProperty | Variable | AssetEndpoint | 0:String | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

## WoTAssetConfigurationType

NOTE   This ObjectType is incorporated unchanged from OPC 10100-1 version 1.02 and is deprecated. It is preserved so that existing Clients continue to work; new development uses the registry types of this document.

Table 43 – WoTAssetConfigurationType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTAssetConfigurationType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseInterfaceType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | <WoTConfigurationParameterName> | 0:BaseDataType | 0:PropertyType | OP |
| 0:HasProperty | Variable | License | 0:String | 0:PropertyType | O |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

## WoTAssetFileType

NOTE   This ObjectType is incorporated unchanged from OPC 10100-1 version 1.02 and is deprecated. It is preserved so that existing Clients continue to work; new development uses the registry types of this document.

Table 44 – WoTAssetFileType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTAssetFileType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:FileType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasComponent | Method | CloseAndUpdate |  |  | M |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### CloseAndUpdate

Signature

CloseAndUpdate (

[in]  0:UInt32       FileHandle);

Table 45 – CloseAndUpdate Method Arguments

| Argument | Description |
| --- | --- |
| FileHandle |  |

Table 46 – CloseAndUpdate Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | CloseAndUpdate |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

# OPC UA EventTypes

## WoTResourceEventType

The common base event for a WoT resource lifecycle notification. Carries the identity of the affected resource/version, the document kind, the refresh generation, the phase reached and the outcome. Abstract; servers emit one of its concrete subtypes.

Table 47 – WoTResourceEventType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTResourceEventType |  |  |  |  |
| IsAbstract | True |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseEventType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Xid | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | ResourceId | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | VersionId | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | DocumentKind | WoTDocumentKindEnum | 0:PropertyType | M |
| 0:HasProperty | Variable | Generation | 0:UInt32 | 0:PropertyType | M |
| 0:HasProperty | Variable | Phase | WoTPhaseEnum | 0:PropertyType | M |
| 0:HasProperty | Variable | Outcome | WoTOutcomeEnum | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-Events |  |  |  |  |  |

## WoTValidationFailureEventType

Raised when a document fails format or compatibility validation. The failing resource is the event source; the stored document is retained and any previous valid projection stays active.

Table 48 – WoTValidationFailureEventType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTValidationFailureEventType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the WoTResourceEventType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | ValidationOutcome | WoTValidationOutcomeDataType | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-Events |  |  |  |  |  |
| WOTC-TDValidation |  |  |  |  |  |
| WOTC-TMValidation |  |  |  |  |  |

## WoTLoadFailureEventType

Raised when a validated document fails to project (materialize) into the AddressSpace, or when its shadow generation cannot be activated. The failing resource is the event source.

Table 49 – WoTLoadFailureEventType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTLoadFailureEventType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the WoTResourceEventType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | LoadState | WoTLoadStateEnum | 0:PropertyType | M |
| 0:HasProperty | Variable | FailedNodeId | 0:NodeId | 0:PropertyType | M |
| 0:HasProperty | Variable | Reason | 0:String | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-Events |  |  |  |  |  |

## WoTBindingFailureEventType

Raised when a form cannot be bound to its protocol binding (unknown binding, unsupported operation or a runtime binder error). The failing resource is the event source.

Table 50 – WoTBindingFailureEventType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTBindingFailureEventType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the WoTResourceEventType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | BindingUri | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | Reason | 0:String | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-Events |  |  |  |  |  |
| WOTC-BinderCore |  |  |  |  |  |

## WoTRefreshCompletedEventType

Raised by the registry when a Refresh completes (including automatic refreshes). Carries the refresh summary and the committed generation. The registry object is the event source.

Table 51 – WoTRefreshCompletedEventType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTRefreshCompletedEventType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:BaseEventType defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | Summary | WoTRefreshSummaryDataType | 0:PropertyType | M |
| 0:HasProperty | Variable | RequestId | 0:String | 0:PropertyType | M |
| 0:HasProperty | Variable | Generation | 0:UInt32 | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-Events |  |  |  |  |  |
| WOTC-Refresh |  |  |  |  |  |
| WOTC-ModelChange |  |  |  |  |  |

# OPC UA DataTypes

## WoTDocumentKindEnum

The kind of WoT document a resource carries: a Thing Description (a concrete instance) or a Thing Model (a reusable type template).

Table 52 – WoTDocumentKindEnum Items

| Name | Value | Description |
| --- | --- | --- |
| ThingDescription | 0 | A W3C WoT Thing Description (WoT-TD/1.1); projects to OPC UA instances. |
| ThingModel | 1 | A W3C WoT Thing Model (WoT-TM/1.1); projects to OPC UA types. |

Table 53 – WoTDocumentKindEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTDocumentKindEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[2] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-RegistryDiscovery |  |  |  |  |  |

## WoTLoadStateEnum

The lifecycle state of a WoT document's derived projection in the AddressSpace. The registry file always remains stored; this enum reflects only the state of the code-behind projection.

Table 54 – WoTLoadStateEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Unloaded | 0 | Stored but not projected into the AddressSpace. |
| Validating | 1 | Format and compatibility validation is in progress. |
| Loading | 2 | The projection is being materialized under a shadow generation. |
| Active | 3 | The projection is committed and serving as the active generation. |
| Failed | 4 | Validation or projection failed; the last valid projection (if any) stays active. |
| Superseded | 5 | A newer generation has replaced this one; awaiting the configured retirement policy. |
| Retiring | 6 | Graceful retirement is waiting for monitored items and requests to drain. |
| Retired | 7 | The projection has been removed from the AddressSpace. |

Table 55 – WoTLoadStateEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTLoadStateEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[8] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-VersionLifecycle |  |  |  |  |  |

## WoTRefreshModeEnum

How a registry or document triggers refresh of its derived projection.

Table 56 – WoTRefreshModeEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Manual | 0 | Only an explicit Refresh Method call re-projects. |
| Periodic | 1 | The registry re-projects on a fixed interval (RefreshInterval). |
| EventDriven | 2 | The registry re-projects when a stored document changes (write/CloseAndUpdate). |
| Scheduled | 3 | The registry re-projects on an implementation-defined schedule. |

Table 57 – WoTRefreshModeEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTRefreshModeEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[4] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-Refresh |  |  |  |  |  |

## WoTAtomicityEnum

The commit granularity applied when a refresh projects one or more documents.

Table 58 – WoTAtomicityEnum Items

| Name | Value | Description |
| --- | --- | --- |
| PerResource | 0 | Each resource commits independently; a failure isolates to that resource. |
| PerGroup | 1 | All resources of a group commit together or not at all. |
| PerClosure | 2 | A document and its full dependency closure (DAG) commit atomically. |
| PerRegistry | 3 | All selected documents commit as a single all-or-nothing transaction. |

Table 59 – WoTAtomicityEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTAtomicityEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[4] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-AtomicityModes |  |  |  |  |  |

## WoTDeletePolicyEnum

How the registry treats dependents when a document version is unloaded or deleted.

Table 60 – WoTDeletePolicyEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Reject | 0 | Reject the operation while any other loaded document still depends on it. |
| Retire | 1 | Retire the projection but keep the stored document for dependents to resolve. |
| Cascade | 2 | Unload dependents that resolve only through this document. |
| Force | 3 | Force-unload the projection even while dependents remain, marking them Failed. |

Table 61 – WoTDeletePolicyEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTDeletePolicyEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[4] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-VersionLifecycle |  |  |  |  |  |

## WoTOutcomeEnum

The outcome of a validation, projection or refresh operation on a document or the registry.

Table 62 – WoTOutcomeEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Success | 0 | The operation completed and changed the projection. |
| Unchanged | 1 | The operation was idempotent; the content digest matched and nothing changed. |
| Warning | 2 | The operation completed with non-fatal warnings. |
| Skipped | 3 | The operation was not applicable and was skipped. |
| Rejected | 4 | The operation was rejected by policy (for example concurrency or delete policy). |
| Failed | 5 | The operation failed; the previous valid projection (if any) remains active. |

Table 63 – WoTOutcomeEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTOutcomeEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[6] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-Refresh |  |  |  |  |  |

## WoTPhaseEnum

The processing phase a document reached, used to locate where an outcome was produced.

Table 64 – WoTPhaseEnum Items

| Name | Value | Description |
| --- | --- | --- |
| Fetch | 0 | Reading document bytes and resolving registry-scoped context/schema references. |
| Parse | 1 | Parsing the JSON-LD document. |
| FormatValidation | 2 | Validating the document against its WoT-TD/WoT-TM format. |
| CompatibilityValidation | 3 | Validating the version against the resource compatibility policy. |
| DependencyResolution | 4 | Resolving the dependency closure (tm:extends, tm:ref, links rel=type). |
| Projection | 5 | Materializing types/instances into a shadow generation. |
| Activation | 6 | Committing the shadow generation as active. |
| Retirement | 7 | Applying the configured graceful or immediate retirement policy. |

Table 65 – WoTPhaseEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTPhaseEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[8] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-Refresh |  |  |  |  |  |

## WoTBindingCapabilityEnum

A single interaction operation a protocol binding supports, aligned with the WoT form op vocabulary.

Table 66 – WoTBindingCapabilityEnum Items

| Name | Value | Description |
| --- | --- | --- |
| ReadProperty | 0 | Read a property affordance. |
| WriteProperty | 1 | Write a property affordance. |
| ObserveProperty | 2 | Observe (subscribe to) a property affordance. |
| InvokeAction | 3 | Invoke an action affordance. |
| SubscribeEvent | 4 | Subscribe to an event affordance. |
| UnsubscribeEvent | 5 | Unsubscribe from an event affordance. |

Table 67 – WoTBindingCapabilityEnum definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTBindingCapabilityEnum |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Enumeration defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| 0:HasProperty | Variable | EnumStrings | 0:LocalizedText[6] | 0:PropertyType | M |
| Conformance Units |  |  |  |  |  |
| WOTC-BinderCore |  |  |  |  |  |

## WoTValidationOutcomeDataType

An immutable snapshot of a document's format and compatibility validation result. Read as a single Variant value; a new snapshot is produced on each validation and never mutated in place.

Table 68 – WoTValidationOutcomeDataType Items

| Name | Value | Description |
| --- | --- | --- |
| FormatValidated |  | True if format validation was performed. |
| FormatOutcome |  | Outcome of format validation (WoT-TD/WoT-TM conformance). |
| FormatReason |  | Human-readable reason for the format outcome (empty on success). |
| CompatibilityValidated |  | True if compatibility validation was performed. |
| CompatibilityOutcome |  | Outcome of compatibility validation against the resource policy. |
| CompatibilityReason |  | Human-readable reason for the compatibility outcome (empty on success). |
| CompatibilityPolicy |  | The compatibility policy in force (for example NONE, BACKWARD, FULL). |
| ValidatedAt |  | UTC time the validation completed. |
| VocabularyVersion |  | The pinned WoT Binding JSON-LD vocabulary version used for validation. |

Table 69 – WoTValidationOutcomeDataType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTValidationOutcomeDataType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| i=38 | Object | Default Binary |  | i=76 |  |
| i=38 | Object | Default JSON |  | i=76 |  |
| Conformance Units |  |  |  |  |  |
| WOTC-TDValidation |  |  |  |  |  |
| WOTC-TMValidation |  |  |  |  |  |

## WoTBindingCapabilityDataType

An immutable snapshot of a protocol binding's identity, version-pinned W3C document, maturity and supported operations. Held as an array element only for immutable snapshots; browseable binding objects (WoTBindingType) carry the live, per-field form.

Table 70 – WoTBindingCapabilityDataType Items

| Name | Value | Description |
| --- | --- | --- |
| BindingUri |  | The WoT protocol-binding vocabulary URI (for example the OPC UA, HTTP or Modbus binding). |
| Title |  | Human-readable binding title. |
| ProfileVersion |  | The version-pinned W3C binding document version this capability snapshot was built against. |
| DraftMaturity |  | The W3C maturity of the pinned binding document (for example WD, CR, PR, REC). |
| Capabilities |  | The interaction operations this binding supports. |
| ContentTypes |  | The content types this binding produces/consumes. |

Table 71 – WoTBindingCapabilityDataType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTBindingCapabilityDataType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| i=38 | Object | Default Binary |  | i=76 |  |
| i=38 | Object | Default JSON |  | i=76 |  |
| Conformance Units |  |  |  |  |  |
| WOTC-BinderCore |  |  |  |  |  |

## WoTRefreshOptionsDataType

Immutable options controlling a single Refresh invocation.

Table 72 – WoTRefreshOptionsDataType Items

| Name | Value | Description |
| --- | --- | --- |
| Atomicity |  | Commit granularity for this refresh. |
| Force |  | Re-project even when the content digest is unchanged. |
| DryRun |  | Validate and compute results without committing any projection change. |
| IncludeDependents |  | Also refresh documents that depend on the selected documents. |
| DeletePolicy |  | How to treat dependents when a selected document is unloaded/retired. |
| MaxParallelism |  | Maximum number of documents projected concurrently; 0 lets the server decide. |
| Timeout |  | Overall time budget for the refresh; 0 lets the server decide. |

Table 73 – WoTRefreshOptionsDataType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTRefreshOptionsDataType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| i=38 | Object | Default Binary |  | i=76 |  |
| i=38 | Object | Default JSON |  | i=76 |  |
| Conformance Units |  |  |  |  |  |
| WOTC-Refresh |  |  |  |  |  |
| WOTC-AtomicityModes |  |  |  |  |  |

## WoTResourceSelectorDataType

An immutable selector identifying which stored documents a Refresh applies to. An empty selector array selects the whole registry.

Table 74 – WoTResourceSelectorDataType Items

| Name | Value | Description |
| --- | --- | --- |
| Kind |  | Restrict to Thing Descriptions or Thing Models; omit to select both. |
| GroupId |  | Restrict to a group by groupid; empty selects all groups. |
| ResourceId |  | Restrict to a resource by resourceid; empty selects all resources. |
| VersionId |  | Restrict to a version by versionid; empty selects the resource's default version. |
| Xid |  | Select a single entity by its xRegistry xid; overrides the other fields when set. |

Table 75 – WoTResourceSelectorDataType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTResourceSelectorDataType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| i=38 | Object | Default Binary |  | i=76 |  |
| i=38 | Object | Default JSON |  | i=76 |  |
| Conformance Units |  |  |  |  |  |
| WOTC-Refresh |  |  |  |  |  |

## WoTResourceLoadResultDataType

An immutable per-resource result row of a Refresh. Never mutated; the array is a point-in-time snapshot for one generation.

Table 76 – WoTResourceLoadResultDataType Items

| Name | Value | Description |
| --- | --- | --- |
| Xid |  | The xRegistry xid of the affected resource/version. |
| GroupId |  | The groupid of the resource's group. |
| ResourceId |  | The resourceid of the affected resource. |
| VersionId |  | The versionid that was projected. |
| Kind |  | Whether the document is a Thing Description or a Thing Model. |
| Outcome |  | The per-resource outcome. |
| Phase |  | The phase the resource reached (the failing phase on failure). |
| LoadState |  | The resulting load state of the projection. |
| Generation |  | The refresh generation this result belongs to. |
| MaterializedNodeCount |  | Number of AddressSpace nodes materialized for this resource. |
| RootNodeId |  | The root node of the materialized projection, if any. |
| ContentDigest |  | The content digest (hash) of the projected document bytes. |
| Message |  | Human-readable detail for the outcome. |

Table 77 – WoTResourceLoadResultDataType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTResourceLoadResultDataType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| i=38 | Object | Default Binary |  | i=76 |  |
| i=38 | Object | Default JSON |  | i=76 |  |
| Conformance Units |  |  |  |  |  |
| WOTC-Refresh |  |  |  |  |  |

## WoTRefreshSummaryDataType

An immutable summary of one Refresh invocation, also carried by the WoTRefreshCompletedEventType and cached on the registry as LastRefreshSummary.

Table 78 – WoTRefreshSummaryDataType Items

| Name | Value | Description |
| --- | --- | --- |
| RequestId |  | The caller-supplied request identifier echoed back for correlation. |
| Generation |  | The committed refresh generation (0 on a dry run or full failure). |
| Outcome |  | The overall outcome of the refresh. |
| Atomicity |  | The commit granularity that was applied. |
| StartTime |  | UTC start time of the refresh. |
| EndTime |  | UTC end time of the refresh. |
| Total |  | Total number of resources considered. |
| Succeeded |  | Number of resources that changed successfully. |
| Unchanged |  | Number of resources that were idempotently unchanged. |
| Failed |  | Number of resources that failed. |
| Skipped |  | Number of resources skipped by selection or policy. |
| Retired |  | Number of superseded generations retired. |

Table 79 – WoTRefreshSummaryDataType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTRefreshSummaryDataType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| i=38 | Object | Default Binary |  | i=76 |  |
| i=38 | Object | Default JSON |  | i=76 |  |
| Conformance Units |  |  |  |  |  |
| WOTC-Refresh |  |  |  |  |  |

## WoTDependencyDataType

An immutable edge of the document dependency DAG, used to describe closures in results and diagnostics.

Table 80 – WoTDependencyDataType Items

| Name | Value | Description |
| --- | --- | --- |
| SourceXid |  | The xid of the dependent document. |
| TargetXid |  | The xid of the document depended upon (empty if unresolved). |
| TargetUri |  | The raw href/URI of the dependency as authored in the document. |
| RefType |  | The dependency kind (for example tm:extends, tm:ref, links.rel=type). |
| Resolved |  | True if the dependency resolved to a stored document. |

Table 81 – WoTDependencyDataType definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTDependencyDataType |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:Structure defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| i=38 | Object | Default Binary |  | i=76 |  |
| i=38 | Object | Default JSON |  | i=76 |  |
| Conformance Units |  |  |  |  |  |
| WOTC-Federation |  |  |  |  |  |

# OPC UA ReferenceTypes

## HasWoTProjection

Links a stored WoT document resource (source) to the root node of its derived AddressSpace projection (target). Used to correlate materialized nodes and their NodeVersion with the canonical document, and to find the document behind a projected node.

Table 82 – HasWoTProjection definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:HasWoTProjection |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| InverseName | WoTProjectionOf |  |  |  |  |
| Symmetric | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:NonHierarchicalReferences defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| WOTC-ReferenceMaterialization |  |  |  |  |  |

## HasWoTComponent

NOTE   This ReferenceType is incorporated unchanged from OPC 10100-1 version 1.02 and is deprecated. It is preserved so that existing Clients continue to work; new development uses the registry types of this document.

Table 83 – HasWoTComponent definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:HasWoTComponent |  |  |  |  |
| IsAbstract | False |  |  |  |  |
| InverseName | WoTComponentOf |  |  |  |  |
| Symmetric | False |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| Subtype of the 0:HasComponent defined in OPC 10000-5, i.e. inheriting the InstanceDeclarations of that Node. |  |  |  |  |  |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

# Instances

## WoTRegistry

The server-wide WoT Connectivity 1.1 registry, a well-known component of the Server object. Its stored Thing Description / Thing Model files are canonical; the projected AddressSpace is derived. It is the notifier for the WoT resource lifecycle events raised by its groups and resources.

Table 84 – WoTRegistry definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTRegistry |  |  |  |  |
| TypeDefinition | WoTRegistryType |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| 0:HasComponent | Method | Refresh |  |  |  |
| 0:HasProperty | Variable | RegistryId | 0:String | 0:PropertyType |  |
| 0:HasProperty | Variable | RefreshGeneration | 0:UInt32 | 0:PropertyType |  |
| Conformance Units |  |  |  |  |  |
| WOTC-RegistryDiscovery |  |  |  |  |  |

### Refresh

Re-project selected stored documents into the AddressSpace. The functional Refresh Method on the well-known WoTRegistry object; a server binds the concrete handler.

Signature

Refresh (

[in]  WoTResourceSelectorDataType[] Selection,

[in]  WoTRefreshOptionsDataType Options,

[in]  0:UInt32       ExpectedGeneration,

[in]  0:String       RequestId,

[out] WoTRefreshSummaryDataType Summary,

[out] WoTResourceLoadResultDataType[] Results,

[out] 0:UInt32       NewGeneration);

Table 85 – Refresh Method Arguments

| Argument | Description |
| --- | --- |
| Selection | The documents to refresh; empty selects the whole registry. |
| Options | Options controlling atomicity, force, dry-run and dependents. |
| ExpectedGeneration | Expected current RefreshGeneration for optimistic concurrency; 0 disables the check. |
| RequestId | Caller-supplied identifier echoed into the summary and the completion event. |
| Summary | The refresh summary. |
| Results | The per-resource results. |
| NewGeneration | The committed generation (unchanged on dry run or full failure). |

Table 86 – Refresh Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | Refresh |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-RegistryDiscovery |  |  |  |  |  |

## WoTAssetConnectionManagement

NOTE   This well-known Object is incorporated unchanged from OPC 10100-1 version 1.02 and is deprecated. It is preserved so that existing Clients continue to work; new development uses the registry types of this document.

Table 87 – WoTAssetConnectionManagement definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | 2:WoTAssetConnectionManagement |  |  |  |  |
| TypeDefinition | WoTAssetConnectionManagementType |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | Other |
| 0:HasComponent | Method | CreateAsset |  |  |  |
| 0:HasComponent | Method | DeleteAsset |  |  |  |
| 0:HasProperty | Variable | SupportedWoTBindings | i=23751[] | 0:PropertyType |  |
| 0:HasComponent | Method | DiscoverAssets |  |  |  |
| 0:HasComponent | Method | CreateAssetForEndpoint |  |  |  |
| 0:HasComponent | Method | ConnectionTest |  |  |  |
| 0:HasComponent | Object | Configuration |  | WoTAssetConfigurationType |  |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### CreateAsset

Signature

CreateAsset (

[in]  0:String       AssetName,

[out] 0:NodeId       AssetId);

Table 88 – CreateAsset Method Arguments

| Argument | Description |
| --- | --- |
| AssetName |  |
| AssetId |  |

Table 89 – CreateAsset Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | CreateAsset |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### DeleteAsset

Signature

DeleteAsset (

[in]  0:NodeId       AssetId);

Table 90 – DeleteAsset Method Arguments

| Argument | Description |
| --- | --- |
| AssetId |  |

Table 91 – DeleteAsset Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | DeleteAsset |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### DiscoverAssets

Signature

DiscoverAssets (

[out] 0:String[]     AssetEndpoints);

Table 92 – DiscoverAssets Method Arguments

| Argument | Description |
| --- | --- |
| AssetEndpoints |  |

Table 93 – DiscoverAssets Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | DiscoverAssets |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### CreateAssetForEndpoint

Signature

CreateAssetForEndpoint (

[in]  0:String       AssetName,

[in]  0:String       AssetEndpoint,

[out] 0:NodeId       AssetId);

Table 94 – CreateAssetForEndpoint Method Arguments

| Argument | Description |
| --- | --- |
| AssetName |  |
| AssetEndpoint |  |
| AssetId |  |

Table 95 – CreateAssetForEndpoint Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | CreateAssetForEndpoint |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

### ConnectionTest

Signature

ConnectionTest (

[in]  0:String       AssetEndpoint,

[out] 0:Boolean      Success,

[out] 0:String       Status);

Table 96 – ConnectionTest Method Arguments

| Argument | Description |
| --- | --- |
| AssetEndpoint |  |
| Success |  |
| Status |  |

Table 97 – ConnectionTest Method AddressSpace definition

| Attribute | Value |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BrowseName | ConnectionTest |  |  |  |  |
| References | NodeClass | BrowseName | DataType | TypeDefinition | ModellingRule |
| 0:HasProperty | Variable | 0:InputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| 0:HasProperty | Variable | 0:OutputArguments | 0:Argument[] | 0:PropertyType | 0:Mandatory |
| Conformance Units |  |  |  |  |  |
| WOTC-Legacy |  |  |  |  |  |

# Profiles and conformance units

Conformance is composed from independently implementable conformance units (CUs), grouped into profiles.

Table 98 – Profiles and conformance units

| Conformance unit | Requires |
| --- | --- |
| WOTC-RegistryDiscovery | Well-known WoTRegistry under Server; browse registry/groups; read xRegistry + WoT metadata. |
| WOTC-DocumentRead | Read a stored TD/TM via the inherited FileType Open/Read/Close. |
| WOTC-DocumentWrite | Create/write TD/TM resources via xRegistry CreateResource + FileType write. |
| WOTC-TDValidation | Format + compatibility validation of TDs; ValidationOutcome; validation-failure events. |
| WOTC-TMValidation | Format + compatibility validation of TMs. |
| WOTC-TypeMaterialization | Project a TM to a type (DerivedTypeNodeId). |
| WOTC-InstanceMaterialization | Project a TD to an instance with Variables/Methods/EventTypes. |
| WOTC-ReferenceMaterialization | Project links to References / explicit link representation (including parent uav:componentOf). |
| WOTC-Refresh | Refresh Method with selection/options/expected-generation and detailed results. |
| WOTC-Events | Resource lifecycle + refresh-completed events with the Server→registry→group→resource notifier chain. |
| WOTC-ModelChange | Model change events + NodeVersion correlation for committed generations. |
| WOTC-SemanticChange | Optional semantic change events per 6.11.10. |
| WOTC-VersionLifecycle | Desired/active version, version switch, unload, delete. |
| WOTC-Federation | Resolve/project federated documents via ExternalReference/ResourceUrl. |
| WOTC-BinderCore | Compile forms to binder plans; op→service mapping. |
| WOTC-BinderProtocol | A specific per-binding module (OPC UA, HTTP, Modbus, …) with capabilities + version pinning. |
| WOTC-AtomicityModes | Per-resource / per-group / per-closure / per-registry atomicity with shadow switch and documented graceful or immediate retirement. |
| WOTC-Legacy | The incorporated OPC 10100-1 v1.02 model and scenarios, callable and preserved (§13). |

Profiles. WoT-Con Registry Server = WOTC-RegistryDiscovery + WOTC-DocumentRead + WOTC-DocumentWrite + WOTC-TDValidation + WOTC-TMValidation + WOTC-TypeMaterialization + WOTC-InstanceMaterialization + WOTC-ReferenceMaterialization + WOTC-Refresh + WOTC-Events + WOTC-VersionLifecycle + WOTC-BinderCore + at least one WOTC-BinderProtocol module. WoT-Con Full adds WOTC-ModelChange, WOTC-SemanticChange, WOTC-Federation and WOTC-AtomicityModes. WoT-Con Legacy (WOTC-Legacy) is the incorporated-and-deprecated 1.02 surface (6.15), independently conformant so existing 1.02 clients are served without the registry profile.

# Namespaces

## Namespace metadata

The namespace metadata provide standardized information about the elements of this namespace, which an aggregating Server relies on. All Nodes defined by this document are static: they are identical in every Server, including the Value Attribute.

The information is provided as an Object of type NamespaceMetadataType, a component of the Namespaces Object of the Server Object. The NamespaceMetadataType ObjectType and its Properties are defined in OPC 10000-5. The same version information is carried by the ModelTableEntry of the UANodeSet XML file.

Table 99 – NamespaceMetadata Object for this document

| Property | DataType | Value |
| --- | --- | --- |
| NamespaceUri | String | http://opcfoundation.org/UA/WoT-Con/ |
| NamespaceVersion | String | 1.2.0 |
| NamespacePublicationDate | DateTime | 2026-07-22 |
| IsNamespaceSubset | Boolean | False |
| StaticNodeIdTypes | IdType[] | 0 (Numeric) |
| StaticNumericNodeIdRange | NumericRange[] | 1001:9999 |
| StaticStringNodeIdPattern | String | -- |

The IsNamespaceSubset Property is False because the UANodeSet XML file contains the complete namespace. A Server exposing only a subset sets it to True.

## Handling of OPC UA namespaces

Namespaces are used by OPC UA to create unique identifiers across different naming authorities. The NodeId and BrowseName Attributes are identifiers. A Node in the AddressSpace is unambiguously identified by its NodeId; a BrowseName is not unique and is used to build a browse path or to name a standard Property.

Table 100 – Namespaces used in an OpenUSD Server

| NamespaceURI | Description |
| --- | --- |
| http://opcfoundation.org/UA/ | Namespace for NodeIds and BrowseNames defined in the OPC UA specification (OPC 10000-3, OPC 10000-5). |
| Local Server URI | Namespace for Nodes defined in the local Server. This namespace shall have index 1. |
| http://opcfoundation.org/UA/xRegistry/ | Namespace of the RequiredModel that carries the abstract registry base types this document extends. |
| http://opcfoundation.org/UA/WoT-Con/ | Namespace for NodeIds and BrowseNames defined in this document. |
| Vendor specific types | A Server may provide vendor-specific types derived from the types defined in this document, in one or more additional namespaces. |

The following table lists the namespaces and their indexes used for BrowseNames in this document. The default namespace of this document is not listed, because every BrowseName without a prefix uses it.

Table 101 – Namespaces used in this document

| NamespaceURI | Namespace Index | Example |
| --- | --- | --- |
| http://opcfoundation.org/UA/ | 0 | 0:EngineeringUnits |
| http://opcfoundation.org/UA/xRegistry/ | 1 | 1:ResourceType |

# Security

Security applies at three boundaries: registry transport, federation, and optional protocol binders.

Projection refresh shall resolve documents only from the selected local registry snapshot, a version-pinned local catalog or a configured xRegistry federation provider. It shall not issue a direct network request merely because a TD/TM contains a context URI, schema URI, link target, ResourceUrl, form endpoint or security declaration. A federation provider shall apply endpoint allowlists, trust policy, authentication, size limits and version/digest pinning.

The management Methods — Refresh, Validate, SetEnabled, SetDefaultVersion and the inherited xRegistry create/delete Methods — shall be subject to OPC UA role-based access control and shall require a SignAndEncrypt SecureChannel for every mutation. Registry reads should use a secured channel; an implementation may permit read-only access with MessageSecurityMode None. Read access to a group should be restrictable, because it is the authorisation boundary that decides who can discover the Things a group contains.

Credentials for federation and protocol-binding endpoints are held out of band and shall never be exposed on registry or binding nodes. TD endpoint and security metadata is informative to clients and optional binders; it does not establish registry trust or authorize document resolution. Operators should scope group read access accordingly. A server shall not weaken these controls for the incorporated 1.02 asset-management surface: the deprecated methods are subject to the same role-based access control as the registry methods that back them (6.15.2).

(normative) 

WoT Connectivity namespace and mappings

NodeSet and supplementary files for WoT Connectivity Information Model

An Information Model is formally defined in an XML file called a NodeSet This file conforms to the standard syntax defined in the Annex “Information Model XML Schema” OPC 10000-6, OPC Unified Architecture - Part 6: Mappings. It can be read and processed by a computer program.

An Information Model is identified by a URI – the so-called NamespaceUri.

A NamespaceUri follows one of these conventions:

http://opcfoundation.org/UA/WOTC/

tag:opcfoundation.org,yyyy-MM:UA:WOTC

Where WOTC is described in 12 and yyyy-MM is the date when the NamespaceUri was first published. NamespaceUris are not network accessible URLs and the text should not suggest they are. The tag URI syntax allows authors to choose a URI that cannot be used as URL by mistake. Note that the date in the tag syntax is not the same as the PublicationDate for the NodeSet. It is set once when the URI is created and never changed.

The Online Reference provides a summary page for every NamespaceUri of released Information Models which has the form:

https://reference.opcfoundation.org/nodesets?u=http://opcfoundation.org/UA/WoT-Con/

The WoT Connectivity Information Model is identified by the following URI:

http://opcfoundation.org/UA/WOTC/

Documentation for the NamespaceUri can be found here.

“here” is a hyperlink to the summary page of the Online Reference.

In the hyperlink, the http://opcfoundation.org/UA/WoT-Con/ has to be replaced with the concrete URI for this specification.

The NodeSet associated with this version of specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/WoT-Con/&v=1.2.0&i=1

The NodeSet associated with the latest version of the specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/WoT-Con/&i=1

http://opcfoundation.org/UA/WoT-Con/ is the NamespaceUri for the Information Model.

The 1.2.0 is the string in the NamespaceVersion from the Namespace Metadata (see 13.1). This value is also the value of the Version attribute in the NodeSet.

Supplementary files for the WoT Connectivity Information Model can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/WoT-Con/&v=1.2.0&i=2

The files associated with the latest version of the specification can be found here:

https://reference.opcfoundation.org/nodesets/?u=http://opcfoundation.org/UA/WoT-Con/&i=2

Supplementary files should be provided when appropriate (i.e., IRDI NodeSets or examples)

File Names

NodeIds: 	Opc.Ua.WOTC.NodeIds.csv

NodeSet: 	Opc.Ua.WOTC.NodeSet2.xml;

Any other files should have a prefix that provides context when the file is downloaded in a browser.

When DataTypes are defined in the NodeSet:

Opc.ua.WOTC.Types.xsd –

The XML schema for the DataTypes defined by the specification;

Opc.ua.WOTC.Types.bsd –

The OPC Binary schema for the DataTypes defined by the specification;

In case there is the need to reference individual files the following syntax should be added to the template:

https://reference.opcfoundation.org/files/<file>?u=<namespaceUri>&v=<version>
https://reference.opcfoundation.org/files/<file>?u=<namespaceUri>

for example:

https://reference.opcfoundation.org/files/StatusCode.csv?u=http://opcfoundation.org/UA/&v=1.05.02
https://reference.opcfoundation.org/files/StatusCode.csv?u=http://opcfoundation.org/UA/
https://reference.opcfoundation.org/files/Opc.Ua.Types.xsd?u=http://opcfoundation.org/UA/&v=1.05.02
https://reference.opcfoundation.org/files/Opc.Ua.Types.xsd?u=http://opcfoundation.org/UA/

Capability identifier

ServerCapabilityIdentifiers are defined in OPC 10000-12, OPC Unified Architecture - Part 12: Discovery and Global Services. They can be used for features, like certain information models, which are likely to be useful during the discovery process. The identifiers shall be short because of length restrictions for fields used in the mDNS specification.

The identifier shall be up to 6 characters. It is recommended to use the WOTC introduced in the guideline, at the beginning of clause 12 if that meets the requirement of up to 6 characters.

Note, that such identifiers are not required. If not needed, this Annex section shall be deleted.

The capability identifier for this document shall be:

WOTC

Node reference

The following table lists every Node this document defines, with the provisional NodeId assigned by the generator. It is generated from the UANodeSet and is informative for navigation; the UANodeSet is authoritative.

Table 102 – Nodes defined by this document

| NodeId | BrowseName | NodeClass | Description |
| --- | --- | --- | --- |
| ns=2;i=64020 | WoTDocumentKindEnum | DataType | The kind of WoT document a resource carries: a Thing Description (a concrete instance) or a Thing Model (a reusable type template). |
| ns=2;i=64500 | EnumStrings | Variable |  |
| ns=2;i=64021 | WoTLoadStateEnum | DataType | The lifecycle state of a WoT document's derived projection in the AddressSpace. The registry file always remains stored; this enum reflects only the state of the code-behind projection. |
| ns=2;i=64501 | EnumStrings | Variable |  |
| ns=2;i=64022 | WoTRefreshModeEnum | DataType | How a registry or document triggers refresh of its derived projection. |
| ns=2;i=64502 | EnumStrings | Variable |  |
| ns=2;i=64023 | WoTAtomicityEnum | DataType | The commit granularity applied when a refresh projects one or more documents. |
| ns=2;i=64503 | EnumStrings | Variable |  |
| ns=2;i=64024 | WoTDeletePolicyEnum | DataType | How the registry treats dependents when a document version is unloaded or deleted. |
| ns=2;i=64504 | EnumStrings | Variable |  |
| ns=2;i=64025 | WoTOutcomeEnum | DataType | The outcome of a validation, projection or refresh operation on a document or the registry. |
| ns=2;i=64505 | EnumStrings | Variable |  |
| ns=2;i=64026 | WoTPhaseEnum | DataType | The processing phase a document reached, used to locate where an outcome was produced. |
| ns=2;i=64506 | EnumStrings | Variable |  |
| ns=2;i=64027 | WoTBindingCapabilityEnum | DataType | A single interaction operation a protocol binding supports, aligned with the WoT form op vocabulary. |
| ns=2;i=64507 | EnumStrings | Variable |  |
| ns=2;i=64040 | WoTValidationOutcomeDataType | DataType | An immutable snapshot of a document's format and compatibility validation result. Read as a single Variant value; a new snapshot is produced on each validation and never mutated in place. |
| ns=2;i=64508 | Default Binary | Object |  |
| ns=2;i=64509 | Default JSON | Object |  |
| ns=2;i=64041 | WoTBindingCapabilityDataType | DataType | An immutable snapshot of a protocol binding's identity, version-pinned W3C document, maturity and supported operations. Held as an array element only for immutable snapshots; browseable binding objects (WoTBindingType) carry the live, per-field form. |
| ns=2;i=64510 | Default Binary | Object |  |
| ns=2;i=64511 | Default JSON | Object |  |
| ns=2;i=64042 | WoTRefreshOptionsDataType | DataType | Immutable options controlling a single Refresh invocation. |
| ns=2;i=64512 | Default Binary | Object |  |
| ns=2;i=64513 | Default JSON | Object |  |
| ns=2;i=64043 | WoTResourceSelectorDataType | DataType | An immutable selector identifying which stored documents a Refresh applies to. An empty selector array selects the whole registry. |
| ns=2;i=64514 | Default Binary | Object |  |
| ns=2;i=64515 | Default JSON | Object |  |
| ns=2;i=64044 | WoTResourceLoadResultDataType | DataType | An immutable per-resource result row of a Refresh. Never mutated; the array is a point-in-time snapshot for one generation. |
| ns=2;i=64516 | Default Binary | Object |  |
| ns=2;i=64517 | Default JSON | Object |  |
| ns=2;i=64045 | WoTRefreshSummaryDataType | DataType | An immutable summary of one Refresh invocation, also carried by the WoTRefreshCompletedEventType and cached on the registry as LastRefreshSummary. |
| ns=2;i=64518 | Default Binary | Object |  |
| ns=2;i=64519 | Default JSON | Object |  |
| ns=2;i=64046 | WoTDependencyDataType | DataType | An immutable edge of the document dependency DAG, used to describe closures in results and diagnostics. |
| ns=2;i=64520 | Default Binary | Object |  |
| ns=2;i=64521 | Default JSON | Object |  |
| ns=2;i=64000 | WoTRegistryType | ObjectType | The WoT Connectivity 1.1 registry root - an xRegistry RegistryType (a FolderType) that holds ThingDescriptionGroupType and ThingModelGroupType groups. The stored Thing Description / Thing Model files and their versions are canonical; the projected AddressSpace (types from Thing Models, instances from Thing Descriptions) is derived code-behind. Exposed as a well-known WoTRegistry object under the Server object (i=2253). Adds registry-wide refresh, generation and validation-policy state and the Refresh Method. |
| ns=2;i=64001 | ThingDescriptionGroupType | ObjectType | An xRegistry GroupType that collects related ThingDescriptionFileType resources (a Thing Description Group per the WoT xRegistry model). Adds the group-level format/compatibility validation policy. Its <ThingDescription> placeholder constrains members to the Thing Description subtype. |
| ns=2;i=64002 | ThingModelGroupType | ObjectType | An xRegistry GroupType that collects related ThingModelFileType resources (a Thing Model Group per the WoT xRegistry model). Adds the group-level format/compatibility validation policy. Its <ThingModel> placeholder constrains members to the Thing Model subtype. |
| ns=2;i=64003 | WoTDocumentType | ObjectType | The abstract base of a stored WoT document resource - an xRegistry ResourceType (a FileType) whose content bytes are the JSON-LD document, read/written with the inherited Open/Read/Write/Close Methods. Adds the derived-projection metadata (load state, desired/active version, validation and compatibility outcomes, content digest, materialized-node count and root, selected bindings) and the Validate, SetEnabled and SetDefaultVersion Methods. Concrete subtypes fix the document kind. |
| ns=2;i=64004 | ThingDescriptionFileType | ObjectType | A concrete WoTDocumentType whose content is a W3C WoT Thing Description (WoT-TD/1.1, application/td+json). Projects to OPC UA instances: affordances become Variables, Methods and event sources; forms become binder plans. Adds the Thing instance identity (ThingId, base URI) and the link to the Thing Model it derives from. |
| ns=2;i=64005 | ThingModelFileType | ObjectType | A concrete WoTDocumentType whose content is a W3C WoT Thing Model (WoT-TM/1.1, application/tm+json). Projects to OPC UA types: it materializes an ObjectType or VariableType and the affordance member declarations and modelling rules. Adds the derived type NodeId and model version. |
| ns=2;i=64006 | WoTBindingType | ObjectType | A browseable protocol-binding descriptor: the live, per-field representation of one W3C WoT protocol binding the server can realize (its URI, title, version-pinned W3C document, draft maturity, enabled state, content types and a capability snapshot). Selected/active binding sets are additionally exposed as immutable WoTBindingCapabilityDataType array snapshots. Policy and identity are browseable; no credentials or secrets are ever exposed here. |
| ns=2;i=64010 | WoTResourceEventType | ObjectType | The common base event for a WoT resource lifecycle notification. Carries the identity of the affected resource/version, the document kind, the refresh generation, the phase reached and the outcome. Abstract; servers emit one of its concrete subtypes. |
| ns=2;i=64011 | WoTValidationFailureEventType | ObjectType | Raised when a document fails format or compatibility validation. The failing resource is the event source; the stored document is retained and any previous valid projection stays active. |
| ns=2;i=64012 | WoTLoadFailureEventType | ObjectType | Raised when a validated document fails to project (materialize) into the AddressSpace, or when its shadow generation cannot be activated. The failing resource is the event source. |
| ns=2;i=64013 | WoTBindingFailureEventType | ObjectType | Raised when a form cannot be bound to its protocol binding (unknown binding, unsupported operation or a runtime binder error). The failing resource is the event source. |
| ns=2;i=64014 | WoTRefreshCompletedEventType | ObjectType | Raised by the registry when a Refresh completes (including automatic refreshes). Carries the refresh summary and the committed generation. The registry object is the event source. |
| ns=2;i=64060 | HasWoTProjection | ReferenceType | Links a stored WoT document resource (source) to the root node of its derived AddressSpace projection (target). Used to correlate materialized nodes and their NodeVersion with the canonical document, and to find the document behind a projected node. |
| ns=2;i=64522 | AutoRefresh | Variable | True if the registry automatically re-projects stored documents (per RefreshMode); false if only explicit Refresh calls re-project. |
| ns=2;i=64523 | RefreshMode | Variable | How automatic refresh is triggered when AutoRefresh is true. |
| ns=2;i=64524 | RefreshInterval | Variable | The interval used when RefreshMode is Periodic. |
| ns=2;i=64525 | RefreshGeneration | Variable | The current committed projection generation; incremented on every committed refresh. Materialized nodes carry the generation in their NodeVersion for correlation. |
| ns=2;i=64526 | LastRefreshTime | Variable | UTC time of the last completed refresh. |
| ns=2;i=64527 | LastRefreshSummary | Variable | An immutable snapshot summarizing the last completed refresh. |
| ns=2;i=64528 | DefaultAtomicity | Variable | The commit granularity applied when a Refresh omits an explicit atomicity. |
| ns=2;i=64529 | DeletePolicy | Variable | The default policy for treating dependents on unload/delete. |
| ns=2;i=64530 | ValidateFormat | Variable | Registry-wide default: validate document format on ingest/refresh. |
| ns=2;i=64531 | ValidateCompatibility | Variable | Registry-wide default: validate version compatibility on ingest/refresh. |
| ns=2;i=64532 | StrictValidation | Variable | If true, a validation warning is treated as a failure. |
| ns=2;i=64533 | VocabularyVersion | Variable | The version-pinned WoT Binding JSON-LD vocabulary this registry validates and projects against. |
| ns=2;i=64534 | SelectedBindings | Variable | An immutable snapshot array of the protocol bindings currently selected/active registry-wide. |
| ns=2;i=64535 | SupportedBindings | Object | A folder of browseable WoTBindingType binding descriptors the server can realize (the live, per-field form of the selected-bindings snapshot). |
| ns=2;i=64536 | <ThingDescriptionGroup> | Object | A Thing Description Group held by this registry (constrained to the ThingDescriptionGroupType subtype). |
| ns=2;i=64537 | <ThingModelGroup> | Object | A Thing Model Group held by this registry (constrained to the ThingModelGroupType subtype). |
| ns=2;i=64538 | Refresh | Method | Re-project selected stored documents into the AddressSpace. Idempotent: a document whose content digest is unchanged is reported Unchanged and not re-materialized unless Options.Force is set. Projects into a shadow generation and switches atomically per Options.Atomicity; superseded generations use the implementation's documented graceful or immediate retirement policy. If ExpectedGeneration is non-zero and does not equal RefreshGeneration, the call fails with Bad_InvalidState and changes nothing (optimistic concurrency). An empty Selection selects the whole registry. |
| ns=2;i=64539 | InputArguments | Variable |  |
| ns=2;i=64540 | OutputArguments | Variable |  |
| ns=2;i=64541 | ValidateFormat | Variable | Group-level policy: validate Thing Description format (WoT-TD/1.1) on ingest. |
| ns=2;i=64542 | ValidateCompatibility | Variable | Group-level policy: validate version compatibility on ingest. |
| ns=2;i=64543 | ConsistentFormat | Variable | Group-level policy: require all versions of a resource to share one format. |
| ns=2;i=64544 | <ThingDescription> | Object | A Thing Description resource held by this group (constrained to the ThingDescriptionFileType subtype). |
| ns=2;i=64545 | ValidateFormat | Variable | Group-level policy: validate Thing Model format (WoT-TM/1.1) on ingest. |
| ns=2;i=64546 | ValidateCompatibility | Variable | Group-level policy: validate version compatibility on ingest. |
| ns=2;i=64547 | ConsistentFormat | Variable | Group-level policy: require all versions of a resource to share one format. |
| ns=2;i=64548 | <ThingModel> | Object | A Thing Model resource held by this group (constrained to the ThingModelFileType subtype). |
| ns=2;i=64549 | DocumentKind | Variable | Whether this document is a Thing Description or a Thing Model. Fixed by the concrete subtype. |
| ns=2;i=64550 | Enabled | Variable | The desired enabled state: true requests that the document be validated and projected; false requests unload. |
| ns=2;i=64551 | LoadState | Variable | The actual lifecycle state of this document's derived projection. |
| ns=2;i=64552 | DesiredVersionId | Variable | The versionid the operator wants active for this resource (the desired/pinned version). |
| ns=2;i=64553 | ActiveVersionId | Variable | The versionid whose projection is currently active. |
| ns=2;i=64554 | IsDefault | Variable | xRegistry isdefault: true when this version is the resource's default (sticky) version. |
| ns=2;i=64555 | Ancestor | Variable | xRegistry ancestor: the versionid this version derives from (version lineage). |
| ns=2;i=64556 | Compatibility | Variable | The compatibility policy all versions of this resource adhere to (for example NONE, BACKWARD, FULL). |
| ns=2;i=64557 | AutoRefresh | Variable | Per-document override of the registry AutoRefresh setting. |
| ns=2;i=64558 | RefreshGeneration | Variable | The registry generation at which this document was last projected. |
| ns=2;i=64559 | LastRefreshTime | Variable | UTC time this document was last projected. |
| ns=2;i=64560 | ContentDigest | Variable | The content digest (hash) of the stored document bytes; used to make refresh idempotent. |
| ns=2;i=64561 | ValidationOutcome | Variable | An immutable snapshot of this document's format and compatibility validation result. |
| ns=2;i=64562 | MaterializedNodeCount | Variable | The number of AddressSpace nodes materialized from this document's active projection. |
| ns=2;i=64563 | RootNodeId | Variable | The root node of this document's active projection (the type or instance root). |
| ns=2;i=64564 | SelectedBindings | Variable | An immutable snapshot array of the protocol bindings selected for this document's forms. |
| ns=2;i=64565 | Validate | Method | Validate the stored document (format and, when enabled, compatibility) without changing its projection. Returns the outcome snapshot; also refreshes the ValidationOutcome Property. |
| ns=2;i=64566 | OutputArguments | Variable |  |
| ns=2;i=64567 | SetEnabled | Method | Set the desired Enabled state of this document. Enabling requests validation and projection; disabling requests unload per the registry DeletePolicy. If ExpectedEpoch is non-zero and does not equal the resource's current Epoch the call fails with Bad_InvalidState and changes nothing. |
| ns=2;i=64568 | InputArguments | Variable |  |
| ns=2;i=64569 | SetDefaultVersion | Method | Make a specific version of this resource its default (sticky) version, so that resolvers selecting the resource without a versionid resolve to it. If ExpectedEpoch is non-zero and does not equal the resource's current Epoch the call fails with Bad_InvalidState and changes nothing. |
| ns=2;i=64570 | InputArguments | Variable |  |
| ns=2;i=64571 | ThingId | Variable | The Thing Description id (a URI/URN identifying the concrete Thing instance). |
| ns=2;i=64572 | ThingTitle | Variable | The Thing Description human-readable title. |
| ns=2;i=64573 | BaseUri | Variable | The Thing Description base URI used to resolve relative form hrefs. |
| ns=2;i=64574 | ModelReference | Variable | The xid or href of the Thing Model this Thing Description derives from (links rel=type), when present. |
| ns=2;i=64575 | ModelTitle | Variable | The Thing Model human-readable title. |
| ns=2;i=64576 | ModelVersion | Variable | The Thing Model version (WoT version.model), when present. |
| ns=2;i=64577 | DerivedTypeNodeId | Variable | The ObjectType or VariableType materialized from this Thing Model. |
| ns=2;i=64578 | BindingUri | Variable | The WoT protocol-binding vocabulary URI this descriptor represents. |
| ns=2;i=64579 | Title | Variable | Human-readable binding title. |
| ns=2;i=64580 | ProfileVersion | Variable | The version-pinned W3C binding document version. |
| ns=2;i=64581 | DraftMaturity | Variable | The W3C maturity of the pinned binding document (for example WD, CR, PR, REC). |
| ns=2;i=64582 | Enabled | Variable | True if the server currently realizes forms of this binding. |
| ns=2;i=64583 | ContentTypes | Variable | The content types this binding produces/consumes. |
| ns=2;i=64584 | Capabilities | Variable | An immutable capability snapshot for this binding. |
| ns=2;i=64585 | Xid | Variable | The xRegistry xid of the affected resource/version. |
| ns=2;i=64586 | ResourceId | Variable | The resourceid of the affected resource. |
| ns=2;i=64587 | VersionId | Variable | The versionid of the affected version. |
| ns=2;i=64588 | DocumentKind | Variable | Whether the document is a Thing Description or a Thing Model. |
| ns=2;i=64589 | Generation | Variable | The refresh generation the notification relates to. |
| ns=2;i=64590 | Phase | Variable | The phase reached (the failing phase on a failure event). |
| ns=2;i=64591 | Outcome | Variable | The outcome the notification reports. |
| ns=2;i=64592 | ValidationOutcome | Variable | The full validation outcome snapshot for the failure. |
| ns=2;i=64593 | LoadState | Variable | The load state after the failed projection/activation. |
| ns=2;i=64594 | FailedNodeId | Variable | The node whose materialization failed, if identifiable. |
| ns=2;i=64595 | Reason | Variable | Human-readable failure reason. |
| ns=2;i=64596 | BindingUri | Variable | The binding URI that could not be bound. |
| ns=2;i=64597 | Reason | Variable | Human-readable binding failure reason. |
| ns=2;i=64598 | Summary | Variable | The refresh summary snapshot. |
| ns=2;i=64599 | RequestId | Variable | The caller-supplied request identifier echoed from the Refresh call. |
| ns=2;i=64600 | Generation | Variable | The committed generation. |
| ns=2;i=64100 | WoTRegistry | Object | The server-wide WoT Connectivity 1.1 registry, a well-known component of the Server object. Its stored Thing Description / Thing Model files are canonical; the projected AddressSpace is derived. It is the notifier for the WoT resource lifecycle events raised by its groups and resources. |
| ns=2;i=64601 | Refresh | Method | Re-project selected stored documents into the AddressSpace. The functional Refresh Method on the well-known WoTRegistry object; a server binds the concrete handler. |
| ns=2;i=64602 | InputArguments | Variable |  |
| ns=2;i=64603 | OutputArguments | Variable |  |
| ns=2;i=64604 | RegistryId | Variable | xRegistry registryid: the stable identifier of this registry (Mandatory, inherited from the xRegistry RegistryType). Default value for the well-known instance; a server MAY override it. |
| ns=2;i=64605 | RefreshGeneration | Variable | The current committed projection generation; incremented on every committed refresh (Mandatory). Materialized as 0 at load time, before any Refresh has committed. |
| ns=2;i=1 | WoTAssetConnectionManagementType | ObjectType |  |
| ns=2;i=2 | <WoTAssetName> | Object |  |
| ns=2;i=3 | NamespaceFile | Object |  |
| ns=2;i=4 | Size | Variable |  |
| ns=2;i=5 | Writable | Variable |  |
| ns=2;i=6 | UserWritable | Variable |  |
| ns=2;i=7 | OpenCount | Variable |  |
| ns=2;i=8 | MimeType | Variable |  |
| ns=2;i=9 | MaxByteStringLength | Variable |  |
| ns=2;i=10 | LastModifiedTime | Variable |  |
| ns=2;i=11 | Open | Method |  |
| ns=2;i=12 | InputArguments | Variable |  |
| ns=2;i=13 | OutputArguments | Variable |  |
| ns=2;i=14 | Close | Method |  |
| ns=2;i=15 | InputArguments | Variable |  |
| ns=2;i=16 | Read | Method |  |
| ns=2;i=17 | InputArguments | Variable |  |
| ns=2;i=18 | OutputArguments | Variable |  |
| ns=2;i=19 | Write | Method |  |
| ns=2;i=20 | InputArguments | Variable |  |
| ns=2;i=21 | GetPosition | Method |  |
| ns=2;i=22 | InputArguments | Variable |  |
| ns=2;i=23 | OutputArguments | Variable |  |
| ns=2;i=24 | SetPosition | Method |  |
| ns=2;i=25 | InputArguments | Variable |  |
| ns=2;i=26 | CreateAsset | Method |  |
| ns=2;i=27 | InputArguments | Variable |  |
| ns=2;i=28 | OutputArguments | Variable |  |
| ns=2;i=29 | DeleteAsset | Method |  |
| ns=2;i=30 | InputArguments | Variable |  |
| ns=2;i=31 | WoTAssetConnectionManagement | Object |  |
| ns=2;i=32 | CreateAsset | Method |  |
| ns=2;i=33 | InputArguments | Variable |  |
| ns=2;i=34 | OutputArguments | Variable |  |
| ns=2;i=35 | DeleteAsset | Method |  |
| ns=2;i=36 | InputArguments | Variable |  |
| ns=2;i=37 | ExportNamespace | Method |  |
| ns=2;i=38 | ConfigurationVersion | Variable |  |
| ns=2;i=39 | ModelVersion | Variable |  |
| ns=2;i=40 | SupportedWoTBindings | Variable |  |
| ns=2;i=41 | DiscoverAssets | Method |  |
| ns=2;i=42 | IWoTAssetType | ObjectType |  |
| ns=2;i=43 | WoTFile | Object |  |
| ns=2;i=44 | Size | Variable |  |
| ns=2;i=45 | Writable | Variable |  |
| ns=2;i=46 | UserWritable | Variable |  |
| ns=2;i=47 | OpenCount | Variable |  |
| ns=2;i=48 | OutputArguments | Variable |  |
| ns=2;i=49 | CreateAssetForEndpoint | Method |  |
| ns=2;i=50 | InputArguments | Variable |  |
| ns=2;i=51 | Open | Method |  |
| ns=2;i=52 | InputArguments | Variable |  |
| ns=2;i=53 | OutputArguments | Variable |  |
| ns=2;i=54 | Close | Method |  |
| ns=2;i=55 | InputArguments | Variable |  |
| ns=2;i=56 | Read | Method |  |
| ns=2;i=57 | InputArguments | Variable |  |
| ns=2;i=58 | OutputArguments | Variable |  |
| ns=2;i=59 | Write | Method |  |
| ns=2;i=60 | InputArguments | Variable |  |
| ns=2;i=61 | GetPosition | Method |  |
| ns=2;i=62 | InputArguments | Variable |  |
| ns=2;i=63 | OutputArguments | Variable |  |
| ns=2;i=64 | SetPosition | Method |  |
| ns=2;i=65 | InputArguments | Variable |  |
| ns=2;i=66 | <WoTPropertyName> | Variable |  |
| ns=2;i=67 | http://opcfoundation.org/UA/WoT-Con/ | Object |  |
| ns=2;i=68 | NamespaceUri | Variable |  |
| ns=2;i=69 | NamespaceVersion | Variable |  |
| ns=2;i=70 | NamespacePublicationDate | Variable |  |
| ns=2;i=71 | IsNamespaceSubset | Variable |  |
| ns=2;i=72 | StaticNodeIdTypes | Variable |  |
| ns=2;i=73 | StaticNumericNodeIdRange | Variable |  |
| ns=2;i=74 | StaticStringNodeIdPattern | Variable |  |
| ns=2;i=75 | ConnectionTest | Method |  |
| ns=2;i=76 | InputArguments | Variable |  |
| ns=2;i=77 | OutputArguments | Variable |  |
| ns=2;i=78 | Configuration | Object |  |
| ns=2;i=79 | License | Variable |  |
| ns=2;i=80 | SupportedWoTBindings | Variable |  |
| ns=2;i=81 | DiscoverAssets | Method |  |
| ns=2;i=82 | OutputArguments | Variable |  |
| ns=2;i=83 | CreateAssetForEndpoint | Method |  |
| ns=2;i=84 | InputArguments | Variable |  |
| ns=2;i=85 | ConnectionTest | Method |  |
| ns=2;i=86 | InputArguments | Variable |  |
| ns=2;i=87 | OutputArguments | Variable |  |
| ns=2;i=88 | Configuration | Object |  |
| ns=2;i=89 | License | Variable |  |
| ns=2;i=90 | CreateAssetMethodType | Method |  |
| ns=2;i=91 | InputArguments | Variable |  |
| ns=2;i=92 | OutputArguments | Variable |  |
| ns=2;i=93 | DeleteAssetMethodType | Method |  |
| ns=2;i=94 | InputArguments | Variable |  |
| ns=2;i=95 | DiscoverAssetsMethodType | Method |  |
| ns=2;i=96 | OutputArguments | Variable |  |
| ns=2;i=97 | CreateAssetForEndpointMethodType | Method |  |
| ns=2;i=98 | InputArguments | Variable |  |
| ns=2;i=99 | DefaultRolePermissions | Variable |  |
| ns=2;i=100 | DefaultUserRolePermissions | Variable |  |
| ns=2;i=101 | DefaultAccessRestrictions | Variable |  |
| ns=2;i=102 | ConnectionTestMethodType | Method |  |
| ns=2;i=103 | InputArguments | Variable |  |
| ns=2;i=104 | OutputArguments | Variable |  |
| ns=2;i=105 | WoTAssetConfigurationType | ObjectType |  |
| ns=2;i=106 | CloseAndUpdate | Method |  |
| ns=2;i=107 | InputArguments | Variable |  |
| ns=2;i=108 | <WoTConfigurationParameterName> | Variable |  |
| ns=2;i=109 | License | Variable |  |
| ns=2;i=110 | WoTAssetFileType | ObjectType |  |
| ns=2;i=111 | CloseAndUpdate | Method |  |
| ns=2;i=112 | InputArguments | Variable |  |
| ns=2;i=113 | MimeType | Variable |  |
| ns=2;i=114 | MaxByteStringLength | Variable |  |
| ns=2;i=121 | LastModifiedTime | Variable |  |
| ns=2;i=122 | AssetEndpoint | Variable |  |
| ns=2;i=123 | CloseAndUpdateMethodType | Method |  |
| ns=2;i=142 | HasWoTComponent | ReferenceType |  |
| ns=2;i=143 | InputArguments | Variable |  |
| ns=2;i=144 | WoTFile | Object |  |
| ns=2;i=145 | Size | Variable |  |
| ns=2;i=146 | Writable | Variable |  |
| ns=2;i=147 | UserWritable | Variable |  |
| ns=2;i=148 | OpenCount | Variable |  |
| ns=2;i=149 | MimeType | Variable |  |
| ns=2;i=150 | MaxByteStringLength | Variable |  |
| ns=2;i=151 | LastModifiedTime | Variable |  |
| ns=2;i=152 | Open | Method |  |
| ns=2;i=153 | InputArguments | Variable |  |
| ns=2;i=154 | OutputArguments | Variable |  |
| ns=2;i=155 | Close | Method |  |
| ns=2;i=156 | InputArguments | Variable |  |
| ns=2;i=157 | Read | Method |  |
| ns=2;i=158 | InputArguments | Variable |  |
| ns=2;i=159 | OutputArguments | Variable |  |
| ns=2;i=160 | Write | Method |  |
| ns=2;i=161 | InputArguments | Variable |  |
| ns=2;i=162 | GetPosition | Method |  |
| ns=2;i=163 | InputArguments | Variable |  |
| ns=2;i=164 | OutputArguments | Variable |  |
| ns=2;i=165 | SetPosition | Method |  |
| ns=2;i=166 | InputArguments | Variable |  |
| ns=2;i=167 | CloseAndUpdate | Method |  |
| ns=2;i=168 | InputArguments | Variable |  |
| ns=2;i=169 | AssetEndpoint | Variable |  |
| ns=2;i=170 | OutputArguments | Variable |  |
| ns=2;i=171 | OutputArguments | Variable |  |
| ns=2;i=172 | OutputArguments | Variable |  |

(informative)

Acceptance scenarios

Each scenario is an end-to-end acceptance test for the CUs it exercises.

- Discover and read — Browse Server → WoTRegistry, enumerate groups and resources, and read a stored TD's bytes via Open/Read/Close. (Discovery, Document Read)

- Ingest and validate a TM — Create a thingmodel resource, write the PumpType TM, Validate; expect FormatOutcome=Success; Refresh; expect a projected ObjectType and DerivedTypeNodeId set. (Document Write, TM Validation, Type Materialization)

- Ingest a derived TD — Create a thingdescription resource, write Pump 01, Refresh with Atomicity=PerClosure; expect the TD's closure (TD + PumpType TM) to activate atomically, an Object with PumpSpeed/SpeedSetpoint/Reset, forms bound to the OPC UA binder, and HasWoTProjection from the resource to the Object. (Instance/Reference Materialization, Binder Core, Atomicity)

- Invalid TD stays stored — Write pump-broken, Refresh; expect LoadState=Failed, a WoTValidationFailureEventType, the document still readable, and any prior valid projection of that resource unchanged. (TD Validation, Events)

- Idempotent refresh — Re-run scenario 3's Refresh unchanged; expect every result Unchanged, no node churn, RefreshGeneration unchanged. (Refresh idempotence)

- Version switch with graceful retirement — Subscribe to PumpSpeed; publish pump-01 v1.1.0; set DesiredVersionId=1.1.0; Refresh; expect a shadow switch, model change events for the committed change, NodeVersion updated, the old generation retired only after the subscription drains or migrates, and no lost notifications. (Version Lifecycle, Model Change, Atomicity)

- Version switch with immediate retirement — Repeat the switch with immediate retirement selected; expect new reads to use v1.1.0, each affected MonitoredItem to report BadNodeIdUnknown, and the old generation to be disposed without waiting for drain. (Version Lifecycle, Atomicity)

- Unload with dependents — SetEnabled(false) on the PumpType TM with DeletePolicy=Reject while Pump 01 depends on it; expect rejection; retry with Cascade; expect the dependent TD's projection to unload. (Version Lifecycle)

- Federated dependency — Point Pump 01's TM dependency at a federated TM via ResourceUrl; configure that remote registry in the federation provider; Refresh; expect the closure to resolve and activate through the pinned federation link. (Federation)

- Legacy round-trip — Via the deprecated WoTAssetConnectionManagement, CreateAsset("Pump01"), Open/Write/CloseAndUpdate the TD, browse the mapped Variables; when the registry backs the surface, expect the same asset to appear as a thingdescription registry document with an identical projection. (Legacy 1.02 Compatibility)

_____________

—————————